Degradation of limonene and trans-cinnamaldehyde in soil, and detection of their metabolites by UHPLC and GC-HRMS

Alba Reyes-Ávila, Antonia Garrido Frenich, Roberto Romero-González*

Research Group “Analytical Chemistry of Contaminants”, Department of Chemistry and Physics, Research Centre for Mediterranean Intensive Agrosystems and Agrifood Biotechnology (CIAMBITAL), Agrifood Campus of International Excellence (ceiA3), University of Almeria, 04120 Almeria, Spain

*Corresponding author: rromero@ual.es

ORCID codes

Alba Reyes Ávila: 0000-0002-0624-3754

Antonia Garrido Frenich: 0000-0002-7904-7842

Roberto Romero-González: 0000-0002-2505-2056

Table S1. Physicochemical characteristics of soils

| Type of soil | Code | pH | Carbon Monoxide (%) | Organic matter (%) | % Grit | % Sand | % Silt | % Clay |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sandy clay loam | SCL1 | 8.4 | 2.4 | 4.1 | 74.2 | 51.9 | 24.3 | 23.9 |
|  | SCL2 | 8.4 | 0.9 | 1.5 | 23.0 | 58.6 | 14.2 | 27.2 |
| Clay loam | CL1 | 8.4 | 0.8 | 1.4 | 46.0 | 29.6 | 33.1 | 37.2 |
|  | CL2 | 8.6 | 0.6 | 1.4 | 12.1 | 26.1 | 44.4 | 29.5 |

Table S2. Characteristic chromatographic-MS parameters of limonene and trans-cinnamaldehyde

| Compound | Molecular formula | Retention time (min) | Precursor ion |  |  | Fragment ions |  |  | Method |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| trans-Cinnamaldehyde | C9H8O | 14.54 | Adduct | Theorical mass (m/z) | Error mass (ppm) | Molecular formula | Theorical mass (m/z) | Error mass (ppm) | UHPLC |
|  |  |  | [M+H]+ | 133.0648 | -3.393 | C8H9 | 105.0699 | 0.220 |  |
|  |  |  |  |  |  | C7H7 | 91.0542 | 2.012 |  |

| Compound | Kovats retention index (RI) | Retention time (min) | Characteristic ions |  |  |  |  |  | Method |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Limonene | 1030 | 8.10 | Molecular formula | Theorical mass (m/z) | Error mass (ppm) | Molecular formula | Theorical mass (m/z) | Error mass (ppm) | GC |
|  |  |  | C7H9 | 93.0699 | 0.249 | C6H7 | 79.0542 | 0.293 |  |

Table S3. Recoveries and RSD of limonene and trans-cinnamaldehyde in different extraction methodsa

| Method extraction | Compound | Recovery (%) | RSD (%) |
| --- | --- | --- | --- |
| Rotatory extraction 30 min | Limonene | 56.7 | 5.6 |
|  | trans-Cinnamaldehyde | 50.9 | 2.2 |
| Rotatory extraction 60 min | Limonene | 98.5 | 4.7 |
|  | trans-Cinnamaldehyde | 101.4 | 1.0 |
| UAE 20 min | Limonene | 111.6 | 4.6 |
|  | trans-Cinnamaldehyde | 111.4 | 2.7 |

aAbbreviation: RSD: relative standard deviation; UAE: ultrasound-assisted extraction

Table S4. UHPLC-Q-Orbitrap parameters of trans-cinnamaldehyde metabolites found with MassChemSite

| Code | Retention time (min) | Molecular formula | Adduct | m/z |
| --- | --- | --- | --- | --- |
| CM1 | 3.12 | C9H12O3 | [M+H]+ | 169.0859 |
| CM2 | 13.97 | C9H6O3 | [M+H]+ | 163.0390 |
| CM3 | 14.96 | C9H10 | [M+H]+ | 119.0855 |
| CM4 | 16.05 | C9H10O | [M+H]+ | 135.0804 |