Supplementary Data

LC-MS analysis of polar and highly polar organic pollutants in Barcelona urban groundwater using orthogonal LC separation modes

Francesc Labad1, Sandra Pérez1*

1ONHEALTH, Department of Environmental Chemistry, Institute of Environmental Assessment and Water Research (IDAEA), CSIC, Jordi Girona 18-26, 08034 Barcelona (Spain)

*Corresponding author:

Sandra Pérez

IDAEA-CSIC

ONHEALTH Research Group

Jordi Girona 18-26

Barcelona 08034, Spain

E-mail: spsqam@idaea.csic.es

Phone: +34-93 400 6100

Fax: +34-93 204 5904

Table of contents

Table S1. List of the 96 target compounds sorted by logD1	23

Table S2. In situ parameters of the seven GW samples.	37

Figure S1. Flow-chart for enrichment by VAE followed by HILIC (left) and C18 (right) chromatographic separation before HPLC-MS/MS analysis.	38

Figure S2. Retention differences between columns and compounds polarities.	39

Figure S3. A: Chromatograms of diclofenac, atorvastatin and gabapentin; B: Chromatograms of melamine, metformin and methenamine. A shows great performance using the HSS T3 column (Upper) while B shows great BEH Amide column (Lower) performance for the selected compounds shown.	40

Table S3. Parameters of the optimised gradients.	41

Table S4. MS parameters, chromatographic retention times (RT) and retention factors (RFK) of target compounds sorted by alphabetical order. The t0 for the HSS T3 column was 0.90 min.	42

Table S5. Validation parameters of the target compounds enriched by the VAE approach at 1, 50 and 200 µg/L (n = 3), sorted by alphabetical order.	48

Table S6. Sample location in coordinates.	53

Table S7. Limits of detection (LOD) and quantification (LOQ) of the target analytes, sorted by alphabetical order.	54

Table S8. Results of the seven wells samples studied sorted by Log D (pH 7.4). The concentration values shown are in ng L-1.	57

Table S9. Quality Score for each compound in both columns, sorted by log D.	60

# Table S1. List of the 96 target compounds sorted by logD

| Compound | Main use | CAS | Molecular formula | Molecular weight | Water Solubility1 (mg mL-1) | Boiling point1 (°C) | Log D1 at pH 7.4 | Structure |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zanamivir | Antiviral | 1391180-80-8 | C12H20N4O7 | 332.31 | 18 | - | -6.0 |  |
| Oxytetracycline | Antibiotic | 79-57-2 | C22H24N2O9 | 460.40 | 31 | 840 | -4.3 |  |
| Pipemidic acid | Antibiotic | 51940-44-4 | C14H17N5O3 | 303.32 | 0.32 | 535 | -3.6 |  |
| Cyclamate | Sweetener | 100-88-9 (cyclamic acid) | C6H13NO3S | 179.24 | 133 | - | -3.5 |  |
| Sulisobenzone (BP4) | UV-Filter | 4065-45-6 | C14H12O6S | 308.31 | 250 | 498 | -3.5 |  |
| Metformin | Diabetes type 2 treatment agent | 657-24-9 | C4H11N5 | 129.16 | 300 | 173 | -3.4 |  |
| Iodixanol | Iodinated contrast media | 92339-11-2 | C35H44I6N6O15 | 1550.20 | 0.19 | 1251 | -3.4 |  |
| Tetracycline | Antibiotic | 60-54-8 | C22H24N2O8 | 444.40 | 0.23 | 738 | -3.2 |  |
| Iohexol | Iodinated contrast media | 66108-95-0 | C19H26I3N3O9 | 821.14 | 350 | 892 | -3.2 |  |
| Eflornithine | Facial hirsutism treatment drug | 70052-12-9 | C6H12F2N2O2 | 182.17 | 10 | 347 | -3.0 |  |
| Amoxicillin | Antibiotic | 26787-78-0 | C16H19N3O5S | 365.40 | 0.96 | 743 | -2.7 |  |
| Ciprofloxacin | Antibiotic | 85721-33-1 | C17H18FN3O3 | 331.35 | 1.4 | 582 | -2.2 |  |
| Levofloxacin | Antibiotic | 100986-85-4 | C18H20FN3O4 | 361.40 | 0.05 | 572 | -2.1 |  |
| Iopromide | Iodinated contrast media | 73334-07-3 | C18H24I3N3O8 | 791.11 | 0.37 | 841 | -2.1 |  |
| Atenolol | β-blocker agent | 29122-68-7 | C14H22N2O3 | 266.34 | 13 | 508 | -1.9 |  |
| Aspartame | Sweetener | 22839-47-0 | C14H18N2O5 | 294.30 | 10 | 536 | -1.8 |  |
| Meprobamate | Anxiolytic | 57-53-4 | C9H18N2O4 | 218.25 | 2.5 | 334 | -1.8 |  |
| Sotalol | β-blocker agent | 3930-20-9 | C12H20N2O3S | 272.36 | 0.78 | 443 | -1.6 |  |
| 5-Fluorouracil | Antineoplastic agent | 51-21-8 | C4H3FN2O2 | 130.08 | 5.9 | 367 | -1.6 |  |
| Acyclovir | Antiviral | 59277-89-3 | C8H11N5O3 | 225.20 | 9.1 | 500 | -1.5 |  |
| Gabapentin | Anticonvulsant | 60142-96-3 | C9H17NO2 | 171.24 | 4.5 | 314 | -1.4 |  |
| Pregabalin | Anticonvulsant | 148553-50-8 | C8H17NO2 | 159.23 | 11 | 274 | -1.3 |  |
| Saccharin | Sweetener | 81-07-2 | C7H5NO3S | 183.18 | 4.0 | 389 | -1.3 |  |
| Melamine | Industrial compound | 108-78-1 | C3H6N6 | 126.12 | 3.2 | 558 | -1.2 |  |
| Trimethoprim | Antibiotic | 738-70-5 | C14H18N4O3 | 290.32 | 0.62 | 405 | -1.2 |  |
| Sulfamethizole | Antibiotic | 144-82-1 | C9H10N4O2S2 | 270.33 | 0.61 | 505 | -1.1 |  |
| Diatrizoic acid | Iodinated contrast media | 117-96-4 | C11H9I3N2O4 | 613.91 | 0.11 | 614 | -1.0 |  |
| Sulfaguanidine | Antibiotic | 57-67-0 | C7H10N4O2S | 214.25 | 0.81 | 426 | -1.0 |  |
| Phenytoin | Anticonvulsant | 57-41-0 | C15H12N2O2 | 252.27 | 0.07 | 464 | -1.0 |  |
| Clofibric acid | Lipid-lowering agent | 882-09-7 | C10H11ClO3 | 214.64 | - | 324 | -0.9 |  |
| Enrofloxacin | Antibiotic | 93106-60-6 | C19H22FN3O3 | 359.40 | 0.05 | 561 | -0.9 |  |
| Valsartan | Antihypertensive | 137862-53-4 | C24H29N5O3 | 435.52 | 0.02 | 685 | -0.9 |  |
| Furosemide | Antihypertensive | 54-31-9 | C12H11ClN2O5S | 330.74 | 0.07 | 582 | -0.8 |  |
| Salicylic acid | Antibacterial | 69-72-7 | C7H6O3 | 138.12 | 2.24 | 336 | -0.8 |  |
| Sulfadiazine | Antibiotic | 68-35-9 | C10H10N4O2S | 250.28 | 0.6 | 513 | -0.8 |  |
| Flumequine | Antibiotic | 42835-25-6 | C14H12FNO3 | 261.25 | <1.0 | 440 | -0.7 |  |
| Primidone | Anticonvulsant | 125-33-7 | C12H14N2O2 | 218.25 | 1.0 | 443 | -0.7 |  |
| Sulfamethoxazole | Antibiotic | 723-46-6 | C10H11N3O3S | 253.28 | 0.46 | 482 | -0.6 |  |
| Sulfadimethoxine | Antibiotic | 122-11-2 | C12H14N4O4S | 310.33 | 0.34 | 549 | -0.5 |  |
| Amantadine | Antiviral | 768-94-5 | C10H17N | 151.14 | 6.3 | 226 | -0.4 |  |
| Lincomycin | Antibiotic | 154-21-2 | C18H34N2O6S | 406.54 | - | 647 | -0.4 |  |
| Metoprolol | β-blocker agent | 37350-58-6 | C15H25NO3 | 267.36 | >1000 | 399 | -0.3 |  |
| Nalidixic acid | Antibiotics | 389-08-2 | C12H12N2O3 | 232.24 | 2.3 | 413 | -0.3 |  |
| Sucralose | Sweetener | 56038-13-2 | C12H19Cl3O8 | 397.63 | >1000 | 669 | -0.2 |  |
| Morphine | Analgesic | 57-27-2 | C17H19NO3 | 285.34 | 10 | 476 | -0.1 |  |
| Bezafibrate | Lipid-lowering agent | 41859-67-0 | C19H20ClNO4 | 361.82 | 2*10-3 | 572 | -0.1 |  |
| Hydrochlorothiazide | Antihypertensive | 58-93-5 | C7H8ClN3O4S2 | 297.74 | 0.72 | 577 | 0.0 |  |
| Sulfathiazole | Antibiotic | 72-14-0 | C9H9N3O2S2 | 255.32 | 0.37 | 480 | 0.0 |  |
| Sulfamerazine | Antibiotic | 127-79-7 | C11H12N4O2S | 264.30 | 0.20 | 519 | 0.0 |  |
| Metronidazole | Antibacterial | 443-48-1 | C6H9N3O3 | 171.15 | 5.9 | 405 | 0.1 |  |
| Ketoprofen | NSAID | 22071-15-4 | C16H14O3 | 254.28 | 0.02 | 431 | 0.1 |  |
| Cotinine | Stimulant | 486-56-6 | C10H12N2O | 176.22 | - | 329 | 0.2 |  |
| Sulfamethazine | Antibiotics | 57-68-1 | C12H14N4O2S | 278.33 | 0.23 | 526 | 0.2 |  |
| Hyoscine | Anticholinergic | 149-64-4 | C21H29NO4 | 359.46 | 100 | 460 | 0.3 |  |
| Caffeine | Stimulant | 58-08-2 | C8H10N4O2 | 194.19 | 22 | 417 | 0.3 |  |
| Codeine | Analgesic | 76-57-3 | C18H21NO3 | 299.36 | 0.58 | 462 | 0.3 |  |
| Warfarin | Anticoagulant | 81-81-2 | C19H16O4 | 308.30 | 0.02 | 515 | 0.3 |  |
| Sulfapyridine | Antibiotic | 144-83-2 | C11H11N3O2S | 249.29 | 0.27 | 474 | 0.4 |  |
| Florfenicol | Antibiotic | 73231-34-2 | C12H14Cl2FNO4S | 358.21 | - | - | 0.4 |  |
| Acetaminophen | Analgesic | 103-90-2 | C8H9NO2 | 151.16 | 14 | 388 | 0.4 |  |
| Furazolidone | Antibiotics | 67-45-8 | C8H7N3O5 | 225.16 | 0.36 | 353 | 0.4 |  |
| Naproxen | NSAID | 22204-53-1 | C14H14O3 | 230.26 | 0.02 | 404 | 0.5 |  |
| Zonisamide | Anticonvulsant | 68291-97-4 | C8H8N2O3S | 212.23 | 2.1 | 457 | 0.5 |  |
| Ibuprofen | NSAID | 15687-27-1 | C13H18O2 | 206.28 | 0.02 | 320 | 0.5 |  |
| Tramadol | Analgesic | 3715-90-0 | C13H18ClN3 | 251.75 | 0.75 | 388 | 0.5 |  |
| Oseltamivir | Antiviral | 196618-13-0 | C16H28N2O4 | 312.40 | 0.69 | 473 | 0.6 |  |
| Neotame | Sweetener | 165450-17-9 | C20H30N2O5 | 378.46 | 0.01 | 572 | 0.6 |  |
| Fluconazole | Antifugals | 86386-73-4 | C13H12F2N6O | 306.27 | 1.4 | 580 | 0.7 |  |
| Indomethacin | NSAID | 53-86-1 | C19H16ClNO4 | 357.79 | 0.9*10-3 | 499 | 0.8 |  |
| Rosuvastatin | NSAID | 287714-41-4 | C22H28FN3O6S | 481.54 | 0.09 | 746 | 1.0 |  |
| Chloramphenicol | Antibiotic | 56-75-7 | C11H12Cl2N2O5 | 323.13 | 2.5 | 645 | 1.0 |  |
| Methenamine | Antibacterial | 100-97-0 | C6H12N4 | 140.19 | 449 | 253 | 1.0 |  |
| Sitagliptin | Diabetes type 2 treatment | 486460-32-6 | C16H15F6N5O | 407.31 | 0.03 | 530 | 1.1 |  |
| Carazolol | β-blocker agent | 57775-29-8 | C18H22N2O2 | 298.38 | 0.01 | 469 | 1.1 |  |
| Propranolol | β-blocker agent | 525-66-6 | C16H21NO2 | 259.34 | 0.06 | 435 | 1.2 |  |
| Cocaine | Stimulant | 50-36-2 | C17H21NO4 | 303.35 | 1.8 | 395 | 1.2 |  |
| Irbesartan | Antihypertensive | 138402-11-6 | C25H28N6O | 428.53 | 0.01 | 649 | 1.2 |  |
| Atorvastatin | Lipid-lowering agent | 134523-00-5 | C33H35FN2O5 | 558.60 | <1 | 722 | 1.3 |  |
| Citalopram | Antidepressant | 59729-33-8 | C20H21FN2O | 324.16 | 0.02 | 352 | 1.3 |  |
| Lidocaine | Anesthetic | 137-58-6 | C14H22N2O | 234.34 | 0.59 | 373 | 1.3 |  |
| Azithromycin | Antibiotic | 83905-01-5 | C38H72N2O12 | 748.98 | - | 822 | 1.4 |  |
| Venlafaxine | Antidepressant | 93413-69-5 | C17H27NO2 | 277.40 | 572 | 398 | 1.4 |  |
| Diclofenac | NSAID | 15307-86-5 | C14H11Cl2NO2 | 296.15 | 2.3*10-3 | 412 | 1.4 |  |
| 2.2'.4.4'-Tetrahydroxybenzophenone (BP2) | UV-Filter | 131-55-5 | C13H10O5 | 246.22 | 0.01 | 559 | 1.4 |  |
| 1H-Benzotriazole | Industrial compound | 95-14-7 | C6H5N3 | 119.12 | 20 | 359 | 1.5 |  |
| Oxazepam | Antidepressant | 604-75-1 | C15H11N2O2Cl | 286.71 | 0.02 | 517 | 1.5 |  |
| Paroxetine | Antidepressant | 61869-08-7 | C19H20FNO3 | 329.37 | 1.1*10-3 | 452 | 1.5 |  |
| Gemfibrozil | Lipid-lowering drug | 25812-30-0 | C15H22O3 | 250.33 | 0.03 | 395 | 1.6 |  |
| Erythromycin | Antibiotic | 114-07-8 | C37H67NO13 | 733.93 | 2.0 | 720 | 1.7 |  |
| 5-Methyl-1H-benzotriazole | Industrial compound | 136-85-6 | C7H7N3 | 133.15 | 3.1 | 211 | 1.7 |  |
| Lamotrigine | Antidepressant | 84057-84-1 | C9H7Cl2N5 | 256.09 | 0.17 | 503 | 1.7 |  |
| Carisoprodol | Muscle relaxant | 78-44-4 | C12H24N2O4 | 260.33 | 0.30 | 423 | 1.9 |  |
| Pentobarbital | Sedative | 76-74-4 | C11H18N2O3 | 226.28 | 0.68 | - | 1.9 |  |
| Lorazepam | Anxiolytic | 846-49-1 | C15H10Cl2N2O2 | 321.20 | 0.08 | 534 | 1.9 |  |
| Hydroxychloroquine | Antimalarial drug | 118-42-3 | C18H26ClN3O | 335.87 | 0.03 | 517 | 2.0 |  |
| 6∝-Methylprednisolone | Antiinflammatory | 83-43-2 | C22H30O5 | 374.47 | 0.12 | 572 | 2.0 |  |

1Log D, solubility and boiling point values were obtained from the ChemSpider database http://www.chemspider.com/.

# Table S2. In situ parameters of the seven GW samples.

| Site | pH | EC1 (μS cm-1) | T (⁰C) | Hardness (mg L-1) |
| --- | --- | --- | --- | --- |
| HBAV | 6.7 | 1163 | 25.0 | 305.2 |
| DXSA | 6.9 | 1270 | 19.7 | 291.2 |
| RBOP | 5.5 | 580 | 21.8 | 201.2 |
| URB1 | 6.7 | 1422 | 19.7 | 375.2 |
| SAP2b | 6.9 | 2541 | 21.3 | 537.6 |
| DTA2 | 6.8 | 1730 | 20.1 | 479.2 |
| FTAU | 6.6 | 1699 | 21.5 | 429.6 |

1Electric conductivity.

* For further information see Mechelke et al. (Mechelke et al., 2019).

# Figure S1. Flow-chart for enrichment by VAE followed by HILIC (left) and C18 (right) chromatographic separation before HPLC-MS/MS analysis.

# Figure S2. Retention differences between columns and compounds polarities.

# Figure S3. A: Chromatograms of diclofenac, atorvastatin and gabapentin; B: Chromatograms of melamine, metformin and methenamine. A shows great performance using the HSS T3 column (Upper) while B shows great BEH Amide column (Lower) performance for the selected compounds shown.

# Table S3. Parameters of the optimised gradients.

| Optimised Gradient HSS T3 |  |  |  |
| --- | --- | --- | --- |
| Flow (mL/min) | Time (min) | Solvent A* (%) | Solvent B* (%) |
| 0.2 | 0 | 5 | 95 |
| 0.2 | 0.3 | 5 | 95 |
| 0.2 | 10 | 30 | 70 |
| 0.2 | 13.3 | 65 | 35 |
| 0.2 | 15.5 | 100 | 0 |
| 0.2 | 17.3 | 100 | 0 |
| 0.2 | 17.7 | 5 | 95 |
| 0.2 | 19 | 5 | 95 |

| Optimised Gradient HILIC |  |  |  |
| --- | --- | --- | --- |
| Flow (mL/min) | Time (min) | Solvent A** (%) | Solvent B** (%) |
| 0.2 | 0 | 100 | 0 |
| 0.2 | 1 | 100 | 0 |
| 0.2 | 8 | 50 | 50 |
| 0.2 | 11 | 50 | 50 |
| 0.2 | 12 | 100 | 0 |
| 0.2 | 15 | 100 | 0 |

* A (ESI+): H2O 5mM ammonium formate 0.1% formic acid

A (ESI-): H2O 2mM ammonium fluoride

B (ESI+/-): 100% ACN

** A (ESI+/-): H2O 5mM ammonium formate

B (ESI+/-): H2O:ACN (2:98, v/v) 5mM ammonium formate

# Table S4. MS parameters, chromatographic retention times (RT) and retention factors (RFK) of target compounds sorted by alphabetical order. The t0 for the HSS T3 column was 0.90 min.

| Analyte | ESI mode | Precursor (m/z) | Product Ion (m/z) | CE (eV) | RT (min) | RFK | Internal Standard |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1H-Benzotriazole | + | 120.0557 | 65.0387 | 20 | 7.33 | 7.14 | Benzotriazole D4 |
| 2,2',4,4'-Tetrahydroxybenzophenone (BP2) | - | 245.0454 | 109.0294 | 19 | 12.54 | 12.93 | Irbesartan D6 |
| 5-Fluorouracil | - | 129.0106 | 85.0290 | 37 | 2.02 | 1.24 | Gabapentin D10 |
| 5-methyl-1H-benzotriazole | + | 134.0712 | 79.0542 | 25 | 9.94 | 10.04 | Cotinine D3 |
| 6αmethylprednisolone | + | 375.2162 | 357.2063 | 22 | 13.36 | 13.84 | Paroxetine D4 |
| Acetaminophen | + | 152.0706 | 110.0602 | 20 | 4.63 | 4.14 | Acetaminophen D4 |
| Acyclovir | - | 224.0789 | 150.0419 | 35 | 2.67 | 1.97 | Gabapentin D10 |
| Amantadine | + | 152.1431 | 135.1167 | 15 | 7.52 | 7.36 | Aspartame D5 |
| Amoxicillin | + | 366.1118 | 114.0008 | 12 | 3.45 | 2.83 | Cotinine D3 |
| Aspartame | + | 295.1292 | 180.1019 | 25 | 7.70 | 7.56 | Sotalol D6 |
| Atenolol | + | 267.1701 | 190.0861 | 25 | 4.49 | 3.99 | Propranolol D7 |
| Atorvastatin | + | 559.2603 | 440.2248 | 38 | 14.40 | 15.00 | Climbazole D4 |
| Azithromycin | + | 749.5146 | 591.4214 | 44 | 10.84 | 11.04 | Ciprofloxacin D8 |
| Bezafibrate | + | 362.1147 | 316.1096 | 14 | 14.48 | 15.09 | Bezafibrate D4 |
| Caffeine | + | 195.0877 | 138.0664 | 27 | 6.32 | 6.02 | Caffeine 13C3 |
| Carazolol | + | 299.1754 | 116.1068 | 40 | 11.46 | 11.73 | Propranolol D7 |
| Carisoprodol | + | 261.1805 | 62.0238 | 20 | 12.05 | 12.39 | Carisoprodol D7 |
| Chloramphenicol | - | 321.0045 | 152.0352 | 13 | 11.81 | 12.12 | Irbesartan D6 |
| Ciprofloxacin | + | 332.1403 | 288.1508 | 19 | 7.86 | 7.73 | Ciprofloxacin D8 |
| Citalopram | + | 325.1706 | 109.0446 | 26 | 12.92 | 13.36 | Midazolam 13C6 |
| Clofibric acid | - | 213.0323 | 126.9956 | 10 | 9.40 | 9.44 | Bezafibrate D4 |
| Cocaine | + | 304.1538 | 182.1174 | 30 | 10.45 | 10.61 | Cocaine D5 |
| Codeine | + | 300.1597 | 165.0697 | 42 | 5.71 | 5.34 | Codeine D3 |
| Cotinine | + | 177.1021 | 80.0494 | 28 | 3.08 | 2.42 | Cotinine D3 |
| Cyclamate | - | 178.0543 | 79.9577 | 34 | 4.78 | 4.31 | Acetaminophen D4 |
| Diatrizoic acid | + | 631.8031 | 360.9680 | 25 | 4.00 | 3.44 | Metronidazole D4 |
| Diclofenac | + | 296.0245 | 215.0496 | 30 | 13.11 | 13.57 | Diclofenac 13C6 |
| Eflornithine | + | 183.0940 | 120.1000 | 25 | 0.90 | 0.00 | Cotinine D3 |
| Enrofloxacin | + | 360.1723 | 316.1824 | 28 | 8.30 | 8.22 | Lamotrigine 13C3 |
| Erythromycin | + | 734.4666 | 158.1174 | 29 | 12.91 | 13.34 | Ciprofloxacin D8 |
| Florfenicol | - | 355.9927 | 119.0501 | 14 | 10.84 | 11.04 | Sulfamethoxazole 13C6 |
| Fluconazole | - | 305.0966 | 68.0252 | 12 | 9.13 | 9.14 | Fluconazole 13C3 |
| Flumequine | + | 262.0874 | 244.0766 | 30 | 13.61 | 14.12 | Carbamazepine D10 |
| Furazolidone | + | 226.0458 | 95.0366 | 18 | 9.12 | 9.13 | Fluconazole 13C3 |
| Furosemide | - | 329.0004 | 204.9823 | 30 | 9.86 | 9.96 | Valsartan D3 |
| Gabapentin | + | 172.1337 | 154.1226 | 17 | 5.57 | 5.19 | Gabapentin D10 |
| Gemfibrozil | - | 249.1496 | 121.0659 | 14 | 15.90 | 16.67 | Gemfibrozil D6 |
| Hydrochlorothiazide | - | 295.9568 | 268.9457 | 29 | 6.34 | 6.04 | Hydrochlorothiazide 13CD2 |
| Hydroxychloroquine | + | 336.1835 | 247.0996 | 30 | 6.01 | 5.68 | Chlorpromazine D3 |
| Hyoscine | + | 360.2164 | 138.0913 | 30 | 11.03 | 11.26 | Cocaine D5 |
| Ibuprofen | - | 205.1234 | 159.1172 | 10 | 13.70 | 14.22 | Gemfibrozil D6 |
| Indomethacin | - | 356.0689 | 297.0560 | 30 | 13.82 | 14.36 | Indomethacin D4 |
| Iodixanol | - | 773.8494 | 126.9042 | 50 | 6.11 | 5.79 | Sulfadiazine D4 |
| Iohexol | + | 821.8868 | 803.8744 | 21 | 3.39 | 2.77 | Acetaminophen D4 |
| Iopromide | + | 791.8755 | 372.9690 | 50 | 4.75 | 4.28 | Acetaminophen D4 |
| Irbesartan | + | 429.2392 | 207.0914 | 25 | 14.53 | 15.14 | Irbesartan D6 |
| Ketoprofen | + | 255.1012 | 105.0334 | 25 | 14.48 | 15.09 | Valsartan D3 |
| Lamotrigine | + | 256.0151 | 172.9667 | 40 | 8.93 | 8.92 | Lamotrigine 13C3 |
| Levofloxacin | + | 362.1511 | 216.1042 | 21 | 7.60 | 7.44 | Ofloxacin D8 |
| Lidocaine | + | 235.1803 | 86.0963 | 18 | 8.16 | 8.07 | Lamotrigine 13C3 |
| Lincomycin | + | 407.2206 | 126.1276 | 24 | 6.22 | 5.91 | Caffeine 13C3 |
| Lorazepam | - | 319.0040 | 283.0274 | 19 | 13.81 | 14.34 | Lorazepam D4 |
| Melamine | + | 127.0727 | 85.0515 | 20 | 1.41 | 0.57 | Cotinine D3 |
| Meprobamate | + | 219.1339 | 158.1175 | 13 | 11.01 | 11.23 | Carisoprodol D7 |
| Metformin | + | 130.1087 | 60.0559 | 15 | 1.83 | 1.03 | Lamotrigine 13C3 |
| Methenamine | + | 141.1135 | 112.0870 | 16 | 1.00 | 0.11 | Cotinine D3 |
| Metoprolol | + | 268.1906 | 116.1068 | 21 | 9.36 | 9.40 | Metoprolol D7 |
| Metronidazole | + | 172.0716 | 128.0453 | 17 | 5.09 | 4.66 | Metronidazole D4 |
| Morphine | + | 286.1436 | 201.0909 | 40 | 3.62 | 3.02 | Gabapentin D10 |
| Nalidixic acid | + | 233.0920 | 205.0606 | 32 | 13.40 | 13.89 | Carbamazepine D10 |
| Naproxen | - | 229.0864 | 158.0373 | 13 | 12.97 | 13.41 | Naproxen D3 |
| Neotame | + | 379.2226 | 172.1330 | 30 | 13.14 | 13.60 | Midazolam 13C6 |
| Oseltamivir | + | 313.2116 | 166.0861 | 18 | 11.74 | 12.04 | Oseltamivir D3 |
| Oxazepam | + | 287.0581 | 241.0524 | 25 | 13.63 | 14.14 | Lorazepam D4 |
| Oxytetracycline | + | 461.1555 | 426.1183 | 25 | 7.40 | 7.22 | Ofloxacin D8 |
| Paroxetine | + | 330.1502 | 192.1183 | 33 | 13.25 | 13.72 | Paroxetine D4 |
| Pentobarbital | - | 225.1242 | 122.0975 | 60 | 13.37 | 13.86 | Irbesartan D6 |
| Phenytoin | - | 251.0821 | 102.0349 | 25 | 13.35 | 13.83 | Irbesartan D6 |
| Pipemidic acid | + | 304.1409 | 217.1084 | 25 | 6.50 | 6.22 | Caffeine 13C3 |
| Pregabalin | + | 160.1337 | 142.1227 | 12 | 5.63 | 5.26 | Sulfadiazine D4 |
| Primidone | + | 219.1128 | 162.0912 | 19 | 8.64 | 8.60 | Acetaminophen D4 |
| Propranolol | + | 260.1642 | 116.1068 | 23 | 12.36 | 12.73 | Propranolol D7 |
| Rosuvastatin | + | 482.1755 | 258.1400 | 43 | 14.10 | 14.67 | Bezafibrate D4 |
| Saccharin | - | 181.9917 | 61.9703 | 36 | 4.00 | 3.44 | Hydrochlorothiazide 13CD2 |
| Salicylic acid | - | 137.0244 | 93.0350 | 16 | 4.80 | 4.33 | Acetaminophen D4 |
| Sitagliptin | + | 408.1253 | 174.0524 | 24 | 10.59 | 10.77 | Fluconazole 13C3 |
| Sotalol | + | 273.1265 | 213.0690 | 24 | 4.57 | 4.08 | Sotalol D6 |
| Sucralose | - | 395.0066 | 59.0134 | 22 | 7.63 | 7.48 | Gemfibrozil D6 |
| Sulfadiazine | + | 251.0596 | 156.0111 | 20 | 5.87 | 5.52 | Sulfadiazine D4 |
| Sulfadimethoxine | + | 311.0801 | 156.0766 | 35 | 12.49 | 12.88 | Sulfamethoxazole 13C6 |
| Sulfaguanidine | + | 214.0524 | 156.0115 | 41 | 2.64 | 1.93 | Valsartan D3 |
| Sulfamerazine | + | 265.0753 | 156.0113 | 21 | 7.25 | 7.06 | Sulfamethazine D4 |
| Sulfamethazine | + | 279.0908 | 204.0436 | 22 | 8.39 | 8.32 | Sulfamethazine D4 |
| Sulfamethizole | + | 271.0319 | 156.0113 | 16 | 8.27 | 8.19 | Sulfamethoxazole 13C6 |
| Sulfamethoxazole | - | 252.0445 | 156.0124 | 15 | 9.54 | 9.60 | Sulfamethoxazole 13C6 |
| Sulfapyridine | + | 250.0644 | 156.0112 | 22 | 6.80 | 6.56 | Sulfamethoxazole 13C6 |
| Sulfathiazole | - | 254.0062 | 156.0124 | 20 | 6.46 | 6.18 | Sulfamethoxazole 13C6 |
| Sulisobenzone (BP4) | - | 307.0279 | 211.0398 | 34 | 9.90 | 10.00 | Sulfamethoxazole 13C6 |
| Tetracycline | + | 445.1605 | 410.1234 | 25 | 8.00 | 7.89 | Sulfamethazine D4 |
| Tramadol | + | 264.1956 | 58.0654 | 15 | 9.49 | 9.54 | Tramadol 13C3D3 |
| Trimethoprim | + | 291.1450 | 230.1161 | 29 | 7.22 | 7.02 | Trimethoprim D9 |
| Valsartan | + | 436.2332 | 207.0915 | 17 | 14.67 | 15.30 | Valsartan D3 |
| Venlafaxine | + | 278.2113 | 58.0654 | 27 | 11.53 | 11.81 | Venlafaxine D6 |
| Warfarin | + | 309.1117 | 163.0388 | 18 | 15.04 | 15.71 | Carbamazepine D10 |
| Zanamivir | + | 333.1405 | 60.2418 | 22 | 1.39 | 0.54 | Cotinine D3 |
| Zonisamide | + | 213.0325 | 150.0549 | 12 | 9.45 | 9.50 | Zonisamide 13C6 |

# Table S5. Validation parameters of the target compounds enriched by the VAE approach at 1, 50 and 200 µg/L (n = 3), sorted by alphabetical order.

| Compound | Low Level 1 µg L-1 |  |  | Intermediate Level 50 µg L-1 |  |  | High Level 200 µg L-1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | RR (%) | RSD (%) | ME (%) | RR (%) | RSD (%) | ME (%) | RR (%) | RSD (%) | ME (%) |
| 1H-Benzotriazole | 93 | 19 | 17 | 100 | 3.0 | 5.3 | 89 | 1.8 | 8.0 |
| 2,2',4,4'-Tetrahydroxybenzophenone (BP2) | 73 | 3.1 | 518 | 138 | 42 | 34 | 89 | 15 | 101 |
| 5-Fluorouracil | 114 | 5.6 | 55 | 100 | 3.3 | 5.3 | 111 | 3.3 | 107 |
| 5-methyl-1-H-benzotriazole | 69 | 8.2 | 323 | 84 | 9.3 | 5.3 | 79 | 7.6 | -13 |
| 6αmethylprednisolone | 37 | 8.0 | 333 | 101 | 4.7 | 7.4 | 107 | 5.0 | 3.9 |
| Acetaminophen | 99 | 4.3 | 1.2 | 103 | 0.6 | 7.8 | 104 | 1.8 | -4.8 |
| Acyclovir | 103 | 6.0 | 68 | 108 | 3.2 | -8.6 | 108 | 3.5 | 156 |
| Amantadine | 59 | 11 | 371 | 85 | 9.1 | 2.9 | 96 | 7.0 | -10 |
| Amoxicillin | 0 | 0.0 | 0 | 0 | 0 | -69 | 0 | 0 | -64 |
| Aspartame | 0 | 0.0 | 0 | 0 | 0 | -92 | 0 | 0 | -92 |
| Atenolol | 54 | 6.1 | 209 | 107 | 4.1 | 0.9 | 106 | 7.2 | 4.1 |
| Atorvastatin | 31 | 40 | 343 | 102 | 4.9 | 10 | 47 | 3.9 | 114 |
| Azithromycin | 0 | 0 | 0 | 118 | 48 | 1637 | 49 | 48 | -47 |
| Bezafibrate | 71 | 7.7 | 205 | 100 | 2.1 | 6.0 | 108 | 1.7 | -5.6 |
| Caffeine | 8.7 | 503 | 79 | 114 | 5.8 | 4.5 | 102 | 1.2 | -0.2 |
| Carazolol | 70 | 13 | 376 | 190 | 55 | 1128 | 92 | 0.6 | 5.2 |
| Carisoprodol | 37 | 5.3 | 416 | 108 | 0.9 | 0.4 | 88 | 1.6 | 14 |
| Chloramphenicol | 127 | 2.3 | 73 | 115 | 53 | 13 | 121 | 26 | 189 |
| Ciprofloxacin | 1085 | 117 | 0 | 104 | 4.4 | 10 | 73 | 3.8 | 26 |
| Citalopram | 47 | 17 | 665 | 100 | 4.3 | 18 | 92 | 4.5 | 49 |
| Clofibric acid | 108 | 4.4 | 86 | 94 | 6.3 | 15 | 122 | 3.2 | 133 |
| Cocaine | 19 | 9.3 | 1270 | 107 | 2.6 | 5.4 | 34 | 2.5 | 208 |
| Codeine | 0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Cotinine | 43 | 13 | 684 | 104 | 1.4 | 5.5 | 106 | 1.0 | -5.1 |
| Cyclamate | 78 | 11 | 109 | 106 | 1.7 | 3.5 | 110 | 6.0 | 186 |
| Diatrizoic acid | 112 | 1.8 | 189 | 101 | 2.7 | -1.7 | 99 | 4.9 | -0.2 |
| Diclofenac | 0 | 0.0 | 0 | 105 | 0.5 | 4.6 | 138 | 1.5 | -29 |
| Eflornithine | 0 | 0.0 | 0 | 79 | 8.0 | -49 | 142 | 4.2 | -96 |
| Enrofloxacin | 627 | 108 | 93 | 81 | 5.2 | 375 | 78 | 20 | 128 |
| Erythromycin | 17 | 36 | -89 | 73 | 21 | -2.4 | 63 | 42 | -23 |
| Florfenicol | 69 | 12 | 257 | 159 | 11 | -38 | 116 | 3.0 | 212 |
| Fluconazole | 118 | 4.0 | 85 | 87 | 3.3 | -7.0 | 110 | 1.3 | 177 |
| Flumequine | 120 | 72 | 412 | 113 | 3.8 | -4.0 | 102 | 0.8 | 14 |
| Furazolidone | 60 | 6.1 | 238 | 90 | 3.1 | 6.1 | 105 | 7.1 | 2.4 |
| Furosemide | 102 | 3.5 | 73 | 73 | 62 | -43 | 97 | 15 | 141 |
| Gabapentin | 49 | 19 | 409 | 105 | 1.9 | 4.3 | 104 | 1.6 | -7.5 |
| Gemfibrozil | 65 | 8.1 | 225 | 105 | 1.0 | 1.1 | 89 | 2.1 | 244 |
| Hydrochlorothiazide | 100 | 3.9 | 101 | 88 | 6.0 | -1.6 | 103 | 1.4 | 180 |
| Hydroxychloroquine | 2695 | 88 | 0 | 56 | 16 | 104077 | 58 | 34 | 335 |
| Hyoscine | 39 | 9.6 | 3305 | 82 | 11 | -11 | 98 | 18 | 552 |
| Ibuprofen | 89 | 26 | 5557 | 115 | 1.5 | 1.0 | 103 | 5.9 | 124 |
| Indomethacin | 182 | 0.4 | 7.5 | 130 | 8.5 | -20 | 83 | 4.3 | 165 |
| Iodixanol | 181 | 0.9 | 13 | 107 | 5.0 | 2.4 | 112 | 5.1 | 146 |
| Iohexol | 159 | 1.9 | 42 | 99 | 6.6 | 4.5 | 94 | 5.8 | -17 |
| Iopromide | 0 | 0.0 | 0 | 96 | 18 | -1.4 | 104 | 4.4 | -23 |
| Irbesartan | 28 | 51 | 1832 | 107 | 0 | 2.8 | 66 | 1.1 | 51 |
| Ketoprofen | 54 | 17 | 108 | 103 | 1.2 | -0.1 | 100 | 16 | -12 |
| Lamotrigine | 69 | 12 | 230 | 102 | 2.5 | 1.9 | 109 | 1.1 | -6.0 |
| Levofloxacin | 355 | 44 | 5720 | 103 | 3.2 | 0.1 | 74 | 7.9 | 24 |
| Lidocaine | 45 | 5.9 | 182 | 105 | 12 | -76 | 102 | 2.2 | -17 |
| Lincomycin | 51 | 14 | 211 | 92 | 5.6 | 6.5 | 103 | 3.6 | -4.2 |
| Lorazepam | 101 | 8.6 | 82 | 97 | 15 | -0.4 | 95 | 1.5 | 224 |
| Melamine | 112 | 0.1 | 3618 | 116 | 5.5 | 0.0 | 130 | 3.7 | 26 |
| Meprobamate | 0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Metformin | 63 | 8.1 | 234 | 94 | 11 | 2.6 | 124 | 1.6 | -3.8 |
| Methenamine | 59 | 8.6 | -91 | 112 | 4.8 | 341 | 69 | 3.4 | 2.8 |
| Metoprolol | 53 | 3.5 | 291 | 115 | 3.3 | 8.0 | 111 | 3.1 | -7.3 |
| Metronidazole | 97 | 8.2 | 43 | 102 | 7.3 | 1.4 | 107 | 2.0 | -4.4 |
| Morphine | 0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Nalidixic Acid | 87 | 47 | 358 | 108 | 1.0 | 0.2 | 111 | 2.4 | 1.7 |
| Naproxen | 201 | 1.1 | -7.1 | 0 | 4.1 | 0.0 | 112 | 8.2 | 84 |
| Neotame | 0 | 0.0 | 188 | 100 | 15.5 | -69 | 25 | 25 | -19 |
| Oseltamivir | 41 | 5.1 | 424 | 105 | 3.8 | 4.5 | 99 | 0.7 | 2.1 |
| Oxazepam | 0 | 0.0 | 0 | 96 | 3.7 | -2.9 | 100 | 2.1 | -1.0 |
| Oxytetracycline | 0 | 0.0 | 0 | 56 | 4.3 | -6.7 | 75 | 18 | -47 |
| Paroxetine | 162 | 1.4 | 23 | 103 | 1.1 | 2.8 | 50 | 25 | -38 |
| Pentobarbital | 0 | 0.0 | 0 | 105 | 5.3 | 3.1 | 106 | 4.9 | 2.9 |
| Phenytoin | 67 | 12 | 346 | 129 | 5.6 | 12 | 115 | 29 | 194 |
| Pipemidic acid | 600 | 102 | 68 | 101 | 5.1 | 136 | 83 | 5.2 | 46 |
| Pregabalin | 178 | 22 | 30 | 103 | 3.2 | 6.3 | 121 | 4.5 | -15 |
| Primidone | 0 | 0.0 | 0 | 90 | 7.7 | 5.3 | 101 | 6.3 | -18 |
| Propranolol | 53 | 6.2 | 296 | 105 | 2.7 | 7.6 | 99 | 3.3 | 1.9 |
| Rosuvastatin | 80 | 5.3 | 160 | 126 | 2.6 | 1.7 | 111 | 2.9 | 0.9 |
| Saccharin | 93 | 5.7 | 279 | 110 | 4.2 | 4.2 | 101 | 2.6 | 183 |
| Salicylic acid | 83 | 3.9 | 347 | 107 | 0.9 | 15 | 108 | 5.7 | 195 |
| Sitagliptin | 68 | 8.4 | 162 | 106 | 3.4 | 1.6 | 104 | 1.4 | -10 |
| Sotalol | 58 | 2.3 | 252 | 105 | 3.2 | 1.8 | 103 | 0.5 | -4.2 |
| Sucralose | 186 | 1.8 | 160 | 91 | 7.0 | 8.4 | 124 | 7.9 | 82 |
| Sulfadiazine | 63 | 1.7 | 223 | 104 | 5.4 | 1.8 | 111 | 1.8 | -7.9 |
| Sulfadimethoxine | 59 | 3.1 | 368 | 101 | 5.8 | 17 | 120 | 0.8 | -6.0 |
| Sulfaguanidine | 0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Sulfamerazine | 66 | 3.5 | 184 | 107 | 6.4 | 2.0 | 102 | 5.3 | -5.8 |
| Sulfamethazine | 51 | 11 | 295 | 137 | 9.3 | 48 | 109 | 3.2 | -2.3 |
| Sulfamethizole | 43 | 17 | 217 | 102 | 6.6 | 10 | 116 | 6.0 | -8.9 |
| Sulfamethoxazole | 63 | 4.6 | 168 | 107 | 1.5 | 1.8 | 111 | 7.5 | 179 |
| Sulfapyridine | 59 | 7.6 | 308 | 100 | 4.0 | 5.4 | 107 | 12 | -2.2 |
| Sulfathiazole | 75 | 13 | 138 | 111 | 5.2 | 2.2 | 109 | 3.0 | 210 |
| Sulisobenzone (BP4) | 97 | 1.9 | 121 | 91 | 10 | 13 | 114 | 2.1 | 214 |
| Tetracycline | 0 | 0.0 | 0 | 26 | 14 | -31 | 42 | 30 | -25 |
| Tramadol | 30 | 26 | 687 | 109 | 2.8 | 5.6 | 112 | 4.2 | -9.4 |
| Trimethoprim | 55 | 3.9 | 257 | 105 | 2.8 | 4.7 | 119 | 3.3 | -4.2 |
| Valsartan | 82 | 13 | 365 | 105 | 0.9 | 3.3 | 93 | 1.9 | 11 |
| Venlafaxine | 46 | 5.9 | 361 | 103 | 4.9 | 7.3 | 105 | 1.6 | -5.0 |
| Warfarin | 40 | 15 | 536 | 110 | 1.8 | -1.8 | 109 | 3.3 | 5.6 |
| Zanamivir | 0 | 0.0 | 0 | 103 | 2.8 | -3.5 | 92 | 12 | -94 |
| Zonisamide | 0 | 0.0 | 0 | 103 | 2.8 | -3.5 | 118 | 3.1 | -17 |

# Table S6. Sample location in coordinates.

| # Sample name | # Latitude (UTM) | # Longitude (UTM) |
| --- | --- | --- |
| # SAP2bis | # 41.42999 | # 2.215175 |
| # HBAV | # 41.45036842 | # 2.19982326 |
| # DXSA | # 41.44558850 | # 2.20261138 |
| # RBOP | # 41.43877969 | # 2.20583093 |
| # URB1 | # 41.43283058 | # 2.20366017 |
| # DTA2 | # 41.42092226 | # 2.21613223 |
| # FTAU | # 41.41963968 | # 2.22703186 |

# Table S7. Limits of detection (LOD) and quantification (LOQ) of the target analytes, sorted by alphabetical order.

| Compounds | LOD (ng L-1) | LOQ (ng L-1) |
| --- | --- | --- |
| 1H-Benzotriazole | 0.07 | 0.21 |
| 2,2',4,4'-Tetrahydroxybenzophenone (BP2) | 0.16 | 0.50 |
| 5-Fluorouracil | 0.45 | 1.34 |
| 5-methyl-1-H-benzotriazole | 0.12 | 0.37 |
| 6α-methylprednisolone | 0.14 | 0.43 |
| Acetaminophen | 0.16 | 0.49 |
| Acyclovir | 0.16 | 0.48 |
| Amantadine | 0.15 | 0.45 |
| Amoxicillin | 0.00 | 0.00 |
| Aspartame | 0.10 | 0.30 |
| Atenolol | 0.03 | 0.09 |
| Atorvastatin | 0.16 | 0.47 |
| Azithromycin | 0.15 | 0.44 |
| Bezafibrate | 0.13 | 0.40 |
| Caffeine | 0.16 | 0.47 |
| Carazolol | 0.07 | 0.21 |
| Carisoprodol | 0.12 | 0.37 |
| Chloramphenicol | 0.07 | 0.20 |
| Ciprofloxacin | 0.16 | 0.48 |
| Citalopram | 0.14 | 0.41 |
| Clofibric acid | 0.17 | 0.49 |
| Cocaine | 0.12 | 0.36 |
| Codeine | 0.14 | 0.43 |
| Cotinine | 0.09 | 0.26 |
| Cyclamate | 0.09 | 0.27 |
| Diatrizoic acid | 0.31 | 0.92 |
| Diclofenac | 0.10 | 0.29 |
| Eflornithine | 0.44 | 1.20 |
| Enrofloxacin | 0.09 | 0.26 |
| Erythromycin | 0.27 | 0.82 |
| Florfenicol | 0.10 | 0.31 |
| Fluconazole | 0.13 | 0.38 |
| Flumequine | 0.13 | 0.39 |
| Furazolidone | 0.11 | 0.35 |
| Furosemide | 0.10 | 0.29 |
| Gabapentin | 0.09 | 0.28 |
| Gemfibrozil | 0.11 | 0.32 |
| Hydrochlorothiazide | 0.11 | 0.33 |
| Hydroxychloroquine | 0.15 | 0.44 |
| Hyoscine | 0.13 | 0.40 |
| Ibuprofen | 0.26 | 0.77 |
| Indomethacin | 0.06 | 0.19 |
| Iodixanol | 0.11 | 0.32 |
| Iohexol | 0.22 | 0.67 |
| Iopromide | 0.23 | 0.72 |
| Irbesartan | 0.12 | 0.35 |
| Ketoprofen | 0.13 | 0.38 |
| Lamotrigine | 0.11 | 0.33 |
| Levofloxacin | 0.10 | 0.30 |
| Lidocaine | 0.11 | 0.33 |
| Lincomycin | 0.13 | 0.39 |
| Lorazepam | 0.14 | 0.42 |
| Melamine | 0.34 | 1.00 |
| Meprobamate | 0.08 | 0.23 |
| Metformin | 0.29 | 0.86 |
| Methenamine | 0.17 | 0.50 |
| Metoprolol | 0.10 | 0.31 |
| Metronidazole | 0.14 | 0.43 |
| Morphine | 0.11 | 0.33 |
| Nadixilic Acid | 0.14 | 0.42 |
| Naproxen | 0.11 | 0.32 |
| Neotame | 0.14 | 0.42 |
| Oseltamivir | 0.09 | 0.28 |
| Oxazepam | 0.13 | 0.40 |
| Oxytetracycline | 0.12 | 0.36 |
| Paroxetine | 0.15 | 0.44 |
| Pentobarbital | 0.13 | 0.39 |
| Phenytoin | 0.13 | 0.39 |
| Pipemidic acid | 0.19 | 0.58 |
| Pregabalin | 0.16 | 0.49 |
| Primidone | 0.04 | 0.12 |
| Propranolol | 0.15 | 0.46 |
| Rosuvastatin | 0.14 | 0.43 |
| Saccharin | 0.14 | 0.41 |
| Salicylic acid | 0.41 | 1.23 |
| Sitagliptin | 0.16 | 0.49 |
| Sotalol | 0.14 | 0.42 |
| Sucralose | 0.12 | 0.36 |
| Sulfadiazine | 0.12 | 0.36 |
| Sulfadimethoxine | 0.06 | 0.17 |
| Sulfaguanidine | 0.17 | 0.52 |
| Sulfamerazine | 0.09 | 0.26 |
| Sulfamethazine | 0.10 | 0.29 |
| Sulfamethizole | 0.16 | 0.48 |
| Sulfamethoxazole | 0.11 | 0.32 |
| Sulfapyridine | 0.12 | 0.37 |
| Sulfathiazole | 0.13 | 0.40 |
| Sulisobenzone (BP4) | 0.06 | 0.18 |
| Tetracycline | 0.40 | 1.19 |
| Tramadol | 0.11 | 0.33 |
| Trimethoprim | 0.11 | 0.35 |
| Valsartan | 0.10 | 0.29 |
| Venlafaxine | 0.10 | 0.30 |
| Warfarin | 0.15 | 0.45 |
| Zanamivir | 0.22 | 0.65 |
| Zonisamide | 0.28 | 0.84 |

# Table S8. Results of the seven wells samples studied sorted by Log D (pH 7.4). The concentration values shown are in ng L-1.

| Compounds | SAP2bis | HBAV | DXSA | RBOP | URB1 | DTA2 | FTAU |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1H-Benzotriazole | 1100 | 326 | 275 | <LOQ | 207 | 124 | 95.1 |
| 2,2',4,4'-Tetrahydroxybenzophenone (BP2) | <LOQ | <LOQ | N/F | N/F | N/F | N/F | N/F |
| 5-Fluorouracil | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| 5-Methylbenzotriazole | 2122 | 768 | 602 | 5.5 | 427 | 137 | 142 |
| 6α-Methylprednisolone | 86.6 | <LOQ | <LOQ | N/F | N/F | <LOQ | <LOQ |
| Acetaminophen | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Acyclovir | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Amantadine | 99.0 | 113 | 124 | <LOQ | 15.0 | 6.5 | 5.4 |
| Atenolol | 3.7 | 0.1 | <LOQ | <LOQ | 0.1 | 0.1 | N/F |
| Atorvastatin | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Azithromycin | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Bezafibrate | 1.6 | N/F | N/F | N/F | 8.7 | <LOQ | N/F |
| Caffeine | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |
| Carazolol | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Carisoprodol | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Chloramphenicol | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Ciprofloxacin | <LOQ | 5.1 | 2.1 | 0.5 | 7.0 | <LOQ | 0.7 |
| Citalopram | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Clofibric acid | N/F | <LOQ | N/F | N/F | <LOQ | <LOQ | N/F |
| Cocaine | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | N/F | <LOQ |
| Cotinine | 13.8 | <LOQ | 2.0 | <LOQ | 0.2 | <LOQ | <LOQ |
| Cyclamate | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Diatrizoic acid | N/F | 0.5 | N/F | 0.9 | N/F | N/F | N/F |
| Diclofenac | 13.5 | 23.2 | 25.6 | N/F | N/F | N/F | N/F |
| Eflornithine | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Enrofloxacin | <LOQ | 4.4 | 1.8 | 0.8 | 4.6 | 0.4 | 0.8 |
| Erythromycin | N/F | N/F | <LOQ | N/F | <LOQ | <LOQ | 20.9 |
| Florfenicol | N/F | 6.1 | 1.4 | N/F | N/F | N/F | N/F |
| Fluconazole | 108 | 46.1 | 49.2 | 4.2 | 28.6 | 5.6 | 6.3 |
| Flumenquine | N/F | <LOQ | <LOQ | N/F | N/F | <LOQ | <LOQ |
| Furazolidone | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Furosemide | 3.292 | N/F | N/F | N/F | N/F | N/F | N/F |
| Gabapentin | <LOQ | <LOQ | N/F | N/F | N/F | N/F | N/F |
| Gemfibrozil | 3.404 | <LOQ | N/F | N/F | N/F | N/F | N/F |
| Hydrochlorothiazide | 1179 | 104 | 133 | 29.2 | 44.4 | 2.3 | 35.9 |
| Hydroxychloroquine | N/F | N/F | N/F | <LOQ | N/F | N/F | N/F |
| Hyoscine | <LOQ | N/F | N/F | N/F | N/F | N/F | N/F |
| Ibuprofen | N/F | N/F | N/F | <LOQ | N/F | N/F | N/F |
| Indomethacin | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Iodixanol | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Iohexol | N/F | N/F | 4148 | 576 | N/F | N/F | N/F |
| Iopromide | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Irbersartan | 104 | 7.9 | 8.9 | N/F | N/F | N/F | N/F |
| Ketoprofen | 104 | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |
| Lamotrigine | 784 | 276 | 296 | 23.0 | 146 | 14.1 | 17.6 |
| Levofloxacin | <LOQ | 2.8 | 1.1 | 0.3 | 3.7 | <LOQ | 0.3 |
| Lidocaine | 965 | 56.5 | 61.7 | <LOQ | 12.3 | 15.8 | 16.6 |
| Lincomycin | 36.0 | 88.0 | N/F | N/F | N/F | N/F | N/F |
| Lorazepam | 72.9 | <LOQ | 1.8 | N/F | N/F | N/F | N/F |
| Melamine | <LOQ | 53.1 | 40.8 | 2.3 | 53.7 | 5.6 | 5.2 |
| Metformin | <LOQ | N/F | <LOQ | N/F | N/F | N/F | N/F |
| Methenamine | <LOQ | N/F | N/F | N/F | N/F | N/F | N/F |
| Metoprolol | 109 | 12.2 | 23.1 | N/F | 16.5 | 2.1 | 1.4 |
| Metronidazole | N/F | N/F | N/F | <LOQ | N/F | N/F | N/F |
| Nalidixic acid | 1.3 | N/F | 0.1 | <LOQ | 0.2 | 0.1 | 0.1 |
| Neotame | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Oseltamivir | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Oxazepam | 58.6 | 1.1 | 1.7 | N/F | N/F | N/F | N/F |
| Oxytetracycline | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Paroxetine | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Pentobarbital | 18.0 | 1.4 | 2.6 | N/F | 1.4 | 3.8 | 4.7 |
| Phenytoin | 95.8 | 5.6 | 16.7 | 0.8 | 3.7 | 5.3 | 7.1 |
| Pipemidic acid | N/F | 6.9 | 3.1 | 1.2 | 9.8 | 0.5 | 1.3 |
| Pregabalin | <LOQ | <LOQ | <LOQ | N/F | <LOQ | <LOQ | <LOQ |
| Primidone | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |
| Propranolol | 9.8 | N/F | N/F | N/F | N/F | N/F | N/F |
| Rosuvastatin | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Saccharin | 16.7 | N/F | <LOQ | <LOQ | <LOQ | N/F | <LOQ |
| Salicylic acid | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Sitagliptin | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Sotalol | 24.6 | 2.2 | 4.3 | N/F | N/F | N/F | N/F |
| Sucralose | 34099 | N/F | 9021 | 666 | 3775 | 1342 | 1626 |
| Sulfadiazine | 81.6 | 11.4 | 11.9 | <LOQ | 2.4 | 6.5 | 5.7 |
| Sulfadimethoxine | N/F | 0.7 | N/F | N/F | 0.8 | <LOQ | N/F |
| Sulfamerazine | <LOQ | 0.1 | 0.3 | <LOQ | 0.3 | 2.3 | 1.5 |
| Sulfamethazine | 37.6 | 13.3 | 7.8 | N/F | 4.1 | 5.9 | 4.5 |
| Sulfamethizole | N/F | 0.4 | N/F | 0.2 | 0.4 | 0.7 | 0.4 |
| Sulfamethoxazole | <LOQ | 15.0 | <LOQ | <LOQ | 8.3 | <LOQ | <LOQ |
| Sulfapyridine | 42.3 | 21.0 | 11.0 | 0.7 | 2.7 | 1.3 | 0.5 |
| Sulfathiazole | 99.3 | 3.3 | 2.7 | N/F | N/F | N/F | <LOQ |
| Sulisobenzone (BP4) | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Tetracycline | N/F | <LOQ | N/F | N/F | <LOQ | N/F | N/F |
| Tramadol | 30.0 | 49.3 | 28.3 | 0.1 | 4.3 | 1.1 | 0.5 |
| Trimethoprim | N/F | N/F | 1.9 | 0.1 | 0.8 | <LOQ | 0.1 |
| Valsartan | 1266 | 10.4 | 24.4 | N/F | 2.1 | 3.0 | N/F |
| Venlafaxine | <LOQ | 0.1 | <LOQ | <LOQ | 0.1 | <LOQ | <LOQ |
| Warfarin | <LOQ | <LOQ | <LOQ | N/F | 13.5 | <LOQ | <LOQ |
| Zanamivir | N/F | N/F | N/F | N/F | N/F | N/F | N/F |
| Zonisamide | N/F | N/F | N/F | N/F | N/F | N/F | N/F |

# Table S9. Quality Score for each compound in both columns, sorted by log D.

| # Compound | # QS HSST3 | # QS BEH Amide | # Log D (pH 7.4) |  |
| --- | --- | --- | --- | --- |
| # Zanamivir | # 5 | # 10 | # -6,0 |
| # Oxytetracycline | # 0 | # 10 | # -4,3 |
| # Pipemidic acid | # 10 | # 10 | # -3,6 |
| # Cyclamate | # 7 | # 10 | # -3,5 |
| # Sulisobenzone (BP4) | # 10 | # 10 | # -3,5 |
| # Iodixanol | # 7 | # 7 | # -3,4 |
| # Metformin | # 2 | # 10 | # -3,4 |
| # Tetracycline | # 10 | # 10 | # -3,2 |
| # Iohexol | # 7 | # 7 | # -3,2 |
| # Eflornithine | # 0 | # 10 | # -3,0 |
| # Amoxicillin | # 0 | # 10 | # -2,7 |
| # Ciprofloxacin | # 10 | # 10 | # -2,2 |
| # Iopromide | # 4 | # 7 | # -2,1 |
| # Levofloxacin | # 7 | # 9 | # -2,1 |
| # Atenolol | # 10 | # 10 | # -1,9 |
| # Aspartame | # 4 | # 7 | # -1,8 |
| # Meprobamate | # 10 | # 7 | # -1,8 |
| # Sotalol | # 10 | # 10 | # -1,6 |
| # 5-Fluorouracil | # 9 | # 10 | # -1,6 |
| # Acyclovir | # 9 | # 4 | # -1,5 |
| # Gabapentin | # 10 | # 3 | # -1,4 |
| # Pregabalin | # 10 | # 4 | # -1,3 |
| # Saccharin | # 10 | # 9 | # -1,3 |
| # Melamine | # 5 | # 10 | # -1,2 |
| # Trimethoprim | # 10 | # 10 | # -1,2 |
| # Sulfamethizole | # 10 | # 6 | # -1,1 |
| # Diatrizoic acid | # 7 | # 4 | # -1,0 |
| # Phenytoin | # 10 | # 9 | # -1,0 |
| # Sulfaguanidine | # 9 | # 10 | # -1,0 |
| # Valsartan | # 10 | # 4 | # -0,9 |
| # Clofibric acid | # 7 | # 10 | # -0,9 |
| # Enrofloxacin | # 10 | # 8 | # -0,9 |
| # Sulfadiazine | # 10 | # 6 | # -0,8 |
| # Furosemide | # 10 | # 10 | # -0,8 |
| # Salicylic acid | # 10 | # 10 | # -0,8 |
| # Flumequine | # 10 | # 8 | # -0,7 |
| # Primidone | # 7 | # 3 | # -0,7 |
| # Sulfamethoxazole | # 10 | # 8 | # -0,6 |
| # Sulfadimethoxine | # 10 | # 8 | # -0,5 |
| # Lincomycin | # 4 | # 7 | # -0,4 |
| # Amantadine | # 10 | # 10 | # -0,4 |
| # Nalidixic acid | # 10 | # 10 | # -0,3 |
| # Metoprolol | # 4 | # 10 | # -0,3 |
| # Sucralose | # 10 | # 4 | # -0,2 |
| # Morphine | # 10 | # 4 | # -0,1 |
| # Bezafibrate | # 10 | # 4 | # -0,1 |
| # Hydrochlorothiazide | # 10 | # 9 | # 0,0 |
| # Sulfathiazole | # 10 | # 9 | # 0,0 |
| # Sulfamerazine | # 10 | # 9 | # 0,0 |
| # Metronidazole | # 10 | # 9 | # 0,1 |
| # Ketoprofen | # 7 | # 3 | # 0,1 |
| # Cotinine | # 10 | # 10 | # 0,2 |
| # Sulfamethazine | # 10 | # 9 | # 0,2 |
| # Caffeine | # 10 | # 3 | # 0,3 |
| # Codeine | # 10 | # 7 | # 0,3 |
| # Hyoscine | # 10 | # 10 | # 0,3 |
| # Warfarin | # 10 | # 5 | # 0,3 |
| # Acetaminophen | # 10 | # 3 | # 0,4 |
| # Florfenicol | # 10 | # 9 | # 0,4 |
| # Sulfapyridine | # 10 | # 9 | # 0,4 |
| # Furazolidone | # 10 | # 2 | # 0,4 |
| # Ibuprofen | # 10 | # 6 | # 0,5 |
| # Naproxen | # 7 | # 3 | # 0,5 |
| # Zonisamide | # 7 | # 0 | # 0,5 |
| # Tramadol | # 10 | # 10 | # 0,5 |
| # Neotame | # 10 | # 4 | # 0,6 |
| # Oseltamivir | # 10 | # 7 | # 0,6 |
| # Fluconazole | # 10 | # 9 | # 0,7 |
| # Indomethacin | # 10 | # 3 | # 0,8 |
| # Methenamine | # 5 | # 7 | # 1,0 |
| # Rosuvastatin | # 10 | # 4 | # 1,0 |
| # Chloramphenicol | # 10 | # 9 | # 1,0 |
| # Sitagliptin | # 10 | # 4 | # 1,1 |
| # Carazolol | # 10 | # 10 | # 1,1 |
| # Propranolol | # 10 | # 10 | # 1,2 |
| # Cocaine | # 10 | # 10 | # 1,2 |
| # Irbesartan | # 10 | # 10 | # 1,2 |
| # Atorvastatin | # 10 | # 4 | # 1,3 |
| # Lidocaine | # 10 | # 9 | # 1,3 |
| # Citalopram | # 10 | # 10 | # 1,3 |
| # 2.2'.4.4'-Tetrahydroxybenzophenone (BP2) | # 10 | # 9 | # 1,4 |
| # Azithromycin | # 10 | # 4 | # 1,4 |
| # Diclofenac | # 10 | # 1 | # 1,4 |
| # Venlafaxine | # 10 | # 10 | # 1,4 |
| # Paroxetine | # 10 | # 10 | # 1,5 |
| # 1H-Benzotriazole | # 10 | # 9 | # 1,5 |
| # Oxazepam | # 10 | # 6 | # 1,5 |
| # Gemfibrozil | # 10 | # 8 | # 1,6 |
| # Lamotrigine | # 10 | # 10 | # 1,7 |
| # 5-Methyl-1H-benzotriazole | # 10 | # 9 | # 1,7 |
| # Erythromycin | # 10 | # 4 | # 1,7 |
| # Lorazepam | # 10 | # 9 | # 1,9 |
| # Pentobarbital | # 10 | # 8 | # 1,9 |
| # Carisoprodol | # 10 | # 5 | # 1,9 |
| # Hydroxychloroquine | # 10 | # 7 | # 2,0 |
| # 6∝-Methylprednisolone | # 10 | # 6 | # 2,0 |

References

Mechelke, J., Longrée, P., Singer, H., & Hollender, J. (2019). Vacuum-assisted evaporative concentration combined with LC-HRMS/MS for ultra-trace-level screening of organic micropollutants in environmental water samples. Analytical and Bioanalytical Chemistry, 411(12), 2555–2567. https://doi.org/10.1007/S00216-019-01696-3/