# Supplementary Information

# Assessing the pharmaceutical residues as hotspots of the main rivers of Catalonia, Spain

# Pol Domínguez-García1, Laura Fernández-Ruano2, Judith Báguena1, Jordi Cuadros2, Cristian Gómez-Canela1,*

1Department of Analytical and Applied Chemistry, School of Engineering, Institut Químic de Sarrià-Universitat Ramon Llull, Via Augusta 390, 08017 Barcelona, Spain.

2Department of Quantitative Methods, School of Engineering, Institut Químic de Sarrià-Universitat Ramon Llull, Via Augusta 390, 08017 Barcelona, Spain.

*Corresponding author:

E-mail address: cristian.gomez@iqs.url.edu (C. Gómez-Canela)

Tel: +34 93 261 23 43

Pretreatment and extraction of pharmaceuticals from river water and LC-MS/MS analysis

To prevent the possible degradation of pharmaceuticals, the different samples were kept in the fridge. River water was filtered using 0.45 µm nylon filters to remove solid particles. Each river sample was conditioned at pH 7 with hydrochloric acid 37% using a pH meter SensionTM + PH3, HACH®, Colorado, CO, USA).

Spiked samples of all target compounds at pH7 were used at 4 µg L-1 for method optimization. Solid-phase extraction (SPE) Oasis HLB cartridges (200 mg, 6 cc, Waters, Mildford, MA, USA) were used as analysis concentrators. SPE method used for concentrating 50 mL of river water was adapted from Gómez-Canela et al., 2021.  The conditioning of the cartridges was done with 6 mL of methanol (MeOH) and the equilibration step with Milli-Q® water. The sample was loaded at flow 1 mL min-1. After, the cartridges were dried at room temperature for 20 min. The elution was done with 4 mL MeOH, 4 mL MeOH + 0.1% formic acid and 4 mL MeOH + 0.1% ammonium hydroxide. Then, extracts were evaporated under a current of N2 until almost dryness. Then with 1 mL of MeOH, extracts were filtered with nylon filters (0.22 µm) and transferred to a chromatographical vial. Samples were evaporated again under N2 current and finally reconstituted with 200 µL of a 10:90 (v/v) MeOH:Milli-Q® water solution.

Analytes were measured using a liquid chromatography connected to a triple quadrupole mass spectrometer (Xevo TQS, Acquity H-Class,Waters, Milford, CT, USA) (LC-MS/ MS). For the chromatographic separation, a CORTECS T3 column (100 mm x 2.1 mm, particle size 1.6 µm, Waters, Milford, CT, USA) was used. Mobile phase composition consisted of mixtures with 0.1% formic acid in water (A) and 0.1% formic acid in acetonitrile (B). Gradient elution started at 95% A and 5% B, increasing to 60% B in 7 min, to 50% B in 12 min and to 100% of B in 3 min, held for 3 min and returned to initial conditions in 2 min, with a holding time of 5 min. Flow rate of 300 µL min-1 was used and in all cases 10 µL were injected. All compounds were measured under positive electrospray ionization. Cone voltage (C.V.) was optimized from 1 to 90 V to obtain the precursor ion for each target compound using flow injection analysis. In order to obtain the two intense fragment ions, the collision energy (C.E.) was optimized from 1 to 50 eV. Following the acquisition by selected reaction monitoring, two transitions from the precursor ion to the product ion were used in order to identify each compound. The optimal parameters are displayed in Table SI1 for pharmaceuticals. The desolvation temperature was set at 350 °C whereas the desolvation gas flow and the cone gas flow were optimized at 900 L h-1 and 150 L h-1, respectively. The system and data management were processed using MassLynx v4.1 software package.

Table SI1. LC-MS/MS optimized parameters for selected pharmaceuticals (ordered by anatomical therapeutic code, ATC code) and metabolite (¨). C.V (V); C.E (eV); q1: product ion for quantification; q2: product ion for confirmation. *Pharmaceutical’s optimization parameters were obtained from previous publication (Gómez-Canela et al. 2021).

| Target Compound | ATC Code | Pharmacology | Molecular Formula | Retention Time (Rt) | Precursor Ion [M+H]+ | C.V (V) | q1 Transition | q1 Fragment | C.E. (eV) | q2 Transition | q2 Fragment | C.E. (eV) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pantoprazole* | A02BC02 | Alimentary tract | C16H15F2N3O4S | 6.78 | 384 | 26 | 384 > 200 | [C8H10NO3S]+ | 10 | 384 > 138 | [C7H8NO2]+ | 32 |
| Scopolamine* | A04AD01 | Alimentary tract | C17H21NO4 | 3.94 | 304 | 27 | 304 > 156 | [C8H14NO2]+ | 15 | 304 > 138 | [C8H12NO]+ | 21 |
| Prednisone* | A07EA03 | Alimentary tract | C21H26O5 | 7.65 | 359 | 7 | 359 > 341 | [M-H2O]+ | 11 | 359 > 147 | [C10H11O]+ | 36 |
| Metformin* | A10BA02 | Alimentary tract | C4H11N5 | 0.78 | 130 | 20 | 130 > 71 | [C3H7N2]+ | 18 | 130 > 60 | [CH6N3]+ | 10 |
| Vildagliptin* | A10BH02 | Alimentary tract | C17H25N3O2 | 3.33 | 304 | 30 | 304 > 154 | [C7H12N3O]+ | 26 | 304 > 97 | [C5H9N2]+ | 28 |
| Lidocaine* | C01BB01 | Cardiovascular | C14H22N2O | 4.66 | 235 | 27 | 235 > 86 | [C5H12N]+ | 23 | 235 > 58 | [C4H10]+ | 36 |
| Amiodarone* | C01BD01 | Cardiovascular | C25H29I2NO3 | 14.81 | 646 | 30 | 646 > 201 | [C13H13O2]+ | 40 | 646 > 100 | [C6H14N]+ | 30 |
| Pentoxifylline* | C04AD03 | Cardiovascular | C13H18N4O3 | 5.73 | 279 | 54 | 235 > 181 | [C7H9N4O2]+ | 15 | 235 > 138 | [C6H8N3O]+ | 23 |
| Propranolol | C07AA05 | Cardiovascular | C16H21NO2 | 7.19 | 260 | 40 | 260 > 187 | [C12H11O2]+ | 19 | 260 > 157 | [C11H9O]+ | 41 |
| Atenolol* | C07AB03 | Cardiovascular | C14H22N2O3 | 2.90 | 267 | 41 | 267 > 145 | [C7H15NO2]+ | 25 | 267 > 74 | [C4H12N]+ | 23 |
| Manidipine | C08CA11 | Cardiovascular | C35H38N4O6 | 12.72 | 611 | 48 | 611 > 167 | [C13H11]+ | 22 | 611 > 152 | [C8H10NO2]+ | 88 |
| Verapamil* | C08DA01 | Cardiovascular | C27H38N2O4 | 8.88 | 455 | 31 | 455 > 165 | [C10H13O2]+ | 30 | 455 > 150 | [C9H10O2]+ | 40 |
| Losartan* | C09CA01 | Cardiovascular | C22H23ClN6O | 9.11 | 423 | 31 | 423 > 377 | [C20H18N6Cl]+ | 9 | 423 > 207 | [C13H9N3]+ | 20 |
| Atorvastatin | C10AA05 | Cardiovascular | C33H35FN2O5 | 13.91 | 559 | 50 | 559 > 440 | C26H31FNO4]+ | 16 | 559 > 250 | [C13H16NO4]+ | 36 |
| Gemfibrozil | C10AB04 | Cardiovascular | C15H22O3 | 15.03 | 251 | 20 | 251 > 121 | [C8H9O]+ | 10 | 251 > 105 | [C8H9]+ | 50 |
| Fenofibrate | C10BA03 | Cardiovascular | C20H21ClO4 | 16.31 | 361 | 50 | 361 > 231 | [C13H8ClO2]+ | 10 | 361 > 139 | [C7H4ClO]+ | 20 |
| Rosuvastatin* | C10BA06 | Cardiovascular | C22H28FN3O6S | 10.02 | 482 | 32 | 482 > 300 | [M-C4H11N3O2SF]+ | 34 | 482 > 258 | [300-C3H6]+ | 30 |
| Chlortetracycline* | D06AA02 | Dermatological | C22H23ClN2O8 | 6.22 | 479 | 18 | 479 > 461 | [M+H-H2O]+ | 20 | 479 > 444 | [C22H22NO9]+ | 16 |
| Oxytetracycline | D06AA03 | Dermatological | C22H24N2O9 | 4.54 | 461 | 38 | 461 > 444 | [C22H22NO9]+ | 10 | 461 > 204 | [C13H16O2]+ | 42 |
| Tetracycline | D06AA04 | Dermatological | C22H24N2O8 | 4.9 | 445 | 34 | 445 > 411 | [C22H23N2O6]+ | 16 | 445 > 155 | [C6H7N2O3]+ | 24 |
| Dexamethasone | H02AB02 | Hormonal | C22H29FO5 | 8.61 | 393 | 24 | 393 > 147 | [C10H11O]+ | 20 | 393 > 121 | [C8H9O]+ | 50 |
| Doxycycline | J01AA02 | Antiinfective | C22H24N2O8 | 6.51 | 445 | 26 | 445 > 428 | [C22H22NO8]+ | 16 | 445 > 154 | [C6H7N2O3]+ | 28 |
| Amoxicillin* | J01CA04 | Antiinfective | C16H19N3O5S | 4.37 | 349 | 56 | 349 > 255 | [C10H13N3O3S]+ | 16 | 349 > 107 | [C7H7O]+ | 40 |
| Trimethoprim | J01EA01 | Antiinfective | C14H18N4O3 | 4.3 | 291 | 8 | 291 > 229 | [C12H13N4O]+ | 20 | 291 > 123 | [C5H7N4]+ | 22 |
| Sulphapyridine* | J01EB04 | Antiinfective | C11H11N3O2S | 3.92 | 250 | 40 | 250 > 156 | [C6H6NO2S]+ | 13 | 250 > 95 | [C5H7N2]+ | 21 |
| Sulfadiazine* | J01EC02 | Antiinfective | C10H10N4O2S | 3.60 | 251 | 30 | 251 > 156 | [C6H6NO2S]+ | 13 | 251 > 96 | [C4H6N3]+ | 20 |
| Erythromycin | J01FA01 | Antiinfective | C37H67NO13 | 7.71 | 734 | 53 | 734 > 575 | [C29H53NO10]+ | 16 | 734 > 158 | [C8H16NO2]+ | 26 |
| Clarithromycin* | J01FA09 | Antiinfective | C38H69NO13 | 9.05 | 748 | 20 | 748 > 158 | [C8H16NO2]+ | 16 | 748 > 116 | [C6H14NO]+ | 46 |
| Ciprofloxacin* | J01MA02 | Antiinfective | C17H18FN3O3 | 4.85 | 332 | 40 | 332 > 314 | [C17H17FN3O2]+ | 20 | 332 > 245 | [C13H9FNO3]+ | 20 |
| Levofloxacin* | J01MA12 | Antiinfective | C18H20FN3O4 | 4.74 | 362 | 44 | 362 > 318 | [C17H21FN3O2]+ | 18 | 362 > 261 | [C13H8FNO4]+ | 26 |
| Oxalinic Acid | J01MB05 | Antiinfective | C13H11NO5 | 8.48 | 262 | 38 | 262 > 245 | [C13H11NO4]+ | 18 | 262 > 216 | [C12H10NO3]+ | 26 |
| Flumequine | J01MB07 | Antiinfective | C14H12FNO3 | 8.44 | 262 | 18 | 262 > 244 | [C13H13FN]+ | 2 | 262 > 201 | [C14H12NO3]+ | 10 |
| Sulfamethoxazole* | J04AM08 | Antiinfective | C10H11N3O3S | 6.23 | 254 | 20 | 254 > 108 | [C6H6NO]+ | 20 | 254 > 92 | [C6H6N]+ | 28 |
| Remdesivir | J05AB16 | Antiinfective | C27H35N6O8P | 10.04 | 603 | 17 | 603 > 402 | [C18H29NO7] + | 13 | 603 > 231 | [C10H9N5O2]+ | 21 |
| Ritonavir | J05AE03 | Antiinfective | C37H48N6O5S2 | 14.28 | 721 | 50 | 721 > 296 | [C14H22N3O2S]+ | 16 | 721 > 268 | [C14H22N3OS]+ | 28 |
| Lopinavir | J05AR10 | Antiinfective | C37H48N4O5 | 14.58 | 629 | 27 | 629 > 445 | [C28H33N2O3]+ | 11 | 629 > 183 | [C9H15N2O2]+ | 19 |
| Ifosfamide* | L01AA06 | Antineoplastic | C7H15Cl2N2O2P | 6.42 | 261 | 42 | 261 > 154 | [C3H7NO2PCl]+ | 20 | 261 > 78 | [C2H5NCl]+ | 18 |
| Gemcitabine | L01BC05 | Antineoplastic | C9H11F2N3O4 | 1.18 | 264 | 31 | 264 > 110 | [C4H4N3O]+ | 17 | 264 > 69 | [C3H5N2]+ | 40 |
| Capecitabine | L01BC06 | Antineoplastic | C15H22FN3O6 | 7.49 | 360 | 20 | 360 > 244 | [C9H11FN3O4]+ | 6 | 360 > 130 | [C6H12NO2]+ | 30 |
| Megestrol acetate* | L02AB01 | Antineoplastic | C22H30O3 | 14.78 | 385 | 8 | 385 > 325 | [C22H29O2]+ | 12 | 385 > 267 | [C19H23O3]+ | 16 |
| Tamoxifen | L02BA01 | Antineoplastic | C26H29NO | 13.75 | 372 | 50 | 372 > 130 | [C10H19]+ | 20 | 372 > 72 | [C4H10N]+ | 20 |
| Bicalutamide* | L02BB03 | Antineoplastic | C18H14F4N2O4S | 11.91 | 431 | 33 | 431 > 217 | [C9H10O3SF]+ | 14 | 431 > 95 | [C6H4F]+ | 50 |
| Mycophenolic acid* | L04AA06 | Antineoplastic | C17H20O6 | 10.01 | 321 | 14 | 321 > 207 | [C11H11O4]+ | 20 | 321 > 159 | [C9H3O3]+ | 36 |
| Diclofenac* | M01AB05 | Musculo-skeletal | C14H11Cl2NO2 | 13.58 | 296 | 26 | 296 > 250 | [C13H10Cl2N]+ | 12 | 296 > 215 | [C13H10ClN]+ | 20 |
| Ibuprofen* | M01AE01 | Musculo-skeletal | C13H18O2 | 13.85 | 161 | 54 | 161 > 119 | [C9H11]+ | 12 | 161 > 105 | [C8H9]+ | 12 |
| Naproxen | M01AE02 | Musculo-skeletal | C14H14O3 | 10.51 | 231 | 14 | 231 > 185 | [C13H13O]+ | 12 | 231 > 170 | [C12H10O]+ | 22 |
| Tramadol* | N02AX02 | Nervous system | C16H25NO2 | 5.47 | 264 | 9 | 264 > 246 | [C16H24NO]+ | 10 | 264 > 58 | [C3H8N]+ | 17 |
| Antipyrine | N02BB01 | Nervous system | C11H12N2O | 5.12 | 189 | 54 | 189 > 148 | [C11H12N2]2+ | 18 | 189 > 131 | [C8H5NO]+ | 22 |
| 4-Aminoantipyrine* | N02BB03 | Nervous system | C11H13N3O | 3.02 | 204 | 20 | 204 > 94 | [C6H8N]+ | 17 | 204 > 56 | [C3H6N]+ | 20 |
| Acetaminophen* | N02BE01 | Nervous system | C8H9NO2 | 2.85 | 152 | 32 | 152 > 110 | [C6H8NO]+ | 20 | 152 > 93 | [C6H5O]+ | 20 |
| Topiramate* | N03AX11 | Nervous system | C12H21NO8S | 7.55 | 340 | 18 | 340 > 264 | [C9H14NO6S]+ | 6 | 340 > 127 | [C7H11O2]+ | 20 |
| Gabapentin* | N03AX12 | Nervous system | C9H17NO2 | 3.47 | 172 | 27 | 172 > 154 | [C8H12NO2]+ | 10 | 172 > 137 | [C7H12NO]+ | 14 |
| Levetiracetam* | N03AX14 | Nervous system | C8H14N2O2 | 3.14 | 171 | 25 | 171 > 154 | [C8H12NO2]+ | 5 | 171 > 126 | [C7H12NO]+ | 13 |
| Pregabalin* | N03AX16 | Nervous system | C8H17NO2 | 3.42 | 160 | 29 | 160 > 142 | [C8H14O2]+ | 8 | 160 > 84 | [C6H12]+ | 14 |
| Rasagiline* | N04BD02 | Nervous system | C12H13N | 5.01 | 172 | 70 | 172 > 117 | [C9H9]+ | 14 | 172 > 91 | [C7H7]+ | 32 |
| Quetiapine | N05AH04 | Nervous system | C21H25N3O2S | 7.02 | 384 | 40 | 384 > 253 | [C15H13N2S]+ | 20 | 384 > 210 | [C13H8NS]+ | 40 |
| Diazepam* | N05BA01 | Nervous system | C16H13ClN2O | 10.35 | 285 | 30 | 285 > 193 | [C9H6ClN2O]+ | 33 | 285 > 154 | [C11H8N]+ | 25 |
| Amitriptyline* | N06AA09 | Nervous system | C20H23N | 8.97 | 278 | 32 | 278 > 233 | [C18H17]+ | 12 | 278 > 91 | [C7H7]+ | 22 |
| Fluoxetine* | N06AB03 | Nervous system | C17H18F3NO | 9.15 | 310 | 27 | 310 > 148 | [C10H14N]+ | 7 | 310 > 44 | [C2H6N]+ | 13 |
| Citalopram* | N06AB04 | Nervous system | C20H21N2FO | 7.84 | 325 | 10 | 325 > 262 | [C18H16NO]+ | 16 | 325 > 109 | [C7H6F]+ | 22 |
| Trazodone* | N06AX05 | Nervous system | C19H22ClN5O | 6.81 | 372 | 31 | 372 > 176 | [C9H10N3O]+ | 22 | 372 > 148 | [C7H6N3O]+ | 36 |
| Venlafaxine* | N06AX16 | Nervous system | C17H27NO2 | 6.55 | 278 | 47 | 278 > 121 | [C8H8O]+ | 31 | 278 > 58 | [C3H8N]+ | 17 |
| Caffeine* | N06BC01 | Nervous system | C8H10N4O2 | 4.01 | 195 | 22 | 195 > 138 | [C6H8N3O]+ | 18 | 195 > 110 | [C5H7N3]+ | 22 |
| Donepezil* | N06DA02 | Nervous system | C24H29NO3 | 7.31 | 380 | 36 | 380 > 243 | [C16H21NO]+ | 36 | 380 > 91 | [C7H7]+ | 39 |
| Memantine* | N06DX01 | Nervous system | C12H21N | 6.51 | 180 | 30 | 180 > 163 | [C12H19]+ | 11 | 180 > 107 | [C8H11]+ | 21 |
| Chloroquine | P01BA01 | Antiparasitic | C18H26ClN3 | 3.90 | 320 | 40 | 320 > 247 | [C14H16ClN2]+ | 11 | 320 > 142 | [C9H20N]+ | 17 |
| Hydroxychloroquine | P01BA02 | Antiparasitic | C18H26ClN3O | 3.68 | 336 | 10 | 336 > 247 | [C14H16ClN2]+ | 21 | 336 > 158 | [C9H20NO]+ | 21 |
| Tylosin | QJ01FA90 | Antiinfective (vet) | C46H77NO17 | 8.15 | 917 | 24 | 917 > 174 | [C9H18O3]+ | 44 | 917 > 101 | [C6H13O]+ | 52 |
| Enrofloxacin | QJ01MA90 | Antiinfective (vet) | C19H22FN3O3 | 5.16 | 360 | 18 | 360 > 342 | [C19H21FN3O2]+ | 18 | 360 > 245 | [C13H8FNO3]+ | 22 |
| Sarafloxacin | QJ01MA98 | Antiinfective (vet) | C20H17F2N3O3 | 5.62 | 386 | 36 | 386 > 340 | [C19H16F2N3O]+ | 16 | 386 > 300 | [C16H8F2NO3]+ | 22 |
| Diflubenzuron | QP53BC02 | Antiparasitic (vet) | C14H9ClF2N2O2 | 14.20 | 311 | 28 | 311 > 156 | [C7H4F2NO]+ | 12 | 311 >141 | [C7H3F2O]+ | 34 |
| Amylmetacresol* | R02AA03 | Resoiratory system | C12H18O | 15.34 | 179 | 32 | 179 > 109 | [C8H13]+ | 8 | 179 > 71 | [C5H11]+ | 8 |
| Fluticasone* | R03BA05 | Resoiratory system | C22H27F3O4S | 14.93 | 501 | 58 | 501 > 314 | [C16H24FO3S]+ | 12 | 501 > 293 | [C17H19F2O2]+ | 18 |
| Tiotropium* | R03BB04 | Resoiratory system | C19H22BrNO4S2 | 6.91 | 393 | 55 | 393 > 170 | [C9H16NO2]+ | 29 | 393 > 152 | [C9H14NO]+ | 27 |
| Cloperastine | R05DB21 | Resoiratory system | C20H24ClNO | 9.71 | 332 | 42 | 332 > 203 | [C13H12Cl]+ | 18 | 332 > 166 | [C13H10]+ | 45 |
| Chlorpheniramine* | R06AB04 | Resoiratory system | C16H19ClN2 | 5.85 | 275 | 6 | 275 > 230 | [C14H13ClN]+ | 18 | 275 > 167 | [C9H10NCl]+ | 43 |
| Norfloxacin* | S01AE02 | Sensory organs | C16H18FN3O3 | 4.72 | 320 | 22 | 320 > 302 | [C16H17FN3O2]+ | 18 | 320 > 276 | [C14H13FN2O3]+ | 16 |
| Guanylurea¨ |  |  | C2H6N4O | 0.74 | 103 | 40 | 103 > 86 | [C2H4N3O]+ | 5 | 103 > 60 | [CH4N2O]+ | 7 |

Table SI2. Tentative molecular fragmentation characterization of new optimized pharmaceuticals in this study.

| Propranolol | Manidipine | Atorvastatin | Gemfibrozil |
| --- | --- | --- | --- |
| Fenofibrate | Oxytetracyline | Tetracycline | Dexamethasone |
| Doxycycline | Trimethroprim | Erythromycin | Oxolinic Acid |
| Flumequine | Remdesivir | Ritonavir | Lopinavir |
| Gemcitabine | Capecitabine | Tamoxifen | Naproxen |
| Antipyrine | Quetiapine | Chloroquine | Hydroxychloroquine |
| Tylosin | Enrofloxacin | Sarafloxacin | Diflubenzuron |
| Cloperastine |  |  |  |

Table SI3. Concentrations of all 78 pharmaceuticals and metabolite in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (ng L-1) | Acetaminophen | Pregabalin | Rasagiline | Sulfadiazina | Sulfamethoxazole | Gemcitabine | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Bicalutamide | Tetracycline | Levetiracetam | Amylmetacresol | Propanolol | Chlorpheniramine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | N02BE01 | N03AX16 | N04BD02 | J01EC02 | J04AM08 | L01BC05 | C07AB03 | R05DB21 | Metabolite | A10BA02 | M01AE01 | M01AB05 | L04AA06 | L02BB03 | D06AA04 | N03AX14 | R02AA03 | C07AA05 | R06AB04 |
| LL1A | 544 | bql | bql | 278 | 7 | bdl | 14 | 197 | 551 | 304 | 2844 | bql | bql | bdl | bql | 24 | bql | 5 | bdl |
| LL1B | 99 | bql | bql | 271 | bql | bdl | 2 | 268 | 291 | 110 | 2642 | bql | bdl | bdl | bdl | 9 | bql | 6 | bql |
| LL1C | 485 | bql | 359 | 147 | 16 | bdl | 10 | 265 | 974 | 81 | 2945 | bdl | bql | bdl | bdl | 50 | bql | 8 | bql |
| LL1D | 459 | bql | 492 | 141 | 16 | bdl | 18 | 841 | 879 | bdl | 2908 | bql | bql | bdl | bql | 74 | bql | 5 | bql |
| LL1E | 520 | bql | 578 | 110 | 22 | bdl | 12 | 604 | 1121 | 88 | 3262 | bql | 3 | bdl | bdl | 71 | bql | 6 | bql |
| LL1F | 141 | 155 | 1930 | 83 | 79 | bdl | 125 | 504 | 1127 | 172 | 2664 | bql | 88 | Bdl | bql | 152 | bql | 21 | bql |
| LL1G | 581 | bql | 444 | 98 | 21 | bdl | 13 | 1296 | 980 | 126 | 3274 | bql | bql | Bdl | bql | 34 | bql | 3 | bql |
| LL2A | 766 | 44 | bdl | bdl | 21 | bdl | 7 | 29 | 3074 | 915 | 409 | bql | 6 | bdl | bdl | 40 | bql | 3 | bdl |
| LL2B | 502 | bdl | 525 | bql | 11 | 20 | 11 | 85 | 1007 | 308 | 408 | bql | 9 | 6 | bql | 51 | bdl | 7 | bdl |
| LL2C | 483 | bql | bdl | 15 | 27 | bdl | 10 | 81 | 3103 | 838 | 1262 | 30 | 14 | 5 | bdl | 22 | 182 | 8 | bdl |
| LL2D | 642 | bql | bdl | 42 | 45 | 11 | 39 | 43 | 2409 | 716 | 270 | 74 | 27 | bql | 10 | 28 | bdl | 7 | bdl |
| LL2E | 193 | bql | bdl | bql | 27 | 10 | 8 | 181 | 716 | 188 | 354 | 112 | 27 | 11 | bdl | 15 | bql | 10 | bdl |
| LL2F | 3377 | 80 | bdl | 47 | 140 | 8 | 172 | 47 | 3695 | 900 | 669 | 609 | 328 | 27 | bql | 88 | 355 | 34 | bdl |
| LL2G | 92 | bql | 429 | 18 | 15 | 15 | 15 | 21 | 233 | 53 | 503 | bql | bdl | 24 | bql | 4 | bdl | bql | bdl |
| LL3A | bdl | 59 | 420 | bql | 20 | bdl | 14 | 101 | 3535 | 804 | 482 | bql | 21 | 12 | bdl | 27 | 156 | 5 | bdl |
| LL3B | 2085 | bql | 380 | 11 | 7 | 10 | 10 | 52 | 385 | 730 | 413 | bql | 18 | bdl | bdl | 36 | bdl | 6 | bdl |
| LL3C | 647 | 46 | 704 | 13 | 22 | 7 | 18 | 52 | 1087 | 653 | 530 | 40 | 26 | 6 | bdl | 33 | 138 | 6 | bdl |
| LL3D | 1232 | 72 | 483 | 21 | 35 | 13 | 37 | 97 | 2381 | 894 | 909 | 65 | 127 | bql | bql | 85 | 437 | 10 | bdl |
| LL3E | 646 | 99 | 1648 | 20 | 45 | bql | 93 | 107 | 1727 | 898 | 1643 | 129 | 288 | 9 | bql | 190 | 1198 | 27 | bdl |
| LL3F | 494 | 106 | bdl | 28 | 92 | 8 | 105 | 241 | 4094 | 746 | 4777 | 301 | 220 | 25 | bql | 118 | 2040 | 51 | bdl |
| LL3G | 3198 | 47 | 260 | 16 | 43 | bql | 11 | 531 | 1076 | 226 | 1772 | 23 | 12 | bdl | bdl | 30 | 496 | 5 | bdl |
| BS1A | 82 | bql | bdl | bdl | bql | bql | 2 | bdl | bdl | 61 | bdl | bdl | bdl | bdl | bql | 29 | bql | 9 | bql |
| BS1B | 398 | bql | 520 | 51 | 93 | bql | 71 | 92 | 3615 | 424 | 318 | bql | bdl | bdl | 29 | 57 | bql | 21 | bql |
| BS1C | 309 | bql | 410 | 52 | 109 | 140 | 184 | 64 | 1336 | 232 | 67 | 28 | 6 | bdl | 57 | 27 | bql | 15 | bql |
| BS1D | 107 | bql | 629 | 76 | 102 | 71 | 160 | 102 | 1205 | 310 | 163 | 45 | 10 | bdl | 27 | 170 | bql | 13 | bql |
| BS1E | 303 | 108 | 1095 | 69 | 106 | 51 | 252 | 73 | 8273 | 2491 | 249 | 212 | 5 | bdl | 170 | 223 | bql | 11 | bql |
| BS2A | 24 | bdl | bql | bql | bdl | bdl | bdl | 53 | blq | bql | 61 | bdl | bdl | bdl | bdl | bdl | bql | bql | bdl |
| BS2B | 30 | bql | bdl | bql | 17 | bdl | 9 | 18 | 705 | 27 | 134 | 274 | 26 | 8 | 43 | 10 | 394 | 12 | bdl |
| BS2C | 13 | bql | bdl | bql | 12 | bql | 8 | 6 | 560 | 31 | 1080 | 112 | 20 | bdl | bdl | bdl | 140 | bdl | bdl |
| BS2D | 17 | bql | 178 | bql | 15 | bql | 19 | 7 | 314 | 34 | 62 | 199 | 31 | bdl | bdl | 13 | bdl | bdl | bdl |
| BS2E | 32 | bql | 349 | 14 | 24 | 6 | 41 | 17 | 795 | 142 | 139 | 267 | 147 | bdl | bdl | 5 | 209 | bdl | bdl |
| BS3A | 452 | bql | 3745 | 34 | 73 | bql | 90 | 12 | 2366 | 391 | 342 | 62 | 33 | bql | bql | 39 | 233 | 31 | bql |
| BS3B | 87 | bql | 3103 | 54 | 135 | 162 | 196 | 26 | 3110 | 234 | 197 | 665 | 137 | 6 | bql | 34 | 466 | 13 | bdl |
| BS3C | 100 | bql | 2859 | 73 | 122 | 77 | 220 | 13 | 3285 | 370 | 175 | 372 | 62 | bql | bql | 28 | 975 | 34 | bdl |
| BS3D | 107 | 76 | 2858 | 50 | 96 | 46 | 273 | 23 | 1925 | 3242 | 1150 | 334 | 244 | 15 | bql | 69 | 1289 | 35 | bdl |
| BS3E | 89 | 106 | 2132 | 60 | 99 | 35 | 334 | 25 | 1707 | 4576 | 380 | 417 | 349 | 7 | bql | 106 | 2032 | 33 | bdl |

Table SI3. (cont). Concentrations of all 78 pharmaceuticals and metabolite in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (ng L-1) | Pentoxifylline | Diazepam | Vildagliptin | Verapamil | Rosuvastatin | Clarithromycin | Oxolinic Acid | Gabapentin | Citalopram | Topiramate | Donepezil | Pantoprazole | Tiotropium | Fluticasone | Diflubenzuron | Doxycycline | Caffeine | Lidocaine | Sulfapyridine | Scopolamine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | C04AD03 | N05BA01 | A10BH02 | C08DA01 | C10BA06 | J01FA09 | J01MB05 | N03AX12 | N06AB04 | N03AX11 | N06DA02 | A02BC02 | R03BB04 | R03BA05 | QP53BC02 | J01AA02 | N06BC01 | C01BB01 | J01EB04 | A04AD01 |
| LL1A | 4 | bdl | 18 | 6 | bdl | 4 | bql | 48 | 8 | 22 | 6 | bdl | bdl | 323 | bql | bdl | 214 | 6 | 939 | 2 |
| LL1B | bql | bdl | 5 | 2 | bdl | 1 | bql | 35 | 4 | bql | bdl | bdl | bdl | 331 | bql | bdl | 104 | 3 | 1967 | bql |
| LL1C | 5 | bdl | 18 | 1 | bdl | 2 | bql | 174 | 9 | 63 | 1 | bdl | bdl | 387 | bdl | bdl | 207 | 22 | 1614 | bql |
| LL1D | 7 | bdl | 27 | 61 | bdl | 18 | 4 | 250 | 48 | 93 | 26 | bdl | bdl | 389 | bql | bdl | 358 | 37 | 781 | 2 |
| LL1E | 9 | bql | 23 | 4 | bdl | 10 | 4 | 274 | 20 | 78 | 2 | bdl | bdl | 410 | bdl | bdl | 320 | 44 | 584 | bql |
| LL1F | 50 | 49 | 618 | 2 | 74 | 85 | 4 | 1110 | 57 | 315 | 1 | bdl | bdl | 373 | bdl | bdl | 555 | 504 | 298 | 2 |
| LL1G | 9 | bdl | 30 | 1 | bdl | 9 | 9 | 236 | 13 | 101 | bdl | bdl | bdl | 402 | bql | bdl | 319 | 66 | 3090 | bdl |
| LL2A | 5 | 4 | 22 | 1 | bql | 3 | bdl | 119 | 17 | 24 | 2 | 98 | bql | bql | bdl | bql | 279 | 8 | 22 | 2 |
| LL2B | 4 | 5 | 11 | 49 | bql | 33 | 15 | 66 | 24 | 960 | 68 | 232 | bql | bdl | bql | bql | 238 | 8 | 96 | 4 |
| LL2C | 3 | 5 | 26 | 2 | bql | 5 | 15 | 93 | 35 | 700 | 3 | 132 | bdl | bdl | bql | bql | 262 | 18 | 22 | bql |
| LL2D | 12 | 2 | 43 | 1 | bql | 5 | 22 | 158 | 20 | 317 | 4 | 147 | 7 | bdl | bql | 35 | 337 | 77 | 50 | 3 |
| LL2E | 5 | 10 | 20 | 4 | bql | 9 | 11 | 53 | 57 | 479 | 4 | 44 | bdl | bdl | 26 | bql | 140 | 30 | 21 | bql |
| LL2F | 56 | 114 | 154 | 2 | 11 | 31 | bdl | 282 | 141 | 101 | 2 | 187 | 9 | bdl | bql | bql | 550 | 562 | 81 | 2 |
| LL2G | 4 | 13 | 25 | bdl | bdl | 1 | bql | 34 | 6 | 37 | 1 | bdl | bdl | bdl | bql | bql | 36 | 44 | 7 | bdl |
| LL3A | 7 | 4 | 19 | 80 | bql | 87 | bdl | 114 | 24 | 87 | 118 | bdl | bdl | bql | bdl | bql | 373 | 10 | 28 | 2 |
| LL3B | 3 | 4 | 9 | 1 | bql | 5 | bql | 69 | 11 | 110 | 3 | 60 | bdl | bql | bdl | bdl | 487 | 10 | 17 | 2 |
| LL3C | 6 | 6 | 38 | 2 | bql | 9 | bdl | 146 | 46 | 100 | 3 | 120 | bdl | bql | bdl | bdl | 297 | 52 | 43 | bql |
| LL3D | 13 | 7 | 41 | 3 | bql | 16 | bql | 198 | 43 | 813 | 5 | 93 | bql | bql | bdl | bql | 750 | 82 | 31 | 2 |
| LL3E | 43 | 40 | 93 | 2 | bql | 18 | bql | 302 | 52 | 148 | 3 | 574 | 7 | bdl | bdl | bql | 1231 | 248 | 124 | 3 |
| LL3F | 38 | 59 | 101 | 3 | 9 | 26 | bql | 293 | 109 | 47 | 4 | 634 | 7 | bdl | bdl | 17 | 863 | 417 | 69 | 3 |
| LL3G | 5 | 9 | 37 | 1 | bql | 7 | 7 | 153 | 13 | 493 | 3 | 240 | bdl | bql | bdl | bql | 276 | 156 | 38 | 4 |
| BS1A | bql | bdl | bdl | bdl | bql | 17 | bdl | 5 | bdl | bdl | bdl | bdl | 268 | bdl | bdl | 32 | 5 | 203 | 5 | 14 |
| BS1B | 13 | 58 | bdl | 4 | 74 | 1 | 260 | 70 | 237 | 24 | 3 | bql | 198 | bdl | bql | 289 | 203 | 378 | 7 | 177 |
| BS1C | 5 | 56 | bdl | 8 | 46 | 2 | 255 | 79 | 225 | 57 | 4 | bql | 216 | bql | bql | 182 | 378 | 357 | bql | 281 |
| BS1D | 10 | 73 | bdl | 16 | 38 | 2 | 266 | 78 | 296 | 48 | 6 | bql | 135 | bql | bql | 269 | 357 | 335 | 7 | 90 |
| BS1E | 7 | 91 | bdl | 17 | 49 | 1 | 578 | 84 | 380 | 18 | 3 | 4 | 173 | bdl | bql | 1457 | 335 | 333 | 3 | 77 |
| BS2A | bql | bql | bdl | 7 | bdl | bdl | bdl | bdl | bql | 63 | 2 | bdl | bql | bdl | bdl | bdl | 18 | 2 | 6 | bdl |
| BS2B | 12 | 13 | 12 | 18 | 7 | 52 | 97 | 24 | 42 | 110 | 2 | bdl | bdl | bdl | 514 | 57 | 112 | 95 | 31 | bql |
| BSC | 5 | 4 | bdl | 3 | bql | 2 | 9 | 12 | bdl | 31 | bql | bdl | bdl | bdl | 91 | bql | 32 | 5 | 19 | bdl |
| BS2D | 10 | 9 | bdl | bdl | bql | 1 | 18 | 9 | 3 | 482 | bql | bql | bdl | bdl | 203 | bql | 47 | 3 | 23 | bdl |
| BS2E | 165 | 17 | 2 | 6 | bql | 2 | bql | 22 | 2 | 94 | bql | bdl | bdl | bdl | bdl | bdl | 248 | 7 | 44 | bdl |
| BS3A | 15 | 12 | 51 | 11 | 17 | 75 | bql | 153 | 76 | 340 | 3 | bql | bql | bdl | bdl | bdl | 36 | 26 | 11 | 1 |
| BS3B | 88 | 23 | 40 | bdl | bdl | 71 | bql | 132 | 95 | 206 | 2 | bql | bdl | bdl | bdl | bdl | 187 | 808 | 40 | bql |
| BS3C | 74 | 17 | 68 | 1 | 31 | 58 | bql | 140 | 88 | 383 | 2 | 32 | bql | bdl | bdl | bdl | 130 | 779 | 63 | bql |
| BS3D | 161 | 21 | 73 | 1 | 69 | 47 | bql | 344 | 94 | 416 | 2 | 14 | bql | bql | bdl | bdl | 366 | 477 | 44 | bql |
| BS3E | 240 | 22 | 78 | 1 | 79 | 57 | bql | 487 | 108 | 387 | 3 | 24 | bql | bdl | bdl | bdl | 551 | 469 | 49 | bql |

Table SI3. (cont). Concentrations of all 78 pharmaceuticals and metabolite in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (ng L-1) | Norfloxacin | Ciprofloxacin | Amoxicillin | Levofloxacin | Enrofloxacin | Oxytetracycline | Trimethoprim | Sarafloxacin | Tylosin | Chlortetracycline | Memantine | 4-Aminoantipyrine | Fluoxetine | Megestrol | Losartan | Amiodarone | Antipyrine | Ifosfamide | Tramadol | Amitriptyline |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | S01AE02 | J01MA02 | J01CA04 | J01MA12 | QJ01MA90 | D06AA03 | J01EA01 | QJ01MA98 | QJ01FA90 | D06AA02 | N06DX01 | N02BB03 | N06AB03 | L02AB01 | C09CA01 | C01BD01 | N02BB01 | L01AA06 | N02AX02 | N06AA09 |
| LL1A | 867 | bdl | bdl | 49 | bdl | 53 | bdl | bdl | bql | bdl | bql | bql | 3 | 105 | bql | 181 | 22 | bql | 50 | 1220 |
| LL1B | 2792 | bdl | bdl | bql | bql | 56 | bdl | bdl | bdl | bql | bql | bql | 2 | 171 | 2 | 187 | 121 | bdl | 92 | 3397 |
| LL1C | 94 | bql | bdl | bql | bdl | 112 | bdl | bql | bdl | bdl | 4 | bql | 1 | 61 | bql | 181 | 607 | bql | 100 | 2107 |
| LL1D | bql | bql | bdl | 97 | bql | 76 | bdl | bdl | bdl | bql | 7 | 10 | 6 | 23 | 2 | 184 | 165 | bql | 195 | 2402 |
| LL1E | 173 | bql | bdl | 19 | bdl | 64 | bdl | bql | bdl | bdl | 6 | bql | 3 | 91 | bql | 190 | 221 | bdl | 198 | 2641 |
| LL1F | 119 | 96 | bdl | 39 | bdl | 104 | 12 | 31 | 20 | bdl | 37 | 52 | 1 | 341 | 48 | 156 | 505 | bql | 921 | 1483 |
| LL1G | 78 | bql | bdl | bql | bdl | 80 | bdl | bql | bdl | bql | 6 | 11 | 1 | 156 | bdl | 184 | 289 | bql | 212 | 2320 |
| LL2A | 31 | bql | bql | bql | 3 | bql | 8 | bdl | bdl | bdl | 7 | bql | 1 | bdl | 63 | bdl | bql | bql | 254 | 11 |
| LL2B | 168 | bql | bql | 86 | 4 | bql | 13 | bql | bql | bdl | 8 | bql | 66 | 29 | 30 | 46 | 36 | bql | 102 | 57 |
| LL2C | 1546 | bql | 14 | 45 | 5 | bql | 10 | bdl | bdl | bql | 7 | bql | 5 | 19 | 94 | bql | bql | 4 | 355 | 10 |
| LL2D | 173 | bql | bdl | 92 | 9 | bql | 28 | 67 | bdl | bql | 11 | 42 | 5 | bql | 159 | bql | 114 | 4 | 575 | 7 |
| LL2E | 56 | bql | bdl | bql | 5 | bql | bql | bdl | bdl | bdl | 5 | bql | 11 | bql | 374 | bql | 38 | bql | 206 | 222 |
| LL2F | 81 | bql | 31 | 57 | 23 | bql | 275 | bdl | bql | bdl | 33 | 228 | 9 | 61 | 1171 | bql | 228 | 4 | 1456 | 31 |
| LL2G | 20 | bql | bdl | bql | 3 | bql | 14 | bdl | bql | bdl | 10 | bql | 1 | bql | 234 | bql | 70 | bql | 277 | 2 |
| LL3A | 45 | bdl | bdl | bql | bql | bql | bql | bql | bql | bdl | 4 | bql | 58 | 106 | 65 | bql | 20 | 3 | 172 | 27 |
| LL3B | 243 | bql | 16 | 55 | 7 | 43 | 9 | bdl | bdl | bdl | 7 | bql | 2 | 19 | 34 | bdl | bdl | bdl | 93 | bdl |
| LL3C | 119 | bdl | 20 | bql | 3 | 47 | bql | bdl | bdl | bdl | 9 | 12 | 7 | 16 | 124 | 34 | 38 | 3 | 220 | 15 |
| LL3D | 127 | bql | 42 | 63 | 5 | 68 | 13 | bql | bql | bdl | 11 | 32 | 7 | 19 | 341 | bql | 58 | 3 | 289 | bdl |
| LL3E | 128 | bql | 55 | 83 | 9 | 106 | 30 | bdl | bql | bdl | 23 | 106 | 5 | 18 | 733 | bql | 97 | 3 | 570 | 169 |
| LL3F | 247 | bql | 27 | 118 | 11 | 118 | 49 | bql | bql | bdl | 30 | 177 | 18 | 18 | 960 | bql | 129 | bql | 640 | 58 |
| LL3G | 198 | bql | 12 | 54 | 3 | bdl | bql | bdl | bdl | bdl | 7 | 482 | 6 | 22 | 238 | bql | 83 | 3 | 343 | 5 |
| BS1A | 177 | bdl | bql | bdl | bdl | bql | bdl | bdl | 29 | bql | bdl | bql | bdl | bql | 83 | bql | bql | bdl | bdl | bdl |
| BS1B | 281 | bql | 29 | bql | 8 | 41 | bql | bql | bql | bql | 73 | bql | 441 | 228 | 64 | 62 | bql | 909 | 33 | 311 |
| BS1C | 90 | bql | 38 | bql | 4 | bql | bql | bql | bql | bql | 196 | 10 | 416 | 349 | 73 | 104 | bql | 653 | 29 | 349 |
| BS1D | 77 | bql | 42 | bql | 3 | 48 | bql | bql | bql | bql | 434 | 13 | 338 | 376 | 59 | 88 | bql | 697 | 32 | 499 |
| BS1E | 73 | bql | 56 | bql | bdl | 47 | bql | bql | bql | bql | 97 | bdl | 431 | 580 | 62 | 87 | bql | 802 | 28 | 517 |
| BS2A | 82 | bdl | bdl | bql | bdl | bdl | bdl | bdl | bdl | bdl | bql | bdl | bdl | bdl | bdl | bdl | bdl | bdl | 6 | 4 |
| BS2B | 111 | 95 | bdl | bql | 72 | 46 | 14 | 25 | bql | bql | 16 | bql | 4 | bdl | 367 | 29 | 63 | 17 | 195 | 12 |
| BS2C | 39 | 106 | bdl | bdl | bdl | bdl | bql | bdl | bdl | bql | 51 | bql | bdl | bql | 74 | bql | 36 | bql | 11 | 4 |
| BS2D | 58 | 98 | bdl | bdl | bdl | bdl | bdl | bdl | bdl | bql | 36 | bql | bdl | bdl | 72 | bdl | 38 | bql | 17 | 3 |
| BS2E | 77 | 97 | bdl | bql | 4 | bdl | bql | bdl | bdl | bdl | 33 | bql | bdl | bdl | 125 | 14 | 36 | bdl | 13 | 5 |
| BS3A | 144 | bql | bdl | 49 | 39 | bql | 42 | bql | bql | bql | 39 | 91 | 5 | bdl | 163 | bdl | 122 | bql | 448 | 14 |
| BS3B | 356 | bql | 45 | 56 | 10 | bql | 52 | bql | bql | bql | 1705 | 234 | 20 | 21 | 734 | bql | 165 | bql | 969 | 42 |
| BS3C | 679 | bql | 35 | 68 | 9 | bql | 45 | bql | bql | bql | 1643 | 257 | 21 | bql | 576 | 65 | 153 | bql | 1114 | 46 |
| BS3D | 658 | bql | 11 | 46 | 4 | 50 | 34 | bql | bql | bql | 952 | 146 | 22 | bql | 664 | bql | 165 | 3 | 972 | 54 |
| BS3E | 1069 | bql | 22 | 102 | 10 | 88 | 43 | bql | bql | bql | 935 | 130 | 23 | bdl | 767 | bql | 182 | 4 | 1001 | 54 |

Table SI3. (cont). Concentrations of all 78 pharmaceuticals and metabolite in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (ng L-1) | Venlafaxine | Prednisone | Trazodone | Manidipine | Flumequine | Erythromycin | Naproxen | Gemfibrozil | Chloroquine | Hydroxichloroquine | Capecitabine | Fenofibrate | Tamoxifen | Quetiapine | Dexomethasone | Atorvastatin | Remedesivir | Lopinivir | Ritonavir |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | N06AX16 | S02BA03 | N06AX05 | C08CA11 | J01MB07 | J01FA01 | M01AE02 | C10AB04 | P01BA01 | P01BA02 | L01BC06 | C10BA03 | L02BA01 | N05AH04 | H02AB02 | C10AA05 | J05AB16 | J05AR10 | J05AE03 |
| LL1A | 47 | 117 | 1 | bdl | bql | bdl | bql | 192 | 17 | bql | bdl | 41 | bdl | 5 | bdl | bdl | bdl | bdl | bdl |
| LL1B | 22 | bql | 1 | bdl | bdl | bdl | bdl | 174 | 35 | 15 | bdl | 42 | bdl | bdl | bdl | bdl | bdl | bdl | bdl |
| LL1C | 79 | 92 | 4 | bdl | bdl | bdl | bdl | 250 | 39 | 9 | bdl | 43 | bdl | bql | bdl | bdl | bdl | bdl | bdl |
| LL1D | 151 | 47 | 7 | bdl | bdl | bdl | bdl | 308 | 17 | bql | 1 | 39 | bdl | bql | bdl | bdl | bdl | bdl | bdl |
| LL1E | 149 | 96 | 5 | bdl | bdl | bdl | 12 | bdl | 11 | bql | 1 | 33 | bdl | 2 | bdl | bdl | bdl | bdl | bdl |
| LL1F | 457 | 187 | 21 | bql | bdl | 548 | 144 | 233 | 1015 | bql | 8 | 34 | bdl | 15 | bdl | bdl | bdl | bdl | bdl |
| LL1G | 144 | 134 | 5 | bdl | bdl | bdl | 13 | 121 | 8 | bql | bdl | 37 | bdl | 2 | bdl | bdl | bdl | bdl | bdl |
| LL2A | 67 | bdl | 5 | bdl | 5 | bdl | 126 | 156 | bdl | bql | 9 | 13 | bdl | 4 | 189 | bdl | 2 | bdl | bql |
| LL2B | 32 | bdl | 5 | 5 | 19 | bql | 42 | 250 | 44 | 96 | bdl | 13 | bdl | bdl | 155 | bql | 28 | 16 | 17 |
| LL2C | 120 | bdl | 9 | bql | bdl | bql | 80 | 279 | bql | 10 | bdl | 13 | bdl | 3 | 102 | 3 | bql | 7 | 7 |
| LL2D | 196 | bdl | 17 | bql | 23 | bql | 75 | bdl | 8 | bql | 1 | bdl | bdl | 3 | 67 | 10 | 2 | bql | bdl |
| LL2E | 78 | bdl | 22 | bql | 10 | bql | 144 | 244 | bql | 13 | 1 | 14 | bql | 13 | 116 | 21 | 4 | 2 | 3 |
| LL2F | 247 | bdl | 33 | bql | 18 | 289 | 341 | 519 | 4 | bdl | 10 | 4 | bdl | 18 | 363 | 72 | 2 | bql | bql |
| LL2G | 44 | bdl | 1 | bdl | 8 | bql | bql | 220 | bdl | bdl | 1 | 7 | bdl | 2 | 60 | bdl | bdl | 2 | bql |
| LL3A | 79 | bql | 4 | bql | bdl | bql | 165 | bdl | 97 | 30 | bdl | 14 | bdl | 5 | 168 | bql | 89 | 92 | 92 |
| LL3B | 51 | 135 | 6 | bdl | bdl | bql | 113 | 157 | 35 | 13 | bdl | 12 | bdl | 4 | 550 | bql | bql | 6 | bdl |
| LL3C | 173 | bdl | 13 | bql | bdl | bql | 140 | 596 | 14 | 9 | bdl | 12 | bql | 3 | 482 | 6 | 3 | 11 | 4 |
| LL3D | 201 | bdl | 13 | bdl | bdl | bql | 257 | 432 | 78 | bql | 4 | 19 | bql | 8 | 530 | 15 | 5 | 14 | 3 |
| LL3E | 283 | 267 | 24 | bdl | bdl | 204 | 716 | 1431 | 63 | bdl | 5 | 14 | bql | 11 | 478 | 39 | 2 | 13 | bdl |
| LL3F | 275 | bdl | 55 | bql | bdl | 285 | 819 | 1968 | 28 | bdl | 5 | 23 | bql | 46 | 658 | 68 | 5 | 47 | 8 |
| LL3G | 71 | bdl | 8 | bql | bdl | bql | 187 | 669 | 36 | bql | 1 | 11 | bql | 5 | 469 | bql | 3 | 34 | 3 |
| BS1A | bdl | bql | bdl | 19 | bdl | bdl | 214 | 407 | 28 | 9 | 10 | 19 | bdl | 2 | 4 | 10 | 8 | 11 | 4 |
| BS1B | 171 | bql | 4 | bql | 549 | bdl | 112 | 458 | 15 | bql | 6 | 11 | bdl | bql | bql | 35 | bdl | 5 | bdl |
| BS1C | 142 | bql | 5 | 5 | 447 | bdl | 191 | 584 | 30 | bql | 4 | 9 | bdl | bql | 11 | 43 | bql | 6 | bql |
| BS1D | 121 | bql | 4 | bql | 432 | bdl | 610 | 604 | 20 | 11 | 7 | 8 | bdl | 2 | 17 | 56 | bdl | 3 | bdl |
| BS1E | 134 | 48 | 6 | bql | 499 | bdl | 512 | 348 | 7 | bql | 7 | 10 | bdl | 2 | bql | 23 | bdl | 4 | bdl |
| BS2A | bql | bdl | 1 | bdl | bdl | bdl | bdl | bdl | 28 | 15 | 2 | bdl | bdl | bdl | bdl | bdl | bdl | bdl | bdl |
| BS2B | 156 | 30 | 14 | bdl | 95 | bdl | 56 | 196 | 24 | 36 | 4 | bql | 18 | bdl | 26 | bdl | 4 | bdl | 34 |
| BS2C | 6 | bdl | 3 | bdl | 11 | bdl | 50 | 421 | 13 | 19 | 2 | bql | 83 | bdl | 14 | bdl | 30 | bdl | 31 |
| BS2D | 6 | bdl | 2 | bdl | 18 | bdl | 76 | 415 | 5 | 14 | 1 | 5 | 14 | bdl | 33 | bdl | 21 | bdl | 16 |
| BS2E | 9 | bdl | 5 | bdl | bdl | bql | 641 | 508 | 5 | 9 | 1 | 7 | bql | bdl | 156 | bdl | 108 | bdl | 42 |
| BS3A | 358 | bdl | 39 | bdl | 7 | 429 | 125 | 388 | 26 | 13 | 1 | 17 | 5 | bdl | 42 | 3 | 16 | bdl | 15 |
| BS3B | 653 | bdl | 47 | bdl | 9 | 223 | 182 | 2862 | 12 | 10 | 1 | 20 | 5 | bdl | 34 | 5 | 194 | bql | 19 |
| BS3C | 734 | 54 | 114 | bdl | bql | 277 | 1197 | 1661 | 23 | 15 | 1 | 13 | 10 | bdl | 13 | 6 | 188 | bdl | 12 |
| BS3D | 698 | 89 | 46 | bdl | bql | 132 | 776 | 1632 | 24 | 15 | 1 | 13 | 108 | 3 | 87 | bql | 220 | bdl | 16 |
| BS3E | 765 | bdl | 64 | bdl | bql | 177 | 1174 | 1393 | 20 | 13 | 1 | 16 | bql | 5 | 105 | 4 | 225 | bql | 32 |

Table SI4. List of compounds by cluster. The center columns indicate whether the median concentration exceeds 10 ng L-1 (p-value higher than 0.05 at Wilcoxon exact test), red means this limit is exceeded in both rivers, green that is only exceeded in Besòs, and blue, only in Llobregat. P-value not available (p-n.a). <LOQ: below quantification limit. Pharmaceuticals with non-significant p-value are not marked with any colour.

|  | Besòs |  |  |  | Llobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 1 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Acetaminophen | 99 | <0.001 |  |  | 564 | <0.001 |
| Amylmetacresol | 220 | 0.001 |  |  | 94 | 0.002 |
| Caffeine | 193 | <0.001 |  |  | 329 | <0.001 |
| Gabapentin | 78 | 0.002 |  |  | 163 | <0.001 |
| Gemfibrozil | 526 | <0.001 |  |  | 265 | <0.001 |
| Guanylurea | 1640 | <0.001 |  |  | 1644 | <0.001 |
| Ibuprofen | 205 | <0.001 |  |  | 1658 | <0.001 |
| Lidocaine | 245 | 0.002 |  |  | 52 | 0.001 |
| Metformin | 272 | <0.001 |  |  | 478 | <0.001 |
| Norfloxacin | 180 | <0.001 |  |  | 144 | <0.001 |
| Rasagiline | 1198 | 0.001 |  |  | 310 | 0.001 |
| Topiramate | 194 | 0.001 |  |  | 189 | <0.001 |
| Tramadol | 235 | 0.002 |  |  | 272 | <0.001 |
| Venlafaxine | 212 | 0.006 |  |  | 126 | <0.001 |
| CLUSTER 2 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Atenolol | 122 | 0.003 |  |  | 16 | 0.002 |
| Ciprofloxacin | 53 | 0.001 |  |  | 18 | 0.149 |
| Dexamethasone | 24 | 0.008 |  |  | 235 | 0.001 |
| Diclofenac | 188 | 0.001 |  |  | 27 | 0.077 |
| Losartan | 220 | <0.001 |  |  | 132 | 0.001 |
| Memantine | 235 | 0.001 |  |  | 8 | 0.867 |
| Mycophenolic acid | 35 | 0.012 |  |  | 18 | 0.044 |
| Naproxen | 355 | <0.001 |  |  | 109 | 0.001 |
| Sulfamethoxazole | 62 | 0.002 |  |  | 26 | <0.001 |
| CLUSTER 3 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Amiodarone | 32 | 0.174 |  |  | 83 | 0.082 |
| Amitriptyline | 48 | 0.025 |  |  | 638 | 0.001 |
| Antipyrine | 64 | 0.014 |  |  | 101 | <0.001 |
| Citalopram | 94 | 0.006 |  |  | 30 | <0.001 |
| Cloperastine | 33 | 0.004 |  |  | 181 | <0.001 |
| Fluticasone | <LOQ | p-n.a. |  |  | 166 | 0.351 |
| Levetiracetam | 36 | 0.003 |  |  | 49 | <0.001 |
| Levofloxacin | 28 | 0.012 |  |  | 27 | <0.001 |
| Megestrol | <LOQ | p-n.a. |  |  | 45 | <0.001 |
| Oxytetracycline | 27 | 0.007 |  |  | 54 | <0.001 |
| Pregabalin | <LOQ | p-n.a.. |  |  | <LOQ | p-n.a. |
| Sulfadiazine | 37 | 0.011 |  |  | 51 | 0.001 |
| Sulfapyridine | 23 | 0.032 |  |  | 183 | <0.001 |

|  | Besòs |  |  |  | Llobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 4 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Aminoantipyrine | 49 | 0.295 |  |  | 21 | 0.266 |
| Chloroquine | 19 | 0.003 |  |  | 25 | 0.01 |
| Chlorpheniramine | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Chlortetracycline | 14 | 0.205 |  |  | <LOQ | p-n.a. |
| Clarithromycin | 27 | 0.189 |  |  | 12 | 0.289 |
| Erithromycin | 69 | 0.399 |  |  | <LOQ | p-n.a. |
| Fenofibrate | 10 | 0.421 |  |  | 21 | 0.002 |
| Hydroxychloroquine | 12 | 0.091 |  |  | <LOQ | p-n.a. |
| Pantoprazole | <LOQ | p-n.a. |  |  | 82 | 0.007 |
| Pentoxifylline | 41 | 0.122 |  |  | 8 | 0.851 |
| Prednisone | <LOQ | p-n.a. |  |  | 48 | 0.044 |
| Propanolol | 15 | 0.082 |  |  | 7 | 0.888 |
| Trazodone | 22 | 0.356 |  |  | 10 | 0.5 |
| Vildagliptin | 20 | 0.377 |  |  | 30 | <0.001 |
| CLUSTER 5 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Amoxicillin | 20 | 0.082 |  |  | <LOQ | p-n.a. |
| Atorvastatin | 6 | 0.623 |  |  | 4 | 0.881 |
| Diazepam | 20 | 0.012 |  |  | 6 | 0.881 |
| Doxycycline | 30 | 0.205 |  |  | <LOQ | p-n.a. |
| Flumequine | 48 | 0.275 |  |  | <LOQ | p-n.a. |
| Fluoxetine | 21 | 0.037 |  |  | 5 | 0.983 |
| Gemcitabine | 32 | 0.091 |  |  | <LOQ | p-n.a. |
| Ifosfamide | 9 | 0.579 |  |  | <LOQ | p-n.a. |
| Oxolinic acid | 50 | 0.295 |  |  | <LOQ | p-n.a. |
| Rosuvastatin | 25 | 0.074 |  |  | <LOQ | p-n.a. |
| Scopolamine | 8 | 0.623 |  |  | <LOQ | p-n.a. |
| Tetracycline | 14 | 0.399 |  |  | <LOQ | p-n.a. |
| Tiotropium | 68 | 0.399 |  |  | <LOQ | p-n.a. |

Table SI4 (cont). List of compounds by cluster. The center columns indicate whether the median concentration exceeds 10 ng L-1 (p-value higher than 0.05 at Wilcoxon exact test), red means this limit is exceeded in both rivers, green that is only exceeded in Besòs, and blue, only in Llobregat. P-value not available (p-n.a). <LOQ: below quantification limit. Pharmaceuticals with non-significant p-value are not marked with any colour.

|  | Besòs |  |  |  | LLobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 6 | Median (ng L-1) | p-value |  |  | Median (ng L-1) | p-value |
| Bicalutamide | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Capecitabine | 3 | 1.000 |  |  | 1 | 1.000 |
| Diflubenzuron | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Donepezil | 2 | 1 |  |  | 3 | 0.974 |
| Enrofloxacin | 5 | 0.953 |  |  | 4 | 0.999 |
| Lopinavir | 2 | 1.000 |  |  | 7 | 0.928 |
| p-n.a.Manidipine | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Quetiapine | <LOQ | p-n.a. |  |  | 5 | 0.994 |
| Remdesivir | 55 | 0.066 |  |  | <LOQ | p-n.a. |
| Ritonavir | 16 | 0.239 |  |  | <LOQ | p-n.a. |
| Sarafloxacin | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Tamoxifen | 5 | 0.889 |  |  | <LOQ | p-n.a. |
| Trimethoprim | 18 | 0.377 |  |  | 8 | 0.711 |
| Tylosin | <LOQ | p-n.a. |  |  | <LOQ | p-n.a. |
| Verapamil | 5 | 0.983 |  |  | 2 | 0.974 |

Table SI5. Risk quotient (RQ) of each pharmaceutical and metabolite with concentrations surpassing EMA threshold (10 ng L-1) in at least one river by sampling point and date. EC50 values not available (n.a) and not detected because result was below MDL (n.d).

|  | Acetaminophen | Rasagiline | Sulfadiazina | Sulfamethoxazole | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Levetiracetam | Amylmetacresol | Diazepam | Vildagliptin | Gabapentin | Citalopram | Topiramate | Pantoprazole | Caffeine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LL1A | 0.0054 | n.a | 0.0015 | 0.0003 | 0.00005 | n.a | n.a | 0.0047 | 0.0729 | 0.00001 | 0.00001 | 0.0002 | 0.0094 | n.d | n.a | 0.0005 | 0.0003 | n.a | n.a | 0.0013 |
| LL1B | 0.0010 | n.a | 0.0014 | 0.00003 | 0.00001 | n.a | n.a | 0.0017 | 0.0677 | 0.00001 | 0.000005 | 0.0001 | 0.0129 | n.d | n.a | 0.0004 | 0.0001 | n.a | n.a | 0.0006 |
| LL1C | 0.0048 | n.a | 0.0008 | 0.0007 | 0.00003 | n.a | n.a | 0.0013 | 0.0755 | 0.000003 | 0.00001 | 0.0005 | 0.0087 | n.d | n.a | 0.0017 | 0.0003 | n.a | n.a | 0.0013 |
| LL1D | 0.0046 | n.a | 0.0007 | 0.0006 | 0.0001 | n.a | n.a | 0.0016 | 0.0746 | 0.00002 | 0.00002 | 0.0007 | 0.0187 | n.d | n.a | 0.0025 | 0.0016 | n.a | n.a | 0.0022 |
| LL1E | 0.0052 | n.a | 0.0006 | 0.0009 | 0.00004 | n.a | n.a | 0.0014 | 0.0836 | 0.00001 | 0.00003 | 0.0007 | 0.0084 | 0.00004 | n.a | 0.0027 | 0.0007 | n.a | n.a | 0.0020 |
| LL1F | 0.0014 | n.a | 0.0004 | 0.0031 | 0.0004 | n.a | n.a | 0.0027 | 0.0683 | 0.00003 | 0.0009 | 0.0015 | 0.0190 | 0.0035 | n.a | 0.0111 | 0.0020 | n.a | n.a | 0.0034 |
| LL1G | 0.0058 | n.a | 0.0005 | 0.0008 | 0.0000 | n.a | n.a | 0.0020 | 0.0839 | 0.00003 | 0.00001 | 0.0003 | 0.0145 | 0.00002 | n.a | 0.0024 | 0.0004 | n.a | n.a | 0.0020 |
| LL2A | 0.0077 | n.a | n.d | 0.0008 | 0.00002 | n.a | n.a | 0.0143 | 0.0105 | 0.0001 | 0.0001 | 0.0004 | 0.0563 | 0.0003 | n.a | 0.0012 | 0.0006 | n.a | n.a | 0.0017 |
| LL2B | 0.0050 | n.a | 0.0000 | 0.0004 | 0.00004 | n.a | n.a | 0.0048 | 0.0105 | 0.0001 | 0.0001 | 0.0005 | n.d | 0.0004 | n.a | 0.0007 | 0.0008 | n.a | n.a | 0.0015 |
| LL2C | 0.0048 | n.a | 0.0001 | 0.0011 | 0.00003 | n.a | n.a | 0.0131 | 0.0323 | 0.0002 | 0.0001 | 0.0002 | 0.1823 | 0.0003 | n.a | 0.0009 | 0.0012 | n.a | n.a | 0.0016 |
| LL2D | 0.0064 | n.a | 0.0002 | 0.0018 | 0.0001 | n.a | n.a | 0.0112 | 0.0069 | 0.0006 | 0.0003 | 0.0003 | n.d | 0.0001 | n.a | 0.0016 | 0.0007 | n.a | n.a | 0.0021 |
| LL2E | 0.0019 | n.a | 0.0000 | 0.0011 | 0.00003 | n.a | n.a | 0.0029 | 0.0091 | 0.0009 | 0.0003 | 0.0001 | 0.0622 | 0.0007 | n.a | 0.0005 | 0.0020 | n.a | n.a | 0.0009 |
| LL2F | 0.0338 | n.a | 0.0003 | 0.0055 | 0.0006 | n.a | n.a | 0.0141 | 0.0172 | 0.0049 | 0.0033 | 0.0009 | 0.3552 | 0.0082 | n.a | 0.0028 | 0.0049 | n.a | n.a | 0.0034 |
| LL2G | 0.0009 | n.a | 0.0001 | 0.0006 | 0.00005 | n.a | n.a | 0.0008 | 0.0129 | 0.0001 | n.d | 0.00004 | n.d | 0.0009 | n.a | 0.0003 | 0.0002 | n.a | n.a | 0.0002 |
| LL3A | 0.0000 | n.a | 0.00002 | 0.0008 | 0.00005 | n.a | n.a | 0.0126 | 0.0124 | 0.0001 | 0.0002 | 0.0003 | 0.1564 | 0.0003 | n.a | 0.0011 | 0.0008 | n.a | n.a | 0.0023 |
| LL3B | 0.0209 | n.a | 0.0001 | 0.0003 | 0.00003 | n.a | n.a | 0.0114 | 0.0106 | 0.00005 | 0.0002 | 0.0004 | n.d | 0.0003 | n.a | 0.0007 | 0.0004 | n.a | n.a | 0.0030 |
| LL3C | 0.0065 | n.a | 0.0001 | 0.0009 | 0.0001 | n.a | n.a | 0.0102 | 0.0136 | 0.0003 | 0.0003 | 0.0003 | 0.1382 | 0.0004 | n.a | 0.0015 | 0.0016 | n.a | n.a | 0.0018 |
| LL3D | 0.0123 | n.a | 0.0001 | 0.0014 | 0.0001 | n.a | n.a | 0.0140 | 0.0233 | 0.0005 | 0.0013 | 0.0008 | 0.4371 | 0.0005 | n.a | 0.0020 | 0.0015 | n.a | n.a | 0.0047 |
| LL3E | 0.0065 | n.a | 0.0001 | 0.0018 | 0.0003 | n.a | n.a | 0.0140 | 0.0421 | 0.0010 | 0.0029 | 0.0019 | 1.1976 | 0.0028 | n.a | 0.0030 | 0.0018 | n.a | n.a | 0.0076 |
| LL3F | 0.0049 | n.a | 0.0001 | 0.0036 | 0.0003 | n.a | n.a | 0.0117 | 0.1225 | 0.0024 | 0.0022 | 0.0012 | 2.0397 | 0.0042 | n.a | 0.0029 | 0.0038 | n.a | n.a | 0.0054 |
| LL3G | 0.0320 | n.a | 0.0001 | 0.0017 | 0.00003 | n.a | n.a | 0.0035 | 0.0454 | 0.0002 | 0.0001 | 0.0003 | 0.4961 | 0.0007 | n.a | 0.0015 | 0.0004 | n.a | n.a | 0.0017 |
| BS1A | 0.0008 | n.a | n.d | 0.0000 | 0.00001 | n.a | n.a | 0.0010 | n.d | n.d | n.d | 0.0003 | 0.0034 | n.d | n.a | 0.0000 | n.d | n.a | n.a | 0.00003 |
| BS1B | 0.0040 | n.a | 0.0003 | 0.0037 | 0.0002 | n.a | n.a | 0.0066 | 0.0081 | 0.0001 | n.d | 0.0006 | 0.0228 | 0.0041 | n.a | 0.0007 | 0.0082 | n.a | n.a | 0.0013 |
| BS1C | 0.0031 | n.a | 0.0003 | 0.0043 | 0.0006 | n.a | n.a | 0.0036 | 0.0017 | 0.0002 | 0.0001 | 0.0003 | 0.0208 | 0.0040 | n.a | 0.0008 | 0.0078 | n.a | n.a | 0.0023 |
| BS1D | 0.0011 | n.a | 0.0004 | 0.0040 | 0.0005 | n.a | n.a | 0.0048 | 0.0042 | 0.0004 | 0.0001 | 0.0017 | 0.0221 | 0.0052 | n.a | 0.0008 | 0.0102 | n.a | n.a | 0.0022 |
| BS1E | 0.0030 | n.a | 0.0004 | 0.0042 | 0.0008 | n.a | n.a | 0.0389 | 0.0064 | 0.0017 | 0.00005 | 0.0022 | 0.0203 | 0.0065 | n.a | 0.0008 | 0.0131 | n.a | n.a | 0.0021 |
| BS2A | 0.0002 | n.a | 0.00002 | 0.000002 | 0.000001 | n.a | n.a | 0.0002 | 0.0016 | 0.000002 | 0.000002 | n.d | 0.0462 | 0.00004 | n.a | 0.00000 | 0.0000 | n.a | n.a | 0.0001 |
| BS2B | 0.0003 | n.a | 0.00003 | 0.0007 | 0.00003 | n.a | n.a | 0.0004 | 0.0034 | 0.0022 | 0.0003 | 0.0001 | 0.3937 | 0.0010 | n.a | 0.0002 | 0.0014 | n.a | n.a | 0.0007 |
| BS2C | 0.0001 | n.a | 0.00001 | 0.0005 | 0.00003 | n.a | n.a | 0.0005 | 0.0277 | 0.0009 | 0.0002 | n.d | 0.1404 | 0.0003 | n.a | 0.0001 | n.d | n.a | n.a | 0.0002 |
| BS2D | 0.0002 | n.a | 0.00004 | 0.0006 | 0.0001 | n.a | n.a | 0.0005 | 0.0016 | 0.0016 | 0.0003 | 0.0001 | n.d | 0.0007 | n.a | 0.0001 | 0.0001 | n.a | n.a | 0.0003 |
| BS2E | 0.0003 | n.a | 0.0001 | 0.0010 | 0.0001 | n.a | n.a | 0.0022 | 0.0036 | 0.0022 | 0.0015 | 0.00005 | 0.2086 | 0.0012 | n.a | 0.0002 | 0.0001 | n.a | n.a | 0.0015 |
| BS3A | 0.0045 | n.a | 0.0002 | 0.0029 | 0.0003 | n.a | n.a | 0.0061 | 0.0088 | 0.0005 | 0.0003 | 0.0004 | 0.2335 | 0.0009 | n.a | 0.0015 | 0.0026 | n.a | n.a | 0.0002 |
| BS3B | 0.0009 | n.a | 0.0003 | 0.0053 | 0.0006 | n.a | n.a | 0.0037 | 0.0051 | 0.0054 | 0.0014 | 0.0003 | 0.4657 | 0.0016 | n.a | 0.0013 | 0.0033 | n.a | n.a | 0.0012 |
| BS3C | 0.0010 | n.a | 0.0004 | 0.0049 | 0.0007 | n.a | n.a | 0.0058 | 0.0045 | 0.0030 | 0.0006 | 0.0003 | 0.9746 | 0.0012 | n.a | 0.0014 | 0.0030 | n.a | n.a | 0.0008 |
| BS3D | 0.0011 | n.a | 0.0003 | 0.0038 | 0.0009 | n.a | n.a | 0.0507 | 0.0295 | 0.0027 | 0.0024 | 0.0007 | 1.2886 | 0.0015 | n.a | 0.0034 | 0.0032 | n.a | n.a | 0.0023 |
| BS3E | 0.0009 | n.a | 0.0003 | 0.0039 | 0.0011 | n.a | n.a | 0.0715 | 0.0098 | 0.0034 | 0.0035 | 0.0011 | 2.0319 | 0.0016 | n.a | 0.0049 | 0.0037 | n.a | n.a | 0.0034 |

Table SI5. (cont). Risk quotient (RQ) of each pharmaceutical and metabolite with concentrations surpassing EMA threshold (10 ng L-1) in at least one river test by sampling point and date. EC50 values not available (n.a) and not detected because result was below MDL (n.d).

|  | Lidocaine | Norfloxacin | Ciprofloxacin | Levofloxacin | Oxytetracycline | Memantine | Fluoxetine | Megestrol | Losartan | Antipyrine | Tramadol | Amitriptyline | Venlafaxine | Prednisone | Sulfapyridine | Naproxen | Gemfibrozil | Chloroquine | Fenofibrate | Dexomethasone |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LL1A | 0.00002 | n.a | n.d | n.a | 0.0023 | n.a | 0.0006 | 0.0210 | 0.000004 | 0.0032 | 0.0007 | 0.0002 | 0.0003 | 0.00003 | n.a | 0.00003 | 0.0012 | 0.0044 | 0.0008 | n.d |
| LL1B | 0.00001 | n.a | n.d | n.a | 0.0025 | n.a | 0.0003 | 0.0341 | 0.00001 | 0.0178 | 0.0013 | 0.0007 | 0.0001 | 0.00001 | n.a | n.d | 0.0011 | 0.0093 | 0.0008 | n.d |
| LL1C | 0.0001 | n.a | 0.0123 | n.a | 0.0050 | n.a | 0.0003 | 0.0122 | 0.000002 | 0.0892 | 0.0014 | 0.0004 | 0.0005 | 0.00002 | n.a | n.d | 0.0016 | 0.0103 | 0.0009 | n.d |
| LL1D | 0.0001 | n.a | 0.0049 | n.a | 0.0034 | n.a | 0.0014 | 0.0046 | 0.00001 | 0.0243 | 0.0027 | 0.0005 | 0.0010 | 0.00001 | n.a | n.d | 0.0019 | 0.0045 | 0.0008 | n.d |
| LL1E | 0.0001 | n.a | 0.0039 | n.a | 0.0028 | n.a | 0.0006 | 0.0181 | 0.000003 | 0.0324 | 0.0027 | 0.0005 | 0.0010 | 0.00003 | n.a | 0.0001 | 0.0000 | 0.0028 | 0.0007 | n.d |
| LL1F | 0.0016 | n.a | 0.0798 | n.a | 0.0046 | n.a | 0.0003 | 0.0682 | 0.0002 | 0.0742 | 0.0126 | 0.0003 | 0.0031 | 0.00005 | n.a | 0.0009 | 0.0014 | 0.2670 | 0.0007 | n.d |
| LL1G | 0.0002 | n.a | 0.0401 | n.a | 0.0035 | n.a | 0.0002 | 0.0311 | 0.000001 | 0.0425 | 0.0029 | 0.0005 | 0.0010 | 0.00004 | n.a | 0.0001 | 0.0007 | 0.0021 | 0.0007 | n.d |
| LL2A | 0.00003 | n.a | 0.0022 | n.a | 0.0015 | n.a | 0.0002 | n.d | 0.0002 | 0.0014 | 0.0035 | 0.000002 | 0.0005 | n.d | n.a | 0.0008 | 0.0010 | 0.0001 | 0.0003 | 0.0138 |
| LL2B | 0.00003 | n.a | 0.0148 | n.a | 0.0012 | n.a | 0.0138 | 0.0058 | 0.0001 | 0.0053 | 0.0014 | 0.00001 | 0.0002 | n.d | n.a | 0.0003 | 0.0016 | 0.0116 | 0.0003 | 0.0113 |
| LL2C | 0.0001 | n.a | 0.0230 | n.a | 0.0017 | n.a | 0.0011 | 0.0039 | 0.0003 | 0.0010 | 0.0049 | 0.000002 | 0.0008 | n.d | n.a | 0.0005 | 0.0017 | 0.0002 | 0.0003 | 0.0074 |
| LL2D | 0.0002 | n.a | 0.0290 | n.a | 0.0007 | n.a | 0.0010 | 0.0009 | 0.0005 | 0.0168 | 0.0079 | 0.00000 | 0.0013 | n.d | n.a | 0.0005 | n.d | 0.0020 | n.d | 0.0049 |
| LL2E | 0.0001 | n.a | 0.0066 | n.a | 0.0007 | n.a | 0.0023 | 0.0008 | 0.0012 | 0.0055 | 0.0028 | 0.00004 | 0.0005 | n.d | n.a | 0.0009 | 0.0015 | 0.0005 | 0.0003 | 0.0084 |
| LL2F | 0.0018 | n.a | 0.0723 | n.a | 0.0017 | n.a | 0.0019 | 0.0122 | 0.0039 | 0.0335 | 0.0199 | 0.00001 | 0.0017 | n.d | n.a | 0.0021 | 0.0032 | 0.0011 | 0.0001 | 0.0265 |
| LL2G | 0.0001 | n.a | 0.0038 | n.a | 0.0001 | n.a | 0.0002 | 0.0009 | 0.0008 | 0.0103 | 0.0038 | 0.0000005 | 0.0003 | n.d | n.a | 0.0000 | 0.0014 | 0.0001 | 0.0001 | 0.0044 |
| LL3A | 0.00003 | n.a | 0.0000 | n.a | 0.0017 | n.a | 0.0120 | 0.0211 | 0.0002 | 0.0030 | 0.0024 | 0.00001 | 0.0005 | 0.00001 | n.a | 0.0010 | n.d | 0.0254 | 0.0003 | 0.0123 |
| LL3B | 0.00003 | n.a | 0.0045 | n.a | 0.0019 | n.a | 0.0004 | 0.0037 | 0.0001 | n.d | 0.0013 | n.d | 0.0003 | 0.00004 | n.a | 0.0007 | 0.0010 | 0.0093 | 0.0002 | 0.0402 |
| LL3C | 0.0002 | n.a | 0.0000 | n.a | 0.0021 | n.a | 0.0015 | 0.0032 | 0.0004 | 0.0055 | 0.0030 | 0.0000 | 0.0012 | n.d | n.a | 0.0009 | 0.0037 | 0.0037 | 0.0002 | 0.0352 |
| LL3D | 0.0003 | n.a | 0.0085 | n.a | 0.0030 | n.a | 0.0016 | 0.0037 | 0.0011 | 0.0085 | 0.0040 | n.d | 0.0014 | n.d | n.a | 0.0016 | 0.0027 | 0.0207 | 0.0004 | 0.0387 |
| LL3E | 0.0008 | n.a | 0.0286 | n.a | 0.0047 | n.a | 0.0010 | 0.0036 | 0.0024 | 0.0143 | 0.0078 | 0.0000 | 0.0019 | 0.0001 | n.a | 0.0044 | 0.0089 | 0.0165 | 0.0003 | 0.0349 |
| LL3F | 0.0013 | n.a | 0.0282 | n.a | 0.0052 | n.a | 0.0038 | 0.0036 | 0.0032 | 0.0190 | 0.0088 | 0.0000 | 0.0019 | n.d | n.a | 0.0050 | 0.0122 | 0.0075 | 0.0005 | 0.0480 |
| LL3G | 0.0005 | n.a | 0.0118 | n.a | n.d | n.a | 0.0012 | 0.0045 | 0.0008 | 0.0121 | 0.0047 | 0.0000 | 0.0005 | n.d | n.a | 0.0011 | 0.0042 | 0.0093 | 0.0002 | 0.0342 |
| BS1A | 0.0007 | n.a | n.d | n.a | 0.00003 | n.a | 0.0000 | 0.0008 | 0.0003 | 0.0001 | n.d | n.d | n.d | 0.000002 | n.a | 0.0013 | 0.0025 | 0.0074 | 0.0004 | 0.0003 |
| BS1B | 0.0012 | n.a | 0.0279 | n.a | 0.0018 | n.a | 0.0918 | 0.0456 | 0.0002 | 0.0009 | 0.0005 | 0.0001 | 0.0012 | 0.00001 | n.a | 0.0007 | 0.0028 | 0.0041 | 0.0002 | 0.0007 |
| BS1C | 0.0012 | n.a | 0.0301 | n.a | 0.0018 | n.a | 0.0866 | 0.0698 | 0.0002 | 0.0003 | 0.0004 | 0.0001 | 0.0010 | 0.00001 | n.a | 0.0012 | 0.0036 | 0.0078 | 0.0002 | 0.0008 |
| BS1D | 0.0011 | n.a | 0.0605 | n.a | 0.0021 | n.a | 0.0704 | 0.0752 | 0.0002 | 0.0011 | 0.0004 | 0.0001 | 0.0008 | 0.00001 | n.a | 0.0037 | 0.0038 | 0.0053 | 0.0002 | 0.0012 |
| BS1E | 0.0011 | n.a | 0.0650 | n.a | 0.0021 | n.a | 0.0897 | 0.1159 | 0.0002 | 0.0003 | 0.0004 | 0.0001 | 0.0009 | 0.00001 | n.a | 0.0031 | 0.0022 | 0.0019 | 0.0002 | 0.0007 |
| BS2A | 0.00001 | n.a | n.d | n.a | n.d | n.a | 0.0001 | n.q | n.d | n.d | 0.0001 | 0.0000 | 0.0000 | n.d | n.a | n.d | n.d | 0.0075 | n.d | n.d |
| BS2B | 0.0003 | n.a | 0.0794 | n.a | 0.0020 | n.a | 0.0008 | n.d | 0.0012 | 0.0092 | 0.0027 | 0.0000 | 0.0011 | 0.00001 | n.a | 0.0003 | 0.0012 | 0.0064 | 0.0001 | 0.0019 |
| BS2C | 0.00002 | n.a | 0.0880 | n.a | n.d | n.a | n.d | 0.0002 | 0.0002 | 0.0052 | 0.0002 | 0.0000 | 0.0000 | n.d | n.a | 0.0003 | 0.0026 | 0.0034 | 0.0001 | 0.0010 |
| BS2D | 0.00001 | n.a | 0.0820 | n.a | n.d | n.a | n.d | n.d | 0.0002 | 0.0055 | 0.0002 | 0.0000 | 0.0000 | n.d | n.a | 0.0005 | 0.0026 | 0.0013 | 0.0001 | 0.0024 |
| BS2E | 0.00002 | n.a | 0.0805 | n.a | n.d | n.a | 0.0000 | n.d | 0.0004 | 0.0053 | 0.0002 | 0.0000 | 0.0001 | n.d | n.a | 0.0039 | 0.0032 | 0.0012 | 0.0001 | 0.0114 |
| BS3A | 0.0001 | n.a | 0.0213 | n.a | 0.0012 | n.a | 0.0010 | n.d | 0.0005 | 0.0179 | 0.0061 | 0.0000 | 0.0024 | n.d | n.a | 0.0008 | 0.0024 | 0.0069 | 0.0003 | 0.0030 |
| BS3B | 0.0026 | n.a | 0.0229 | n.a | 0.0007 | n.a | 0.0042 | 0.0043 | 0.0024 | 0.0243 | 0.0133 | 0.0000 | 0.0044 | n.d | n.a | 0.0011 | 0.0178 | 0.0030 | 0.0004 | 0.0024 |
| BS3C | 0.0025 | n.a | 0.0303 | n.a | 0.0013 | n.a | 0.0043 | 0.0012 | 0.0019 | 0.0225 | 0.0153 | 0.0000 | 0.0049 | 0.00001 | n.a | 0.0073 | 0.0103 | 0.0061 | 0.0003 | 0.0009 |
| BS3D | 0.0015 | n.a | 0.0424 | n.a | 0.0022 | n.a | 0.0045 | 0.0021 | 0.0022 | 0.0242 | 0.0133 | 0.0000 | 0.0047 | 0.00002 | n.a | 0.0048 | 0.0101 | 0.0062 | 0.0003 | 0.0063 |
| BS3E | 0.0015 | n.a | 0.0433 | n.a | 0.0039 | n.a | 0.0049 | n.d | 0.0025 | 0.0268 | 0.0137 | 0.0000 | 0.0052 | n.d | n.a | 0.0072 | 0.0086 | 0.0052 | 0.0003 | 0.0077 |

Table SI6. Average Risk Quotient (RQ) of each pharmaceutical and metabolite with concentrations surpassing EMA threshold (10 ng L-1) in at least one river by sampling point. EC50 values not available (n.a).

|  | Acetaminophen | Rasagiline | Sulfadiazina | Sulfamethoxazole | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Levetiracetam | Amylmetacresol | Diazepam | Vildagliptin | Gabapentin | Citalopram | Topiramate | Pantoprazole | Caffeine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LLA (1-3) | 0.0044 | n.a | 0.0005 | 0.0007 | 0.0000 | n.a | n.a | 0.0105 | 0.0319 | 0.0001 | 0.0001 | 0.0003 | 0.0740 | 0.0002 | n.a | 0.0009 | n.a | n.a | n.a | 0.0018 |
| LLB (1-3) | 0.0090 | n.a | 0.0005 | 0.0003 | 0.0000 | n.a | n.a | 0.0060 | 0.0296 | 0.0000 | 0.0001 | 0.0003 | 0.0043 | 0.0002 | n.a | 0.0006 | n.a | n.a | n.a | 0.0017 |
| LLC (1-3) | 0.0054 | n.a | 0.0003 | 0.0009 | 0.0000 | n.a | n.a | 0.0082 | 0.0405 | 0.0002 | 0.0001 | 0.0004 | 0.1097 | 0.0003 | n.a | 0.0014 | n.a | n.a | n.a | 0.0016 |
| LLD (1-3) | 0.0078 | n.a | 0.0004 | 0.0013 | 0.0001 | n.a | n.a | 0.0089 | 0.0349 | 0.0004 | 0.0005 | 0.0006 | 0.1519 | 0.0002 | n.a | 0.0020 | n.a | n.a | n.a | 0.0030 |
| LLE (1-3) | 0.0045 | n.a | 0.0002 | 0.0012 | 0.0001 | n.a | n.a | 0.0061 | 0.0450 | 0.0007 | 0.0011 | 0.0009 | 0.4227 | 0.0012 | n.a | 0.0021 | n.a | n.a | n.a | 0.0035 |
| LLF (1-3) | 0.0134 | n.a | 0.0003 | 0.0041 | 0.0004 | n.a | n.a | 0.0095 | 0.0693 | 0.0025 | 0.0021 | 0.0012 | 0.8046 | 0.0053 | n.a | 0.0056 | n.a | n.a | n.a | 0.0041 |
| LLG (1-3) | 0.0129 | n.a | 0.0002 | 0.0011 | 0.0000 | n.a | n.a | 0.0021 | 0.0474 | 0.0001 | 0.0000 | 0.0002 | 0.1702 | 0.0005 | n.a | 0.0014 | n.a | n.a | n.a | 0.0013 |
| BSA (1-3) | 0.0019 | n.a | 6.7366 | 0.0010 | 0.0001 | n.a | n.a | 0.0024 | 0.0035 | 0.0002 | 0.0001 | 0.0002 | 0.0943 | 0.0003 | n.a | 0.0005 | n.a | n.a | n.a | 0.0001 |
| BSB (1-3) | 0.0017 | n.a | 0.0002 | 0.0033 | 0.0003 | n.a | n.a | 0.0036 | 0.0055 | 0.0026 | 0.0005 | 0.0003 | 0.2940 | 0.0022 | n.a | 0.0008 | n.a | n.a | n.a | 0.0010 |
| BSC (1-3) | 0.0014 | n.a | 0.0002 | 0.0032 | 0.0004 | n.a | n.a | 0.0033 | 0.0113 | 0.0014 | 0.0003 | 0.0002 | 0.3786 | 0.0018 | n.a | 0.0008 | n.a | n.a | n.a | 0.0011 |
| BSD (1-3) | 0.0008 | n.a | 0.0002 | 0.0028 | 0.0005 | n.a | n.a | 0.0187 | 0.0118 | 0.0016 | 0.0010 | 0.0008 | 0.4369 | 0.0025 | n.a | 0.0014 | n.a | n.a | n.a | 0.0016 |
| BSE (1-3) | 0.0014 | n.a | 0.0003 | 0.0030 | 0.0007 | n.a | n.a | 0.0376 | 0.0066 | 0.0024 | 0.0017 | 0.0011 | 0.7536 | 0.0031 | n.a | 0.0020 | n.a | n.a | n.a | 0.0024 |

Table SI6. (cont). Average Risk Quotient (RQ) of each pharmaceutical and metabolite with concentrations surpassing EMA threshold (10 ng L-1) in at least one river by sampling point. EC50 values not available (n.a).

|  | Lidocaine | Norfloxacin | Ciprofloxacin | Levofloxacin | Oxytetracycline | Memantine | Fluoxetine | Megestrol | Losartan | Antipyrine | Tramadol | Amitriptyline | Venlafaxine | Prednisone | Sulfapyridine | Naproxen | Gemfibrozil | Chloroquine | Fenofibrate | Dexomethasone |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LLA (1-3) | 0.00003 | n.a | 0.0007 | n.a | 0.0018 | n.a | 0.0043 | 0.0140 | 0.0001 | 0.0025 | 0.0022 | 0.0001 | 0.0004 | 0.00001 | n.a | 0.0006 | 0.0007 | 0.0100 | 0.0005 | 0.0087 |
| LLB (1-3) | 0.00002 | n.a | 0.0064 | n.a | 0.0019 | n.a | 0.0048 | 0.0145 | 0.0001 | 0.0077 | 0.0013 | 0.0002 | 0.0002 | 0.00002 | n.a | 0.0003 | 0.0012 | 0.0100 | 0.0004 | 0.0172 |
| LLC (1-3) | 0.0001 | n.a | 0.0118 | n.a | 0.0029 | n.a | 0.0010 | 0.0064 | 0.0002 | 0.0319 | 0.0031 | 0.0001 | 0.0008 | 0.00001 | n.a | 0.0004 | 0.0023 | 0.0048 | 0.0005 | 0.0142 |
| LLD (1-3) | 0.0002 | n.a | 0.0141 | n.a | 0.0024 | n.a | 0.0013 | 0.0031 | 0.0006 | 0.0165 | 0.0048 | 0.0002 | 0.0012 | 0.000004 | n.a | 0.0007 | 0.0015 | 0.0091 | 0.0004 | 0.0145 |
| LLE (1-3) | 0.0003 | n.a | 0.0130 | n.a | 0.0027 | n.a | 0.0013 | 0.0075 | 0.0012 | 0.0174 | 0.0045 | 0.0002 | 0.0011 | 0.00003 | n.a | 0.0018 | 0.0035 | 0.0066 | 0.0004 | 0.0144 |
| LLF (1-3) | 0.0016 | n.a | 0.0601 | n.a | 0.0038 | n.a | 0.0020 | 0.0280 | 0.0024 | 0.0422 | 0.0138 | 0.0001 | 0.0022 | 0.00002 | n.a | 0.0027 | 0.0056 | 0.0919 | 0.0004 | 0.0248 |
| LLG (1-3) | 0.0003 | n.a | 0.0186 | n.a | 0.0012 | n.a | 0.0005 | 0.0122 | 0.0005 | 0.0217 | 0.0038 | 0.0002 | 0.0006 | 0.00001 | n.a | 0.0004 | 0.0021 | 0.0039 | 0.0004 | 0.0129 |
| BSA (1-3) | 0.0002 | n.a | 0.0071 | n.a | 0.0004 | n.a | 0.0004 | 0.0003 | 0.0003 | 0.0060 | 0.0021 | 0.0000 | 0.0008 | 0.000001 | n.a | 0.0007 | 0.0016 | 0.0072 | 0.0002 | 0.0011 |
| BSB (1-3) | 0.0014 | n.a | 0.0434 | n.a | 0.0015 | n.a | 0.0323 | 0.0166 | 0.0013 | 0.0115 | 0.0055 | 0.0000 | 0.0022 | 0.000005 | n.a | 0.0007 | 0.0073 | 0.0045 | 0.0002 | 0.0017 |
| BSC (1-3) | 0.0012 | n.a | 0.0495 | n.a | 0.0010 | n.a | 0.0303 | 0.0237 | 0.0008 | 0.0094 | 0.0053 | 0.0000 | 0.0020 | 0.00001 | n.a | 0.0029 | 0.0055 | 0.0058 | 0.0002 | 0.0009 |
| BSD (1-3) | 0.0009 | n.a | 0.0616 | n.a | 0.0014 | n.a | 0.0250 | 0.0258 | 0.0009 | 0.0103 | 0.0047 | 0.0000 | 0.0019 | 0.00001 | n.a | 0.0030 | 0.0055 | 0.0043 | 0.0002 | 0.0033 |
| BSE (1-3) | 0.0009 | n.a | 0.0629 | n.a | 0.0020 | n.a | 0.0315 | 0.0386 | 0.0010 | 0.0108 | 0.0048 | 0.0000 | 0.0020 | 0.00000 | n.a | 0.0047 | 0.0047 | 0.0027 | 0.0002 | 0.0066 |

References

Gómez-Canela C, Edo S, Rodríguez N, et al (2021) Comprehensive characterization of 76 pharmaceuticals and metabolites in wastewater by LC-MS/MS. Chemosensors 9:1–19. https://doi.org/10.3390/chemosensors9100273