# Supplementary Material

Table A Survey

| Topic | # | Question | Guidance information provided |
| --- | --- | --- | --- |
| 1- Facility | 1.1 | Name of the facility |  |
|  | 1.2 | Company name operating the facility |  |
|  | 1.3 | Location (town, country) | Provide the locality and country where the facility is located. |
| 2- Discharge permit | 2.1 | What is the name of the authority/body issuing the sites environmental/discharge permit? | This may be a local or national regulator. |
|  | 2.2 | When was the environmental/discharge permit issued? | Date format DD/MM/YYYY or MM/YYYY or YYYY |
|  | 2.3 | How often is the permit reviewed? | Frequency of permit review/renewal/resubmission in Years or NEVER |
|  | 2.4 | Have there been any recent (< 10 years) changes to the permit/permit conditions? | If so, what were the reasons? Were there any changes in effluent water quality and/or processes? Free text field. |
|  | 2.5 | Does the environmental/discharge permit include specific end-of-pipe limits? If so, please fill in the 'Discharge permit' tab | If the permit is publicly available, please attach a copy (either as attachment or the URL from where it can be accessed) or email directly to XXX@XXX.com. |
|  | 2.6 | Is there a point of compliance that is not located at the end-of-pipe? | This could be downstream in the receiving water body. Please either provide coordinates or an indication of the distance downstream from the point of discharge. |
|  | 2.7 | Who is in charge of compliance monitoring? | Provide the Position and Department of the person in charge. |
|  | 2.8 | Are there monitoring reports that are routinely submitted? If YES, is data from these reports available? | What does the monitoring include (e.g. effluent discharged, downstream in the receiving water body)? |
|  | 2.9 | Are there any specific permit conditions that prohibit effluent discharge under certain conditions? (e.g. internal monitoring/exceedance, external factor such as river flow, background monitoring data) |  |
| 3- Mixing zone | 3.1 | How many discharges and mixing zones are permitted by the facility? | Indicate if these are covered in separate permits or a permit covering multiple discharge types/locations. |
|  | 3.2 | If more than 1, are there individual or combined mixing zones? |  |
|  | 3.3 | What types of effluents are of concern? | These effluents can be industrial wastewater, stormwater, cooling water, etc. |
|  | 3.4 | Is there any seasonality requirement to the compliance? (e.g. mixing zone dimensions are different or different thermal limits during different seasons) | For instance, is the mixing zone required all the time or adjust for occasional discharges (that otherwise would not meet the permit limits)? |
|  | 3.5 | In dimensioning the mixing zone, what are the parameters considered (ambient flow, effluent flow, etc.) and what statistical values are used for these parameters? | Please detail the factors considered in the design of the mixing zone (e.g. river flow considered, effluent flow, worst-case scenario, pollutants and associated concentrations, cut-off values). If possible, append the mixing zone definition report or email it to XXX@XXX.com. |
|  | 3.6 | Who designed the mixing zone? | The mixing zone may have been designed by your facility, the regulator or a sub-contractor for instance. |
|  | 3.7 | What were the main drivers for the implementation? | Is it due to technology not being able to meet discharge limits at the end of the pipe, the need for cooling effects, etc? |
|  | 3.8 | Are mixing zones required to go through routine updates and re-approval? | If yes, how often and who undertakes the review? |
|  | 3.9 | Has the facility faced any exceedances beyond the approved mixing zone? If YES, were those exceedances a result of external factors (e.g. flows, weather conditions) or facility operations? | Indicate what were the consequences of these exceedances? (e.g. fine, warning). Indicate the reason (e.g. operational issue, external factor such as drought reducing the flow in the receiving environment) |
|  | 3.10 | What type of surface water body does the facility discharge to? (e.g. lake, river, estuary, coastal, offshore) | Provide the name of the water body where the effluent is discharged to. |
|  | 3.11 | Has the facility designed and implemented a diffuser to assist with mixing? | If so, please provide any technical data. |
|  | 3.12 | Is the facility facing any pressures from external stakeholders? (e.g. public, regulator) | Consider both the pressures associated with mixing zones and the quality of receiving water bodies. |
|  | 3.13 | Has the mixing zone requirement led to conflicting decision (positive or negative) about water treatment? | For instance, does it provide the opportunity to treat less due to relaxed discharge capability or is there a drive to improve water treatment to remove reliance on the mixing zone? |
| 4 - Future outlook | 4.1 | What are the future challenges/concerns you foresee for your mixing zone? | Consider upstream contributions from other industrial establishments, emerging substances, climate change, etc. |
|  | 4.2 | If you do not currently rely on a mixing zone, are you expecting to need one in the future? For what reason? |  |

Table B Simulation parameters for CORMIX sensitivity analysis modelling

| Parameter | Facility #1 | Facility #2 | Facility #3 | Facility #4 |
| --- | --- | --- | --- | --- |
| Diffuser/pipe design | 6 slots cut in a 16” diameter pipe | Single Port | Single Port | Single Port |
| Discharge Location | Subsurface | Subsurface | Subsurface | Subsurface |
| Port diameter (m) | 0.17 | 1.0 | 0.34 | 1.09 |
| Port centre height above channel bottom (m) | 0.945 | 0.5 | 0.172 | 0.545 |
| Port orientation | Theta: 180 Gamma: 0 | Theta: 0 Gamma: 90 | Theta: 0 Gamma: 90 | Theta: 0 Gamma: 90 |
| Port distance from shoreline | 340 | 15 | 115 | 218 |
| Flow rate (m3/s) | 0.2861 | 0.36 | 0.0461 | 0.4631 |
| Effluent Temperature | 29.4 | 36.5 | 20 | 20 |
| Effluent Salinity (g/L) | 0 | 26.8 | 0 | 0 |
| Waterbody type (bounded/unbounded) | Bounded | Unbounded | Bounded | Bounded |
| Bounded width (m) | 1650 | N/A | 818 | 439 |
| Bed roughness (Manning n coefficient) | 0.03 | 0.03 | 0.03 | 0.03 |
| Ambient current velocity (m/s) | 0.05 | 0.01 | 0.1 | 0.1 |
| Ambient temperature (°C) | 15.2 | 20 | 20 | 20 |
| Ambient salinity (g/L) | 33.7 | 10 | 15 | 0 |
| Ambient density (kg/m3) | 1,024.84 | 1,005.81 | 1,009.58 | 998.21 |
| Wind speed (m/s) | 3.1 | 0 | 0 | 0 |

Note: N/A: not applicable.

Table C. Comparison of discharge limits for facilities with no mixing zone within a same country

| Country | Sweden |  | Germany |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plant ID | 13 | 14 | 7 | 8 | 11 | 11 | 20 |
| pH | 6 - 9 |  | 6 - 8.5 | 6 - 9 |  |  | 6.5 - 9 |
| Temp. |  |  | 35 |  |  |  | 30 |
| COD | 90 |  | 80 | 80 | 80 | 80 | 80 |
| BOD |  |  | 15 | 15 | 15 | 15 | 15 |
| TOC |  |  | 25 | 25 | 25 | 25 | 25 |
| TSS |  | 12 |  | 25 |  |  | 25 |
| OiW | 2 | 1 | 1.5 | 1.5 |  |  | 1.5 |
| Phenols | 0.1 | 0.05 | 0.1 | 0.15 |  |  | 0.1 |
| TN | 20 | 12 | 25 |  | 20 | 25 | 25 |
| TP |  | 0.17 |  |  | 1.3 | 1.3 | 1.3 |
| Cd |  |  |  |  | 0.008 | 0.008 | 0.008 |
| Cu |  |  |  |  |  |  |  |
| Pb |  |  |  |  | 0.03 | 0.03 | 0.03 |
| Hg |  |  |  |  | 0.001 | 0.001 | 0.001 |
| Ni |  |  |  |  |  | 0.1 | 0.1 |
| AOX |  |  |  | 0.1 | 0.1 |  |  |
| Furfurol |  |  |  | 1 |  |  |  |

Note: OiW: Oil in Water