## Bilgewater from ships
Articles that sampled bilgewater from ship bilges
Reference | Title | Location | Vessel type/Source
(Ameen &Al-Homaidan 2023) | Oily bilge water treatment using indigenous soil bacteria: Implications for recycling the treated sludge in vegetable farming | Saudi Arabia | Ships
(Awel &Fuad 2023) | Analysis of Laboratory Experimental Tests on Mixed Oil Disposal (Bilge) from Ships Based on Marpol Annex I: A Case Study of Port of Tanjung Mas Semarang and Port of Tegal | Indonesia | Ship and tugboats
(Emadian et al. 2015a) | Treatment of a low-strength bilge water of Caspian Sea ships by HUASB technique | Iran | Ships
(Mazioti et al. 2021a) | Untapped potential of moving bed biofilm reactors with different biocarrier types for bilge water treatment: A laboratory‐scale study | Cyprus | Trade ship
(Tomaszewska et al. 2005) | Treatment of bilge water using a combination of ultrafiltration and reverse osmosis | Poland | Ship
(Wood et al. 2021) | High taxonomic diversity in ship bilges presents challenges for monitoring microbial corrosion and opportunity to utilize community functional profiling | Australia | Military vessels
(Olorunfemi et al. 2015) | Genotoxic effects of bilge water on mitotic activity in Allium cepa L | Nigeria | Multipurpose vessel “Green Nova”
(Tiselius &Magnusson 2017) | Toxicity of treated bilge water: The need for revised regulatory control | Sweden | Passenger ships
(Chanthamalee et al. 2013) | Treatment of oily bilge water from small fishing vessels by puf-immobilized gordonia sp. JC11 | Thailand | Fishing vessel
(Corti-Monzón et al. 2021) | Oily Bilge Wastes Harbor a Set of Persistent Hydrocarbonoclastic Bacteria Accompanied by a Variable alkB Gene Composition in Marine Vessel Samples from Southwestern Atlantic Port of Mar del Plata, Argentina | Argentina | Deep-sea fishing ship, dredge ship, a small coastal vessel, and a sample obtained from a pool containing bilge wastes taken in port wastewater reception facilities
(Mahendhran et al. 2018) | Bioconversion of oily bilge waste to polyhydroxybutyrate (PHB) by marine Ochrobactrum intermedium | India | Fishing vessel
(Nisenbaum et al. 2020) | Enrichment and key features of a robust and consistent indigenous marine-cognate microbial consortium growing on oily bilge wastewaters | Argentia | Open pool, deep sea fishing boat, dredge ship and coastal fishing boat
(Fontana et al. 2023) | Applications of advanced oxidative processes for the recovery of water from bilge water | Italy | Cruise ship
(Fletcher et al. 2017) | Bilge water as a vector for the spread of marine pests: a morphological, metabarcoding and experimental assessment | New Zealand | Recreational boats
(Schaerer et al. 2021) | Impact of air, water and dock microbial communities on boat microbial community composition | USA | 24-foot vessel with an inboard/outboard motor.
(Corti-Monzon et al. 2020) | Enrichment and characterization of a bilge microbial consortium with oil in water-emulsions breaking ability for oily wastewater treatment
(Cazoir et al. 2012) | Hydrocarbon removal from bilgewater by a combination of air-stripping and photocatalysis | France | Military ship
(Shi et al. 2022) | Biodegradation and optimization of bilge water in a sequencing batch reactor using response surface methodology | China | Bulk carrier
(McLaughlin et al. 2014) | Characterizing shipboard bilgewater effluent before and after treatment | USA | Container ship and bulk carrier
(Williams et al. 2007) | Oil/water separation: Examination of various treatment techniques | USA | Military vessel
(Maggio et al. 2023) | eDNA Metabarcoding Analysis as Tool to Assess the Presence of Non-Indigenous Species (NIS): A Case Study in the Bilge Water | Italy | Sailboats and fishing boats
(Schaerer et al. 2019) | Global Comparison of the Bacterial Communities of Bilge Water, Boat Surfaces, and External Port Water | 20 different ports in five regions around the world (Asia, Europe, the U.S. East Coast, the U.S. West Coast, and the U.S. Great Lakes) | Fishing vessels and research vessels
(Nunez et al. 2023) | Microbiologically influenced corrosion on naval carbon steel inside the hull of tugboats: a case study of prevention and control | Spain | Tugboats

## Bilgewater from treatment facil
Articles that sampled bilgewater from treatment facilities
Reference | Title | Location | Vessel type/Source
(Tomczak &Gryta 2021) | Application of ultrafiltration ceramic membrane for separation of oily wastewater generated by maritime transportation | Baltic sea | Oily wastewaters collected from ships sailing in the Baltic Sea, delivered to a treatment plant
(Gatidou et al. 2022b) | Assessment of Bilge Water Degradation by Isolated Citrobacter sp. and Two Indigenous Strains and Identification of Organic Content by GC-MS | Cyprus | EcoFuel bilgewater treatment facility
(Bilgili et al. 2016) | Batch and continuous treatability of oily wastewaters from port waste reception facilities: A pilot scale study | Turkey | Haydarpaşa Port Waste Reception Plant
(Gryta 2020a) | Bilge water separation by membrane distillation | Baltic sea region | Harbour wastewater treatment facility
(Nievas et al. 2006) | Biodegradation of bilge waste from Patagonia with an indigenous microbial community | Argentina | Open pool where bilge water from the port was collected
(Mustapha et al. 2021) | Potential efficient separation of oil from bilgewater and kitchen wastewater by fractional freezing process | Malaysia | PETRONAS ULG95 Arwen tanker
(Gatidou et al. 2022a) | Efficiency of Carbon-Based Electrodes on a Microbial Electrolysis System for the Treatment of Bilge Water | Cyprus | EcoFuel bilgewater treatment facility
(Vyrides et al. 2018) | Biodegradation of bilge water: Batch test under anaerobic and aerobic conditions and performance of three pilot aerobic Moving Bed Biofilm Reactors (MBBRs) at different filling fractions | Cyprus | EcoFuel bilgewater treatment facility
(Mancini et al. 2012) | Biological approaches to the treatment of saline oily waste(waters) originated from marine transportation | Italy | Floating tank of an oil coastal deposit
(Ulucan &Kurt 2015) | Comparative study of electrochemical wastewater treatment processes for bilge water as oily wastewater: A kinetic approach | Turkey | Balance reservoir of the treatment facility
(Mazioti et al. 2021b) | Comparison of different cultures and culturing conditions for the biological deterioration of organic load from real saline bilge wastewater: microbial diversity insights and ecotoxicity assessment | Cyprus | EcoFuel bilgewater treatment facility
(Akarsu et al. 2016) | Electrocoagulation and nanofiltration integrated process application in purification of bilge water using response surface methodology | Turkey | Mersin Waste Receiving Facilities
(Nisenbaum et al. 2020) | Enrichment and key features of a robust and consistent indigenous marine-cognate microbial consortium growing on oily bilge wastewaters | Argentina | Open pool where bilgewater from ships is deposited
(Asselin et al. 2008) | Organics removal in oily bilgewater by electrocoagulation process | Canada | Wastewater resulting from the washing of the bilges of boats
was procured from an industry having stock reservoirs
(Gatidou et al. 2022c) | Microbial electrolysis cell coupled with anaerobic granular sludge: A novel technology for real bilge water treatment | Cyprus | EcoFuel bilgewater treatment facility
(Gryta 2020b) | Separation of saline oily wastewater by membrane distillation | Poland | Harbour deoiling installation
(Karakulski &Gryta 2017) | The application of ultrafiltration for treatment of ships generated oily wastewater | Poland | Wastewaters collected from ships, subjected to preliminary separation in harbour installation
(Mazioti &Vyrides 2024) | Treatment of high-strength saline bilge wastewater by four pilot-scale aerobic moving bed biofilm reactors and comparison of the microbial communities | Cyprus | EcoFuel bilgewater treatment facility
(Tan et al. 2022) | Antifouling BaTiO3/PVDF piezoelectric membrane for ultrafiltration of oily bilge water | China | Shore settling tank for oily wastewater accumulated and treated by sedimentation
(Kliaugaite et al. 2006) | Industrial implementation of a biosorption system with GAC
(Emadian et al. 2015b) | Investigation on up-flow anaerobic sludge fixed film (UASFF) reactor for treating low-strength bilge water of Caspian Sea ships | Iran | A tank into which anchored cargo ships typically discharged their bilge water
(Öz &Çetin 2021) | Treatment of bilge water by fenton oxidation followed by granular activated carbon adsorption | Turkey | Influent of chemical treatment unit at Haydarpaşa Waste Collection Plant
(Nikitin et al. 1982) | Tests of a marine plant for biochemical treatment of oil-containing wastewater
(Carlesi et al. 2015) | Electrochemical treatment of bilge wastewater | Chile | Bilge waste collected from different origins discharged at ports (obtained after gravimetric separation)
(Emadian et al. 2015b) | Investigation on up-flow anaerobic sludge fixed film (UASFF) reactor for treating low-strength bilge water of Caspian Sea ships | Iran | Storage tank used by anchored cargo ships to discharge their bilge water
(Olivera et al. 2003) | Microbial characterization and hydrocarbon biodegradation potential of natural bilge waste microflora | Argentina | Dump pools
(Rizzo et al. 2021) | Native bilge water bacteria as biosurfactant producers and implications in hydrocarbon-enriched wastewater treatment | Italy | Unspecified
(Mazioti et al. 2021b) | Comparison of different cultures and culturing conditions for the biological deterioration of organic load from real saline bilge wastewater: microbial diversity insights and ecotoxicity assessment | Cyprus | EcoFuel bilgewater treatment facility

## Real bilgewater characterisitic
Sampling and Characteristics of real Bilge water sampled from ship bilges.
DOI | Year | Author | Title | Affiliations | Treatment type | Samples | Number of samples | Salinity (ppt) | COD mg/L | pH | Electrical Conductivity (µs/cm) | TOC mg/L | BOD mg/L | Suspended solids mg/L | Total dissolved solids mg/L | Nitrate mg/L | NH4 mg/L | Total Nitrogen mg/L | Phosphate mg/L | Phosphorous mg/L | Total petroleum hydrocarbons (mg/L) | Oil and Grease ppm | Chromium mg/L | Mercury ng/L | Copper mg/L | Iron mg/L | Nickel mg/L | Zinc mg/L | Cadmium mg/L | Silver mg/L | Potassium mg/L | Lead mg/L | Manganese mg/L | Aluminium mg/L | Chlorine | Sulfate | Bromide | Sodium mg/L | Magnesium | Calcium
https://doi.org/10.1016/j.chemosphere.2023.139040 | 2023 | (Ameen &Al-Homaidan 2023) | Oily bilge water treatment using indigenous soil bacteria: Implications for recycling the treated sludge in vegetable farming | National Plan for Science, Technology and Innovation (MAARIFAH), King Abdulaziz City for Science and Technology (Award Number 2-17-01-001-0063) | Biological treatment using indigenous soil bacteria | Oily bilge wastewater (5 L) collected from ships |  |  | 280 |  |  |  | 210 | [7 empty] | 290 |  |  |  | 26.8 | [6 empty] | 29.8 | 25.4
https://doi.org/10.46488/NEPT.2023.v22i03.052 | 2023 | (Awel &Fuad 2023) | Analysis of Laboratory Experimental Tests on Mixed Oil Disposal (Bilge) from Ships Based on Marpol Annex I: A Case Study of Port of Tanjung Mas Semarang and Port of Tegal | Merchane Marine Polytechnic of Semarang, | None noted | Ship and tugboats | 5 |  |  | 7.5, 7.8, 7.6, 7.2, 7.4 |  |  |  |  | 32.5, 48.5, 48.7, 36.2, 36.7 | [6 empty] | 4.515, 71.84, 3.436, 4.687, 7.196
http://dx.doi.org/10.1016/j.ecoleng.2015.04.055 | 2015 | (Emadian et al. 2015a) | Treatment of a low-strength bilge water of Caspian Sea ships by HUASB technique | Semnan University, Babol University of Technology, Iran | Hybrid Up-flow Anaerobic Sludge Blanket (HUASB) Bioreactor | Low-strength bilge water collected from ships anchored at Amirabad port, Caspian Sea, Iran |  |  | 20-200 | 8, 9 |  |  |  | 220–1760 |  |  |  | 0.836 |  | 0.211
https://doi.org/10.3390/w13131810 | 2021 | (Mazioti et al. 2021a) | Untapped potential of moving bed biofilm reactors with different biocarrier types for bilge water treatment: A laboratory‐scale study | European Regional Development Fund and Republic of Cyprus | MBBR | Trade ship |  | 20.5 | 2111 ± 501 | 7.1
10.1016/j.desal.2005.03.078 | 2005 | (Tomaszewska et al. 2005) | Treatment of bilge water using a combination of ultrafiltration and reverse osmosis | Lab scale using synthetic and real bilewater | None noted | Ship |  |  |  |  | 1817 | 1765 |  | 28 | 1307 | [5 empty] | 107 | [14 empty] | 197.2 |  | 201.54 |  | 101.52
https://doi.org/10.1128/AEM.00890-21. | 2021 | (Wood et al. 2021) | High taxonomic diversity in ship bilges presents challenges for monitoring microbial corrosion and opportunity to utilize community functional profiling | DST Group (Project MyIP 8009) |  | Military vessels
10.1080/00087114.2015.1032574 | 2015 | (Olorunfemi et al. 2015) | Genotoxic effects of bilge water on mitotic activity in Allium cepa L | None listed | Toxicological assessment | Fresh bilge water collected from "Green Nova" (multipurpose vessel) at Warri Port, Nigeria |  |  |  | 5.91 | 1400 |  | 6.2 |  | 114 | 99.5 | 15 |  | 100.5 |  |  |  | 1.4 |  | 0.5 | 5.7 | 0.3 | 11.6 | 0.1 | 0.2 |  | 0.3 | 3.9 |  | 970.3 | 107.5
http://dx.doi.org/10.1016/j.marpolbul.2016.11.010 | 2016 | (Tiselius &Magnusson 2017) | Toxicity of treated bilge water: The need for revised regulatory control | Swedish Mercantile Marine Foundation | Onboard Oily Water Separators (OWS) | Treated bilge water collected from 7 passenger ferries (Ships A–G) operating in the Baltic Sea | 16
DOI 10.1007/s11270-013-1601-6 | 2013 | (Chanthamalee et al. 2013) | Treatment of oily bilge water from small fishing vessels by puf-immobilized gordonia sp. JC11 | Commission on Higher Education of Thailand; Chulalongkorn University Fund; Thai Government Stimulus Package 2 | Polyurethane foam (PUF) immobilized with Gordonia sp. JC11 (Bacteria) | Bilge water collected from engine rooms of small fishing vessels (Sing Amnuai port, Thailand) | 10 | 22 – 40 |  | 6.82, 6.62, 7.28, 6.97, 7.44, 7.39, 7.3, 6.7, 6.8, 6.8 | [7 empty] | 1.5, 13.6, 1.0, 1.7, 0.82, 1.63, 0.65, 4.0, 0.5, 0.9 |  | 1.19, 3.24, 0.71, 0.51, 0.75, 1.59, 0.44, 0.17, <0.03, <0.03 | 159, 150, 110, 58, 557, 80, 492, 93, 976, 134
https://doi.org/10.1007/s11270-021-05239-4 | 2021 | (Corti-Monzón et al. 2021) | Oily Bilge Wastes Harbor a Set of Persistent Hydrocarbonoclastic Bacteria Accompanied by a Variable alkB Gene Composition in Marine Vessel Samples from Southwestern Atlantic Port of Mar del Plata, Argentina | Partially supported by VT38-UNMdP10982 and CIC (PIT-AP-BA-2016); CONICET and Universidad Nacional de Mar del Plata | Microbiome and Chemical Characterization of Oily Phase | BWOP (Bilge Waste Oily Phase) from: A: Deep-sea fishing ship, D: Dredge ship, C: Small coastal vessel, M: Mixed port pool |  |  | A: 665.66 ± 14.01, C: 1344.66 ± 30.09, D: 1238.33 ± 43.68, M: 1530.00 ± 43.59 | A: 4.99 ± 0.18, C: 4.85 ± 0.07, D: 6.75 ± 0.07, M: 6.50 ± 0.13 | A: 29000 |  | A: 2932 ± 0.01, C: 1113.33 ± 32.15, D: 948.00 ± 50.71 , M: 1056 ± 37.59 | [7 empty] | This study analyzes the Bilge Waste Oily Phase (BWOP). Consequently, the oil concentrations are reported in grams per liter (g/L) A: 554 g/L, C: 664 g/L, D: 1,540 g/L, M: 910 g/L
https://doi.org/10.1007/s10532-020-09896-w(0123456789().,-volV()0123456789().,-volV) | 2020 | (Nisenbaum et al. 2020) | Enrichment and key features of a robust and consistent indigenous marine-cognate microbial consortium growing on oily bilge wastewaters | VT38-UNMdP10982, PIT-AP-BA-2016, PICT 2014-1567, CIC, CONICET, Universidad Nacional de Mar del Plata | Indigenous microbial consortium "cZ" (Mainly Marinobacter, Alcanivorax, Parvibaculum) in Batch and Sequential Batch Reactors (SBR) | Oily Bilge Wastewater (OBW) collected from an open pool (Sample M) and three ships (A: Deep-sea fishing, C: Coastal fishing, D: Dredge) at Mar del Plata Port |  |  |  | 6.5 | [10 empty] | This study analyzes the Bilge Waste Oily Phase (BWOP). Consequently, the oil concentrations are reported in grams per liter. 408 g/L
https://doi.org/10.1007/s13762-022-04593-y | 2022 | (Fontana et al. 2023) | Applications of advanced oxidative processes for the recovery of water from bilge water | Open access funding provided by ENEA (Italian National Agency for New Technologies, Energy and Sustainable Economic Development); Authors received no specific funding | Advanced Oxidation Processes | Bilge water collected from the passenger ship "Norwegian Jade" docked at Civitavecchia port, Italy | [5 empty] | 316.3 | [10 empty] | 69 |  | 9 |  | 40 | 20 |  |  |  | 9 | 14 | 54
DOI 10.1007/s10530-017-1489-y | 2017 | (Fletcher et al. 2017) | Bilge water as a vector for the spread of marine pests: a morphological, metabarcoding and experimental assessment | National Institute of Water and Atmospheric Research Ltd (NIWA) under Coasts and Oceans Research Programme 6, Marine Biosecurity (SCI 2014/15) | Biosecurity Survey & Survival Experiment (Simulated bilge pumping to test larvae viability) | Bilge water collected from 30 small vessels (<20 m; 15 yachts, 15 motorboats) in Nelson and Picton, New Zealand | 30
doi:10.1111/jam.14916 | 2020 | (Schaerer et al. 2021) | Impact of air, water and dock microbial communities on boat microbial community composition | DARPA Young Faculty Award D16AP00146 | Microbial Source Tracking Survey (16S rRNA sequencing) | Bilge water, Hull swabs, Transom swabs, Air, Water, and Dock samples collected from the SV Osprey in the Portage Canal, Michigan, USA | Water: 131; Air: 14; Bilge: 11; Dock: 9; Hull: 7; Transom: 6 (Collected over 11 days)
https://doi.org/10.1007/s10532-020-09894-y(0123456789().,-volV() 0123458697().,-volV) | 2020 | (Corti-Monzon et al. 2020) | Enrichment and characterization of a bilge microbial consortium with oil in water-emulsions breaking ability for oily wastewater treatment | CONICET; CIC (Comisión de Investigaciones Científicas); Universidad Nacional de Mar del Plata (Grants VT38-UNMdP10982 and PIT-AP-BA-2016) | Microbial Demulsification | Real bilge emulsions from Deep sea fishing ship, Dredge ship, Oceanographic ship, and Coastal fishing boats (Mar del Plata Port)
http://dx.doi.org/10.1016/j.jhazmat.2012.07.037 | 2012 | (Cazoir et al. 2012) | Hydrocarbon removal from bilgewater by a combination of air-stripping and photocatalysis | Direction Générale de l’Armement (DGA) research grant | Air-Stripping Photocatalysis | Real bilgewater collected from a French military ship |  |  |  | 7.8 | [20 empty] | 300 |  |  |  |  | 400 |  | 10000 | 900 | 200
https://doi.org/10.1016/j.chemosphere.2022.135654 | 2022 | (Shi et al. 2022) | Biodegradation and optimization of bilge water in a sequencing batch reactor using response surface methodology | National Natural Science Foundation of China (51779136); Science and Technology Commission of Shanghai Municipality (20dz1206002); Young Creative Talents in Universities of Shandong Province (500076); Demonstration Base of Joint Cultivation of Graduate Students in Shandong Province (2020-1) | Sequencing Batch Reactor | Real bilge water collected from a bulk carrier berthing at Longkou port, China |  |  | 8,100 - 9,300 | 7.42 - 7.85 | 11,200-11,800
DOI 10.1007/s11356-013-2443-x | 2014 | (McLaughlin et al. 2014) | Characterizing shipboard bilgewater effluent before and after treatment | U.S. Environmental Protection Agency (EPA) | Onboard Oily Water Separator | Collected from 3 active ocean-going vessels
| 2007 | (Williams et al. 2007) | Oil/water separation: Examination of various treatment techniques | Research supports the Department of Defense (DoD) and U.S. Environmental Protection Agency (EPA) under the Uniform National Discharge Standards (UNDS) program | Qualitative Review of 6 technologies: Gravity/Coalescing, Centrifuge/Hydrocyclone, Flotation, Membrane, Biological, and Electrochemical AOP. | Data aggregated from EPA Draft Discharge Assessment Reports (2003) covering Surface Vessels and Submarines | [10 empty] | 0.17 | 1.77 |  | 1.2-2.7 | 6.0 - 16.0 |  |  | 32.05 - 79.8 | 0.2775 - 0.426 |  | 0.09775 - 0.245 | 0.514 - 1.330
https://doi.org/10.3390/d15111117 | 2023 | (Maggio et al. 2023) | eDNA Metabarcoding Analysis as Tool to Assess the Presence of Non-Indigenous Species (NIS): A Case Study in the Bilge Water | Interreg V-A Italia-Malta Project [C1-3.1-31], Project HARMONY ("Italo-Maltese harmonization for a good state of the environment"). | eDNA Metabarcoding Survey | Bilge water collected from small vessels (<20 m; recreational and fishing boats) in two harbors: Cala Harbor (Palermo) and Isola delle Femmine (Sicily, Italy). | 10 samples total (6 Bilge, 4 Port Water), processed in duplicate.
https://doi.org/10.1128/AEM.01804-19. | 2019 | (Schaerer et al. 2019) | Global Comparison of the Bacterial Communities of Bilge Water, Boat Surfaces, and External Port Water | DARPA Young Faculty Award D16AP00146 | Global microbial survey | Collected from 20 shipping ports across 3 continents (USA, Europe, Asia), including seawater ports and freshwater Great Lakes ports. | 37 Bilge water samples, 121 swab samples and 1,340 port water samples.
10.1080/08927014.2023.2209013 | 2023 | (Nunez et al. 2023) | Microbiologically influenced corrosion on naval carbon steel inside the hull of tugboats: a case study of prevention and control | None mentioned |  | Bilge water collected from 3 Tugboats operating in the Port of Cartagena, Spain (Mediterranean Sea). | 9 Bilge samples (3 tugboats sampled at 3 different times) + 1 Seawater reference sample. |  |  | 7.26, 5.97, 6.93, 6.76, 7.32, 7.44, 6.30, 6.31, 6.67, 6.75 | 50100, 45800, 23400, 30700, 79400, 58800, 24500, 64300, 86500, 59400 | [19 empty] | 478, 564, 184, 236, 673, 431, 180, 532, 720, 444 |  |  |  |  | 2583, 2357, 1138, 1756, 4073, 2754, 1444, 3212, 4927, 3090 | 77, 64, 0, 17, 403, 47, 48, 80, 157, 51 | 9089, 8750, 3884, 6045, 15963, 12590, 3535, 10836, 19326, 12540 | 1190, 1159, 496, 635, 2132, 1528, 468, 1580, 2114, 1584 | 493, 539, 214, 263, 637, 398, 181, 322, 426, 408

## Discussion summary
Section | Key Findings & Contaminants | Regulatory & Practical Implications
4.1 Regulatory Adequacy | MARPOL Annex I focuses almost exclusively on oil content. Findings show presence of heavy metals, nutrients, and pathogens. | Regulatory Gap: Baseline MARPOL is inadequate for full-spectrum protection. Regional laws (EU, AU, USA, NZ) are trending toward stricter "No Discharge" zones.
4.2 Ecological Risks | Hydrocarbons: 6–976 mg/L (TPH).Nutrients: N (up to 3.3%) & P (0.3%).Heavy Metals: Hg, Cd, Pb, and Cu (up to 426 mg/L). | Ecological Impact: Risk of smothering, eutrophication, and bioaccumulation. Current OWS testing relies on synthetic fluids, which likely underestimate real-world environmental risks.
4.3 Treatment Efficacy | Stable emulsions (via surfactants) and vessel motion hinder separation. Coagulation shows promise for metal removal. | Operational Failure: Atypical contaminants can lead to system bypass or neglect by frustrated crews. There is a critical lack of standardized assessment methods.
4.4 Knowledge Gaps | Limited data on interactions between chemical composition and bacterial communities. | Management Risk: Prevents effective modeling/forecasting of MIC (Microbiologically Influenced Corrosion) and management of maritime assets.
4.5 Species Transfer | Presence of larvae, juveniles of invertebrates, and non-indigenous species (NIS). | Biosecurity: Bilgewater is an overlooked secondary vector (unlike ballast water). Survival potential and transfer risks remain under-researched.
4.6 Human Health Risks | Presence of Pseudomonas, Staphylococcus, Escherichia, and potential for Cholera. | Occupational Hazard: Sailors working in bilges face exposure risks. Mitigation strategies and risk assessments for crew are currently lacking.
4.7 Societal Consequences | Illegal discharge leads to erosion of public trust and legal liabilities. | Economic Inequity: Financial constraints create a "compliance gap," where resource-poor regions are disproportionately affected by contamination.