Forensic Toxicology

Electronic Supplementary Material

Development and validation of a GC–MS/MS method for the determination of 11 amphetamines and 34 synthetic cathinones in whole blood

Mateusz Kacper Woźniak1*, Laura Banaszkiewicz1, Marek Wiergowski2, Ewa Tomczak2, Marzena Kata2, Beata Szpiech2, Jacek Namieśnik1†, Marek Biziuk1

1Department of Analytical Chemistry, Faculty of Chemistry, Gdańsk University of Technology, 11/12 Narutowicza Str., Gdańsk 80-233, Poland

2Department of Forensic Medicine, Faculty of Medicine, Medical University of Gdańsk, 3A Marii Skłodowskiej-Curie Str., Gdańsk 80-210, Poland

*Corresponding author: Mateusz Kacper Woźniak Tel.: +48 58 347 21 10; E-mail address: mateusz.wozniak@pg.edu.pl

†Prof. Jacek Namieśnik passed away on the 14 April 2019. You will always remain in our memory.

Table S1 Details on certified standards used in the study (in alphabetical order)

| Compound name (abbreviation) | Common name* | IUPAC name | Molecular formula | Company name | Form of standard | Sample size** |
| --- | --- | --- | --- | --- | --- | --- |
| ATSs group |  |  |  |  |  |  |
| Amphetamine | – | 1-Phenylpropan-2-amine | C9H13N | Cerilliant | Solution in MeOH | 0.25*** |
| Ephedrine | – | 2-(Methylamino)-1-phenylpropan-1-ol | C10H15NO | Chiron | Solution in MeOH | 1 |
| rac-mAMP-D5 (IS) | rac-Methamphetamine-D5 | 1,2-Dideuterio-1-phenyl-N-(trideuteriomethyl)propan-2-amine | C10H15ND5 | LGC | Solution in MeOH | 0.1 |
| MDA | 3,4-Methylene​dioxy​amphetamine | 1-(2H-1,3-Benzodioxol-5-yl)propan-2-amine | C10H13NO2 | Cerilliant | Solution in MeOH | 0.25*** |
| MDEA | MDE, Eve | 1-(1,3-Benzodioxol-5-yl)-N-ethylpropan-2-amine | C12H17NO2 | Cerilliant | Solution in MeOH | 0.25*** |
| MDMA | Ecstasy | 1-(1,3-Benzodioxol-5-yl)-N-methylpropan-2-amine | C11H15NO2 | Cerilliant | Solution in MeOH | 0.25*** |
| Methamphetamine | N-Methylamphetamine | N-Methyl-1-phenylpropan-2-amine | C10H15N | Cerilliant | Solution in MeOH | 0.25*** |
| 4-MMA | 4-Methylmethamphetamine | N-Methyl-1-(4-methylphenyl)propan-2-amine | C11H17N | Cayman | Powder | 5 |
| Phentermine | α,α-Dimethylphenethylamine | 2-Methyl-1-phenylpropan-2-amine | C10H15N | Cerilliant | Solution in MeOH | 0.25*** |
| PMA | 4-Methoxyamphetamine, 4-MA, p-MA | 1-(4-Methoxyphenyl)propan-2-amine | C10H15NO | LGC | Solution in MeOH | 1 |
| PMMA | 4-Methoxymethamphetamine | 1-(4-Methoxyphenyl)-N-methylpropan-2-amine | C11H17NO | LGC | Solution in MeOH | 1 |
| Pseudoephedrine | – | 2-Methylamino-1-phenylpropan-1-ol | C10H15NO | Chiron | Solution in MeOH | 1 |
| Synthetic cathinones |  |  |  |  |  |  |
| Butylone | β-keto-MBDB | 1-(1,3-Benzodioxol-5-yl)-2-(methylamino)-1-butanone | C11H15NO3 | Chiron | Solution in MeOH | 1 |
| Cat-D5 | Cathinone-D5 | 2-Amino-1- (phenyl-d5)-1-propanone | C9H6D5NO | Chiron | Solution in MeOH | 1 |
| Cathinone | – | 2-Amino-1-phenyl-1-propanone | C9H11NO | Chiron | Solution in MeOH | 1 |
| 3-CEC | 3-Chloroethcathinone | 1-(3-Chlorophenyl)-2-(ethylamino)propan-1-one | C11H14ClNO | Cayman | Powder | 1 |
| 4-CEC | 4-Chloroethcathinone | 1-(4-Chlorophenyl)-2-(ethylamino)-1-propanone | C11H14ClNO | Cayman | Powder | 1 |
| 3-CMC | 3-Chloromethcathinone | 1-(3-Chlorophenyl)-2-(methylamino)-1-propanone | C10H12ClNO | Cayman | Powder | 1 |
| 4-CMC | 4-Chloromethcathinone | 1-(4-Chlorophenyl)-2-(methylamino)-1-propanone | C10H12ClNO | Chiron | Powder | 10 |
| 4-Cl-α-PVP | 4-Chloro-α-pyrrolidinopentiophenone | 1-(4-Chlorophenyl)-2-(1-pyrrolidinyl)-1-pentanone | C15H20ClNO | Cayman | Powder | 1 |
| 4-CPD | 4-Chloropentedrone | 1-(4-Chlorophenyl)-2-(methylamino)pentan-1-one | C12H16ClNO | Cayman | Powder | 1 |
| 3,4-DMMC | 3,4-Dimethylmethcathinone | 1-(3,4-Dimethylphenyl)-2-(methylamino)-1-propanone | C12H17NO | LGC | Solution in MeOH | 1 |
| 4-EMC | 4-Ethylmethcathinone | 1-(4-Ethylphenyl)-2-(methylamino)propan-1-one | C12H17NO | Cayman | Powder | 5 |
| Ephylone | N-Ethylpentylone | 1-(1,3-Benzodioxol-5-yl)-2-(ethylamino)-1-pentanone | C14H19NO3 | Cayman | Powder | 5 |
| Ethcathinone | N-Ethylcathinone | 2-(Ethylamino)-1-phenyl-1-propanone | C11H15NO | Cayman | Powder | 5 |
| Eutylone | bk-EBDB | 1-(1,3-Benzodioxol-5-yl)-2-(ethylamino)-1-butanone | C13H17NO3 | LGC | Solution in MeOH | 1 |
| 4-F-PHP | 4-Fluoro-α-pyrrolidinohexanophenone | 1-(4-Fluorophenyl)-2-(pyrrolidin-1-yl)hexan-1-one | C16H22FNO | Cayman | Powder | 1 |
| Hex-en | N-Ethylhexedrone | 2-(Ethylamino)-1-phenylhexan-1-one | C14H21NO | Cayman | Powder | 1 |
| MDPBP | 3,4-Methylenedioxy-α-pyrrolidinobutiophenone | 1-(1,3-Benzodioxol-5-yl)-2-(1-pyrrolidinyl)-1-butanone | C15H19NO3 | LGC | Solution in MeOH | 1 |
| 3,4-MDPHP | 3,4-Methylenedioxy-α-pyrrolidino-hexanophenone | 1-(1,3-Benzodioxol-5-yl)-2-(1-pyrrolidinyl)-1-hexanone | C17H23NO3 | Cayman | Powder | 1 |
| MDPV | 3,4-Methylenedioxypyrovalerone | 1-(1,3-Benzodioxol-5-yl)-2-(1-pyrrolidinyl)-1-pentanone | C16H21NO3 | LGC | Powder | 10 |
| 4-MEC | 4-Methylethcathinone | 2-(Ethylamino)-1-(4-methylphenyl)-1-propanone | C12H17NO | LGC | Solution in MeOH | 1 |
| Methedrone | PMMC, para-Methoxymethcathinone | 1-(4-Methoxyphenyl)-2-(methylamino)-1-propanone | C11H15NO2 | Chiron | Solution in MeOH | 1 |
| Methylone | bk-MDMA, 3,4-Methylenedioxy-N-methylcathinone | 1-(1,3-Benzodioxol-5-yl)-2-(methylamino)-1-propanone | C17H13NO3 | Cayman | Powder | 1 |
| 2-MMC | 2-Methylmethcathinone | 2-(Methylamino)-1-(2-methylphenyl)-1-propanone | C11H17NO | Chiron | Solution in MeOH | 1 |
| 3-MMC | 3-Methylmethcathinone | 2-(Methylamino)-1-(3-methylphenyl)-1-propanone | C11H15NO | Chiron | Powder | 10 |
| 4-MMC | Mephedrone, 4-Methylmethcathinone | 2-(Methylamino)-1-(4-methylphenyl)-1-propanone | C11H15NO | Chiron | Solution in MeOH | 1 |
| 4-MPD | 4-Methylpentedrone | 2-(Methylamino)-1-(p-tolyl)pentan-1-one | C13H19NO | Cayman | Powder | 1 |
| Naphyrone | β-Naphyrone, Naphpyrovalerone | 1-(2-Naphthalenyl)-2-(1-pyrrolidinyl)-1-pentanone | C19H23NO | LGC | Powder | 10 |
| Pentedrone | α-Methylaminovalerophenone | 2-(Methylamino)-1-phenyl-1-pentanone | C12H17NO | LGC | Solution in MeOH | 1 |
| Pentylone | – | 1-(1,3-Benzodioxol-5-yl)-2-(methylamino)-1-pentanone | C13H17NO3 | LGC | Solution in MeOH | 1 |
| α-PHP | α-Pyrrolidinohexanophenone | 1-Phenyl-2-(1-pyrrolidinyl)-1-hexanone | C16H23NO | Cayman | Powder | 5 |
| α-PiHP | α-Pyrrolidinoisohexanophenone | 4-Methyl-1-phenyl-2-(pyrrolidin-1-yl)pentan-1-one | C16H23NO | Cayman | Powder | 1 |
| N-Propylpentedrone | α-Propylaminopentiophenone | 1-Phenyl-2-(propylamino)-1-pentanone | C14H21NO | Cayman | Powder | 5 |
| PV4 (MPHP) | 4-Methyl-α-pyrrolidinohexanophenone | 2-(Pyrrolidin-1-yl)-1-(p-tolyl)hexan-1-one | C17H23NO | Cayman | Powder | 5 |
| PV9 | α-Pyrrolidinooctanophenone | 1-Phenyl-2-(pyrrolidin-1-yl)octan-1-one | C18H27NO | Cayman | Powder | 5 |
| α-PVP | α-Pyrrolidinovalerophenone | 1-Phenyl-2-(1-pyrrolidinyl)-1-pentanone | C15H21NO | Cayman | Powder | 1 |

* There are many names of NPS; in this table are listed the most common names used

** Depending on delivered form of standards: mass of the powder [mg] or concentration of solution [mg/mL]

*** Solution as a mixture of 6 compounds (Amine Mixture-6)

Table S2 Data for assessment of matrix effects [%] of the developed procedure (7 or 8 points calibration curves, n=3)

| Compound name | Solvent |  | Extracts |  | ME [%] |
| --- | --- | --- | --- | --- | --- |
|  | Curve equation | r | Curve equation | r |  |
| Amphetamine | y = 0.02311x + 0.0228 | 0.9993 | y = 0.02419x – 0.0179 | 0.9998 | 5 |
| Phentermine | y = 0.03754x + 0.0139 | 0.9991 | y = 0.04287x – 0.0089 | 0.9994 | 14 |
| Ephedrine | y = 0.08370x + 0.0092 | 0.9997 | y = 0.07388x + 0.0798 | 0.9996 | –8 |
| Methamphetamine | y = 0.06773x – 0.0390 | 0.9995 | y = 0.05938x – 0.0349 | 0.9998 | –12 |
| Cathinone | y = 0.04825x + 0.0331 | 0.9996 | y = 0.05804x – 0.0311 | 0.9999 | 20 |
| Pseudoephedrine | y = 0.10677x – 0.1269 | 0.9995 | y = 0.09259x + 0.0126 | 0.9993 | –13 |
| 4-MMA | y = 0.03992x – 0.1172 | 0.9994 | y = 0.03001x + 0.0251 | 0.9990 | –25 |
| Ethylcathinone | y = 0.01645x – 0.0053 | 0.9997 | y = 0.01800x – 0.0107 | 0.9998 | 9 |
| PMA | y = 0.05807x – 0.0842 | 0.9997 | y = 0.04672x – 0.0367 | 0.9995 | –19 |
| 2-MMC | y = 0.05020x – 0.0012 | 0.9991 | y = 0.05811x – 0.0212 | 0.9990 | 16 |
| 3-MMC | y = 0.04033x + 0.0044 | 0.9998 | y = 0.04227x – 0.0421 | 0.9998 | 5 |
| 4-MMC | y = 0.04955x – 0.0173 | 0.9998 | y = 0.05023x – 0.0494 | 0.9998 | 1 |
| Pentedrone | y = 0.01717x – 0.0076 | 0.9992 | y = 0.01611x – 0.0045 | 0.9998 | –6 |
| 4-CMC | y = 0.02253x – 0.0021 | 0.9993 | y = 0.02089x + 0.0041 | 0.9991 | –7 |
| 3-CMC | y = 0.02470x – 0.0101 | 0.9996 | y = 0.02470x – 0.0154 | 0.9998 | 0 |
| MDA | y = 0.06597x – 0.1050 | 0.9990 | y = 0.05066x – 0.0494 | 0.9996 | –23 |
| 4-MEC | y = 0.04603x – 0.0411 | 0.9997 | y = 0.04484x – 0.0444 | 0.9998 | –3 |
| PMMA | y = 0.05524x – 0.0032 | 0.9994 | y = 0.04052x – 0.0021 | 0.9989 | –27 |
| 4-EMC | y = 0.02512x – 0.0039 | 0.9995 | y = 0.02228x – 0.0234 | 0.9997 | –11 |
| 3,4-DMMC | y = 0.04311x – 0.0408 | 0.9995 | y = 0.04160x – 0.0392 | 0.9997 | –4 |
| 4-MPD | y = 0.04692x – 0.0267 | 0.9994 | y = 0.04590x – 0.0332 | 0.9998 | –2 |
| N-Propylpentedrone | y = 0.00674x – 0.0038 | 0.9998 | y = 0.00694x – 0.0051 | 0.9998 | 3 |
| 3-CEC | y = 0.02259x – 0.0549 | 0.9989 | y = 0.01991x – 0.0253 | 0.9990 | –12 |
| 4-CEC | y = 0.01870x – 0.0196 | 0.9995 | y = 0.01731x – 0.0134 | 0.9999 | –7 |
| Methedrone | y = 0.03800x – 0.0330 | 0.9997 | y = 0.03698x – 0.0423 | 0.9998 | –3 |
| Hex-en | y = 0.01680x – 0.0192 | 0.9994 | y = 0.01530x – 0.0093 | 0.9998 | –9 |
| 4-CPD | y = 0.00804x – 0.0058 | 0.9993 | y = 0.00866x – 0.0540 | 0.9999 | 8 |
| MDMA | y = 0.04497x – 0.0492 | 0.9996 | y = 0.03775x – 0.0292 | 0.9997 | –16 |
| MDEA | y = 0.04607x – 0.0797 | 0.9990 | y = 0.03624x – 0.0224 | 0.9997 | –21 |
| α-PVP | y = 0.00602x – 0.0004 | 0.9993 | y = 0.00884x – 0.0279 | 0.9989 | 47 |
| Methylone | y = 0.05312x – 0.0085 | 0.9988 | y = 0.06115x – 0.0199 | 0.9978 | 15 |
| α-PiHP | y = 0.01047x – 0.0232 | 0.9984 | y = 0.01424x – 0.0445 | 0.9988 | 36 |
| 4-F-PHP | y = 0.00845x – 0.0196 | 0.9981 | y = 0.00991x – 0.0342 | 0.9987 | 17 |
| Butylone | y = 0.02366x – 0.0173 | 0.9997 | y = 0.02443x – 0.0366 | 0.9999 | 3 |
| α-PHP | y = 0.00825x – 0.0192 | 0.9986 | y = 0.00925x – 0.0279 | 0.9986 | 12 |
| Eutylone | y = 0.02012x + 0.0567 | 0.9993 | y = 0.01996x + 0.0009 | 0.9997 | –1 |
| Pentylone | y = 0.03097x – 0.0567 | 0.9994 | y = 0.03097x – 0.0567 | 0.9997 | –2 |
| 4-Cl-α-PVP | y = 0.00604x – 0.0127 | 0.9988 | y = 0.00802x – 0.0308 | 0.9989 | 33 |
| Ephylone | y = 0.02084x – 0.0412 | 0.9993 | y = 0.01995x – 0.0479 | 0.9997 | –4 |
| PV4 (MPHP) | y = 0.00905x – 0.0158 | 0.9988 | y = 0.01009x – 0.0247 | 0.9992 | 11 |
| PV9 | y = 0.00791x – 0.0150 | 0.9976 | y = 0.00988x – 0.0240 | 0.9992 | 25 |
| MDPBP | y = 0.00406x + 0.0120 | 0.9996 | y = 0.00728x – 0.0065 | 0.9991 | 79 |
| MDPV | y = 0.00619x + 0.0229 | 0.9979 | y = 0.00819x – 0.0205 | 0.9976 | 32 |
| 3,4-MDPHP | y = 0.00219x – 0.0257 | 0.9981 | y = 0.01416x – 0.0296 | 0.9993 | 16 |
| Naphyrone | y = 0.00658x – 0.0153 | 0.9989 | y = 0.00720x – 0.0028 | 0.9992 | 9 |

ME matrix effect,  r correlation coefficient

Fig. S1 MRM chromatograms of blank blood sample obtained by proposed extraction method using 1-chlorobutane (black line) and ethyl acetate (pink line). Arrows indicate retention times for analytes: A. amphetamine, B. α-PVP, C. 4-Cl-α-PVP, D. PV4, E. MDPBP