Table S1 Multiple reaction monitoring (MRM) transitions and collision voltages of 5F-ADB and 5F-AMB for gas chromatography – tandem mass spectrometry

| Compound | Retention time [min] | Qualitative MRM transition [mass > product mass] | Collision voltage [eV] | Quantitative MRM transition [mass > product mass] |
| --- | --- | --- | --- | --- |
| 5F-ADB | 27.04 | 377>321 377>289 377>233 289>233 321>289 | 7 15 20 12 7 | 321>289 |
| 5F-AMB | 25.92 | 363>321 363>289 363>233 289>233 321>289 | 7 15 20 12 7 | 321>289 |