[bookmark: _GoBack]Table S1 Multiple reaction monitoring (MRM) transitions and collision voltages of 5F-ADB and 5F-AMB for gas chromatography – tandem mass spectrometry
	Compound
	Retention time
[min]
	Qualitative MRM transition
[mass > product mass]
	Collision voltage
[eV]
	Quantitative MRM transition
[mass > product mass]

	5F-ADB
	27.04
	377>321
377>289
377>233
289>233
321>289
	7
15
20
12
7
	321>289

	5F-AMB
	25.92
	363>321
363>289
363>233
289>233
321>289
	7
15
20
12
7
	321>289



