Electronic supplementary material

Quantification of olanzapine and its three metabolites by liquid chromatography-tandem mass spectrometry in human body fluids obtained from four deceased, and confirmation of the reduction from olanzapine N-oxide to olanzapine in whole blood in vitro

Hideki Nozawa1・Kayoko Minakata1・Koutaro Hasegawa1・Itaru Yamagishi1・Naotomo Miyoshi1・ Masako Suzuki1・Takuya Kitamoto2・Minako Kondo2・Kanako Watanabe1・Osamu Suzuki1

1 Department of Legal Medicine, Hamamatsu University School of Medicine, 1-20-1 Handayama, Higashi-ku, Hamamatsu 431-3192, Japan

2 Advanced Research Facilities and Services, Hamamatsu University School of Medicine, 1-20-1 Handayama, Higashi-ku, Hamamatsu 431-3192, Japan

Hideki Nozawa (corresponding author)

(tel) +81-53-435-2239, (fax) +81-53-435-2858,

(e-mail) hnozawa@hama-med.ac.jp

Table S1  Accurate mass data showing elemental compositions, retention times, precursor ions and diagnostic product ions with their mass errors in parentheses (ppm) for olanzapine and its three metabolites in urine detected by liquid chromatography (LC)–Orbitrap tandem mass spectrometry (MS/MS)

Analyte   Elemental     Retention   Precursor ion      Collision    Diagnostic product ions

composition     time     in m/z observed      voltage       in m/z observed

(min)    (mass error, ppm)     (V)         (mass error, ppm)

OLZ    C17H20N4S    10.75     313.1482 (0)         31       256.0902(0), 282.1057(-1)

213.0482(0), 84.0814(+7)

DM-O   C16H18N4S    9.55     299.1323(-1)         35       256.0904(0), 213.0482(0)

198.0248(+1), 70.0659(+11)

2H-O    C17H20N4OS   8.93    329.1425 (-2)         33      272.0852(0), 298.1007(-1)

229.0433(+1), 84.0814(+7)

NO-O   C17H20N4OS   9.46    329.1425(-2)          25      229.0664(-2), 242.0748(+1)

213.0482(0), 201.0483(+1)

OLZ olanzapine, DM-O N-desmethyl olanzapine, 2H-O 2-hydroxymethyl olanzapine, NO-O N-oxide olanzapine

Table S2  Relative peak height intensities of the product ions of OLZ and its metabolites in the reference standard solution and urine of the victim in case 1 taking the intensity of the highest ion to be 100 detected by LC–MS/MS

Analytes                 Protonated                       Product ion (m/z)

molecular ion (m/z)

Specimen                                    Percent product ion intensity

OLZ                     (313)                 (256)       (282)       (213)        (84)

Standard                            100       11.3±0.2     7.7±0.1     19.8±0.9

Urine                               100       11.7±0.2     8.3±0.4     20.1±0.3

DM-O                   (299)                 (256)       (213)       (198)        (70)

Standard                            100       89.4±0.5     31.2±0.4    19.9±0.3

Urine                               100       88.1±0.8     30.2±0.5    19.0±0.1

2H-O                    (329)                 (272)       (298)       (229)        (84)

Standard                            100       11.8±0.2     7.4±0.1     20.7±0.3

Urine                               100       11.2±0.2     6.8±0.1     19.2±0.4

NO-O                    (329)                 (229)       (242)       (213)       (201)

Standard                            100       63.7±1.2     15.5±3.9    22.7±2.3

Urine                               100       60.4±0.9     14.2±0.3    22.7±1.6

Table S3  Regression equations, correlation coefficients, limits of quantification (LOQ), limits of detection (LOD) for OLZ and its metabolites in whole blood, urine and other three specimens measured by the conventional matrix-matched calibration method (upper panel) and the standard addition method (lower panel)

Matrix-matched calibration

Analyte       LOQ – 200 x LOQ       equation             Correlation    LOD

(ng/mL)                               coefficient   (ng/mL)

Whole blood spiked

OLZ             0.05 – 10        y = 0.2122 x + 0.0026     0.994       0.02

DM-O           0.15 – 30        y = 0.0086 x + 0.0000      0.998      0.05

2H-O            0.05 – 10        y = 0.0606 x + 0.0009     0.998       0.02

NO-O           0.15 – 30        y = 0.0107 x - 0.0001      0.997       0.15

Urine spiked

OLZ             0.05 – 10        y = 0.1696 x + 0.0068      0.996       0.02

DM-O           0.15 – 30        y = 0.0087 x + 0.0009      0.998       0.05

2H-O            0.05 – 10        y = 0.0750 x + 0.0011      0.996       0.02

NO-O           0.15 – 30        y = 0.0109 x + 0.0007      0.997       0.05

Standard addition calibration

Analyte         Spiked range          equation           Correlation    LOD

(dilution rate)     (ng/mL)                              coefficient   (ng/mL)

Pericardial fluid in case 1

OLZ (1/10)       0.1 – 10        y = 0.1430 x + 0.9833       0.995       0.02

DM-O (1/10)      0.3 – 30        y = 0.0082 x + 0.0321       0.996       0.07

2H-O (1)         0.1 – 10        y = 0.0510 x + 0.1432       0.996       0.03

NO-O (1)         0.3 – 30        y = 0.0100 x +0.0097       0.994       0.15

Stomach contents in case 1

OLZ (1/10)        0.1 – 10        y = 0.1040 x + 0.1703      0.997       0.02

DM-O (1)         0.3 – 30        y = 0.0074 x + 0.0228      0.997       0.07

2H-O (1)         0.1 – 10        y = 0.0473 x + 0.0661       0.993       0.03

NO-O (1)         0.3 – 30        y = 0.0115 x + 0.0076       0.995       0.15

Bile in case 1

OLZ (1/100)       0.1 – 10       y = 0.1174 x + 0.2292       0.994       0.02

DM-O (1/100)      0.3 – 30       y = 0.0058 x + 0.0200       0.992       0.07

2H-O (1/10)       0.1 – 10        y = 0.0589 x + 0.1223       0.999       0.03

NO-O (1/10)       0.3 – 30       y = 0.0101 x + 0.0064       0.996       0.15

Table S4  Intraday and interday accuracies/precisions, recoveries and matrix effects data for OLZ and its metabolites in spiked blood and urine samples using the matrix-matched calibration method

Intraday              Interday              Recovery         Matrix effect

Analyte     Conc.

Accuracy  Precision   Accuracy  Precision

(ng/mL)      (%)     (% RSD)     (%)     (% RSD)      (%)   (% RSD)      (%)   (% RSD)

Blood

OLZ       0.05        96.8     10.2        108     8.7  　      81.5     11.0        81.6     6.7

1.0         93.3     3.6         95.1     3.0　　     95.5   　 8.0        87.3   　 5.0

10          89.7     1.7        93.3     2.5          89.6     13.2        91.3     2.0

DM-O      0.15        83.9     9.7        101      10.9  　     79.6     6.9        77.0     2.4

3.0         98.5     9.2         93.8     3.3　　      84.6     11.6       84.0     3.2

30          99.5     4.9        98.2     1.3          91.3     13.5       91.0     3.7

2H-O      0.05         92.4    12.9        88.0     6.8  　      82.8     10.7       81.0　　　8.8

1.0         111     1.5         111      9.0　　      87.9     9.3        98.0    　2.8

10          108     0.1         114     11.0         88.9     13.7       89.3      4.9

NO-O      0.15        106     10.1        111     11.2  　     75.9      6.9        83.0      4.1

3.0         99.4     4.3         93.4     5.2　　     84.9      6.1        90.6      5.0

30          102     9.7         98.7     5.0         93.1      0.2        95.0      1.6

Urine

OLZ       0.05        82.9     4.6         76.7     4.1  　     96.7　　　8.6　　　 79.7　　　2.9

1.0         114      2.2         118     7.1　　     83.3      5.2　　　 88.7　    3.5

10          99.9     1.4         99.8     3.4         86.0     8.8        93.3     7.6

DM-O      0.15        79.0    14.1         79.7     12.1  　    75.0     4.2        93.7     5.8

3.0         108     2.1          98.6     5.9　　     80.0     8.8        95.0     9.9

30          98.6    3.6          96.6     4.2         78.0     9.9        88.0     2.9

2H-O      0.05         75.6    5.5          84.9     4.1  　     91.0     2.8        98.7     10.5

1.0         105     0.55         108     5.4　　     107      10.6       104      8.2

10          103     1.3         101     12.0         98.3  　 5.6        78.7     9.8

NO-O      0.15        81.0     5.0         83.1     6.4  　     90.3      9.2        107     7.3

3.0         105     2.3          104     1.6　　     82.0      2.4        106     2.4

30          103     5.8         102      4.3         86.6     10.3       83.3     4.5

RSD relative standard deviation

Table S5  Intraday (n=5) and interday (n=5) repeatability, recovery and matrix effect data for OLZ and its metabolites in pericardial fluid, stomach contents and bile in case 1 using the standard addition method

Analyte           Intraday (n= 5)         Interday (n= 5)          Recovery    Matrix effect

Concentration   Repetability   Concentration   Repetability

(ng/mL)   (% RSD)    (ng/mL)    (% RSD)    (%±% RSD)   (%±% RSD)

Pericardial fluid

OLZ            70.8 ±7.1    10.0       76.6 ±12.1   15.8        81.3 ±7.7     92.5±2.5

DM-O           39.6 ±3.4    8.6       35.2 ±7.2     20.4       83.7 ±12.7    90.1 ±9.1

2H-O           2.82±0.33    11.7      2.64±0.34    12.9        91.9±8.8     76.1±6.6

NO-O           0.97±0.08    8.2       1.10±0.26    23.6       96.7±13.2    85.3±10.0

Stomach contents

OLZ            16.9 ±0.7     4.1       16.4 ±2.5     15.2       89.6 ±3.7    83.9 ±5.1

DM-O           3.10 ±0.3    9.7        3.28 ±0.47    14.3       79.1±20.0    91.2 ±3.0

2H-O           1.40±0.22    15.7       1.44±0.23    16.0        83.4±3.2    79.6±2.98

NO-O           0.66±0.05    7.6        0.71±0.08    11.3       85.9±8.0    79.0±8.5

Bile

OLZ             200 ±18     9.0       182 ±24     13.2        84.3 ±11.9    84.2±9.5

DM-O           346 ±40     11.6       366 ±34     9.3         96.3 ±3.0     83.9 ±5.2

2H-O            20.8±2.3    11.1       22.0±2.3    10.5         94.8±2.8     86.0±14.4

NO-O            6.30±1.07   17.0      6.12±1.02    16.7        78.0±8.6     81.6±6.5