Supplementary information to the paper entitled:

Investigation of commercially available recombinant and conventional β-glucuronidases to evaluate the hydrolysis efficiencies against O-glucuronides and N-glucuronides in urinary drug screening

Akira Namera1, Takeshi Saito2, Masataka Nagao1

1 Department of Forensic Medicine, Graduate School of Biomedical and Health Sciences, Hiroshima University, Hiroshima, Japan

2 Department of Emergency and Critical Care Medicine, Tokai University School of Medicine, Kanagawa, Japan

Table S1 Multiple reaction monitoring conditions for three target drugs in urine by liquid chromatography – tandem mass spectrometry

|  | Precursor ion (m/z) | Product ion (m/z) | Fragmentor (V) | Collision energy (eV) |
| --- | --- | --- | --- | --- |
| Amitriptyline | 278.2 | 91.2 105.1, 117.1 | 130 | 25 25, 21 |
| Diphenhydramine | 256.2 | 107.1 165.1, 152.1 | 90 | 9 45, 41 |
| Oxazepam | 287.1 | 240.9 268.2, 104.1 | 130 | 21 13, 41 |
| Diazepam-d5 | 290.1 | 198.0 | 130 | 33 |

Quantifier ions in bold