Table S1. Chromatographic parameters of regression equation, correlation factor, linear range, retention time, and RSD of retention time by gas chromatography for fatty acid, tocopherol, and carotenoid analysis

|  | Regression equation* | Correlation factor | Linear range** | Retention time | RSD |
| --- | --- | --- | --- | --- | --- |
| Fatty acid |  |  |  |  |  |
| 14:0 | Y=3.40×10-3X−0.65 | 0.978 | 9.90-1200 | 12.16 | 0.55 |
| 15:0 | Y=3.68×10-3X−10.36 | 0.985 | 1.36-600 | 13.57 | 0.53 |
| 16:0 | Y=3.94×10-3X−81.34 | 0.988 | 2.26-1800 | 15.33 | 0.48 |
| 16:1 n-7 | Y=3.92×10-3X−20.02 | 0.988 | 1.58-600 | 16.42 | 0.47 |
| 17:1 n-7 | Y=4.42×10-3X−55.72 | 0.992 | 1.78-600 | 18.78 | 0.45 |
| 18:0 | Y=4.53×10-3X−99.37 | 0.997 | 1.03-1200 | 20.03 | 0.41 |
| 18:1 n-9 | Y=1.89×10-3X+52.27 | 0.964 | 1.54-600 | 21.19 | 0.91 |
| 18:1 n-7 | Y=1.82×10-3X+161.2 | 0.935 | 2.57-600 | 21.51 | 0.23 |
| 18:2 n-6 | Y=2.19×10-3X+195.5 | 0.919 | 3.22-600 | 23.43 | 0.19 |
| 18:3 n-3 | Y=1.64×10-3X−63.19 | 0.995 | 1.25-600 | 26.36 | 0.35 |
| 20:0 | Y=5.88×10-3X−90.17 | 0.960 | 2.56-600 | 27.84 | 0.45 |
| 18:4 n-3 | Y=4.21×10-3X−20.25 | 0.911 | 5.62-600 | 28.02 | 0.54 |
| 20:1 n-9 | Y=4.68×10-3X−42.07 | 0.962 | 1.09-600 | 28.55 | 0.54 |
| 20:2 n-6 | Y=5.29×10-3X−70.30 | 0.995 | 2.83-600 | 30.74 | 0.32 |
| 20:3 n-6 | Y=4.02×10-3X−58.56 | 0.993 | 2.99-600 | 32.63 | 0.32 |
| 20:4 n-6 | Y=1.99×10-3X−23.98 | 0.960 | 3.55-600 | 34.09 | 0.10 |
| 22:0 | Y=2.38×10-3X−42.56 | 0.970 | 3.89-600 | 35.53 | 0.24 |
| 22:1 n-9 | Y=5.39×10-3X−61.26 | 0.994 | 3.30-600 | 36.03 | 0.28 |
| 20:5 n-3 | Y=4.79×10-3X−40.54 | 0.996 | 3.32-600 | 37.59 | 0.28 |
| 24:0 | Y=2.36×10-3X−71.28 | 0.995 | 1.11-600 | 42.78 | 0.24 |
| 24:1 n-9 | Y=5.24×10-3X−55.66 | 0.993 | 3.70-600 | 44.89 | 0.23 |
| 22:5 n-3 | Y=9.06×10-3X−55.27 | 0.998 | 9.85-600 | 47.15 | 0.23 |
| 22:6 n-3 | Y=6.19×10-3X−61.03 | 0.992 | 4.50-600 | 48.40 | 0.23 |
| Tocopherol |  |  |  |  |  |
| α-Toc | Y=3.96×10-6X+0.24 | 0.988 | 0.11-34.80 | 5.02 | 0.40 |
| Carotenoid |  |  |  |  |  |
| astaxanthin | Y=0.79×10-5X+0.03 | 0.997 | 0.05-20.52 | 10.58 | 1.19 |
| lutein | Y=0.30×10-5X+0.03 | 0.996 | 0.19-34.79 | 12.00 | 1.53 |
| zeaxanthin | Y=6.78×10-5X+0.01 | 0.996 | 0.19-20.80 | 14.15 | 1.20 |
| canthaxanthin | Y=5.60×10-5X+0.15 | 0.996 | 0.26-20.36 | 14.90 | 1.46 |

Regression equation*: X = Chromatography peak area; Y = Mass concentration (µg/mL)

Linear range**: µg/mL

Table S2. Chromatographic parameters of regression equation, correlation factor, linear range, retention time, and RSD of retention time in HPLC for nucleotide monophosphate, free amino acid, and imidazole dipeptide analysis

|  | Regression equation* | Correlation factor | Linear range** | Retention time | RSD |  |
| --- | --- | --- | --- | --- | --- | --- |
| Nucleotide monophosphate |  |  |  |  |  |
| GMP | Y=5.76×10-5X+1.01 | 0.998 | 1.22-25.22 | 12.53 | 0.27 |  |
| IMP | Y=1.72×10-5X+1.00 | 0.998 | 1.83-214.41 | 14.32 | 0.28 |  |
| AMP | Y=5.34×10-5X+0.38 | 0.999 | 0.79-60.39 | 19.74 | 0.34 |  |
| Free amino acid |  |  |  |  |  |
| Asp | Y=3.32×10-6X+0.08 | 0.964 | 0.33-475.68 | 20.65 | 0.83 |  |
| Glu | Y=3.27×10-6X+0.16 | 0.965 | 0.41-476.69 | 26.98 | 0.35 |  |
| Ser | Y=1.57×10-6X+0.37 | 0.965 | 0.66-478.81 | 41.08 | 0.99 |  |
| Gly | Y=1.17×10-6X+0.23 | 0.969 | 0.22-475.44 | 46.00 | 0.90 |  |
| His | Y=1.16×10-6X−0.06 | 0.975 | 0.37-477.33 | 57.30 | 0.78 |  |
| Tau | Y=1.60×10-6X+0.38 | 0.976 | 0.36-473.88 | 61.20 | 0.75 |  |
| Thr | Y=1.68×10-6X+0.34 | 0.967 | 0.60-470.65 | 63.55 | 0.69 |  |
| Ala | Y=0.86×10-6X+1.54 | 0.899 | 1.65-470.66 | 69.06 | 0.30 |  |
| Arg | Y=2.83×10-6X−0.13 | 0.979 | 0.60-468.39 | 69.64 | 0.58 |  |
| Pro | Y=3.30×10-6X−0.30 | 0.967 | 0.46-493.29 | 85.31 | 0.46 |  |
| Tyr | Y=2.55×10-6X+0.98 | 0.999 | 0.93-479.57 | 96.07 | 0.11 |  |
| Val | Y=1.13×10-6X+0.32 | 0.965 | 0.30-478.07 | 99.69 | 0.32 |  |
| Met | Y=1.78×10-6X+0.49 | 0.970 | 0.24-483.43 | 102.36 | 0.16 |  |
| Ile | Y=0.92×10-6X+0.36 | 0.965 | 0.37-485.81 | 114.84 | 0.06 |  |
| Leu | Y=0.95×10-6X+0.39 | 0.965 | 0.38-473.88 | 116.23 | 0.96 |  |
| Lys | Y=2.10×10-6X+0.43 | 0.954 | 0.49-474.14 | 119.50 | 0.49 |  |
| Phe | Y=0.73×10-6X−0.01 | 0.955 | 1.00-482.05 | 121.36 | 0.71 |  |
| Imidazole dipeptide |  |  |  |  |  |
| Carnosine | Y=7.06×10-6X−0.11 | 0.999 | 0.23-2212.39 | 11.88 | 0.08 |  |
| Balenine | Y=9.26×10-6X+0.04 | 0.999 | 0.36-2083.33 | 13.59 | 0.12 |  |
| Anserine | Y=1.00×10-5X+0.05 | 0.999 | 0.31-2252.33 | 14.54 | 0.09 |  |

Regression equation*: X = HPLC Peak area; Y = Mass concentration (µg/mL)

Linear range**: µg/mL