Supplemental Table 1: Device %MARD Vs. Year Commercially Available Appendix Information
	Device
	MARD
	FDA Approval Date
	FDA Approval Number
	Source

	GlucoWatch
	22%
	3/22/01
	P990026
	Diabetes Research in Children Network (DirecNet) Study Group. "The accuracy of the GlucoWatch® G2™ Biographer in children with type 1 diabetes: results of the Diabetes Research in Children Network (DirecNet) accuracy study." Diabetes technology & therapeutics 5.5 (2003): 791.

	Guardian Real-Time
	19.70%
	7/18/05
	P980022 S011
	https://www.accessdata.fda.gov/cdrh_docs/pdf/P980022S011B.pdf

	SEVEN plus
	15.90%
	5/31/07
	P050012
	Bailey, Timothy, Howard Zisser, and Anna Chang. "New features and performance of a next-generation SEVEN-day continuous glucose monitoring system with short lag time." Diabetes technology & therapeutics 11.12 (2009): 749-755.

	Navigator
	12.80%
	3/12/08
	P050020
	Weinstein, Richard L., et al. "Accuracy of the 5-day FreeStyle Navigator Continuous Glucose Monitoring System: comparison with frequent laboratory reference measurements." Diabetes care 30.5 (2007): 1125-1130.

	G4 Platinum
	13%
	10/5/12
	P120005
	Nakamura, Katherine, and Andrew Balo. "The accuracy and efficacy of the Dexcom G4 platinum continuous glucose monitoring system." Journal of diabetes science and technology 9.5 (2015): 1021-1026.

	Enlite
	[bookmark: _GoBack]13.80%
	9/26/13
	P120010
	Keenan, Desmond Barry, et al. "Accuracy of the Enlite 6-day glucose sensor with guardian and Veo calibration algorithms." Diabetes technology & therapeutics 14.3 (2012): 225-231.

	G5
	9.00%
	8/19/15
	P120005 S033
	Bailey, Timothy S., Anna Chang, and Mark Christiansen. "Clinical accuracy of a continuous glucose monitoring system with an advanced algorithm." Journal of diabetes science and technology 9.2 (2014): 209-214.

	Libre
	9.70%
	9/23/16
	P150021
	Klimek, Monika, and Tytus Tulwin. "Continuous glucose monitoring: review of promising technologies." MATEC Web of Conferences. Vol. 252. EDP Sciences, 2019.

	Guardian 3
	8.70%
	9/28/16
	P160017
	Josereyes. “Guardian™ Sensor 3.” Medtronic, 18 Dec. 2018, professional.medtronicdiabetes.com/guardian-sensor-3.

	G6
	9.00%
	3/27/18
	DEN170088
	Shah, Viral N., et al. "Performance of a factory-calibrated real-time continuous glucose monitoring system utilizing an automated sensor applicator." Diabetes Technology & Therapeutics 20.6 (2018): 428-433.

	Eversense
	8.50%
	6/21/18
	P160048
	https://www.accessdata.fda.gov/cdrh_docs/pdf16/P160048B.pdf




