Supplementary Table 1. Table of eighteen green coffee batches analysed. Farm 1 (F1, La Victoria), Farm 2 (F2, El Poste), Farm 3 (F3, La Marcela). Varieties analysed are Catuai Rojo (CR), Bourbon (BO) and Maragogype (MA). Fermentation time is reported for each batch (12 hours and 24 hours) fermented beans. The GPS coordinates (all from the Nueva Segovia department) of each production site are provided for geographical reference. The geographic coordinates are reported in decimal degrees (DD) format, expressing latitude and longitude as decimal fractions of degrees, which represents the standard format used in GPS data acquisition.

| Batch n° | Farm | Variety | Fermentation (h) | GPS |
| --- | --- | --- | --- | --- |
| 1 | La Marcela | Catuai Rojo | 24 | 13.780107916615991, -86.60132557710354 |
| 2 | La Marcela | Catuai Rojo | 12 | 13.780107916615991, -86.60132557710354 |
| 3 | La Marcela | Bourbon | 24 | 13.780107916615991, -86.60132557710354 |
| 4 | La Marcela | Bourbon | 12 | 13.780107916615991, -86.60132557710354 |
| 5 | La Marcela | Maragogype | 24 | 13.780107916615991, -86.60132557710354 |
| 6 | La Marcela | Maragogype | 12 | 13.780107916615991, -86.60132557710354 |
| 7 | El Poste | Catuai Rojo | 24 | 13.787535853552106, -86.54571597225365 |
| 8 | El Poste | Catuai Rojo | 12 | 13.787535853552106, -86.54571597225365 |
| 9 | El Poste | Bourbon | 24 | 13.787535853552106, -86.54571597225365 |
| 10 | El Poste | Bourbon | 12 | 13.787535853552106, -86.54571597225365 |
| 11 | El Poste | Maragogype | 24 | 13.787535853552106, -86.54571597225365 |
| 12 | El Poste | Maragogype | 12 | 13.787535853552106, -86.54571597225365 |
| 13 | La Victoria | Catuai Rojo | 24 | 13.790199851360875, -86.54658174030882 |
| 14 | La Victoria | Catuai Rojo | 12 | 13.790199851360875, -86.54658174030882 |
| 15 | La Victoria | Bourbon | 24 | 13.790199851360875, -86.54658174030882 |
| 16 | La Victoria | Bourbon | 12 | 13.790199851360875, -86.54658174030882 |
| 17 | La Victoria | Maragogype | 24 | 13.790199851360875, -86.54658174030882 |
| 18 | La Victoria | Maragogype | 12 | 13.790199851360875, -86.54658174030882 |

Supplementary Table 2.  Moisture content (%) of each sample batch, determined by freeze‑drying prior to digestion. As all samples were digested in their freeze‑dried form, the ICP results are already expressed on a dry‑weight basis and no moisture correction was required; values are reported here to ensure full transparency and reproducibility of the analysis.

| Batch n° | Moisture |
| --- | --- |
| 1 | 4.43 |
| 2 | 4.92 |
| 3 | 5.25 |
| 4 | 4.95 |
| 5 | 5.16 |
| 6 | 4.06 |
| 7 | 5.54 |
| 8 | 2.86 |
| 9 | 3.17 |
| 10 | 4.90 |
| 11 | 4.95 |
| 12 | 5.13 |
| 13 | 4.16 |
| 14 | 4.40 |
| 15 | 5.17 |
| 16 | 3.80 |
| 17 | 3.55 |
| 18 | 4.36 |

Supplementary Table 3. List of certified standard solutions and reagents used for elemental analysis by ICP‑MS/OES, including their intended use, purity grade, manufacturer, country of origin, and elemental composition. Multi‑element calibration standards (CC) were used to prepare external calibration curves, the internal standard solution (IS) was employed for online correction of matrix effects and instrumental drift, and the concentrated acids (AD) were used for sample digestion. All standards were of ICP‑grade purity, supplied by CPAchem (Bulgaria), and manufactured under a quality system certified to ISO 9001 and accredited according to ISO/IEC 17025 and ISO/IEC 17034 for reference material production; acids were Super Purity Acid grade supplied by ROMIL (UK).

|  | Use | Purity grade | Manufacturer | Country | Components | Components selected from the standard |
| --- | --- | --- | --- | --- | --- | --- |
| Hg St 100 mg/L | CC | ICP | CPA chem | BGR | Hg |  |
| P St100 mg/L | CC | ICP | CPA chem | BGR | P |  |
| Si St 1000 mg/L | CC | ICP | CPA chem | BGR | Si |  |
| MSt - 28 cmp. -100 ppm | CC | ICP | CPA chem | BGR | Ag, Al, As, B, Ba, Be, Bi, Ca, Cd, Co, Cr, Cu, Fe, K, Li, Mg, Mn, Mo, Na, Ni, Pb, Sb, Se, Sr, Ti, Tl, V, Zn | Ag, Al, As, B, Ba, Be, Bi, Ca, Cd, Co, Cr, Cu, Fe, K, Li, Mg, Mn, Mo, Na, Ni, Pb, Sb, Se, Sr, Ti, Tl, V, Zn |
| MSt - 31 cmp.- 10 ppm | CC | ICP | CPA chem | BGR | Ag, Al, As, B, Ba, Cd, Ce, Co, Cr, Cu,Dy, Er, Gd, Ho, La, Li, Lu, Mn, Nd, Ni, P, Pb, Rb, Se, Sm, Sr, Tl, Tm, U, V, Zn | Rb, La, Ce, Nd, Sm, Gd, Dy, Ho, Er, Tm, Lu, U |
| MSt - 30 cmp.- 10 ppm | CC | ICP | CPA chem | BGR | Ag, Al, As, Ba, Be, Bi, Ca, Cd, Co, Cr, Cs, Cu, Fe, Ga, Hg, In, K, Li, Mg, Mn, Na, Ni, Pb, Rb, Se, Sr, Tl, U, V, Zn | Ga, In, Cs |
| MSt - 7 cmp. - 100 ppm | IS | ICP | CPA chem | BGR | Sc, Ge, Y, Rh, Tb, Re, Ir | Sc, Ge, Y, Rh, Tb, Re, Ir |
| MSt - 4 cmp.- 1000 ppm | CC | ICP | CPA chem | BGR | Ca, Mg, Na, K | Ca, Mg, Na, K |
| Concentrated nitric acid - Super Purity Acid | AD | 67-69% | ROMIL | UK |  |  |
| Concentrated hydrochloric acid - Super Purity Acid | AD | 34-37% | ROMIL | UK |  |  |

St: Standard; MSt: Multielement Standard; cmp: components; CC: Calibration Curves; IS: Internal Standard; AD: Acid Digestion; BGR: Bulgaria; UK: United Kingdom

Supplementary Table 4. Calibration points and linear regression parameters (equation y = bx + a, intercept a, slope b, and coefficient of determination R²) of the external calibration curves used for elemental quantification. Calibration levels are expressed in ppb (parts per billion) for trace and ultra‑trace elements determined by ICP‑MS‑TQ, and in ppm (parts per million) for macro‑elements (K, P, Na, Mg, Ca, Si) determined by ICP‑OES.

| Elements | ppb |  |  |  |  |  |  | Equation (y=bx+a) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | a | b | R2 |
| Li | 0.1 | 0.5 | 1 | 5 | 10 |  |  | 2.083657221 | 169.3333021 | 0.999769716 |
| Be | 0.05 | 0.1 | 0.5 | 1 |  |  |  | 1.04118467 | 151.5113761 | 0.999653017 |
| B | 5 | 10 | 50 | 100 | 500 |  |  | 40.43394668 | 87.17453469 | 0.999933506 |
| Al | 10 | 50 | 100 | 500 |  |  |  | 2473.471301 | 335.624182 | 0.999691521 |
| Ti | 0.5 | 1 | 5 | 10 | 50 |  |  | 2828.113204 | 31693.86651 | 0.999323623 |
| V | 0.1 | 0.5 | 1 | 5 | 10 |  |  | 2988.592326 | 38768.38027 | 0.998768445 |
| Cr | 0.05 | 0.1 | 0.5 | 1 | 5 | 10 | 50 | 766.0567948 | 11129.38418 | 0.999946253 |
| Mn | 0.5 | 1 | 5 | 10 | 50 | 100 | 500 | 958.4510061 | 13034.27483 | 0.999862955 |
| Fe | 5 | 10 | 50 | 100 | 500 |  |  | 395.3326722 | 581.4868519 | 0.999870864 |
| Co | 0.05 | 0.1 | 0.5 | 1 | 5 | 10 | 50 | 116.4567763 | 44938.54748 | 0.999913786 |
| Ni | 0.5 | 1 | 5 | 10 | 50 | 100 |  | 5251.52956 | 12768.64998 | 0.999705527 |
| Cu | 5 | 10 | 50 | 100 | 500 |  |  | 2265.421848 | 37592.17004 | 0.999882272 |
| Zn | 10 | 50 | 100 | 500 |  |  |  | 13301.46044 | 6633.34487 | 0.999863983 |
| Ga | 0.005 | 0.05 | 0.5 |  |  |  |  | 19.65336359 | 6844.946646 | 0.999999965 |
| As | 0.01 | 0.1 | 0.5 | 1 | 5 | 10 | 50 | 240.8349686 | 8447.581503 | 0.999933659 |
| Se | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 5 | 10 | 14.595222 | 2640.009489 | 0.999933917 |
| Rb | 1 | 50 | 200 |  |  |  |  | -1235.233971 | 10274.75211 | 0.999994209 |
| Sr | 5 | 10 | 50 | 100 | 500 |  |  | 490.6001964 | 7785.882211 | 0.999609936 |
| Mo | 0.5 | 1 | 5 | 10 |  |  |  | 28.368063 | 2560.421209 | 0.997939981 |
| Cd | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 5 | 10 | 16.50376497 | 11011.71415 | 0.999980537 |
| In | 0.005 | 0.05 | 0.5 |  |  |  |  | 3.977977745 | 59582.80133 | 0.999954906 |
| Sb | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 5 |  | 129.2434266 | 20737.94121 | 0.999903263 |
| Cs | 0.005 | 0.05 | 0.5 |  |  |  |  | 73.83270142 | 38033.2812 | 0.999988709 |
| Ba | 50 | 100 | 500 |  |  |  |  | -166055.9517 | 17366.87932 | 0.996943082 |
| La | 0.01 | 0.05 | 0.1 | 0.5 | 1 |  |  | 1397.861607 | 112960.5854 | 0.999957519 |
| Ce | 0.05 | 0.1 | 0.5 | 1 |  |  |  | 2212.57954 | 154667.249 | 0.999444984 |
| Nd | 0.01 | 0.05 | 0.1 | 0.5 | 1 |  |  | 185.0473318 | 57051.34602 | 0.999861044 |
| Sm | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 |  |  | 40.80294575 | 29855.59818 | 0.999944004 |
| Gd | 0.0001 | 0.0005 | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 | 15.2821262 | 31146.14521 | 0.999573703 |
| Dy | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 24.00466544 | 58679.6302 | 0.999257414 |
| Ho | 0.0005 | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 | 23.87547855 | 230190.4568 | 0.999761345 |
| Er | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 13.897501 | 70630.82941 | 0.999867644 |
| Tm | 0.0001 | 0.0005 | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 | 10.40245026 | 232847.1306 | 0.999828871 |
| Lu | 0.001 | 0.005 | 0.01 | 0.05 | 0.1 |  |  | 744.7317961 | 207560.6616 | 0.999844024 |
| Hg | 0.01 | 0.05 | 0.5 |  |  |  |  | 96.80192847 | 27655.40878 | 0.999994554 |
| Tl | 0.01 | 0.05 | 0.1 | 0.5 | 1 |  |  | 588.3755388 | 168423.1793 | 0.999494983 |
| Pb | 0.05 | 0.1 | 1 | 5 |  |  |  | 10110.38402 | 247278.9533 | 0.999941282 |
| Bi | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 | 1 | 5 | 1529.999654 | 206150.0066 | 0.999906883 |
| U | 0.005 | 0.01 | 0.05 | 0.1 | 0.5 |  |  | 109.5235276 | 97347.53557 | 0.999993688 |
|  | ppm |  |  |  |  |  |  |  |  |  |
| K | 5 | 20 | 50 | 200 | 400 |  |  | 239.3138251 | 256.2272248 | 0.999960237 |
| P | 1 | 5 | 50 |  |  |  |  | 1.245873138 | 17.43887696 | 0.999999414 |
| Na | 0.05 | 0.1 | 0.5 | 1 | 5 | 20 |  | 885.6088785 | 2094.749985 | 0.999967297 |
| Mg | 0.05 | 0.1 | 0.5 | 1 | 5 | 20 | 50 | 11.44055309 | 10840.56516 | 0.99978767 |
| Ca | 0.1 | 0.5 | 1 | 5 | 20 | 50 |  | 391.6979307 | 45543.55899 | 0.999899823 |
| Si | 0.01 | 0.05 | 0.1 | 0.5 |  |  |  | 4.648867771 | 248.6295306 | 0.999773569 |

Supplementary Table 5. Instrumental parameters and analytical performance data for elements determined by ICP‑MS‑TQ, including measurement mode (KED or O₂ reaction), monitored isotope (or mass‑shift transition for reaction mode), and limits of detection (LOD), quantification (LOQ), and minimum quantifiable limit (MQL), expressed in mg/L. LOD and LOQ were calculated according to IUPAC criteria (LOD = 3σ; LOQ = 10σ), and MQL was defined as the highest value between the LOQ and the lowest calibration level that could be quantified with acceptable reliability. The "Retained" column indicates whether each element was included ("Yes") or excluded ("No") from further data interpretation, as elements with concentrations below the MQL were not considered reliable.

| Element | Measurement Mode | Isotope | LOD [mg/L] | LOQ [mg/L] | MQL [mg/L] | Retained |
| --- | --- | --- | --- | --- | --- | --- |
| Li | KED | 7 | 0.00525 | 0.01750 | 0.01750 | No |
| Be | KED | 9 | 0.00145 | 0.00484 | 0.00484 | No |
| B | KED | 11 | 0.01820 | 0.06050 | 0.33300 | Yes |
| Al | KED | 27 | 1.28000 | 4.28000 | 4.28000 | No |
| Ti | Reaction (O2) | 48→64 | 0.01180 | 0.03920 | 0.03920 | Yes |
| V | Reaction (O2) | 51→67 | 0.00325 | 0.01080 | 0.01080 | No |
| Cr | Reaction (O2) | 52→68 | 0.01480 | 0.04940 | 0.04940 | Yes |
| Mn | KED | 55 | 0.04100 | 0.13700 | 0.13700 | Yes |
| Fe | KED | 57 | 1.53000 | 5.09000 | 5.09000 | Yes |
| Co | KED | 59 | 0.00025 | 0.00082 | 0.00082 | Yes |
| Ni | KED | 60 | 0.00787 | 0.02620 | 0.03330 | Yes |
| Cu | KED | 63 | 0.00453 | 0.01510 | 0.33300 | Yes |
| Zn | KED | 66 | 0.16900 | 0.56500 | 0.66700 | Yes |
| Ga | KED | 71 | 0.00039 | 0.00131 | 0.00333 | No |
| As | Reaction (O2) | 75→91 | 0.00082 | 0.00274 | 0.00274 | No |
| Se | Reaction (O2) | 80→96 | 0.00012 | 0.00040 | 0.00067 | Yes |
| Rb | KED | 85 | 0.00999 | 0.03330 | 0.06670 | Yes |
| Sr | Reaction (O2) | 88→104 | 0.00446 | 0.01490 | 0.33300 | Yes |
| Mo | Reaction (O2) | 98→114 | 0.01950 | 0.06500 | 0.06500 | Yes |
| Cd | KED | 111 | 0.00020 | 0.00067 | 0.00067 | Yes |
| In | KED | 115 | 0.00000 | 0.00001 | 0.00033 | No |
| Sb | KED | 121 | 0.00123 | 0.00409 | 0.00409 | No |
| Cs | KED | 133 | 0.00041 | 0.00136 | 0.00136 | Yes |
| Ba | Reaction (O2) | 138→154 | 0.13100 | 0.43600 | 3.33000 | Yes |
| La | KED | 139 | 0.00077 | 0.00255 | 0.00255 | No |
| Ce | Reaction (O2) | 140→156 | 0.00132 | 0.00440 | 0.00440 | No |
| Nd | Reaction (O2) | 144→160 | 0.00059 | 0.00195 | 0.00195 | No |
| Sa | Reaction (O2) | 149→165 | 0.00013 | 0.00042 | 0.00042 | No |
| Gd | Reaction (O2) | 157→173 | 0.00006 | 0.00019 | 0.00019 | No |
| Dy | Reaction (O2) | 163→179 | 0.00006 | 0.00019 | 0.00019 | No |
| Ho | Reaction (O2) | 165→181 | 0.00001 | 0.00004 | 0.00004 | No |
| Er | Reaction (O2) | 166→182 | 0.00002 | 0.00008 | 0.00008 | No |
| Tm | Reaction (O2) | 169→185 | 0.00001 | 0.00002 | 0.00002 | No |
| Lu | Reaction (O2) | 175→191 | 0.00001 | 0.00003 | 0.00007 | No |
| Hg | KED | 202 | 0.00016 | 0.00054 | 0.00067 | No |
| Tl | KED | 205 | 0.00410 | 0.01370 | 0.01370 | No |
| Pb | KED | 208 | 0.00777 | 0.02590 | 0.02590 | No |
| Bi | KED | 209 | 0.00048 | 0.00159 | 0.00159 | No |
| U | KED | 238 | 0.00003 | 0.00011 | 0.00033 | No |

Supplementary Table 6. Instrumental parameters and analytical performance data for macro‑elements determined by ICP‑OES, including the emission wavelength (nm; A: axial view, R: radial view) and limits of detection (LOD), quantification (LOQ), and minimum quantifiable limit (MQL), expressed in mg/L. LOD and LOQ were calculated according to IUPAC criteria (LOD = 3σ; LOQ = 10σ), and MQL was defined as the highest value between the LOQ and the lowest calibration level that could be quantified with acceptable reliability. The "Retained" column indicates whether each element was included ("Yes") or excluded ("No") from further data interpretation, as elements with concentrations below the MQL were not considered reliable.

| Symbol | Λ (nm) | LOD [mg/L] | LOQ [mg/L] | MQL [mg/L] | Retained |
| --- | --- | --- | --- | --- | --- |
| K | 769.896 {R} | 0.070900 | 0.236000 | 333.000000 | Yes |
| P | 185.942 {A} | 0.003950 | 0.013200 | 66.700000 | Yes |
| Na | 589.592 {R} | 0.004740 | 0.015800 | 15.800000 | No |
| Mg | 280.270 {R} | 0.000042 | 0.000141 | 3.330000 | Yes |
| Ca | 396.847 {R} | 0.000759 | 0.002530 | 6.670000 | Yes |
| Si | 221.667{A} | 0.044300 | 0.148000 | 148.000000 | No |

Supplementary Table 7. Acquisition and identification parameters used for LC‑MS/MS analysis of the eleven target phenolic compounds, including retention time (RT), precursor ion [M‑H]⁻ m/z, MS/MS fragment ions [M‑H]⁻ m/z, and identification level (Standard: confirmed by comparison with an authentic reference standard; Putative: tentatively identified based on accurate mass, elemental composition, characteristic MS/MS fragmentation patterns, and comparison with literature data and spectral databases. Where appropriate, tentative structural assignments to specific positional isomers are reported. Calibration range, limit of detection (LOD), limit of quantification (LOQ), and calibration linearity (R²) are reported for compounds quantified using their own external calibration curves. Compounds lacking authentic reference standards were quantified semi-quantitatively using the calibration curve of the most structurally similar available standard; therefore, analyte-specific calibration parameters are not reported.

|  | RT (min) | Precursor ion [M-H]- m/z | MS/MS fragments [M-H]- m/z | Identification level | LOD ng/mL | LOQ ng/mL | Calibration levels range (ng/mL) | Calibration curve (R2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Neochlorogenic acid (3-caffeoylquinic acid) | 2.3 | 353.0877 | 191.0562 179.0350 135.0452 | Standard | 0.6 | 1.9 | 1-250 | 0.998 |
| Dihydroxybenzoic acid | 1.9 | 153.0192 | 109.0291 81.0343 | Standard | 0.6 | 2.0 | 1-250 | 0.996 |
| Benzoic acid | 3.2 | 121.0292 | 93.0343 77.0394 | Standard | 26.9 | 81.7 | 25-500 | 0.998 |
| Caffeic acid | 3.3 | 179.0344 | 135.0453 107.0504 | Standard | 0.9 | 2.8 | 1-250 | 0.998 |
| 5-chlorogenic acid | 3.1 | 353.0877 | 191.0562 179.0350 | Standard | 2.1 | 6.3 | 1-250 | 0.992 |
| Vanillic acid isomer | 4.9 | 167.0350 | 152.0115 123.0452 | Putative | 67.9 | 205.0 | 200-1000 | 0.997 |
| 3,5 di-caffeoyl-quinic acid | 5.5 | 515.1195 | 353.0896 191.0561 179.0350 135.0452 | Standard | 3.5 | 10.7 | 5-500 | 0.999 |
| 3,4 di-caffeoyl-quinic acid isomer | 5.2 | 515.1195 | 353.0896 191.0561 179.0350 135.0452 | Putative |  |  |  |  |
| Chlorogenic acid isomer (tentatively assigned as 4-caffeoylquinic acid, 4-CQA) | 5.0 | 353.0877 | 191.0562 179.0350 135.0452 | Putative |  |  |  |  |
| 4-hydroxyphenylacetic acid | 6.7 | 151.0400 | 123.0447 107.0502 | Standard | 38.5 | 116.7 | 50-1000 | 0.998 |
| Hydroxyphenylacetic acid isomer | 6.4 | 151.0400 | 123.0447 107.0502 | Putative |  |  |  |  |

Supplementary Figure 1.   Loading plots of the PCA performed on polyphenols (UHPLC-HRMS/MS, a and b) and ¹H NMR metabolomic data (c and d). (a) Polyphenols’ loading plot of PC1 (31.8%) vs PC2 (15%). (b) Polyphenols’ loading plot of PC2 (15.0%) vs PC3 (13.6%). Abbreviations in (a) and (b): 5-CQA, 5-caffeoylquinic acid (chlorogenic acid); 3-CQA, 3-caffeoylquinic acid (neochlorogenic acid); Chlorogenic acid isomer (tentatively assigned as 4-caffeoylquinic acid, 4-CQA); 3,5-diCQA, 3,5-dicaffeoylquinic acid; 3,4-diCQA, 3,4-dicaffeoylquinic acid isomer; 4-HPAA, 4-hydroxyphenylacetic acid; HPA iso, hydroxyphenylacetic acid isomer (putative identification); DHBA, dihydroxybenzoic acid.
(c) Metabolites’ loading plot of PC1(50.2%) vs PC3 (8.5%). (d) Metabolites’ loading plot of PC2 (12.9%) vs PC3 (8.5%). In (c) and in (d) plot, numbers refer to: 1, Sucrose; 3, Cholorgenic acid; 4, 5-Caffeoyl quinic acid; 5, 4-Caffeoyl quinic acid; 6, 4,5-Di Caffeoyl quinic acid; 7, 3-Caffeoyl quinic acid; 8, 3,4-Di Caffeoyl quinic acid; 9, Caffeine; 10, Theopylline; 11, Trigonelline; 12, Citric acid; 13, Malic acid; 14, Quinic acid; 15, Acetic acid; 16, Formic acid; 17, Fumaric acid; 18, Alanine; 19,  γ-aminobutyrate; 20, Valine; 21, Putrescine; 22, Fatty Acids.

Supplementary Table 8. Tests for homogeneity of multivariate dispersion (betadisper) for farm, cultivar, and fermentation time, performed on the same batch-averaged Euclidean distance matrix (n=18) used for the integrated PERMANOVA (Table 4 main text).

| Factor | Df (Groups) | Df (Residuals) | F-value | p-value |
| --- | --- | --- | --- | --- |
| Farm | 2 | 15 | 0.114 | 0.893 |
| Cultivar | 2 | 15 | 3.093 | 0.075 |
| Fermentation | 1 | 16 | 0.041 | 0.842 |

Supplementary Table 9. PERMANOVA results for farm, cultivar, and fermentation time performed separately on each analytical platform, using batch-averaged data (n=18 independent batches) to avoid pseudoreplication from technical replicates. Models were fitted on Euclidean distance matrices of log-transformed, autoscaled variables, with marginal effects estimated using 999 permutations.

| Platform | Factor | Df | R² | F | p-value |
| --- | --- | --- | --- | --- | --- |
| ICP (elements) | Farm | 1 | 0.140 | 2.59 | 0.003 |
|  | Cultivar | 1 | 0.086 | 1.59 | 0.103 |
|  | Fermentation | 1 | 0.018 | 0.33 | 0.972 |
| Polyphenols | Farm | 1 | 0.142 | 2.74 | 0.009 |
|  | Cultivar | 1 | 0.031 | 0.60 | 0.789 |
|  | Fermentation | 1 | 0.102 | 1.97 | 0.060 |
| ¹H NMR | Farm | 1 | 0.072 | 1.30 | 0.232 |
|  | Cultivar | 1 | 0.110 | 1.99 | 0.089 |
|  | Fermentation | 1 | 0.047 | 0.86 | 0.506 |

Df: degrees of freedom associated with each factor;

Sum of Squares: partition of total multivariate variance attributable to each factor;

R²: proportion of total variance explained by each factor;

F-value: pseudo-F statistic calculated from between-group and within-group variation;

p-value: permutation-based significance level (999 permutations).

Supplementary Table 10. Leave-one-condition-out cross-validation of the sPLS-DA model for farm discrimination. All samples from each farm × cultivar × fermentation combination were left out together during model validation to prevent information leakage across replicate preparations. Perfect classification accuracy (Accuracy = 1.00, ER = 0.00) was obtained at the condition level (n = 18 independent conditions), confirming the robustness of the farm-specific chemical signature.

|  | Predicted |  |  |
| --- | --- | --- | --- |
| True | F1 | F2 | F3 |
| F1 | 6 | 0 | 0 |
| F2 | 0 | 6 | 0 |
| F3 | 0 | 0 | 6 |

Supplementary Figure 2.  (a) Score plot of the first two sPLS-DA components showing partial separation among cultivars (MA in purple, CR in green, BO in grey). Text labels (F1, F2, F3) indicate respectively farm origin. Ellipses correspond to 95% coverage regions. The model retained two components after cross-validation. (b) Loading values for Component 1 highlighting the main variables contributing to cultivar differentiation, including Fe, Rb, 5-caffeoylquinic acid (5-CQA), valine, Zn, Mg, K, and caffeine. (c) Loading values for Component 2, primarily driven by B, Ca, and Ti, with minor contributions from citric acid and Mo. Positive and negative loadings indicate variables associated with opposite directions along each component.

Supplementary Table 11. Confusion matrix and predictive performance of the sPLS-DA model for cultivar classification under LOCO validation. The table reports condition-level predictions obtained by leaving out all samples belonging to the same farm × cultivar × fermentation combination during each validation step. Rows represent true class labels (MA, CR, BO) and columns represent predicted classes. Overall classification accuracy was 0.611, and the Error Rate (ER) was 0.389, indicating moderate discriminative performance and partial overlap among cultivars.

|  | Predicted |  |  |
| --- | --- | --- | --- |
| True | MA | CR | BO |
| MA | 3 | 1 | 2 |
| CR | 0 | 4 | 2 |
| BO | 2 | 0 | 4 |
| Accuray | 0.611 |  |  |
| ER | 0.389 |  |  |