Supplementary Information (SI)

Energy Efficiency

# Integrating multiple impacts and lifecycle assessment in the evaluation of energy efficiency funding programs

# Marcos Tenente 1,5, Tiago Carvalho2, Álvaro Gomes 1,2,6, Carla Henriques 1,3,4,7 and Patrícia Pereira da Silva 4,8

1 INESC Coimbra, Univ. Coimbra, DEEC, Rua Sílvio Lima, Polo II, 3030-290 Coimbra, Portugal

2 Univ. Coimbra, FCTUC, DEEC, Rua Sílvio Lima, Polo II 3030-290 Coimbra, Portugal

3 Polytechnic University of Coimbra, Rua da Misericórdia, Lagar dos Cortiços, S. Martinho do Bispo, 3045-093 Coimbra, Portugal

4 Univ. Coimbra, CeBER, Faculty of Economics, Av. Dias da Silva 165, 3004-512 Coimbra, Portugal

5 https://orcid.org/0000-0002-2835-4287

6 https://orcid.org/0000-0003-1229-6243

7 https://orcid.org/0000-0003-4045-6101

8 https://orcid.org/0000-0002-5862-1278

* Corresponding author: marcos.tenente@inescc.pt, INESC Coimbra, DEEC, Rua Sílvio Lima, Polo II, 3030-290 Coimbra, Portugal

- Characteristics of EE measures under evaluation

Table 1 Characteristics of measure IBD_TR1 - Efficient thermal energy.

| IBD_TR1 - Efficient thermal energy |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LC phase | SHC + DHW heat pump |  |  |  | Solar collector |  |  |  |
| Manufacturing and packaging | Material | Material shares | Cost shares | Import shares | Material | Material shares | Cost shares | Import shares |
|  | Aluminium | 1.4% | 3.3% | 82.1% | Cold-rolled carbon steel | 34.1% | 17.0% | 82.1% |
|  | Carbon steel | 0.6% | 1.3% | 82.1% | Zinc plated carbon steel | 30.9% | 12.0% | 82.1% |
|  | Ceramic powder | 2.0% | 0.3% | 40.8% | ABS | 1.0% | 2.0% | 50.9% |
|  | Cold-rolled carbon steel | 56.1% | 39.9% | 82.1% | Copper | 9.7% | 32.0% | 82.1% |
|  | Copper | 4.3% | 10.1% | 82.1% | Stainless steel | 0.8% | 9.0% | 82.1% |
|  | Electronic components | 1.9% | 6.0% | 96.2% | Polyurethane | 2.3% | 2.0% | 80.9% |
|  | Magnesium | 0.6% | 1.3% | 40.8% | Ceramic powder | 1.7% | 1.0% | 40.8% |
|  | Polyethylene (PE) | 1.0% | 2.1% | 35.0% | Aluminum | 6.6% | 12.0% | 82.1% |
|  | Polyurethane foam | 2.7% | 5.8% | 85.4% | Sun glass | 10.3% | 10.0% | 40.8% |
|  | Polypropylene (PP) | 1.9% | 4.0% | 80.9% | Glass wool | 1.9% | 3.0% | 40.8% |
|  | Refrigerant | 1.2% | 2.0% | 80.9% |  |  |  |  |
|  | Stainless steel | 0.7% | 1.6% | 82.1% |  |  |  |  |
|  | Zinc plated carbon steel | 25.6% | 22.1% | 82.1% |  |  |  |  |
|  | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% |
| Installation | Installation services | 100% | 100% | 0% | Installation services | 100% | 100% | 0% |
| Maintenance | Maintenance services (including spare parts) | 100% | 100% | 40% | Maintenance services (including spare parts) | 100% | 100% | 40% |
| References | (Liu et al., 2019) |  |  |  | (Liu et al., 2019; Reuter et al., 2020) |  |  |  |

Table 2 Characteristics of measure IBD_TR2 - DHW heat pump.

| IBD_TR2 - DHW heat pump |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LC phase | DHW heat pump |  |  |  | Solar collector |  |  |  |
| Manufacturing and packaging | Low-alloyed steel | 14.9% | 20.0% | 82.1% | Cold-rolled carbon steel | 34.1% | 17.0% | 82.1% |
|  | Reinforcing steel | 56.0% | 26.0% | 82.1% | Zinc plated carbon steel | 30.9% | 12.0% | 82.1% |
|  | Cooper | 17.1% | 19.0% | 82.1% | ABS | 1.0% | 2.0% | 50.9% |
|  | Elastomer | 7.5% | 5.0% | 50.9% | Copper | 9.7% | 32.0% | 82.1% |
|  | Polyvinylchloride | 0.7% | 2.0% | 50.9% | Stainless steel | 0.8% | 9.0% | 82.1% |
|  | Electronics | 1.3% | 22.0% | 96.2% | Polyurethane | 2.3% | 2.0% | 80.9% |
|  | Polyolestor oil | 1.3% | 2.0% | 24.2% | Ceramic powder | 1.7% | 1.0% | 40.8% |
|  | Refrigerant | 2.3% | 4.0% | 80.9% | Aluminum | 6.6% | 12.0% | 82.1% |
|  |  |  |  |  | Sun glass | 10.3% | 10.0% | 40.8% |
|  |  |  |  |  | Glass wool | 1.9% | 3.0% | 40.8% |
|  | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% |
| Installation | Installation services | 100% | 100% | 0% | Installation services | 100% | 100% | 0% |
| Maintenance | Maintenance services (including spare parts) | 100% | 100% | 40% | Maintenance services (including spare parts) | 100% | 100% | 40% |
| References | (Greening & Azapagic, 2012) |  |  |  | (Liu et al., 2019; Reuter et al., 2020) |  |  |  |

Table 3 Characteristics of measure PORTGAS_TR1 - More efficient water heaters.

| PORTGAS_TR1 - More efficient water heaters |  |  |  |  |
| --- | --- | --- | --- | --- |
| LC phase | High efficiency gas water heater |  |  |  |
| Manufacturing and packaging | Material | Material shares | Cost shares | Import shares |
|  | Cold-rolled carbon steel | 29.0% | 29.0% | 82.1% |
|  | Zinc plated carbon steel | 17.6% | 17.6% | 82.1% |
|  | Copper | 16.2% | 16.3% | 82.1% |
|  | Stainless steel | 30.4% | 30.4% | 82.1% |
|  | Aluminum | 1.4% | 1.4% | 82.1% |
|  | Glass | 2.1% | 2.1% | 40.8% |
|  | Polypropylene (PP) | 2.1% | 2.1% | 80.9% |
|  | Polyvinyl chloride (PVC) | 1.1% | 1.1% | 50.9% |
|  | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% |
| Installation | Installation services | 100% | 100% | 0% |
| Maintenance | Maintenance services (including spare parts) | 100% | 100% | 40% |
| References | (Liu et al., 2019) |  |  |  |

Table 4 Characteristics of measure GOLDENERGY_TR1- Intelligent thermostat

| GOLDENERGY_TR1- Intelligent thermostat |  |  |  |  |
| --- | --- | --- | --- | --- |
| LC phase | Smart Thermostat |  |  |  |
| Manufacturing and packaging | Material | Material shares | Cost shares | Import shares |
|  | Plastic | 40.0% | 3% | 50.9% |
|  | Metal | 10,70% | 18% | 82.1% |
|  | Copper | 1,50% | 5% | 82.1% |
|  | Silver | 10,70% | 65% | 82.1% |
|  | Stainless steel | 37% | 7% | 82.1% |
|  | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% |
| Installation | Installation services | 100% | 100% | 0% |
| Maintenance | Maintenance services (including spare parts) | N/A | N/A | N/A |
| References | (SIEMENS, 2017) |  |  |  |

Table 5 Characteristics of measure LISGDL_TR1 - Replacement and disposal of energy equipment with more efficient equipment.

| LISGDL_TR1 - Replacement and disposal of energy equipment with more efficient equipment |  |  |  |  |
| --- | --- | --- | --- | --- |
| LC phase | Gas condensing boiler |  |  |  |
| Manufacturing and packaging | Material | Material shares | Cost shares | Import shares |
|  | Silicone | 0.3% | 0.3% | 80.9% |
|  | EPDM | 0.2% | 0.2% | 50.9% |
|  | ABS | 3.0% | 2.9% | 50.9% |
|  | PVC | 0.0% | 0.0% | 50.9% |
|  | Aluminum | 4.9% | 4.8% | 82.1% |
|  | Steel | 75.9% | 63.7% | 82.1% |
|  | Brass | 8.2% | 5.7% | 82.1% |
|  | Copper | 6.9% | 5.8% | 82.1% |
|  | Electronic components | 0.6% | 14.7% | 96.2% |
|  | Plastics, paper, wood and transport (packaging) | 100% | 2% | 35% |
| Installation | Installation services | 100% | 100% | 0% |
| Maintenance | Maintenance services (including spare parts) | 100% | 100% | 40% |
| References | (Greening & Azapagic, 2012; Vignali, 2017) |  |  |  |

References

Greening, B., & Azapagic, A. (2012). Domestic heat pumps: Life cycle environmental impacts and potential implications for the UK. Energy, 39(1), 205–217.

Liu, W., Chen, C., Wu, H., Guo, C., Chen, Y., Liu, W., & Cui, Z. (2019). Environmental life cycle assessment and techno-economic analysis of domestic hot water systems in China. Energy Conversion and Management, 199, 111943. https://doi.org/10.1016/j.enconman.2019.111943

Reuter, M., Patel, M. K., Eichhammer, W., Lapillonne, B., & Pollier, K. (2020). A comprehensive indicator set for measuring multiple benefits of energy efficiency. Energy Policy, 139, 111284. https://doi.org/10.1016/j.enpol.2020.111284

SIEMENS. (2017). Environmental Product Declaration—Smart Thermostat.

Vignali, G. (2017). Environmental assessment of domestic boilers: A comparison of condensing and traditional technology using life cycle assessment methodology. Journal of Cleaner Production, 142, 2493–2508.

- Illustrative example HIO-LCA approach

Example: LISGDL_TR1 - Replacement and disposal of energy equipment with more efficient equipment

Step 1: System Boundary Definition

| LISGDL_TR1 - Gas Condensing boiler Heating and DHW |  |
| --- | --- |
| Manufacturing |  |
|  | Manufacture and Assembling |
| Packaging and Distribution |  |
|  | Packaging |
|  | Transport |
| Installation and Maintenance |  |
|  | Installation |
|  | Maintenance |

Step 2: Cost estimation

| Measure | Technology | Nº of implementations | Investment Cost | Installation costs | Maintenance Costs |
| --- | --- | --- | --- | --- | --- |
| LISGDL_TR1 | Gas condensing Boiler Heating and DHW | 1049 | 755 332.45 € | 44 099.96 € | 643 543.247 |

Step 3: Domestic output calculation

1) Shares of costs and imports

2) Allocation of technology activities to industries

3) Domestic output of the EE industries

Step 4: Calculate employment

| LISGDL_TR1 - Gas Condensing boiler Heating and DHW |  |  |  |
| --- | --- | --- | --- |
| Manufacturing | Packaging and Distribution | Installation and Maintenance | Total Employment (nº of jobs) |
| 1.231 | 0.217 | 6.298 | 7 |

Step 5: Calculate Impact on Public Budget