Supplement Table 1: MRI scanners, principal imaging parameters, and number of cases examined on each system in this study
	MRI Model
	Manufacturer (City, Country)
	No. of Participants
	Field Strength
	Flip Angle (°)
	TR (msec)
	TE (msec)
	FOV (cm)

	Discovery MR750w
	GE Healthcare (Chicago, Illinois, USA)
	29
	3T
	14
	6.7
	2.6
	26

	MAGNETOM Spectra
	Siemens Healthineers (Erlangen, Germany)
	5
	3T
	9
	1800
	2.8
	24

	Signa HDxt
	GE Healthcare (Chicago, Illinois, USA)
	4
	3T
	90
	600
	10.3
	26

	MAGNETOM Sola
	Siemens Healthineers (Erlangen, Germany)
	2
	1.5T
	120
	500
	26
	24

	Vantage Orian
	Canon Medical Systems Corporation (Otawara, Tochigi, Japan)
	2
	1.5T
	20
	15
	5.5
	23

	TRILLIUM Oval
	Fujifilm Healthcare Corporation (Tokyo, Japan)
	2
	3T
	90
	450
	6.4
	26

	MAGNETOM Skyra
	Siemens Healthineers (Erlangen, Germany)
	1
	3T
	8
	2300
	2.3
	26

	SIGNA Voyager
	GE Healthcare (Chicago, Illinois, USA)
	1
	1.5T
	25
	12.3
	5.1
	24

	Brivo MR335
	GE Healthcare (Chicago, Illinois, USA)
	1
	1.5T
	25
	12.7
	5.2
	24



