SUPPLEMENTARY MATERIAL

Fit-for-purpose method development to determine co-occurring multiclass mycotoxins in apple and apple puree samples

Laura Carbonell-Rozas1*, Linde Van der Cruyssen2, Chiara Dall’Asta1*, Marco Camardo Leggieri3, Paola Battilani3

1Department of Food and Drug, University of Parma, Viale delle Scienze 27/A, 43124 Parma (Italy)

2Centre of Excellence in Mycotoxicology and Public Health, University of Gent (Belgium)

3Department of Sustainable Crop Production; Università Cattolica del Sacro Cuore, Piacenza (Italy)

| Table S1. Methodologies previously reported to determine mycotoxins in apples and apple-based products. Table S1. Methodologies previously reported to determine mycotoxins in apples and apple-based products. Analyte | Sample | Sample treatment | Separation and detection technique | LOD | LOQ | R (%) | Rf. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PAT | Apple juice (5 g) | LLE - Extraction solvent: 5 mL ethyl acetate-hexane (94:4, v/v) - Salt: 0.5g of NaHCO3 - 3 mL of organic phase + 30µL of acetic acid - Dry under N2 stream - Add injection solvent | LC-UV Column: C18 reversed-phase (150 x 4.6 mm, 5 µm) Mobile phases: water/MeCN Gradient mode. Flow: 1 mL min-1 | 2.1 µg kg-1 | 6.3 µg kg-1 | 69.3-74.3 |  |
| PAT | Fruits (50 g) | LLE - Add 100 mL of water - Extraction solvent: 50 mL ethyl acetate (repeat twice with 20 mL) - Salt: 2 mL of 1.5 % sodium carbonate - Dry at 60 °C + injection solvent | HPLC-UV Column: C18 (250 mm x 4.6 mm, 5 µm) Mobile phases: water/MeCN Isocratic mode. Flow: 1 mL min-1 | 0.04 µg kg-1 | 0.12 µg kg-1 | 85.5-93.7 |  |
| AOH, TEN, AME | Apples (1 g) | Microscale extraction - Extraction solvent: 1 mL ethyl acetate (1 % formic acid) in an ultrasonic bath (twice) - Dry under N2 stream - Add injection solvent | HPLC-DAD Column: C18 (250 mm x 4.6 mm, 5 µm) Mobile phases: water/MeCN Gradient mode. Flow: 1 mL min-1 | 20 µg kg-1 | 50 µg kg-1 | 96-109 |  |
| AOH, TEN, AME, TeA, altenuene (ALT) altertoxin-I (ATX-I) | Fruit and vegetable juices (2 g) | QuEChERS - Extraction solvent: 10 mL MeCN - Salts: 2g of MgSO4, 0.5 g of NaCl, 2.0 g Na2SO4 - Dry at 40 °C - Add injection solvent | UPLC-MS/MS Column: C18 (100 mm x 2.1 mm, 1.8 µm) Mobile phases: water + 1% acetic acid/ MeCN +1% acetic acid Gradient mode. Flow: 0.4 mL min-1 | - | 1.1-5.7 µg kg-1 | 87-109.8 |  |
| PAT | Apple juice (10 g) | MI-SPE - SLE: 10 mL MeCN + salts (4 g MgSO4 and 1 g NaCl) - Vortex and centrifugation - Preparation of the MI-SPE columns - Elution with 1 mL water/MeCN | LC-MS/MS Column: Waters XBridge C18 (4.6 × 250 mm, id: 5 μm) Mobile phases: water/MeCN Gradient mode. Flow: 0.25 mL min-1 | 0.06 ng g-1 | 0.2 ng g-1 | 81.3-106.3 |  |
| PAT | Apple juice (10 mL) | SD-LLLME - Addition of 0.5 g NaCl - 2. 1.5 mL of ethyl acetate added (extraction solvent) - 5 μL microdrop in the organic phase for 20 min extraction | LC-MS/MS Column: ACQUITY UPLC®BEHC18 (2.1 × 50 mm, 1.7 μm) Mobile phases: water/MeCN Gradient mode. Flow: 0.3 mL min-1 | 0.5 μg L-1 | 2 μg L-1 | 83.6-96.3 |  |
| PAT | Apple concentrate, juice, puree, and jam (5g) | SLE-SPE - Extraction with 10 mL ethyl acetate (x2) - Cleaning with 1.5 % sodium carbonate solution + 5 g sodium sulfate - Dry and reconstitution step with 2.5 mL acetic acid/acetate buffer solution - SPE in HLB cartridges - Elution with 3 ml (ethyl acetate/ethyl ether, 10:90) | ID-LC-MS/MS Column: Scherzo SM-C18 column (4.6 x 250 mm i.d., 3 μm) Mobile phases: 80 % A (5 mmol L-1 ammonium acetate and 3.5 mmol L-1 acetic acid in water) and 20 % B (MeOH) Isocratic mode. Flow: 0.5 mL min-1 | 0.2-0.7 μg kg-1 | 0.8-2.4 μg kg-1 |  |  |
| AOH, TEN, AME, AFB1, AFB2, AFG1, AFG2 | Apples (2 g) | QuECheRS - 4 mL MeCN containing 1% formic acid - 400 mg PSA, 1.2 g MgSO4, and 0.5 g NaCl | UHPLC-MS/MS Column: BEH C18 (50 mm × 2.1 mm, 1.7 μm) Mobile phases: water +0.1% formic acid/ MeOH + 0.1% formic acid Gradient mode. Flow: 0.3 mL min-1 | 0.05-20 μg L-1 | 0.10-30 μg L-1 | 71.3- 119.4 |  |

Figure S1. Extracted ion chromatograms (EICs) of the target mycotoxins resulted from the analysis of a spiked apple puree sample at their corresponding LOQs.

[] Valle-Algarra FM, Mateo EM, Gimeno-Adelantado J, Mateo-Castro R, Jiménez M (2009). Optimization of clean-up procedure for patulin determination in apple juice and apple purees by liquid chromatography. Talanta 80(2):636-642. https://doi.org/10.1016/j.talanta.2009.07.040

[] Iqbal SZ, Malik S, Asi MR, Selamat J, Malik N (2018).Natural occurrence of patulin in different fruits, juices and smoothies and evaluation of dietary intake in Punjab, Pakistan. Food Control  84:370-374. https://doi.org/10.1016/j.foodcont.2017.08.024

[] Ntasiou P, Myresiotis C, Konstantinou S, Papadopoulou-Mourkidou E, Karaoglanidis GS (2015) Identification, characterization and mycotoxigenic ability of Alternaria spp. causing core rot of apple fruit in Greece. Int J Food Microbiol 197:22-29. https://doi.org/10.1016/j.ijfoodmicro.2014.12.008

[] Walravens J, Mikula H, Rychlik M, Asam S, Devos T, Njumbe Ediage E, et al. (2016)  Validated UPLC-MS/MS methods to quantitate free and conjugated Alternaria toxins in commercially available tomato products and fruit and vegetable juices in Belgium. J Agric Food Chem 64(24):5101-5109. https://doi.org/10.1021/acs.jafc.6b01029

[] Zhao M, Shao H, He Y, Li H, Yan M, Jiang Z, Jing Wang JAM, Abd El-Aty AM et al. (2019) The determination of patulin from food samples using dual-dummy molecularly imprinted solid-phase extraction coupled with LC-MS/MS. J Chromatogr B 1125:121714. https://doi.org/10.1016/j.jchromb.2019.121714

[] Li X, Li H, Ma W, Guo Z,  Li X,  Li X, Zhang Q (2018) Determination of patulin in apple juice by single-drop liquid-liquid-liquid microextraction coupled with liquid chromatography-mass spectrometry. Food Chem 257:1-6. https://doi.org/10.1016/j.foodchem.2018.02.077

[] Seo M, Kim B, Baek SY (2015) An optimized method for the accurate determination of patulin in apple products by isotope dilution-liquid chromatography/mass spectrometry. Anal Bioanal Chem 407:5433-5442. https://doi.org/10.1007/s00216-015-8705-3

[] Tang Y, Mu L, Cheng J, Zhenxia D, Yang Y (2020) Determination of multi-class mycotoxins in apples and tomatoes by combined use of QuEChERS method and ultra-high-performance liquid chromatography tandem mass spectrometry. Food Anal Methods 13:1381-1390. https://doi.org/10.1007/s12161-020-01753-z