A novel stability-indicating RP-HPLC method for the simultaneous estimation and in vitro evaluation: Curcumin and Naringin co-amorphous system

Pooja Mallya1, Dani Lakshman Yarlagadda2, Shaila Lewis1*

- Department of Pharmaceutics, Manipal College of Pharmaceutical Sciences, Manipal Academy of Higher Education (MAHE), Manipal- 576104, Karnataka, India.

- Department of Pharmaceutical Quality Assurance, Manipal College of Pharmaceutical Sciences, Manipal Academy of Higher Education (MAHE), Manipal- 576104, Karnataka, India.

*For Correspondence:

Shaila Lewis

Department of Pharmaceutics,

Manipal College of Pharmaceutical Sciences,

Manipal Academy of Higher Education (MAHE),

Manipal- 576104, Karnataka, India.

Mail ID: s.lewis@manipal.edu

Supplementary Material

Table S1. Calibration curve of Curcumin

| Concentration (µg/ml) | Average area | SD | % CV |
| --- | --- | --- | --- |
| 0.125 | 3394.67 | 81.27 | 2.39 |
| 0.5 | 25148.67 | 365.71 | 1.45 |
| 1 | 37110.33 | 759.29 | 2.05 |
| 2 | 62917.67 | 65.16 | 0.10 |
| 4 | 117690.33 | 794.11 | 0.67 |
| 8 | 202145.67 | 1551.71 | 0.77 |
| 16 | 406286.67 | 2450.50 | 0.60 |

Figure S1. Calibration curve of Curcumin by HPLC

Table S2. Calibration curve of Naringin

| Concentration (µg/ml) | Average area | SD | % CV |
| --- | --- | --- | --- |
| 0.125 | 4042 | 129.46 | 3.20 |
| 0.5 | 31964 | 544.49 | 1.70 |
| 1 | 66106.67 | 434.75 | 0.66 |
| 2 | 128386.67 | 146.0 | 0.11 |
| 4 | 258734.67 | 573.37 | 0.22 |
| 8 | 481044.33 | 392.53 | 0.08 |
| 16 | 985866 | 347.49 | 0.03 |

Figure S2. Calibration curve of Naringin by HPLC

Table S3. Robustness results of Curcumin

| Parameters | Area(mV) |  |  | RT (Min) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Mean | SD | %CV | Mean | SD | %CV |
| Column temperature (°C) |  |  |  |  |  |  |
| 24 | 31879.33 | 162.30 | 0.51 | 11.21 | 0.016 | 0.15 |
| 26 | 30579.67 | 231.82 | 0.76 | 10.96 | 0.058 | 0.53 |
| Flow rate |  |  |  |  |  |  |
| 0.4 | 35171 | 27.78 | 0.08 | 13.39 | 0.015 | 0.115 |
| 0.6 | 26148.67 | 411.89 | 1.57 | 9.475 | 0.072 | 0.76 |
| Wavelength (nm) |  |  |  |  |  |  |
| 288 | 30230.33 | 266.75 | 0.88 | 11.123 | 0.012 | 0.109 |
| 290 | 28963 | 91.99 | 0.32 | 11.097 | 0.011 | 0.099 |
| Injection volume (µl) |  |  |  |  |  |  |
| 19 | 28199.33 | 717.58 | 2.54 | 11.03 | 0.039 | 0.35 |
| 21 | 30004.33 | 274.34 | 0.91 | 11.056 | 0.016 | 0.149 |

Table S4. Robustness results of Naringin

| Parameters | Area(mV) |  |  | RT (Min) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Mean | SD | %CV | Mean | SD | %CV |
| Column temperature (°C) |  |  |  |  |  |  |
| 24 | 63726 | 95.69 | 0.15 | 5.19 | 0.008 | 0.16 |
| 26 | 63510.33 | 191.40 | 0.30 | 5.11 | 0.033 | 0.65 |
| Flow rate |  |  |  |  |  |  |
| 0.4 | 78601.33 | 158.92 | 0.20 | 6.15 | 0.001 | 0.018 |
| 0.6 | 52483.67 | 139.29 | 0.26 | 4.36 | 0.017 | 0.401 |
| Wavelength (nm) |  |  |  |  |  |  |
| 288 | 65665.33 | 18.50 | 0.03 | 5.17 | 0.003 | 0.062 |
| 290 | 62060.67 | 12.50 | 0.02 | 5.16 | 0.001 | 0.019 |
| Injection volume (µl) |  |  |  |  |  |  |
| 19 | 59886.67 | 48.09 | 0.08 | 5.14 | 0.017 | 0.325 |
| 21 | 62865 | 5162.36 | 8.21 | 5.15 | 0.006 | 0.119 |

Table S5. Results of accuracy and precision of NRG and CUR

| NRG |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Accuracy |  |  |  |  |  |  |
| Concentration level | Nominal concentration (µg/ml) | Area | % RSD | Calculated concentration (µg/ml) | Mean recovery (%) | Acceptance criteria |
| 80 % | 8 | 506181 ± 397.81 | 0.079 | 8.209 | 102.624 | 90-110 % |
| 100 % | 10 | 615740 ± 2582.59 | 0.419 | 10.003 | 100.029 |  |
| 120 % | 12 | 750215 ± 1670.12 | 0.223 | 12.204 | 101.70 |  |
| Precision |  |  |  |  |  |  |
| Concentration level | Nominal concentration (µg/ml) | Inter-day |  | Intra-day |  | Acceptance criteria |
|  |  | Calculated concentration (µg/ml) | % RSD | Calculated concentration (µg/ml) | % RSD |  |
| 80 % | 8 | 8.209 | 0.078 | 8.197 | 0.116 | <2.0 % |
| 100 % | 10 | 10.003 | 0.419 | 9.986 | 0.299 |  |
| 120 % | 12 | 12.204 | 0.223 | 12.147 | 0.09 |  |
| CUR |  |  |  |  |  |  |
| Accuracy |  |  |  |  |  |  |
| Concentration level | Nominal concentration (µg/ml) | Area | % RSD | Calculated concentration (µg/ml) | Mean recovery (%) | Acceptance criteria |
| 80 % | 8 | 205839 ± 164.83 | 0.798 | 7.815 | 97.69 | 90-110 % |
| 100 % | 10 | 259055 ± 3243.87 | 1.252 | 10.005 | 100.05 |  |
| 120 % | 12 | 307271 ± 2082.39 | 0.678 | 11.99 | 99.905 |  |
| Precision |  |  |  |  |  |  |
| Concentration level | Nominal concentration (µg/ml) | Inter-day |  | Intra-day |  | Acceptance criteria |
|  |  | Calculated concentration (µg/ml) | % RSD | Calculated concentration (µg/ml) | % RSD |  |
| 80 % | 8 | 7.799 | 0.321 | 7.678 | 0.415 | <2.0 % |
| 100 % | 10 | 9.933 | 0.298 | 9.928 | 0.568 |  |
| 120 % | 12 | 12.039 | 0.214 | 12.033 | 0.644 |  |

Figure S3. Chromatograms of forced degradation of CUR and NRG: (i) Acid-induced hydrolysis: (A) 0.1 N HCl—(a) blank and (b) sample; (B) 1 N HCl—(a) blank and (b) sample; (ii) base-induced hydrolysis: (C) 0.1 N NaOH—(a) blank and (b) sample; (D) 1 N NaOH—(a) blank and (b) sample; (E) oxidation-induced degradation—(a) blank and (b) sample; (F) photolytic—(a) blank and (b) sample; (G) thermal degradation at 80°C—(a) blank and (b) sample; (H) benchtop—(a) blank and (b) sample

Figure S4. Solubility results of CUR, NRG, physical mixtures (PM), and CAM

Crystallinity index of co-amorphous formulation of curcumin and naringin

In addition to XRPD analysis, the crystallinity indices for CUR and CAMs were calculated by deconvolution method using following equation:

CI %=100 × ScSt

Where Sc represents the area of the crystalline domain and St represents the area of the total domain (Rotaru et al., 2018).

Crystallinity index

The crystallinity index of CUR and CAMs were calculated using Origin software (Fig. 7 and Table 3).

Figure S5. PXRD patterns of a. CUR b. NRG c. CAM 1:1 d. CAM 1:2 and their crystallinity index calculation using Origin software

Table S6. Crystallinity indices (CI) of pure drugs and co-amorphous formulations as calculated from the XRD patterns

| Sample | Crystallinity index (CI) in % |
| --- | --- |
| CUR | 97.13 |
| NRG | 65.85 |
| CAM 1:1 | 25.06 |
| CAM 1:2 | 19.48 |

Figure S6. Chromatogram showing low limit of quantification (LLOQ) at a concentration of 100 ng/ml

Figure S7. Chromatogram showing lower quality control (LQC) concentration of 300 ng/ml

Figure S8. Chromatogram showing middle quality control (LQC) concentration of 1280 ng/ml

Figure S9. Chromatogram showing high quality control (HQC) concentration of 2400 ng/ml