Online resource 1

Stable isotope analysis

Sample preparation and pretreatment

Sample pretreatment was performed at the Advanced Analytical Centre (AAC) on the Bebegu Yumba campus of James Cook University, Townsville following published protocols (Ventresca Miller et al. 2018). The outer surfaces of the teeth were abraded using a Dremel® diamond wheel point to remove any contaminants. Two enamel chips weighing approximately 10-20mg each were sampled from each tooth using a Dremel® EZ Lock Diamond Wheel with a Dremel® cordless tool coupled to a Dremel® workstation. The equipment, drill tip, and wheel were cleaned between each sample using 0.5 M HCl and then washed with ethanol. Any adhering dentine was removed using a Kincrome engraving pen. For each individual, one enamel chip was placed in a sterile tube and the other was crushed in an agate mortar with the pestle and transferred to a sterile tube using Whatman® weighing paper.

Samples were placed in sterilised microcentrifuge tubes. 1% NaClO (sodium hypochlorite) was added to each sample using a disposable pipette and then agitated in a vortexer for 2 minutes. The NaClO was discarded. 2mL of ultrapure water (milliQ) was added to each sample and then agitated for 2 mins. This was repeated three times in total, discarding and replacing the water each time. For each sample, 0.1mL of 0.1M acetic acid was added for each 1mg of enamel using an autopipette and disposable tips, vortexed and then rested for 10 minutes. The samples were centrifuged in a microcentrifuge at 13,700xg for 2 minutes. The acid was discarded. 2mL of milliQ was added to each sample and centrifuged again for 2 mins. This was repeated three times in total until neutrality was reached. Each microcentrifuge tube was covered with parafilm and punctured. The samples were freeze dried for 24 hours after which the parafilm was removed and replaced with the tube caps.

Stable isotope analyses of 18O and 13C ratios in tooth enamel carbonate were conducted in the Stable Isotope Laboratory, within the Research School of Earth Sciences (RSES), at the Australian National University (ANU) using a Thermo Fisher MAT 253 IRMS mass spectrometer with a Kiel IV Carbonate Device. The average carbonate content was 4%. Approximately 3mg from each bulk sample of enamel (120 µg of calcium carbonate) was reacted at 75°C in 104% phosphoric acid for 12 minutes. The apatite fraction does not react with the phosphoric acid and remains unreacted in the sample vial (Ayliffe 1991; Ayliffe and Chivas 1990; Fraser et al. 2008). Samples are standardised on the Vienna Pee Dee Belemnite (VPDB) scale and reported as delta values in permil relative to the standard. The runs were standardised against and normalised to the following values: IAEA603: δ13C VPDB +2.45‰, δ18O VPDB –2.37‰ and NBS18 δ13C VPDB –5.01‰, δ18O VPDB –23.20‰. For repeat runs the δ13C and the δ18O values produced were averaged. δ18O VSMOW (‰) was calculated from the averaged δ18O values. The measurement of technical error (TEM) for duplicate isotope analysis was 0.02‰ for δ13C and 0.15‰ for δ18O) (Perini et al. 2005). All δ18O values are reported relative to Vienna Standard Mean Ocean Water (VSMOW) (Kim et al. 2015) (Table S1).

Proteomic analysis

Sample preparation and pretreatment

Sample preparation and peptide analysis were undertaken in the Centre for Protein Research (CPR), at the University of Otago, New Zealand following protocol adapted from published methods (Gowland et al. 2021; Stewart et al. 2017; Stewart et al. 2016). For 30 seconds, each enamel chip was rinsed in 3% H2O2 to clean the enamel surface and then the H2O2 was discarded. Each chip was rinsed in ultrapure water (MilliQ) and then submerged in 60 μL of 5% HCl for two minutes etching the sample. This was repeated, and the residue from the second etching process kept for analysis. Each chip was then washed again with MilliQ. For each sample, a resin-loaded ZipTip® was prepared with 100% acetonitrile and then a solution of 1μL 0.1% formic acid, 10μL 1% acetonitrile, 989μL MilliQ). The solution was  drawn through the tip 15 times capturing the peptides in the sample on the media within the ZipTip. Exogenous material was rinsed from the solution using a wash solution (1μL 0.1% formic acid, 10μL 1% acetonitrile, 989μL MilliQ) through the tip three times. An elution buffer of 60μL (600μL 60% acetonitrile, 399μL 0.1% formic acid) was used to elute peptides from the tip. Samples were dried

Table S1 Biological profile and δ13C and δ18O isotope values of human samples

|  |  |  |  |  |  | δ13C (VPDB ‰) |  |  | δ18O (VPDB ‰) |  |  | Repeat difference |  |  | Mean |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site | Burial | Age | Sex | Period | Tooth | Run 1 | Run 2 |  | Run 1 | Run 2 |  | δ13C (VPDB ‰) | δ18O (VPDB ‰) |  | δ13C (VPDB ‰) | δ18O (VPDB ‰) | δ18O (VSMOW ‰)1 |
| HL17 | B1 | Adult | Female | Iron Age | M3 | –11.9 | –12.0 |  | –5.7 | –5.6 |  | 0.1 | 0.1 |  | –12.0 | –5.6 | 25.1 |
| HL17 | B4 | 10-14 | Male | Iron Age | M2 | –10.3 | –10.3 |  | –6.4 | –6.2 |  | 0.0 | 0.2 |  | –10.3 | –6.3 | 24.4 |
| HL17 | B5 | Adult | Male | Iron Age | M3 | –10.0 | –10.0 |  | –5.4 | –5.3 |  | 0.0 | 0.1 |  | –10.0 | –5.3 | 25.4 |
| HL17 | B6 | Adult | Male | Iron Age | M3 | –12.9 | –13.0 |  | –5.5 | –5.3 |  | 0.0 | 0.2 |  | –13.0 | –5.4 | 25.3 |
| HL17 | B8 | Adult | Female | Iron Age | M3 | –12.8 | –12.8 |  | –6.1 | –6.4 |  | 0.0 | 0.2 |  | –12.8 | –6.3 | 24.5 |
| HL17 | B10 | Adult | Female | Iron Age | M3 | –8.3 | –8.3 |  | –5.8 | –5.7 |  | 0.0 | 0.1 |  | –8.3 | –5.7 | 25.0 |
| HL17 | indA | Adult | Female | Iron Age | M3 | –13.0 |  |  | –6.8 |  |  |  |  |  | –13.0 | –6.8 | 23.9 |
| HL17 | indB | Adult | Female | Iron Age | M3 | –12.1 | –12.1 |  | –6.5 | –6.6 |  | 0.0 | 0.1 |  | –12.1 | –6.5 | 24.2 |
| HL17 | indC | Adult | Female | Iron Age | M3 | –12.3 | –12.4 |  | –6.1 | –6.0 |  | 0.1 | 0.1 |  | –12.4 | –6.0 | 24.7 |
| HL17 | indD | Adult | Female | Iron Age | M2 | –13.1 | –13.1 |  | –6.2 | –6.0 |  | 0.0 | 0.2 |  | –13.1 | –6.1 | 24.6 |
| HL17 | indE | Adult | Female | Iron Age | M1 | –12.0 | –12.1 |  | –5.9 | –5.8 |  | 0.0 | 0.1 |  | –12.1 | –5.8 | 24.9 |
| HL17 | indF | Adult | Female | Iron Age | M3 | –12.3 | –12.3 |  | –5.7 | –5.5 |  | 0.1 | 0.2 |  | –12.3 | –5.6 | 25.2 |
| HL17 | indK | Adult | Female | Iron Age | M3 | –13.1 | –13.2 |  | –6.6 | –6.5 |  | 0.0 | 0.1 |  | –13.1 | –6.6 | 24.2 |
| HL29 | B2 | Adult | Male | Bronze Age | M3 | –8.5 | –8.5 |  | –6.7 | –6.9 |  | 0.0 | 0.1 |  | –8.5 | –6.8 | 23.9 |
| HL29 | B7 | Adult | Male | Bronze Age | M3 | –9.7 | –9.7 |  | –3.1 | –3.2 |  | 0.0 | 0.1 |  | –9.7 | –3.2 | 27.6 |
| HL29 | B12 | 5-9 | Male | Bronze Age | M1 | –8.5 | –8.6 |  | –4.1 | –4.3 |  | 0.0 | 0.2 |  | –8.5 | –4.2 | 26.6 |
| HL29 | B14 | 5-9 | Male | Bronze Age | M1 | –8.3 | –8.3 |  | –3.2 | –3.3 |  | 0.0 | 0.1 |  | –8.3 | –3.2 | 27.6 |
| HL29 | B16 | 5-9 | Female | Bronze Age | M1 | –8.4 | –8.4 |  | –4.7 | –4.8 |  | 0.0 | 0.1 |  | –8.4 | –4.7 | 26.1 |
| HL29 | B18 | 10-14 | Male | Bronze Age | M3 | –6.8 | –6.9 |  | –4.6 | –4.8 |  | 0.0 | 0.2 |  | –6.8 | –4.7 | 26.1 |
| HL29 | B21 | Adult | Male | Bronze Age | M2 | –11.6 | –11.6 |  | –6.4 | –6.5 |  | 0.0 | 0.1 |  | –11.6 | –6.4 | 24.3 |
| HL29 | B23 | Adult | Male | Bronze Age | M3 | –2.7 |  |  | –4.5 |  |  |  |  |  | –2.7 | –4.5 | 26.3 |
| HL29 | B24 | Adult | Male | Bronze Age | M1 | –8.6 | –8.6 |  | –2.8 | –2.9 |  | 0.0 | 0.1 |  | –8.6 | –2.8 | 28.0 |
| HL29 | B25 | Adult | Male | Bronze Age | M3 | –8.7 | –8.7 |  | –4.1 | –4.1 |  | 0.0 | 0.0 |  | –8.7 | –4.1 | 26.7 |
| HL29 | B26 | Adult | Female | Bronze Age | M3 | –7.1 | –7.1 |  | –3.3 | –3.4 |  | 0.0 | 0.2 |  | –7.1 | –3.3 | 27.5 |
| HL29 | B27 | Adult | Male | Bronze Age | M3 | –9.4 | –9.4 |  | –5.2 | –5.4 |  | 0.0 | 0.2 |  | –9.4 | –5.3 | 25.5 |
| HL29 | B30 | Adult | Male | Bronze Age | M3 | –7.5 | –7.5 |  | –3.5 | –3.5 |  | 0.0 | 0.0 |  | –7.5 | –3.5 | 27.3 |
| HL29 | B31 | Adult | Female | Bronze Age | M2 | –7.1 | –7.1 |  | –5.0 | –5.1 |  | 0.0 | 0.0 |  | –7.1 | –5.0 | 25.7 |
| HL29 | B32 | Adult | Male | Bronze Age | M3 | –5.8 | –5.8 |  | –5.6 | –5.6 |  | 0.0 | 0.0 |  | –5.8 | –5.6 | 25.2 |
| HL29 | B37 | Adult | Female | Bronze Age | M3 | –10.7 | –10.7 |  | –6.5 | –6.6 |  | 0.0 | 0.0 |  | –10.7 | –6.5 | 24.2 |
| HL29 | B38 | Adult | Male | Bronze Age | M2 | –5.1 | –5.1 |  | –5.5 | –5.4 |  | 0.1 | 0.1 |  | –5.1 | –5.5 | 25.3 |
| HL29 | B42 | Adult | Female | Bronze Age | M1 | –11.8 | –11.8 |  | –5.9 | –5.8 |  | 0.0 | 0.1 |  | –11.8 | –5.8 | 24.9 |
| HL29 | B45 | Adult | Male | Bronze Age | M3 | –4.5 | –4.5 |  | –5.3 | –5.3 |  | 0.1 | 0.0 |  | –4.5 | –5.3 | 25.5 |
| HL29 | B46 | Adult | Female | Bronze Age | M3 | –4.9 | –5.0 |  | –5.9 | –5.8 |  | 0.0 | 0.1 |  | –5.0 | –5.9 | 24.9 |
| HL29 | B47a | Adult | Male | Bronze Age | M3 | –4.1 | –4.0 |  | –5.4 | –5.4 |  | 0.0 | 0.1 |  | –4.0 | –5.4 | 25.4 |
| HL30 | B5 | Adult | Female | Iron Age | M1 | –11.7 | –11.7 |  | –3.2 | –2.9 |  | 0.0 | 0.3 |  | –11.7 | –3.0 | 27.8 |
| HL30 | B6 | 1-4 | Male | Iron Age | dm2 | –12.2 | –12.3 |  | –5.5 | –5.1 |  | 0.0 | 0.5 |  | –12.2 | –5.3 | 25.5 |
| HL30 | B11 | 5-9 | Female | Iron Age | M3 | –12.2 |  |  | –6.1 |  |  |  |  |  | –12.2 | –6.1 | 24.7 |
| HL30 | B20 | Adult | Female | Neolithic | M3 | –3.6 | –3.6 |  | –4.6 | –4.3 |  | 0.0 | 0.3 |  | –3.6 | –4.4 | 26.3 |
| HL30 | B21 | Adult | Female | Neolithic | M2 | –5.8 | –5.8 |  | –4.6 | –4.6 |  | 0.0 | 0.0 |  | –5.8 | –4.6 | 26.2 |
| HL30 | Bovine |  |  | Bronze Age |  | –1.0 | –1.0 |  | –2.3 | –2.6 |  | 0.0 | 0.3 |  | –1.0 | –2.4 | 28.4 |
| HL30 | Suid |  |  | Bronze Age |  | –6.3 | –6.3 |  | –4.1 | –4.5 |  | 0.0 | 0.4 |  | –6.3 | –4.3 | 26.5 |
| HL30 | Cervid |  |  | Bronze Age |  | 2.3 | 2.3 |  | –3.0 | –3.4 |  | 0.0 | 0.3 |  | 2.3 | –3.2 | 27.6 |
| OAI1 | S4 | 15-19 | Male | Neolithic | M3 | –3.9 | –4.0 |  | –5.0 | –4.6 |  | 0.0 | 0.4 |  | –3.9 | –4.8 | 26.0 |
| OAI1 | S6 | Old | Female | Neolithic | M3 | –3.7 |  |  | –5.5 |  |  |  |  |  | –3.7 | –5.5 | 25.2 |
| OAI1 | S9 | Young | Male | Neolithic | M3 | –6.0 | –6.0 |  | –6.4 | –6.2 |  | 0.0 | 0.2 |  | –6.0 | –6.3 | 24.4 |
| OAI1 | S14 | Old | Male | Neolithic | M3 | –6.2 | –6.2 |  | –5.3 | –5.2 |  | 0.0 | 0.1 |  | –6.2 | –5.2 | 25.5 |
| OAI1 | S17 | Old | Male | Neolithic | M3 | –6.2 | –6.2 |  | –6.4 | –6.5 |  | 0.0 | 0.0 |  | –6.2 | –6.5 | 24.3 |
| OAI1 | S21b | 1-4 | Female | Neolithic | M1 | –6.6 | –6.7 |  | –4.7 | –4.6 |  | 0.0 | 0.1 |  | –6.6 | –4.6 | 26.1 |
| OAI1 | S22 | Young | Male | Neolithic | M1 | –7.5 | –7.5 |  | –4.2 | –4.3 |  | 0.0 | 0.1 |  | –7.5 | –4.2 | 26.6 |
| OAI1 | S23 | Old | Female | Neolithic | M2 | –7.3 | –7.3 |  | –4.6 | –4.4 |  | 0.0 | 0.2 |  | –7.3 | –4.5 | 26.3 |
| OAI1 | S27 | 10-14 | Male | Neolithic | M2 | –7.1 | –7.1 |  | –4.3 | –4.4 |  | 0.0 | 0.1 |  | –7.1 | –4.4 | 26.4 |
| OAI1 | S31 | Old | Female | Neolithic | M1 | –3.5 |  |  | –3.6 |  |  |  |  |  | –3.5 | –3.6 | 27.2 |
| OAI1 | S36 | Old | Female | Neolithic | M2 | –7.7 | –7.8 |  | –4.8 | –5.0 |  | 0.0 | 0.3 |  | –7.8 | –4.9 | 25.9 |
| OAI1 | S38 | 10-14 | Male | Neolithic | M2 | –6.7 | –6.7 |  | –4.7 | –5.1 |  | 0.0 | 0.4 |  | –6.7 | –4.9 | 25.8 |
| OAI1 | S40a | 1-4 | Male | Neolithic | dm2 | –6.6 | –6.7 |  | –4.7 | –5.1 |  | 0.0 | 0.4 |  | –6.7 | –4.9 | 25.9 |
| OAI1 | S41 | 1-4 | Female | Neolithic | dm2 | –6.6 | –6.7 |  | –5.6 | –5.8 |  | 0.0 | 0.3 |  | –6.7 | –5.7 | 25.0 |
| OAI1 | S42a | Young | Male | Neolithic | M1 | –8.4 | –8.5 |  | –4.0 | –4.4 |  | 0.0 | 0.3 |  | –8.4 | –4.2 | 26.6 |
| OAI1 | S43a | Middle | Male | Neolithic | M3 | –7.3 | –7.3 |  | –5.0 | –5.3 |  | 0.0 | 0.3 |  | –7.3 | –5.2 | 25.6 |
| OAI1 | S43b | 1-4 | Male | Neolithic | dm2 | –8.8 | –8.8 |  | –3.1 | –3.5 |  | 0.0 | 0.4 |  | –8.8 | –3.3 | 27.5 |
| OAI1 | S44 | Young | Male | Neolithic | M2 | –5.0 | –5.1 |  | –5.6 | –5.8 |  | 0.0 | 0.2 |  | –5.1 | –5.7 | 25.0 |
| OAI1 | S46 | Old | Female | Neolithic | M2 | –7.7 | –7.8 |  | –3.9 | –4.1 |  | 0.0 | 0.2 |  | –7.7 | –4.0 | 26.8 |
| OAI1 | S54 | Old | Female | Neolithic | M1 | –6.3 | –6.3 |  | –4.0 | –4.2 |  | 0.0 | 0.2 |  | –6.3 | –4.1 | 26.7 |
| 1δ18O VPDB is converted to δ18O VSMOW for comparative purposes following Kim et al., 2015 (1.03092*x)+30.92 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Technical error measurement (TEM) on duplicate isotopic analysis of samples is 0.02 ‰ for δ13C and 0.15 ‰ for δ18O following Perini et al., 2005 (√∑D2/2N) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

without heating in a centrifugal vacuum concentrator (Savant, SpeedVac SC100) for 90 minutes. Samples were solubilised in 20μL of 5% acetonitrile and 0.1% formic acid in water. For 10 minutes, samples were centrifuged at 30,000g at 20°C to dissolve all dried solids and remove any remaining debris from the solution. The supernatant was pipetted into a 0.3ml short thread micro-vial and input for analysis in a reversed-phase nano-LC-MS in a NanoLC-coupled QqTOF instrument (Sciex TripleTOF AB 5600+). Each sample was programmed to run a blank, a parallel reaction monitoring setting (PRM), and a data-dependent acquisition setting (DDA). Samples were run against the Human FASTA file (Swiss-Prot [21/09/2020] canonical 20,375 protein count) using Skyline (Macoss Lab Software, v 21.2). Peptides targeted in the PRM run are below (Table S2).

Table S2 Amelogenin peptides targeted by mass spectrometry

| Peptide mass to charge ratio (m/z) | Amino sequence* | Amelogenin isoforms |
| --- | --- | --- |
| 483.7393++ | SMIRPPYS | AMELY |
| 432.2258++ | SMIRPPY | AMELY |
| 440.2233++ | SMIRPPY | AMELY |
| 540.2796++ | SIRPPYPSY | AMELX |
| 415.2320++ | SIRPPYP | AMELX |
| 481.7815++ | YEVLYTPLK | AMELX |
| 723.8619++ | LPPHPGHPGYINF | AMEL_XY |
| 468.7449++ | TPLKWYQ | AMEL_XY |
| *amino acids underlined are oxidated |  |  |

Comparative samples

Data from Oakaie 1 and Halin (HL29 and HL17) was compared to published data from the south-central Thai site of Khok Phanom Di (Bentley et al. 2007), the Northeast Thai sites of Ban Chiang - BC (Bentley et al. 2005), Noen U-Loke - NUL (Cox et al. 2011), Ban Lum Khao - BLK (Bentley et al. 2009), Ban Non Wat - BNW (King et al. 2015) and Non Ban Jak - NBJ (Schalburg-Clayton 2023), the central Thai site of Promtin Tai – PTT (Liu 2018), and the Chinese sites of Zhongba - ZB (Tian et al. 2008), Liangchengzhen - LCZ (Lanehart et al. 2011) and Mayutian - MT (Zhang et al. 2014).

One individual with outlying δ13C values was identified and excluded from Khok Phanom Di (B96), two from BC (BCES31, BCES34), ten from BNW (B28, B201, B211, B255, B259, B292, B304, B390, B461 and B463), two from NBJ (B112 and B198), one from PPT (B2), one from ZB (M11), two from LCZ (M15 and M33), and three from Oakaie 1 (S4, S6 and S31) and HL17 (B4, B5 and B10), respectively. Four individuals with outlying δ18O values were identified and excluded from BNW (B160, B246, B247, B566), and one from both ZB (M81) and LCZ (M44) (Table S3).

Table S3 Human samples with δ13C and δ18O isotope values included in comparative analyses

|  | δ13C (‰ VPDB) |  |  |  | δ18O (‰ VSMOW) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Site | Samples | Outliers | Samples included |  | Sample | Outliers | Samples included |
| Oakaie 1 (OAI 1) | 20 | 3 | 17 |  | 20 |  | 20 |
| Halin 17 (HL17) | 13 | 3 | 10 |  | 13 |  | 13 |
| Halin 29 (HL29) | 21 |  | 21 |  | 21 |  | 21 |
| Khok Phanom Di (KPD) | 66 | 1 | 65 |  | 66 |  | 66 |
| Ban Lum Khao (BLK) | 26 |  | 26 |  | 26 |  | 26 |
| Ban Chiang (BC) | 42 | 2 | 40 |  | 42 |  | 42 |
| Ban Non Wat (BNW) | 117 | 10 | 107 |  | 117 | 4 | 113 |
| Non Ban Jak (NBJ) | 36 | 2 | 34 |  | 36 |  | 36 |
| Promtin Tai (PTT) | 13 | 1 | 12 |  | 13 |  | 13 |
| Noen U-Loke (NUL) | 34 |  | 34 |  | 34 |  | 34 |
| Mayutian (MT) | 14 |  | 14 |  | 14 |  | 14 |
| Zhongba (ZB) | 10 | 1 | 9 |  | 10 | 1 | 9 |
| Liangchengzhen (LCZ) | 18 | 2 | 16 |  | 18 | 1 | 17 |

References

Ayliffe LK (1991) Phosphate oxygen isotopes of biogenic apatites as palaeoenvironmental indicators. PhD, The Australian National University.

Ayliffe LK, and Chivas AR (1990) Oxygen isotope composition of the bone phosphate of Australian kangaroos: Potential as a palaeoenvironmental recorder. Geochim Cosmochim Acta 54(9):2603-2609. https://doi.org/10.1016/0016-7037(90)90246-H

Bentley RA, et al. (2009) Community diversity at Ban Lum Khao, Thailand: Isotopic evidence from the skeletons. Asian Persp 48(1):79-97. https://doi.org/10.1353/asi.0.0017

Bentley RA, Pietrusewsky M, Douglas MT, and Atkinson TC (2005) Matrilocality during the prehistoric transition to agriculture in Thailand? Antiquity 79(306):865-881. https://doi.org/10.1017/S0003598X00115005

Bentley RA, Tayles N, Higham C, Macpherson C, and Atkinson Tim C (2007) Shifting gender relations at Khok Phanom Di, Thailand: Isotopic evidence from the skeletons. Curr Anthrop 48(2):301-314. https://doi.org/10.1086/512987

Cox KJ, et al. (2011) Intrinsic or extrinsic population growth in Iron Age northeast Thailand? The evidence from isotopic analysis. J Archaeol Sci 38(3):665-671. https://doi.org/10.1016/j.jas.2010.10.018

Fraser RA, Grün R, Privat K, and Gagan MK (2008) Stable-isotope microprofiling of wombat tooth enamel records seasonal changes in vegetation and environmental conditions in eastern Australia. Palaeogeogr Palaeoclimatol Palaeoecol 269(1):66-77. https://doi.org/10.1016/j.palaeo.2008.08.004

Gowland R, et al. (2021) Sex estimation of teeth at different developmental stages using dimorphic enamel peptide analysis. Am J Phys Anthropol 174(4):859-869. https://doi.org/10.1002/ajpa.24231

Kim S-T, Coplen TB, and Horita J (2015) Normalization of stable isotope data for carbonate minerals: Implementation of IUPAC guidelines. Geochim Cosmochim Acta 158:276-289. https://doi.org/https://doi.org/10.1016/j.gca.2015.02.011

King CL, et al. (2015) Using isotopic evidence to assess the impact of migration and the two-layer hypothesis in prehistoric Northeast Thailand. Am J Phys Anthropol 158(1):141-150. https://doi.org/10.1002/ajpa.22772

Lanehart RE, et al. (2011) Dietary adaptation during the Longshan period in China: stable isotope analyses at Liangchengzhen (southeastern Shandong). J Archaeol Sci 38(9):2171-2181. https://doi.org/10.1016/j.jas.2011.03.011

Liu C-H (2018) Human foodways, metallurgy, and landscape modification of Iron Age central Thailand. Asian Persp 57(1):83-104. https://doi.org/10.1353/asi.2018.0003

Perini TA, Oliveira GLd, Ornellas JdS, and Oliveira FPd (2005) Technical error of measurement in anthropometry. Revista Brasileira de Medicina do Esporte 11:81-85

Schalburg-Clayton J (2023) Isotopes, agriculture, and climate change: exploring biosocial adaptation at Iron Age Non Ban Jak, northeast Thailand. PhD, Department of Anatomy, University of Otago.

Stewart NA, Gerlach RF, Gowland RL, Gron KJ, and Montgomery J (2017) Sex determination of human remains from peptides in tooth enamel. Proc Natl Acad Sci USA 114(52):13649-13654. https://doi.org/10.1073/pnas.1714926115

Stewart NA, et al. (2016) The identification of peptides by nanoLC-MS/MS from human surface tooth enamel following a simple acid etch extraction. RSC Adv 6(66):61673-61679. https://doi.org/10.1039/C6RA05120K

Tian X, et al. (2008) Reconstructing past subsistence patterns on Zhongba site using stable carbon and oxygen isotopes of fossil tooth enamel. Chin Sci Bull 53(1):87-94. https://doi.org/10.1007/s11434-008-5001-z

Ventresca Miller A, et al. (2018) Sampling and pretreatment of tooth enamel carbonate for stable carbon and oxygen isotope analysis. J Vis Exp 138:58002. https://doi.org/10.3791/58002

Zhang X, et al. (2014) Isotope studies of human remains from Mayutian, Yunnan Province, China. J Archaeol Sci 50:414-419. https://doi.org/10.1016/j.jas.2014.08.001