Table S1

Product Concentrations and Averaged UV-OIP % Area of Fluorescence

for

U.S. Unleaded Gasoline

U.S. On-Road Diesel

And

Bemidji Crude Oil

| U.S. Unleaded Gasoline: Part A |  |  |  |
| --- | --- | --- | --- |
| Sample Concentration (mg/kg) | Each Test OIP % Area Fluorescence | Concentration Averaged OIP % Area Fl. | Plotted as Linear or Asymptotic |
| 100 | 0.09 | 0.096 | A |
| 100 | 0.10 |  |  |
| 150 | 0.10 | 0.11 | A |
| 150 | 0.12 |  |  |
| 400 | 2.05 | 4.23 | L |
| 400 | 4.61 |  |  |
| 400 | 4.44 |  |  |
| 400 | 4.37 |  |  |
| 400 | 5.66 |  |  |
| 500 | 6.97 | 7.13 | L |
| 500 | 9.31 |  |  |
| 500 | 5.11 |  |  |
| 1000 | 9.73 | 7.02 | L |
| 1000 | 4.30 |  |  |
| 1332 | 22.17 | 17.15 | L |
| 1332 | 16.26 |  |  |
| 1332 | 13.01 |  |  |
| 1428 | 29.00 | 30.44 | L |
| 1428 | 30.31 |  |  |
| 1428 | 32.00 |  |  |
| 1707 | 29.54 | 29.91 | L |
| 1707 | 34.39 |  |  |
| 1707 | 25.81 |  |  |
| 2187 | 45.45 | 46.16 | L |
| 2187 | 53.20 |  |  |
| 2187 | 39.84 |  |  |

(See last page for notes.)

Table S1

(Cont.)

| U.S. Unleaded Gasoline: Part B |  |  |  |
| --- | --- | --- | --- |
| Sample Concentration (mg/kg) | Each Test OIP % Area Fluorescence | Concentration Averaged OIP % Area Fl. | Plotted as Linear or Asymptotic |
| 2997 | 60.08 | 61.17 | L |
| 2997 | 64.12 |  |  |
| 2997 | 59.32 |  |  |
| 3759 | 64.02 | 62.46 | L |
| 3759 | 61.61 |  |  |
| 3759 | 61.74 |  |  |
| 6733 | 76.56 | 75.04 | L |
| 6733 | 76.25 |  |  |
| 6733 | 72.32 |  |  |
| 10571 | 78.80 | 80.81 | L |
| 10571 | 83.70 |  |  |
| 10571 | 79.92 |  |  |
| 25600 | 76.71 | 78.60 | A |
| 25600 | 80.56 |  |  |
| 25600 | 78.54 |  |  |
| 62277 | 81.56 | 82.61 | A |
| 62277 | 84.51 |  |  |
| 62277 | 81.77 |  |  |
| 99651 | 86.00 | 86.01 | A |
| 99651 | 90.55 |  |  |
| 99651 | 81.47 |  |  |
| 298954 | 92.16 | 90.91 | A |
| 298954 | 89.99 |  |  |

Table S1

(Cont.)

| U.S. On-Road Diesel |  |  |  |
| --- | --- | --- | --- |
| Sample Concentration (mg/kg) | Each Test OIP % Area Fluorescence | Concentration Averaged OIP % Area Fl. | Plotted as Linear or Asymptotic |
| 49.9 | 0.01 | .01 | A |
| 210.2 | 3.06 | 5.06 | L |
| 210.2 | 6.77 |  |  |
| 210.2 | 5.36 |  |  |
| 485 | 31.55 | 31.73 | L |
| 485 | 34.21 |  |  |
| 485 | 29.44 |  |  |
| 700 | 53.59 | 53.41 | L |
| 700 | 53.04 |  |  |
| 700 | 53.60 |  |  |
| 1330 | 79.66 | 76.55 | L |
| 1330 | 70.07 |  |  |
| 1330 | 79.92 |  |  |
| 1330 | 76.15 |  |  |
| 3261 | 91.10 | 87.41 | L |
| 3261 | 85.15 |  |  |
| 3261 | 85.97 |  |  |
| 10,338 | 91.51 | 91.36 | A |
| 10,338 | 91.20 |  |  |
| 30,530 | 96.98 | 96.98 | A |
| 100,917 | 98.93 | 98.93 | A |
| 302,225 | 98.04 | 98.53 | A |
| 302,225 | 99.02 |  |  |

Table S1

(Cont.)

| Bemidji Crude OIl |  |  |  |
| --- | --- | --- | --- |
| Sample Concentration (mg/kg) | Each Test OIP % Area Fluorescence | Concentration Averaged OIP % Area Fl. | Plotted as Linear or Asymptotic |
| 50 | 11.62 | 10.76 | L |
| 50 | 11.73 |  |  |
| 50 | 8.93 |  |  |
| 250 | 15.52 | 17.57 | L |
| 250 | 20.30 |  |  |
| 250 | 16.53 |  |  |
| 250 | 17.93 |  |  |
| 1199 | 27.17 | 27.03 | L |
| 1199 | 26.66 |  |  |
| 1199 | 25.82 |  |  |
| 1199 | 28.45 |  |  |
| 5000 | 34.75 | 35.88 | L |
| 5000 | 34.73 |  |  |
| 5000 | 38.16 |  |  |
| 25,093 | 57.33 | 54 | L |
| 25,093 | 52.11 |  |  |
| 25,093 | 53.82 |  |  |
| 25,136 | 53.84 | 55.46 | L |
| 25,136 | 58.00 |  |  |
| 25,136 | 54.55 |  |  |
| 60,104 | 67.94 | 63.72 | L |
| 60,104 | 61.27 |  |  |
| 60,104 | 61.96 |  |  |
| 100,228 | 67.37 | 65.51 | L |
| 100,228 | 63.23 |  |  |
| 100,228 | 65.94 |  |  |
| 300,571 | 69.49 | 68.19 | L |
| 300,571 | 68.01 |  |  |
| 300,571 | 67.06 |  |  |

Notes: Sample concentration based on measured mass of product added to silica sand with 10% moisture content.  Often 2 or more tests were run for each product concentration because of the inherent heterogeneity involved with attempting to mix two immiscible fluids to make these measurements.  The % Area Fluorescence for multiple tests at one concentration were averaged for plotting in figure 5.  Segments of the data plotted for each product gave a log-linear fit (L) and are plotted with regression line equation and correlation coefficient (R2) on Figure 5.  Data points near the minimum (0%) and maximum (100%) %AF values approximate an asymptotic (A) approach to the minimum and maximum values respectively.