Supplementary Table 1 Zamzam water sampling location and otal coliform

| Location | Description | Total number of samples | Number of sample infected by Total Coliform |
| --- | --- | --- | --- |
| Mecca | Original well | 3 | (-) |
| Mecca | Taps connected to original well inside and outside Alharam | 13 | 1 |
| Mecca | Ice box filled with Zamzam water inside Alharam | 10 | 1 |
| Mecca | Zamzam water collected from Zamzam bottled water company | 3 | (-) |
| Madinah | Ice box filled with Zamzam water and transported from Mecca | 15 | 1 |
| Riyadh | Zamzam bottled water transported from Mecca to Riyadh and sold in supermarkets and food stores in Riyadh | 6 | (-) |
| Total |  | 50 | 3 |

Supplementary Table 2 WHO standards, detection limits, weights, and Relative weight of measured parameters (Ramakrishnalah et al, 2009 and Lateef, 2011)

| Chemical parameters | WHO standards (mg L-1) | Detection limits (μg L-1) | Weights (wi) | Relative weight (Wi) |
| --- | --- | --- | --- | --- |
| pH | 8.5 | 0.01 | 3 | 0.065 |
| TDS | 700 | - | 3 | 0.065 |
| Fe | 0.30a | 0.1 | 1 | 0.022 |
| Zn | 5.00 | 0.1 | 1 | 0.022 |
| Cu | 2.00 | 0.1 | 3 | 0.065 |
| Cd | 0.003 | 0.1 | 5 | 0.109 |
| Cr | 0.05b | 0.1 | 2 | 0.043 |
| Pb | 0.01 | 1 | 5 | 0.109 |
| As | 0.01 | 1 | 5 | 0.109 |
| Fluoride | 1.5 | 10 | 3 | 0.065 |
| Nitrite-N | 3.0 | 4 | 5 | 0.109 |
| Nitrate-N | 50 | 2 | 5 | 0.109 |
| Total counts x 102 | 500 | - | 5 | 0.109 |
| Total coliforms | 0.0 | - | Water unsuitablec | Water unsuitable |
| E. coli | 0.0 | - | Water unsuitable | Water unsuitable |
| Total |  |  | 43 | 1.00 |

a Not of health concern at levels found in drinking-water (WHO 2011). It considered secondary maximum contaminant levels "SMCLs." The USEPA (2009) established the SMCLs only as guidelines to assist public water systems in managing their drinking water for aesthetic considerations, such as taste, color and odor. In general, the iron is not considered to present a risk to human health.   b The WHO (2011) guideline value is designated as provisional because of  uncertainties in the toxicological database.   cAl-Omran et al. (2015)

Supplementary Table 3 Water quality classification based on WQI value (Ramakrishnalah et al., 2009; Ketata-Rokbani et al., 2011).

| Classification of Drinking Water quality |  |  |
| --- | --- | --- |
| WQI Range | Class | Type of water |
| <50 50.1-100 | I II | Excellent Water Good water |
| 100.1-200 200.1-300 >300 | III IV V | Poor water Very poor water Water unsuitable for drinking |