Supplementary materials to: Liquid native MALDI Mass Spectrometry for the detection of protein-protein complexes, Beaufour et al.

Figure S1. Amino acid sequences of HUα and HU (Escherichia coli)

HUα

10        20        30        40        50
MNKTQLIDVIAEKAELSKTQAKAALESTLAAITESLKEGDAVQLVGFGTF 
        60        70        80        90
KVNHRAERTGRNPQTGKEIKIAAANVPAFVSGKALKDAVK

Average mass: 9535 Da

HU

10        20        30        40        50
MNKSQLIDKIAAGADISKAAAGRALDAIIASVTESLKEGDDVALVGFGTF 
        60        70        80        90
AVKERAARTGRNPQTGKEITIAAAKVPSFRAGKALKDAVN

Average mass: 9226 Da

Figure S2. Quaternary liquid matrix mixture for noncovalent dimer analysis.

HUαβ protein 0.25 µM in HCCA/2NPHL/DEA/Gly 1:1:3.3:19 (n/n).

Laser intensity: 46%

0

10

20

30

40

1+

1+

1+

10000

12000

14000

16000

18000

20000

m/z

Intensity (a.u.)

Figure S3. Effect of in vacuo residence time (tivr) of the liquid spot in the source before acquisition. HUαβ at 0.5 µM in matrix was deposited by mixing sample 1:1 with HCCA/3AQ/Gly 1:2.5:6 (w/w). Acquisition parameters were set at IS1 25 kV, IS2 23.35 kV, lens 6 kV, and laser intensity 46%.

0

20

40

60

80

100

0

50

100

150

200

250

300

0

200

400

600

800

1000

1200

10000

12000

14000

16000

18000

20000

m/z

1+

1+

2+

1+

1+

t

ivr

=15 min

%D = 39%

t

ivr

= 56 min

%D = 29%

t

ivr

= 267 min

%D = 25.6%

1+

1+

1+

1+

1+

2+

2+

(a)

(b)

(c)

Intensity (a.u.)

Figure S4. Solid MALDI mass spectra of HUαβ using an aqueous dissolved matrix. A solution of HUαβ at 10 µM in matrix was obtained by mixing sample solution 1:1 with matrix. Matrix solution: saturated sinapinic acid (SA) in 0.44 M ammonium citrate dibasic, adjusted to pH 5.1. Instrumental parameters: IS1 = 25 kV, IS2 = 23.45 kV, Lens = 7 kV (identical to those of Figure 5), laser intensity 46%, constantly moving laser shot pattern. * : SA adducts

Figure S5. Effect of the laser intensity on the HUαβ noncovalent signal.

HUαβ protein 0.5 µM in HCCA/3AQ/Gly matrix (1/4/6). Laser intensity at (a) 53 %, (b) 46 %.

1+

Figure S6 : Amino acid sequence of streptavidin (Streptomyces avidinii)

Preferential subtilisin cleavage sites are highlighted with boldface and underlined. The protein form most frequently seen in structures corresponds to sequence 37-160.

10        20        30        40        50
MRKIVVAAIAVSLTTVSITASASADPSKDSKAQVSAAEAGITGTWYNQLG 
        60        70        80        90       100
STFIVTAGADGALTGTYESAVGNAESRYVLTGRYDSAPATDGSGTALGWT 
       110       120       130       140       150
VAWKNNYRNAHSATTWSGQYVGGAEARINTQWLLTSGTTEANAWKSTLVG 
       160       170       180 
HDTFTKVKPSAASIDAAKKAGVNNGNPLDAVQQ

Average mass: 18834 Da

Figure S7. Mass spectrum of streptavidin in denaturing conditions.

Ultrathin layer analysis of streptavidin at 0.25 µM in HCCA/TWA (acetonitrile:water:trifluoroacetic acid 33.3:66.6:0.1) [SI1,SI2].

Intensity (a.u.)

References:

- Gabant G., Cadene M. (2008) Mass spectrometry of full-length integral membrane proteins to define functionally relevant structural features. Methods 46, 54-61.

- Cadene M., Chait B.T (2000) A robust, detergent-friendly method for mass spectrometric analysis of integral membrane proteins. Anal. Chem. 72, 5655-5658.

.