Table 5: Microbiological diagnostics for invasive aspergillosis

| Diagnostic test | Galactomannan | LFA | Beta-D-Glucan | PCR | Microscopy | Culture-based processes* | Histopathology |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Material | Serum, BALF | Serum, BALF | Serum | Serum, sputum, cerebrospinal fluid, BALF | Blood, BALF, TA, sputum, cerebrospinal fluid, various others | Serum, sputum, cerebrospinal fluid, BALF | Tissue |
| Early proof possible | + | + | + | + | + | - | - |
| Detection of a broad spectrum of pathogens | - | - | ± | ± | ± | ± | - |
| Identification down to species level | - | - | - | + | - | ± | - |
| Quantitative results | + | + (if Cube reader is used) | + | ± | - | - | - |
| Commercial tests / staining | Platelia™ Aspergillus; Euroimmun Aspergillus ELISA**, Virclia Assay**, and others | IMMY sõna Aspergillus GM LFA | Fungitell® Assay (FDA cleared) / Wako test | Fungiplex® Universal PCR | Calcofluor white with 10% potassium hydroxide or Grocott-Gomori Methenamine silver stain | Sabouraud dextrose agar and rarely brain-heart agar | Grocott-Gomori methenamine silver staining or periodic acid staining; immunohistology / FISH |
| Sensitivity | Serum 11-83% BALF 58-95% | 91-97% | 55-96% | ~80% |  | 35-82% |  |
| Specificity | Serum 47-100% BALF 87-100% | 92-98% | 77-96% | ~75% |  | 95-100% |  |
| Fast turn around | + | ++ | + | ± | ± | - | - |
| Low costs | ± (in house or shipping) | + | ± (in house or shipping | - | ± | ± | ± |
| Comment | False positive capabilities, best experience with hematology patients | False positive capabilities | False positive capabilities | Problem: Colonization vs infection | Investigator dependent; colonization vs infection | Problem: Colonization vs infection | Investigator dependent |

* Identification of the cultivated Aspergillus isolates using MALDI-TOF mass spectrometry, species-specific nucleic acid amplification methods or sequencing methods (detection or analysis of taxonomically applicable nucleotide sequences using specific PCR, gene sequencing or whole genome sequencing).

** are independently clinically validated