Stability of ceftobiprole medocaril in portable elastomeric infusion devices

Beatriz Esteban-Cartelle,a,b Brayan J Anaya,a Covadonga Pérez Menéndez-Conde,b Noelia Vicente-Oliveros,b Dolores R. Serrano,a# Ana Álvarez-Díaz,b Jesús Fortún Abete,c Pilar Martín-Dávilac

aDepartment of Pharmaceutics and Food Technology, School of Pharmacy, Complutense University of Madrid, Madrid, Spain

bPharmacy Department, Hospital Universitario Ramón y Cajal. IRYCIS. Madrid, Spain

cService of Infectious Diseases, Hospital Universitario Ramón y Cajal. IRYCIS. CIBERINFEC. Madrid, Spain.

#Address correspondence to Dolores R. Serrano, dr.serrano@farm.ucm.es. School of Pharmacy, Complutense University of Madrid. Plaza Ramón y Cajal, 28040, Madrid, Spain.

Appendix 1: LC-QQQ-MS method validation

For method specificity, the Mass Spectrum was analyzed in positive and negative mode to confirm 713 molecular weight (Figure S1). Linearity was evaluated in the concentration range tested with an R2> 0.999. For accuracy and precision, a 1 µg/ml standard was injected three times. The Relative Standard Deviation (RSD) was 0.09%. The Limit of Detection (LOD) and Limit of Quantification (LOQ) were calculated being 0.4 and 1.0 µg/ml, respectively.

Figure S1. Mass spectrum (positive and negative mode) of ceftobiprole.

Table S1. pH values at different time points for ceftobiprole medocaril of 6.25 mg/mL solutions in portable elastomeric infusion devices.

| Solvent | Temp (°C) | Time (h) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0 | 4 | 8 | 12 | 24 | 48 | 72 | 96 |
| Sodium chloride 0.9% | 2-8 | 4.572 | 4.633 | 4.696 | 4.694 | 4.868 | 4.959 | 5.304 | 5.591 |
|  | 25 | 4.582 | 4.715 | 4.895 | 5.049 | 5.641 | 6.594 | 7.014 | 7.274 |
|  | 32 | 4.592 | 4.765 | 5.130 | 5.428 | 6.308 | 6.741 | 7.164 | 7.634 |
| Dextrose 5% | 2-8 | 4.934 | 4.971 | 5.034 | 5.056 | 5.196 | 5.438 | 5.912 | 6.365 |
|  | 25 | 4.947 | 5.072 | 5.254 | 5.493 | 6.567 | 7.226 | 7.635 | 7.772 |
|  | 32 | 4.948 | 5.139 | 5.619 | 6.086 | 6.998 | 7.425 | 7.626 | 8.183 |