ELECTRONIC SUPPLEMENTARY MATERIAL 1: BIOANALYTICAL METHOD IN PHASE I DOSE-ESCALATION STUDY

Clinical Pharmacokinetics of Enzalutamide

Jacqueline A. Gibbons · Taoufik Ouatas · Walter Krauwinkel · Yoshiaki Ohtsu · Jan-Stefan van der Walt · Vanessa Beddo · Michiel de Vries · Joyce Mordenti

Correspondence to: J. A. Gibbons [jackie.gibbons@medivation.com] 
Medivation, Inc., San Francisco, CA, USA

This supplement provides details on the bioanalytical method used to measure plasma concentrations of enzalutamide in the phase I dose-escalation study [1], which was the first-in-human trial for enzalutamide.

Plasma concentrations of enzalutamide were quantified by high-performance liquid chromatography with tandem mass spectrometry (LC-MS/MS) method that was validated in accordance with US Food and Drug Administration guidance [2].

To prepare the samples for analysis, a 100-µL volume of dipotassium ethylenediaminetetraacetic acid plasma sample was added to a 10 mL glass tube. A 10 µL volume of internal standard working solution (N-13CD3-enzalutamide in acetonitrile) was added to the samples. The samples were amended with 400 µL of an aqueous solution of 5% sodium bicarbonate, briefly vortexed, amended with approximately 5 mL methyl-t-butyl ether, and mixed thoroughly. The tube was centrifuged for 10 minutes to enable the organic and aqueous phases to separate, and the top organic layer was transferred to a new tube and fully evaporated under a gentle stream of nitrogen at 37°C. Samples were reconstituted with 80 µL of 40/60 (v/v) methanol/0.1% formic acid aqueous solution and briefly centrifuged, and approximately 15 µL was injected into the LC-MS/MS system for analysis.

The calibration standards spanned from 0.002 to 5.0 μg/mL, and the standard curve was described by a linear function with 1/y weighting. Six replicates of quality control (QC) samples were performed at each of the lower limit of quantification (LLOQ), low QC, medium QC, and high QC concentrations of enzalutamide. Intra- and inter-assay results demonstrated a relative standard deviation for QC samples to be ≤ 15% (≤ 20% at the LLOQ). Tests for dilution integrity demonstrated that enzalutamide measurements were accurate with sample dilutions up to 50-fold.

References

- Scher HI, Beer TM, Higano CS, Anand A, Taplin ME, Efstathiou E, et al; Prostate Cancer Foundation/Department of Defense Prostate Cancer Clinical Trials Consortium. Antitumour activity of enzalutamide in castration-resistant prostate cancer: a phase 1-2 study. Lancet. 2010;24;375(9724):1437–46.

- U.S. Department of Health and Human Services. Bioanalytical Method Validation, 2001. http://www.fda.gov/Drugs/GuidanceComplianceRegulatoryInformation/Guidances/UCM070107. Accessed 13 February 2015.

Medivation, Inc.	MDV3100 in Breast Cancer Phase 1	EOP2 (Rising PSA) Briefing Book
 - v0.2 DRAFT	Confidential	Page 3