## Table_BusData
Bus | Nominal_kV | Bus_Type | P_load_MW | Q_load_MVAr | Vmin_pu | Vmax_pu | Notes
1 |  | PQ bus (monitored PQ/THD) |  |  | 0.95 | 1.05 | Monitored for THD. Base THD >8%. AI-based control ~4%, within IEEE-519. THD reduced under optimized UPFC/SVC + AI control.
2 |  | PQ bus (monitored PQ/THD) |  |  | 0.95 | 1.05 | Monitored for THD. Base THD >8%. AI-based control ~3.5%, within IEEE-519. THD reduced under optimized UPFC/SVC + AI control.
3 |  | PQ bus (monitored PQ/THD) |  |  | 0.95 | 1.05 | Monitored for THD. AI-based control ~2.5%, within IEEE-519. THD reduced under optimized UPFC/SVC + AI control.
4 |  | PQ bus (monitored PQ/THD) |  |  | 0.95 | 1.05 | Monitored for THD. AI-based control keeps THD <5%. THD reduced under optimized UPFC/SVC + AI control.
5
6
7 | 90 | PV-coupled load bus (SVC installed) |  |  | 0.95 | 1.05 | Optimized SVC placement. Fast local voltage/reactive support. SVC susceptance control ±0.04→±0.18 p.u. (~15–20 MVAr dynamic VAR), 2 ms response. Voltage maintained in 0.95–1.05 p.u.
8
9 |  | Corridor bus for UPFC control (line 9–14) |  |  | 0.95 | 1.05 | UPFC regulates active/reactive flow and corridor voltage stability. Injected series voltage 0.05–0.15 p.u., ±90°, 3–5 ms response.
10
11
12
13
14 |  | Corridor bus for UPFC control (line 9–14) |  |  | 0.95 | 1.05 | UPFC regulates active/reactive flow and corridor voltage stability. Injected series voltage 0.05–0.15 p.u., ±90°, 3–5 ms response.
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57

## Table_Generators
Generator_ID | Bus | Type | Vset_pu | Pmin_MW | Pmax_MW | Qmin_MVAr | Qmax_MVAr | MVA_base | Notes
G1 |  | Hydro | [5 empty] | 100 | Conventional unit with explicit P/Q capability curve.
G2 |  | Hydro | [5 empty] | 100 | Conventional unit with explicit P/Q capability curve.
G3 |  | Thermal | [5 empty] | 100 | Conventional unit with explicit P/Q capability curve.
G4 |  | Thermal | [5 empty] | 100 | Conventional unit with explicit P/Q capability curve.

## Table_PVPlants
PV_Plant_ID | Bus | Peak_MW | Q_capability | Irradiance_Model | Notes
PV1 |  |  | Voltage-controlled converter (VAR support) | Beta-distributed stochastic irradiance | Contributes to up to ~55% instantaneous PV share in High-PV scenario.
PV2 |  |  | Voltage-controlled converter (VAR support) | Beta-distributed stochastic irradiance | Contributes to up to ~55% instantaneous PV share in High-PV scenario.
PV3 |  |  | Voltage-controlled converter (VAR support) | Beta-distributed stochastic irradiance | Contributes to up to ~55% instantaneous PV share in High-PV scenario.

## Table_Branches_FACTS
From_Bus | To_Bus | R_pu_100MVA | X_pu_100MVA | B_shunt_pu_100MVA | Tap_Ratio | Thermal_Limit_MVA | Device | Control_Window | Notes
7 | 7 (shunt) |  |  |  |  | N/A (bus shunt) | SVC | B_SVC ±0.04→±0.18 p.u.; response 2 ms | Optimized placement at Bus 7 (90 kV). ~15–20 MVAr dynamic VAR. Normalized cost coeff 25 USD/kVAr. Deployment constraint: bus thermal limit ≤80%.
9 | 14 | [5 empty] | UPFC | V_se 0.05–0.15 p.u., ±90°; response 3–5 ms | Optimized placement on corridor 9–14. ~20 MVAr equivalent controllability. Normalized cost coeff 65 USD/kVAr. Constraint: power-flow deviation ≤5%.

## Table_Scenarios
Scenario | Load_Profile | RES_Model | FACTS_Status | Contingencies | Metrics_Reported | Notes
Base Case | Historical diurnal/seasonal curve; ±10% Gaussian variability | Deterministic PV (mean trace) | Inactive (no UPFC/SVC) | None | Losses (MW), THD_V (%), VSI (–), violations (%) | Baseline for %-improvement. 57-bus SIG. 1 s resolution over 24 h; controller update every 5 s disabled.
High PV Penetration | Same as Base | PV share up to 55% instantaneous; Beta-distributed irradiance | Active (UPFC 9–14; SVC @ Bus 7) | None | Same as Base | Tests PQ/stability under high RES variability; adaptive controller enabled.
N-1 Contingency | Same as Base | Stochastic PV as High PV | Active (UPFC/SVC) | One random line or generator outage (N-1) per run | Same as Base + recovery time (s) | Resilience stress test under PV variability plus N-1 outage.