Technical screening of wind turbine installation vessel compatibility for offshore wind deployment in Brazil

Victor C. H. A. Carvalho1*, Marcos Aurélio Vasconcelos Freitas1 and Julian Hunt2

1Energy Planning Program, UFRJ, Rio de Janeiro, Brazil;

2 Biological and Environmental Science and Engineering Division, King Abdullah University of Science and Technology, Thuwal, 23955-6900, Saudi Arabia.

Correspondence

Victor C. H. A. Carvalho, Programa de Planejamento Energético, UFRJ, Cidade Universitária/Ilha do Fundão, Rio de Janeiro, CEP: 21.941-914,

Email: victor.carvalho@ppe.ufrj.br

ORCID Number - 0009-0008-9901-4344

Supplementary Information

This document provides the detailed source-screening procedure and the vessel-level supplementary tables referenced in Sections 4.2 and 5 of the manuscript.

Publicly available digital sources were screened to identify outlets that disclose wind turbine installation vessel (WTIV) information relevant to offshore wind installation activities. These sources included industry associations, specialized offshore wind publications, and market-focused websites.

[1] - Global Wind Energy Council (GWEC): https://gwec.net/;

[2] - WindEurope (WE): https://windeurope.org;

[3] - RenewableUK (RUK): https://www.renewableuk.com;

[4] - Offshore Wind Journal (OWJ): https://www.rivieramm.com/offshore-wind-journal;

[5] - Offshore Wind.biz (OWB): https://www.offshorewind.biz;

[6] - Windpower Monthly (WPM): https://www.windpowermonthly.com;

[7] - Wind Systems Magazine (WSM): www.windsystemsmag.com;

[8] - Wind Power Engineering (WPE): www.windpowerengineering.com;

[9] - Offshore Wind Industry (OWI): www.offshore-windindustry.com;

[10] - Offshore Wind Innovation Hub (OWIH): www.offshorewindinnovationhub.com;

[11] - World Wind Technology (WWT): www.windpower-international.com, and

[12] - Energy Magazine (EM): https://www.energymagazine.com.au/renewable-energy/wind/.

Source-screening results

The elimination process results are displayed in Supplementary Table 1:

Supplementary Table 1: Classification of results according to selection criteria

| Source reference | Geographic coverage | Technical coverage | Age | Daily website traffic | Number of employees |
| --- | --- | --- | --- | --- | --- |
| GWEC | Appropriate - global coverage | Less appropriate - onshore and offshore wind power | X | X | X |
| WE | Less appropriate - regional coverage | X | X | X | X |
| RUK | Inappropriate - local coverage | X | X | X | X |
| OWJ | Appropriate - global coverage | Appropriate – offshore wind exclusively | Less appropriate - between 5 and 10 years | X | X |
| OWB | Appropriate - global coverage | Appropriate – offshore wind exclusively | Appropriate - over 10 years | Less appropriate - between 5,000 and 20,000 visits | Appropriate - over 50 employees |
| WPM | Appropriate - global coverage | Less appropriate - onshore and offshore wind power | X | X | X |
| WSM | Appropriate - global coverage | Less appropriate - onshore and offshore wind power | X | X | X |
| WPE | Appropriate - global coverage | Less appropriate - onshore and offshore wind power | X | X | X |
| OWI | Appropriate - global coverage | Appropriate – offshore wind exclusively | Inappropriate - less than 5 years | X | X |
| OWIH | Inappropriate - local coverage | X | X | X | X |
| WWT | Appropriate - global coverage | Less appropriate - onshore and offshore wind power | X | X | X |
| EM | Inappropriate - local coverage | X | X | X | X |

Candidate sources were screened using pragmatic indicators of relevance and continuity, including global coverage, offshore-wind specialization, outlet longevity, visible audience reach, and organizational continuity. These indicators were used only to guide source selection and not as proxies for factual accuracy. The purpose of this screening step was to identify a source that combined broad offshore-wind coverage with sufficiently consistent vessel-level technical disclosures for first-stage screening analysis.

As shown in Supplementary Table 1, the screening process progressively narrowed the candidate set. Sources with regional or local scope were treated as less suitable than those with global coverage, and sources focused specifically on offshore wind were preferred over more general energy outlets. Outlet longevity, visible audience reach, and organizational continuity were then used as secondary indicators of stability. Based on this process, Offshore Wind.biz (OWB) was selected as the primary source for vessel data because it provided the most suitable combination of offshore-wind specialization, continuity, and vessel-specific technical information for the purposes of the present study.

The selected source was used only to compile and standardize publicly disclosed vessel specifications; it was not treated as a substitute for project-specific engineering validation.

Supplementary Table 2. Vessels satisfying the nacelle-weight threshold for the 15 MW reference turbine

The vessel-level tables below report the technical data used to support the screening results presented in Section 5 of the manuscript.

Supplementary Table 2: Vessels, maximum lifting capacity, and vessel category

| Vessel Name | Max lifting capacity (t) | Category |
| --- | --- | --- |
| Seajacks Zaratan | 850 | Jack-up |
| Sea Installer | 900 | Jack-up |
| Sea Challenger | 900 | Jack-up |
| Normand Maximus | 900 | Offshore support vessel |
| MV Lone | 1,000 | Crane ship |
| MPI Adventure | 1,000 | Crane ship |
| MPI Enterprise | 1,000 | Jack-up |
| M/V Torben | 1,000 | Jack-up |
| Friedrich Ernestine | 1,000 | Jack-up |
| MPI Discovery | 1,000 | Jack-up |
| JB-117 | 1,000 | Jack-up platform |
| JB-118 | 1,000 | Jack-up platform |
| Vole au vent | 1,200 | Offshore support vessel |
| Blue Tern | 1,200 | Jack-up |
| Conquest MB 1 | 1,400 | Crane ship |
| Wind Osprey | 1,425 | Jack-up |
| Innovation | 1,500 | Jack-up |
| Seajacks Scylla | 1,500 | Jack-up |
| Wind Orca | 1,600 | Jack-up |
| Aeolus | 1,600 | Jack-up |
| Fairplayer | 1,800 | Crane ship |
| Jumbo Javelin | 1,800 | Crane ship |
| Saipem 3000 | 2,400 | Crane ship |
| Seaway Yudin | 2,500 | Crane ship |
| Rambiz | 3,300 | Crane ship |
| OOS Gretha | 3,600 | Semi-submersible |
| Gulliver | 4,000 | Crane ship |
| Hua Tian Long | 4,000 | Crane ship |
| OOS Serooskerke | 4,400 | Semi-submersible |
| OOS Walcheren | 4,400 | Semi-submersible |
| Seaway Strashnov | 5,000 | Crane ship |
| Orion | 5,000 | Crane ship |
| De He | 5,000 | Pipe layer |
| Svanen | 8,700 | Crane ship |
| SSCV Saipem 7000 | 14,000 | Semi-submersible |
| Thialf | 14,200 | Semi-submersible |

This table does not include all vessels listed in the source material; it reports only vessels that satisfy the nacelle-weight threshold for the 15 MW reference turbine.

Supplementary Table 3. Vessels satisfying the lifting-height threshold for the 15 MW reference turbine

Supplementary Table 3: Vessels, crane height (CH), leg height (LH), vessel category, preliminary hoisting height (PHH), maximum operating depth (MOD), and deck area

| Vessel name | Crane height (m) | Leg height (m) | Category | Preliminary hoisting height (m) | Maximum operating depth (m) | Deck area (m²) |
| --- | --- | --- | --- | --- | --- | --- |
| Aeolus | 130 | 87 | Jack-up | 217 | 45 | 3,800 |  |
| Blue Tern | 96 | 88 | Jack-up | 184 | 65 | 3,750 |  |
| Bold Tern | 119 | 92 | Offshore support vessel | 211 | 60 | 3,200 |  |
| Brave Tern | 119 | 92 | Jack-up | 211 | 55 | 3,200 |  |
| Friedrich Ernestine | 102 | 73 | Jack-up | 175 | 45 | N/A |  |
| Innovation | 108 | 78 | Jack-up | 186 | 65 | 3,750 |  |
| J/U Wind | 110 | 110 | Jack-up | 220 | 30 | 430 |  |
| JB-114 | 90 | 78 | Jack-up platform | 168 | 40 | 1,000 |  |
| JB-115 | 90 | 78 | Jack-up platform | 168 | 40 | 1,000 |  |
| JB-117 | 98 | 80 | Jack-up platform | 178 | 45 | 2,500 |  |
| JB-118 | 98 | 80 | Jack-up platform | 178 | 45 | 2,500 |  |
| MEB-JB1 | 104 | 64 | Platform | 168 | Unrestricted | 1,106 |  |
| MPI Adventure | 120 | 70 | Crane ship | 190 | 40 | 3,600 |  |
| MPI Discovery | 120 | 73.5 | Jack-up | 193.5 | 40 | 3,600 |  |
| MPI Resolution | 100 | 70.5 | Jack-up | 170.5 | 34 | 3,200 |  |
| Neptune | 100 | 86 | Offshore support vessel | 186 | 50 | 1,600 |  |
| Orion | 175 | 0 | Crane ship | 175 | Unrestricted | 8,000 |  |
| Sea Challenger | 115 | 76 | Jack-up | 191 | 55 | 3,350 |  |
| Sea Installer | 115 | 73.5 | Jack-up | 188.5 | 55 | 3,350 |  |
| Seajacks Scylla | 105 | 95 | Jack-up | 200 | 65 | 4,600 |  |
| Seajacks Zaratan | 92 | 65 | Jack-up | 157 | 55 | 2,000 |  |
| SSCV Saipem 7000 | 198 | 28 | Semi-submersible | 226 | Unrestricted | 9,000 |  |
| Vole au vent | 100 | 50 | Offshore support vessel | 150 | 50 | 3,400 |  |
| Wind Lift I | 106 | 74 | Jack-up | 180 | 45 | N/A |  |
| Wind Orca | 97 | 80 | Jack-up | 177 | 60 | 4,300 |  |
| Wind Osprey | 132 | 80 | Jack-up | 212 | 70 | 4,300 |  |

This table does not include all vessels listed in the source material; it reports only vessels that satisfy the lifting-height threshold for the 15 MW reference turbine based on preliminary hoisting height.

Supplementary Table 4. Additional vessels satisfying the 9.5 MW reference-case thresholds

Supplementary Table 4: Vessels, crane height, leg height, maximum lifting capacity, vessel category, maximum operating depth, deck area, and maximum installation depth for the 9.5 MW reference case.

| Vessel name | Crane height (m) | Leg height (m) | Maximum lifting capacity (t) | Category | Maximum operating depth (m) | Deck area (m²) | Maximum installation depth (m) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Apollo | 32 | 97 | 800 | Jack-up | 106 | 2,000 | 26 |
| Bold Tern | 119 | 92 | 800 | Offshore support vessel | 60 | 3,200 | 108 |
| J/U Wind Server | 82 | 37.5 | 400 | Offshore support vessel | 45 | 1,000 | 16.5 |
| Neptune | 100 | 86 | 600 | Offshore support vessel | 50 | 1,600 | 50 |
| Seajacks Hydra | 73 | 71 | 400 | Offshore support vessel | 50 | 900 | 41 |
| Seajacks Leviathan | 78 | 71 | 400 | Offshore support vessel | 80 | 900 | 46 |

Reference turbine values for the 9.5 MW case (nacelle weight = 390 t; hub height = 105 m) were based on the MHI Vestas Offshore V164-9.5 MW turbine (Bauer 2021). This table reports vessels that satisfy both the lifting-capacity and lifting-height thresholds for the 9.5 MW reference case but do not satisfy the corresponding thresholds for the 15 MW reference case.

References cited in Supplementary Information

Bauer L (2021) MHI Vestas Offshore V164-9.5 MW. Wind-Turbine-Models.com