SUPPLEMENTARY INFORMATION for “Comparison of the effects of three types of tobacco heating system and conventional cigarettes on indoor air quality”

Journal name: SN Applied Sciences

Yoshihiro Enomoto1,*, Ryosuke Imai1, Keiko Nanjo1, Yuichi Fukai1, Katsura Ishikawa2, Misato Kotaki2

1 Scientific Product Assessment Center, Japan Tobacco Inc., 6-2 Umegaoka, Aoba-ku, Yokohama-city, Kanagawa, 227-8512, Japan

2 Corporate, Scientific and Regulatory Affairs Div., Tobacco Business Headquarters, Japan Tobacco Inc., KAMIYACHO TRUST TOWER, 4-1-1, Tranomon, Minato-ku, Tokyo, 105-6927, Japan

* Corresponding author

Yoshihiro Enomoto

(E-mail: yoshihiro.enomoto@jt.com)

ORCID: 0000-0002-8566-8805

SUPPLEMENTARY INFORMATION

Table S1. The aerosol uniformity data for our environmentally controlled chamber	3

Table S2. Test plan for each scenario and time schedule for each day	3

Table S3. Summary of measured chemical constituents in mainstream emission generated from “IT1.0a”	4

Table S4. Summary of measured chemical constituents in mainstream emission generated from “IT2.0a”	5

Table S5. Summary of measured chemical constituents in mainstream emission generated from “DT2.2a”	6

Table S6. Summary of measured chemical constituents in mainstream emission generated from “Cigarette”	7

Table S7. Measured chemical constituents in indoor air (four days) under simulated “restaurant” conditions	8

Table S8. Measured chemical constituents in indoor air (four days) under simulated “residential” conditions	14

Table S9. Summary of statistical data to compare the indoor air concentrations of “IT1.0a with person” and “with person” under “restaurant” conditions	20

Table S10. Summary of statistical data to compare the indoor air concentrations of “IT2.0a with person” and “with person” under “restaurant” conditions	21

Table S11. Summary of statistical data to compare the indoor air concentrations of “DT2.2a with person” and “with person” under “restaurant” conditions	22

Table S12. Summary of statistical data to compare the indoor air concentrations of “cigarette with person” and “with person” under “restaurant” conditions	23

Table S13. Summary of statistical data to compare the indoor air concentrations of “IT1.0a with person” and “with person” under “residential” conditions	24

Table S14. Summary of statistical data to compare the indoor air concentrations of “IT2.0a with person” and “with person” under “residential” conditions	25

Table S15. Summary of statistical data to compare the indoor air concentrations of “DT2.2a with person” and “with person” under “residential” conditions	26

Table S16. Summary of statistical data to compare the indoor air concentrations of “cigarette with person” and “with person” under “residential” conditions	27

Table S17. Comparison with other studies conducted in simulated environmentally controlled chambers	28

Table S18. Recovery values for TSNA in background (BG) and environmental tobacco smoke (ETS) of cigarette	28

Table S19. Breakthrough test for TSNA	29

Table S20. Recovery values for metals in environmental tobacco smoke (ETS) of cigarette	29

Table S21. Breakthrough test for metal	29

Supplementary Figure legends	30

# Table S1. The aerosol uniformity data for our environmentally controlled chamber

CO and SPM were measured for one hour at four sampling points (Supplementary Figures S1). Kentucky reference cigarettes, 1R6F (purchased from the Kentucky Tobacco Research and Development Center (Lexington, KY, USA)), were used in this test. 1R6F was lighted and puffed by the smoking machine and put on the ashtray until it burned out.

| Constituent |  | unit | Sampling Point | Indoor air concentration (Average for one hour) |  |  | Temperature (°C) | Relative humidity (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1st test | 2nd test | 3rd test |  |  |
| “Restaurant” condition Alternately lighted one 1R6F every 12 min, starting at 0 min, throughout the test |  |  |  |  |  |  |  |  |  |
| CO/CO2 | CO | (ppm) | SP1 (SPexhaust) | 2.75 | 2.78 | 2.86 | 1st: 25.2 2nd: 25.0 3rd: 24.6 | 1st: 43.3 2nd: 44.0 3rd: 42.9 |
|  |  |  | SP2 | 2.80 | 2.79 | 2.73 |  |  |
|  |  |  | SP3 | 2.89 | 2.88 | 2.83 |  |  |
|  |  |  | SP4 | 2.71 | 2.85 | 2.72 |  |  |
| SPM | Piezobalance | (mg/m3) | SP1 (SPexhaust) | 0.286 | 0.284 | 0.298 |  |  |
|  |  |  | SP2 | 0.288 | 0.315 | 0.297 |  |  |
|  |  |  | SP3 | 0.314 | 0.280 | 0.268 |  |  |
|  |  |  | SP4 | 0.299 | 0.296 | 0.304 |  |  |
| “Residential” condition Alternately lighted one 1R6F every 30 min, starting at 0 min, throughout the test |  |  |  |  |  |  |  |  |  |
| CO/CO2 | CO | (ppm) | SP1 (SPexhaust) | 2.44 | 2.31 | 2.47 | 1st: 24.8 2nd: 23.0 3rd: 24.5 | 1st: 45.3 2nd: 46.1 3rd: 44.4 |
|  |  |  | SP2 | 2.60 | 2.45 | 2.62 |  |  |
|  |  |  | SP3 | 2.37 | 2.20 | 2.41 |  |  |
|  |  |  | SP4 | 2.51 | 2.32 | 2.47 |  |  |
| SPM | Piezobalance | (mg/m3) | SP1 (SPexhaust) | 0.329 | 0.297 | 0.282 |  |  |
|  |  |  | SP2 | 0.355 | 0.334 | 0.306 |  |  |
|  |  |  | SP3 | 0.328 | 0.294 | 0.299 |  |  |
|  |  |  | SP4 | 0.349 | 0.319 | 0.302 |  |  |

# Table S2. Test plan for each scenario and time schedule for each day

| Test plan |  |  |  | Time schedule |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Day of testing | Examination of scenario order a | Environmental conditions |  | Time | Items |  |
| Day 1 | A D C B | “restaurant” |  | 60 min | Measurement 1st | Test |
| Day 2 | D C B E | “restaurant” |  | 60 + 10 min | Lunch break | Washout b |
| Day 3 | C A D E | “restaurant” |  | 60 min | Measurement 2nd | Test |
| Day 4 | B D A E | “restaurant” |  | 40 min | Break | Washout b |
| Day 5 | A B C E | “restaurant” |  | 60 min | Measurement 3rd | Test |
| Day 6 | C A B D | “residential” |  | 40 min | Break | Washout b |
| Day 7 | B C D E | “residential” |  | 60 min | Measurement 4th | Test |
| Day 8 | A D C E | “residential” |  |  |  | Overnight washout c |
| Day 9 | D A B E | “residential” |  |  |  |  |
| Day 10 | C B A E | “residential” |  |  |  |  |

a A: With person, B: IT1.0a with person, C: IT2.0a with person, D: DT2.2a with person, E: Cigarette with person.

b Air inside the chamber was ventilated at 400 m3/h with the door closed. Washout for 40 min was able to change the air about 16 times (chamber volume, 16.64 m3).

c Air inside the chamber was ventilated at 400 m3/h overnight with the door closed.

# Table S3. Summary of measured chemical constituents in mainstream emission generated from “IT1.0a”

| Constituent |  | unit | Smoking blank for IT1.0a |  | IT1.0a |  | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean ± 95% |  | Mean ± 95% |  |  |  |
| Tobacco typical | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NFDPM/Tar | mg/collection | BDL |  | 73.9 ± 5.6 |  | 0.357 | 1.19 |
|  | Nicotine | mg/collection | BDL |  | 0.432 ± 0.088 |  | 0.007 | 0.022 |
|  | CO | mg/collection | BDL |  | BDL |  | 0.525 | 1.75 |
|  | H2O | mg/collection | BDL |  | 13.4 ± 1.2 |  | 0.191 | 0.638 |
| TSNA | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NNN | ng/collection | BDL |  | BDL |  | 0.492 | 1.64 |
|  | NAT | ng/collection | BDL |  | BDL |  | 0.976 | 3.25 |
|  | NAB | ng/collection | BDL |  | BDL |  | 0.268 | 0.893 |
|  | NNK | ng/collection | BDL |  | BDL |  | 0.753 | 2.51 |
| Carbonyls | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | Formaldehyde | μg/collection | 4.16 ± 0.16 |  | 5.32 ± 0.22 |  | 0.722 | 2.41 |
|  | Acetaldehyde | μg/collection | NQ |  | NQ |  | 1.95 | 6.49 |
|  | Acetone | μg/collection | NQ |  | 7.47 ± 0.40 |  | 1.69 | 5.64 |
|  | Acrolein | μg/collection | BDL |  | BDL |  | 1.43 | 4.75 |
|  | Propionaldehyde | μg/collection | BDL |  | BDL |  | 2.00 | 6.67 |
|  | Crotonaldehyde | μg/collection | BDL |  | BDL |  | 1.98 | 6.58 |
|  | MEK | μg/collection | NQ |  | NQ |  | 2.20 | 7.33 |
|  | n-Butyraldehyde | μg/collection | BDL |  | BDL |  | 1.62 | 5.41 |
| Volatiles | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | 1,3-Butadiene | μg/collection | BDL |  | BDL |  | 0.285 | 0.950 |
|  | Isoprene | μg/collection | BDL |  | BDL |  | 0.406 | 1.35 |
|  | Acrylonitrile | μg/collection | BDL |  | BDL |  | 0.320 | 1.07 |
|  | Benzene | μg/collection | BDL |  | BDL |  | 0.171 | 0.569 |
|  | Toluene | μg/collection | BDL |  | BDL |  | 0.612 | 2.04 |
| Semi-Volatiles | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Pyridine | μg/collection | BDL |  | BDL |  | 0.270 | 0.899 |
|  | Styrene | μg/collection | BDL |  | BDL |  | 0.117 | 0.388 |
|  | Quinoline | μg/collection | BDL |  | BDL |  | 0.032 | 0.108 |
| PAH | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | BaP | ng/collection | BDL |  | BDL |  | 0.531 | 1.77 |
| PAA | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | 1-Aminonaphthalene | ng/collection | BDL |  | BDL |  | 0.082 | 0.273 |
|  | 2-Aminonaphthalene | ng/collection | BDL |  | BDL |  | 0.036 | 0.119 |
|  | 3-Aminobiphenyl | ng/collection | BDL |  | BDL |  | 0.012 | 0.040 |
|  | 4-Aminobiphenyl | ng/collection | BDL |  | BDL |  | 0.014 | 0.048 |
| Mercury | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | Hg | ng/collection | BDL |  | BDL |  | 1.04 | 3.48 |
| Metals | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Lead(Pb) | ng/collection | NQ |  | NQ |  | 0.800 | 2.67 |
|  | Cadmium(Cd) | ng/collection | BDL |  | BDL |  | 1.02 | 3.38 |
|  | Chromium(Cr) | ng/collection | 26.6 ± 7.0 |  | 27.4 ± 10.3 |  | 1.39 | 4.63 |
|  | Nickel(Ni) | ng/collection | NQ |  | NQ |  | 6.20 | 54.2 |
|  | Arsenic(As) | ng/collection | BDL |  | BDL |  | 1.76 | 5.86 |
|  | Selenium(Se) | ng/collection | NQ |  | NQ |  | 1.09 | 3.62 |
| Ammonia | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NH3 | μg/collection | NQ |  | 12.2 ± 1.7 |  | 1.86 | 6.21 |
| NOX | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | NO | μg/collection | BDL |  | BDL |  | 0.171 | 0.569 |
|  | NOX | μg/collection | BDL |  | BDL |  | 0.381 | 1.27 |
| PHE | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Hydroquinone | μg/collection | BDL |  | BDL |  | 0.622 | 2.07 |
|  | Resorcinol | μg/collection | BDL |  | BDL |  | 0.165 | 0.549 |
|  | Catechol | μg/collection | BDL |  | BDL |  | 0.257 | 0.856 |
|  | Phenol | μg/collection | BDL |  | BDL |  | 0.258 | 0.858 |
|  | p-Cresol | μg/collection | BDL |  | BDL |  | 0.103 | 0.343 |
|  | m-Cresol | μg/collection | BDL |  | BDL |  | 0.056 | 0.188 |
|  | o-Cresol | μg/collection | BDL |  | BDL |  | 0.077 | 0.257 |
| HCN | Total puff number | puffs/collection | 70.0 ± 0.0 |  | 70.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | HCN | μg/collection | NQ |  | NQ |  | 2.62 | 8.74 |

Abbreviations: BDL, below limit of detection; NQ, below limit of quantitation.

# Table S4. Summary of measured chemical constituents in mainstream emission generated from “IT2.0a”

| Constituent |  | unit | Smoking blank for IT2.0a |  | IT2.0a |  | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean ± 95% |  | Mean ± 95% |  |  |  |
| Tobacco typical | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NFDPM/Tar | mg/collection | BDL |  | 93.0 ± 4.53 |  | 0.357 | 1.19 |
|  | Nicotine | mg/collection | BDL |  | 0.997 ± 0.041 |  | 0.007 | 0.022 |
|  | CO | mg/collection | BDL |  | BDL |  | 0.525 | 1.75 |
|  | H2O | mg/collection | BDL |  | 22.6 ± 0.792 |  | 0.191 | 0.638 |
| TSNA | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NNN | ng/collection | BDL |  | 2.39 ± 0.481 |  | 0.492 | 1.64 |
|  | NAT | ng/collection | BDL |  | NQ |  | 0.976 | 3.25 |
|  | NAB | ng/collection | BDL |  | BDL |  | 0.268 | 0.893 |
|  | NNK | ng/collection | BDL |  | BDL |  | 0.753 | 2.51 |
| Carbonyls | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | Formaldehyde | μg/collection | 4.32 ± 0.477 |  | 5.29 ± 0.417 |  | 0.722 | 2.41 |
|  | Acetaldehyde | μg/collection | NQ |  | NQ |  | 1.95 | 6.49 |
|  | Acetone | μg/collection | NQ |  | 7.82 ± 0.368 |  | 1.69 | 5.64 |
|  | Acrolein | μg/collection | BDL |  | BDL |  | 1.43 | 4.75 |
|  | Propionaldehyde | μg/collection | BDL |  | BDL |  | 2.00 | 6.67 |
|  | Crotonaldehyde | μg/collection | BDL |  | BDL |  | 1.98 | 6.58 |
|  | MEK | μg/collection | BDL |  | NQ |  | 2.20 | 7.33 |
|  | n-Butyraldehyde | μg/collection | BDL |  | BDL |  | 1.62 | 5.41 |
| Volatiles | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | 1,3-Butadiene | μg/collection | BDL |  | BDL |  | 0.285 | 0.950 |
|  | Isoprene | μg/collection | BDL |  | BDL |  | 0.406 | 1.35 |
|  | Acrylonitrile | μg/collection | BDL |  | BDL |  | 0.320 | 1.07 |
|  | Benzene | μg/collection | BDL |  | BDL |  | 0.171 | 0.569 |
|  | Toluene | μg/collection | BDL |  | BDL |  | 0.612 | 2.04 |
| Semi-Volatiles | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Pyridine | μg/collection | BDL |  | BDL |  | 0.270 | 0.899 |
|  | Styrene | μg/collection | BDL |  | BDL |  | 0.117 | 0.388 |
|  | Quinoline | μg/collection | BDL |  | BDL |  | 0.032 | 0.108 |
| PAH | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | BaP | ng/collection | BDL |  | BDL |  | 0.531 | 1.77 |
| PAA | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | 1-Aminonaphthalene | ng/collection | BDL |  | BDL |  | 0.082 | 0.273 |
|  | 2-Aminonaphthalene | ng/collection | BDL |  | BDL |  | 0.036 | 0.119 |
|  | 3-Aminobiphenyl | ng/collection | BDL |  | NQ |  | 0.012 | 0.040 |
|  | 4-Aminobiphenyl | ng/collection | BDL |  | NQ |  | 0.014 | 0.048 |
| Mercury | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | Hg | ng/collection | BDL |  | BDL |  | 1.04 | 3.48 |
| Metals | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Lead(Pb) | ng/collection | NQ |  | NQ |  | 0.800 | 2.67 |
|  | Cadmium(Cd) | ng/collection | BDL |  | BDL |  | 1.02 | 3.38 |
|  | Chromium(Cr) | ng/collection | 42.3 ± 2.15 |  | 39.9 ± 6.43 |  | 1.39 | 4.63 |
|  | Nickel(Ni) | ng/collection | NQ |  | BDL |  | 6.20 | 54.2 |
|  | Arsenic(As) | ng/collection | BDL |  | BDL |  | 1.76 | 5.86 |
|  | Selenium(Se) | ng/collection | BDL |  | BDL |  | 1.09 | 3.62 |
| Ammonia | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | NH3 | μg/collection | NQ |  | 16.7 ± 1.10 |  | 1.86 | 6.21 |
| NOX | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | NO | μg/collection | BDL |  | BDL |  | 0.171 | 0.569 |
|  | NOX | μg/collection | BDL |  | BDL |  | 0.381 | 1.27 |
| PHE | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | Hydroquinone | μg/collection | BDL |  | BDL |  | 0.622 | 2.07 |
|  | Resorcinol | μg/collection | BDL |  | BDL |  | 0.165 | 0.549 |
|  | Catechol | μg/collection | BDL |  | BDL |  | 0.257 | 0.856 |
|  | Phenol | μg/collection | BDL |  | BDL |  | 0.258 | 0.858 |
|  | p-Cresol | μg/collection | BDL |  | BDL |  | 0.103 | 0.343 |
|  | m-Cresol | μg/collection | BDL |  | BDL |  | 0.056 | 0.188 |
|  | o-Cresol | μg/collection | BDL |  | BDL |  | 0.077 | 0.257 |
| HCN | Total puff number | puffs/collection | 65.0 ± 0.0 |  | 65.0 ± 0.0 |  | - | - |
|  | TPM | - | - |  | - |  | - | - |
|  | HCN | μg/collection | NQ |  | BDL |  | 2.62 | 8.74 |

Abbreviations: BDL, below limit of detection; NQ, below limit of quantitation.

# Table S5. Summary of measured chemical constituents in mainstream emission generated from “DT2.2a”

| Constituent |  | unit | Smoking blank for DT2.2a |  | DT2.2a |  | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean ± 95% |  | Mean ± 95% |  |  |  |
| Tobacco typical | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.024 ± 0.0545 |  | 31.7 ± 1.4 |  | 0.060 | 0.200 |
|  | NFDPM/Tar | mg/cig | BDL |  | 13.2 ± 0.6 |  | 0.071 | 0.237 |
|  | Nicotine | mg/cig | BDL |  | 0.528 ± 0.061 |  | 0.001 | 0.004 |
|  | CO | mg/cig | BDL |  | BDL |  | 0.067 | 0.223 |
|  | H2O | mg/cig | NQ |  | 17.9 ± 1.0 |  | 0.038 | 0.128 |
| TSNA | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.00 ± 0.00 |  | 33.4 ± 0.7 |  | 0.060 | 0.200 |
|  | NNN | ng/cig | BDL |  | 14.8 ± 1.6 |  | 0.098 | 0.328 |
|  | NAT | ng/cig | BDL |  | 31.4 ± 2.5 |  | 0.195 | 0.650 |
|  | NAB | ng/cig | BDL |  | 3.80 ± 0.46 |  | 0.054 | 0.179 |
|  | NNK | ng/cig | BDL |  | 6.91 ± 1.21 |  | 0.151 | 0.502 |
| Carbonyls | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | Formaldehyde | μg/cig | 3.42 ± 0.92 |  | 3.40 ± 0.07 |  | 0.361 | 1.20 |
|  | Acetaldehyde | μg/cig | NQ |  | 53.7 ± 2.0 |  | 0.973 | 3.24 |
|  | Acetone | μg/cig | NQ |  | 5.89 ± 0.09 |  | 0.846 | 2.82 |
|  | Acrolein | μg/cig | BDL |  | NQ |  | 0.713 | 2.38 |
|  | Propionaldehyde | μg/cig | BDL |  | NQ |  | 1.00 | 3.34 |
|  | Crotonaldehyde | μg/cig | BDL |  | BDL |  | 0.988 | 3.29 |
|  | MEK | μg/cig | BDL |  | BDL |  | 1.10 | 3.66 |
|  | n-Butyraldehyde | μg/cig | BDL |  | 5.18 ± 0.23 |  | 0.812 | 2.71 |
| Volatiles | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.008 ± 0.011 |  | 31.8 ± 1.4 |  | 0.060 | 0.200 |
|  | 1,3-Butadiene | μg/cig | BDL |  | BDL |  | 0.029 | 0.095 |
|  | Isoprene | μg/cig | BDL |  | BDL |  | 0.041 | 0.135 |
|  | Acrylonitrile | μg/cig | BDL |  | BDL |  | 0.032 | 0.107 |
|  | Benzene | μg/cig | BDL |  | NQ |  | 0.017 | 0.056 |
|  | Toluene | μg/cig | BDL |  | NQ |  | 0.061 | 0.204 |
| Semi-Volatiles | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.222 ± 0.036 |  | 30.5 ± 0.6 |  | 0.060 | 0.200 |
|  | Pyridine | μg/cig | 0.100 ± 0.066 |  | 1.21 ± 0.10 |  | 0.027 | 0.090 |
|  | Styrene | μg/cig | NQ |  | NQ |  | 0.012 | 0.039 |
|  | Quinoline | μg/cig | BDL |  | BDL |  | 0.003 | 0.011 |
| PAH | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.008 ± 0.018 |  | 35.1 ± 0.6 |  | 0.060 | 0.200 |
|  | BaP | ng/cig | BDL |  | NQ |  | 0.106 | 0.354 |
| PAA | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.008 ± 0.011 |  | 31.8 ± 1.4 |  | 0.060 | 0.200 |
|  | 1-Aminonaphthalene | ng/cig | BDL |  | NQ |  | 0.008 | 0.027 |
|  | 2-Aminonaphthalene | ng/cig | BDL |  | NQ |  | 0.004 | 0.012 |
|  | 3-Aminobiphenyl | ng/cig | NQ |  | NQ |  | 0.001 | 0.004 |
|  | 4-Aminobiphenyl | ng/cig | BDL |  | NQ |  | 0.001 | 0.005 |
| Mercury | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | Hg | ng/cig | NQ |  | 1.28 ± 0.04 |  | 0.104 | 0.348 |
| Metals | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.021 ± 0.028 |  | 13.3 ± 3.7 |  | 0.060 | 0.200 |
|  | Lead(Pb) | ng/cig | NQ |  | BDL |  | 0.300 | 1.00 |
|  | Cadmium(Cd) | ng/cig | BDL |  | BDL |  | 0.150 | 0.500 |
|  | Chromium(Cr) | ng/cig | NQ |  | NQ |  | 1.50 | 5.00 |
|  | Nickel(Ni) | ng/cig | NQ |  | NQ |  | 3.00 | 10.0 |
|  | Arsenic(As) | ng/cig | BDL |  | BDL |  | 0.450 | 1.50 |
|  | Selenium(Se) | ng/cig | BDL |  | BDL |  | 0.240 | 0.800 |
| Ammonia | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.044 ± 0.038 |  | 31.9 ± 0.9 |  | 0.060 | 0.200 |
|  | NH3 | μg/cig | 1.12 ± 0.11 |  | 12.4 ± 0.4 |  | 0.184 | 0.613 |
| NOX | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | NO | μg/cig | BDL |  | NQ |  | 0.176 | 0.588 |
|  | NOX | μg/cig | BDL |  | NQ |  | 0.421 | 1.40 |
| PHE | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.008 ± 0.018 |  | 33.4 ± 0.7 |  | 0.060 | 0.200 |
|  | Hydroquinone | μg/cig | BDL |  | 0.745 ± 0.124 |  | 0.062 | 0.207 |
|  | Resorcinol | μg/cig | BDL |  | BDL |  | 0.016 | 0.055 |
|  | Catechol | μg/cig | BDL |  | 1.16 ± 0.25 |  | 0.026 | 0.086 |
|  | Phenol | μg/cig | BDL |  | BDL |  | 0.026 | 0.086 |
|  | p-Cresol | μg/cig | BDL |  | BDL |  | 0.010 | 0.034 |
|  | m-Cresol | μg/cig | BDL |  | BDL |  | 0.006 | 0.019 |
|  | o-Cresol | μg/cig | BDL |  | BDL |  | 0.008 | 0.026 |
| HCN | Total puff number | puffs/cig | 10.0 ± 0.0 |  | 10.0 ± 0.0 |  | - | - |
|  | TPM | mg/cig | 0.00 ± 0.00 |  | 31.2 ± 1.3 |  | 0.060 | 0.200 |
|  | HCN | μg/cig | BDL |  | BDL |  | 0.525 | 1.75 |

Abbreviations: BDL, below limit of detection; NQ, below limit of quantitation.

# Table S6. Summary of measured chemical constituents in mainstream emission generated from “Cigarette”

| Constituent |  | unit | Cigarette |  | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean ± 95% |  |  |  |
| Tobacco typical | Total puff number | puffs/cig | 7.1 ± 0.2 |  | - | - |
|  | TPM | mg/cig | 40.1 ± 1.4 |  | 0.100 | 0.333 |
|  | NFDPM/Tar | mg/cig | 23.1 ± 1.3 |  | 0.119 | 0.395 |
|  | Nicotine | mg/cig | 1.65 ± 0.06 |  | 0.002 | 0.007 |
|  | CO | mg/cig | 23.0 ± 0.6 |  | 0.159 | 0.530 |
|  | H2O | mg/cig | 15.3 ± 0.6 |  | 0.064 | 0.213 |
| TSNA | Total puff number | puffs/cig | 6.7 ± 0.2 |  | - | - |
|  | TPM | mg/cig | 38.2 ± 2.7 |  | 0.100 | 0.333 |
|  | NNN | ng/cig | 43.1 ± 1.4 |  | 0.197 | 0.656 |
|  | NAT | ng/cig | 111 ± 5 |  | 0.390 | 1.30 |
|  | NAB | ng/cig | 8.89 ± 0.96 |  | 0.107 | 0.357 |
|  | NNK | ng/cig | 79.7 ± 6.4 |  | 0.301 | 1.00 |
| Carbonyls | Total puff number | puffs/cig | 6.8 ± 0.3 |  | - | - |
|  | Formaldehyde | μg/cig | 149 ± 12 |  | 0.361 | 1.20 |
|  | Acetaldehyde | μg/cig | 1313 ± 85 |  | 0.973 | 3.24 |
|  | Acetone | μg/cig | 488 ± 36 |  | 0.846 | 2.82 |
|  | Acrolein | μg/cig | 143 ± 9 |  | 0.713 | 2.38 |
|  | Propionaldehyde | μg/cig | 92.4 ± 6.3 |  | 1.00 | 3.34 |
|  | Crotonaldehyde | μg/cig | 39.1 ± 3.6 |  | 0.988 | 3.29 |
|  | MEK | μg/cig | 121 ± 10 |  | 1.10 | 3.66 |
|  | n-Butyraldehyde | μg/cig | 58.4 ± 3.9 |  | 0.812 | 2.71 |
| Volatiles | Total puff number | puffs/cig | 6.8 ± 0.1 |  | - | - |
|  | TPM | mg/cig | 45.2 ± 4.9 |  | 0.100 | 0.333 |
|  | 1,3-Butadiene | μg/cig | 105 ± 9 |  | 0.190 | 0.633 |
|  | Isoprene | μg/cig | 646 ± 68 |  | 0.270 | 0.901 |
|  | Acrylonitrile | μg/cig | 19.5 ± 1.4 |  | 0.213 | 0.711 |
|  | Benzene | μg/cig | 52.8 ± 3.4 |  | 0.112 | 0.373 |
|  | Toluene | μg/cig | 74.8 ± 5.2 |  | 0.408 | 1.36 |
| Semi-Volatiles | Total puff number | puffs/cig | 6.8 ± 0.3 |  | - | - |
|  | TPM | mg/cig | 48.7 ± 2.5 |  | 0.100 | 0.333 |
|  | Pyridine | μg/cig | 15.9 ± 1.8 |  | 0.090 | 0.300 |
|  | Styrene | μg/cig | 9.72 ± 0.81 |  | 0.039 | 0.129 |
|  | Quinoline | μg/cig | 0.364 ± 0.022 |  | 0.011 | 0.036 |
| PAH | Total puff number | puffs/cig | 6.6 ± 0.3 |  | - | - |
|  | TPM | mg/cig | 41.2 ± 3.2 |  | 0.100 | 0.333 |
|  | BaP | ng/cig | 13.0 ± 1.2 |  | 0.885 | 2.95 |
| PAA | Total puff number | puffs/cig | 6.8 ± 0.2 |  | - | - |
|  | TPM | mg/cig | 45.4 ± 4.6 |  | 0.100 | 0.333 |
|  | 1-Aminonaphthalene | ng/cig | 11.7 ± 0.4 |  | 0.027 | 0.091 |
|  | 2-Aminonaphthalene | ng/cig | 8.29 ± 0.26 |  | 0.012 | 0.040 |
|  | 3-Aminobiphenyl | ng/cig | 2.36 ± 0.13 |  | 0.004 | 0.013 |
|  | 4-Aminobiphenyl | ng/cig | 1.63 ± 0.12 |  | 0.005 | 0.016 |
| Mercury | Total puff number | puffs/cig | 7.7 ± 1.1 |  | - | - |
|  | Hg | ng/cig | 3.84 ± 0.25 |  | 0.209 | 0.695 |
| Metals | Total puff number | puffs/cig | 7.0 ± 0.1 |  | - | - |
|  | TPM | mg/cig | 30.3 ± 2.1 |  | 0.100 | 0.333 |
|  | Lead(Pb) | ng/cig | NQ |  | 7.70 | 25.7 |
|  | Cadmium(Cd) | ng/cig | 47.2 ± 1.8 |  | 0.953 | 3.18 |
|  | Chromium(Cr) | ng/cig | BDL |  | 11.9 | 39.6 |
|  | Nickel(Ni) | ng/cig | BDL |  | 12.9 | 43.1 |
|  | Arsenic(As) | ng/cig | NQ |  | 2.25 | 7.49 |
|  | Selenium(Se) | ng/cig | BDL |  | 4.42 | 14.7 |
| Ammonia | Total puff number | puffs/cig | 6.8 ± 0.2 |  | - | - |
|  | TPM | mg/cig | 41.4 ± 2.1 |  | 0.100 | 0.333 |
|  | NH3 | μg/cig | 17.8 ± 0.9 |  | 1.46 | 4.88 |
| NOX | Total puff number | puffs/cig | 6.8 ± 0.5 |  | - | - |
|  | NO | μg/cig | 180 ± 15 |  | 3.63 | 12.2 |
|  | NOX | μg/cig | 208 ±15 |  | 7.01 | 18.2 |
| PHE | Total puff number | puffs/cig | 7.2 ± 0.3 |  | - | - |
|  | TPM | mg/cig | 42.3 ± 3.6 |  | 0.100 | 0.333 |
|  | Hydroquinone | μg/cig | 92.4 ± 3.1 |  | 1.35 | 4.51 |
|  | Resorcinol | μg/cig | 1.82 ± 0.17 |  | 0.395 | 1.32 |
|  | Catechol | μg/cig | 77.4 ± 4.0 |  | 1.21 | 4.03 |
|  | Phenol | μg/cig | 13.6 ± 0.6 |  | 1.43 | 4.78 |
|  | p-Cresol | μg/cig | 5.84 ± 0.37 |  | 0.207 | 0.691 |
|  | m-Cresol | μg/cig | 3.12 ± 0.23 |  | 0.451 | 1.50 |
|  | o-Cresol | μg/cig | 3.97 ± 0.17 |  | 0.184 | 0.614 |
| HCN | Total puff number | puffs/cig | 6.9 ± 0.2 |  | - | - |
|  | TPM | mg/cig | 44.8 ± 4.0 |  | 0.100 | 0.333 |
|  | HCN | μg/cig | 273 ± 17 |  | 20.3 | 67.7 |

Abbreviations: BDL, below limit of detection; NQ, below limit of quantitation.

# Table S7. Measured chemical constituents in indoor air (four days) under simulated “restaurant” conditions

| Constituent |  | unit | Day1 | Day2 | Day3 | Day4 | Mean ± 95%CI (Median) | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Upper: Mean background concertation CBG Lower: Mean indoor air concertation Cexhaust |  |  |  |  |  |  |
| “with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.16 | 2.35 | 4.67 | 5.19 | 3.84 ± 0.66 | 0.0310 | 0.103 |
|  |  |  | 3.78 | 3.48 | 5.95 | 7.81 | 5.26 ± 1.01 |  |  |
|  | Acetaldehyde | (μg/m3) | 3.93 | 3.71 | 5.04 | 3.45 | 4.03 ± 0.35 | 0.0245 | 0.082 |
|  |  |  | 4.41 | 4.05 | 5.26 | 4.75 | 4.62 ± 0.26 |  |  |
|  | Acetone | (μg/m3) | 26.2 | 21.8 | 30.9 | 31.2 | 27.5 ± 2.2 | 0.0431 | 0.144 |
|  |  |  | 41.0 | 34.9 | 34.1 | 31.2 | 35.3 ± 2.1 |  |  |
|  | Acrolein | (μg/m3) | 0.0330 | <LOQ | 0.0947 | 0.0627 | 0.0635 ± 0.0178 | 0.00780 | 0.0260 |
|  |  |  | 0.0427 | 0.0326 | 0.0993 | 0.112 | 0.0717 ± 0.0200 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.572 | 0.382 | 0.670 | 0.540 | 0.541 ± 0.060 | 0.0138 | 0.0458 |
|  |  |  | 0.686 | 0.524 | 0.682 | 0.582 | 0.618 ± 0.040 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0279 | <LOQ | 0.0468 | 0.0463 | 0.0403 ± 0.0062 | 0.00664 | 0.0221 |
|  |  |  | 0.0365 | 0.0275 | 0.0541 | 0.0550 | 0.0432 ± 0.0068 |  |  |
|  | MEK | (μg/m3) | 2.39 | 1.65 | 2.76 | 3.19 | 2.50 ± 0.33 | 0.0171 | 0.0568 |
|  |  |  | 3.06 | 1.73 | 2.71 | 3.02 | 2.63 ± 0.31 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.834 | 0.844 | 0.913 | 0.663 | 0.813 ± 0.053 | 0.00934 | 0.0311 |
|  |  |  | 1.10 | 0.904 | 0.915 | 0.678 | 0.900 ± 0.087 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOD | <LOD | <LOQ | <LOD | 0.714 | 2.38 |
|  |  |  | <LOD | <LOD | <LOD | 4.17 | <LOD |  |  |
|  | Isoprene | (μg/m3) | 1.46 | <LOD | 0.865 | <LOQ | <LOQ | 0.235 | 0.782 |
|  |  |  | 5.79 | 2.69 | 2.75 | 3.33 | 3.64 ± 0.73 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | <LOQ | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Benzene | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | <LOQ | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Toluene | (μg/m3) | 1.47 | 1.14 | 2.09 | 3.52 | 2.05 ± 0.53 | 0.322 | 1.07 |
|  |  |  | 4.07 | 1.50 | 2.76 | 4.59 | 3.23 ± 0.69 |  |  |
|  | Pyridine | (μg/m3) | 1.39 | <LOQ | 0.742 | <LOQ | <LOQ | 0.240 | 0.800 |
|  |  |  | 2.01 | <LOQ | 1.06 | <LOQ | <LOQ |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 5.17 | 39.3 | 47.9 | 21.2 | 28.4 ± 9.5 | 0.167 | 0.833 |
|  |  |  | <LOD | 47.0 | 62.2 | 17.3 | 42.1 ± 13.2 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.11 | 3.72 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOD | <LOD | <LOQ | <LOQ | 1.38 | 4.59 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 0.154 | 0.622 | 1.25 | 0.982 | 0.75 ± 0.24 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOD | <LOD | <LOQ | <LOQ | 0.00932 | 0.0311 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOD | <LOQ | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | 0.404 | <LOD | <LOD | <LOQ | <LOQ |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.848 | 2.83 |
|  |  |  | <LOQ | 3.19 | <LOQ | <LOD | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0656 | <LOQ | 0.0523 | <LOQ | <LOQ | 0.0135 | 0.0450 |
|  |  |  | <LOQ | 0.0526 | <LOQ | <LOQ | <LOQ |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 7.36 | 9.06 | 17.1 | <LOQ | 11.2 ± 3.0 |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOD | <LOQ | 14.0 | <LOQ | 2.49 | 8.31 |
|  |  |  | <LOQ | 8.72 | 16.0 | 15.5 | 13.4 ± 2.3 |  |  |
| CO/CO2 | CO | (ppm) | 0.321 | 0.186 | 0.209 | 0.349 | 0.266 ± 0.040 | Measurable above 0.05 |  |
|  |  |  | 0.361 | 0.216 | 0.251 | 0.381 | 0.302 ± 0.041 |  |  |
|  | CO2 | (ppm) | 536 | 413 | 525 | 540 | 503 ± 30 | Measurable above 10 |  |
|  |  |  | 841 | 716 | 794 | 807 | 790 ± 26 |  |  |
| SPM | Piezobalan | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.520 |  |
|  |  |  | 0.600 | 1.20 | 0.800 | <LOD | 0.700 ± 0.183 |  |  |
| Ammonia | NH3 | (ppb) | 19.8 | 24.8 | 55.9 | 36.5 | 34.3 ± 8.0 | Measurable above 1 |  |
|  |  |  | 33.6 | 36.2 | 60.0 | 39.1 | 42.2 ± 6.1 |  |  |
| NOX | NO | (ppb) | 2.11 | <LOD | 1.69 | 8.09 | 1.90 ± 2.07 | Measurable above 1 |  |
|  |  |  | 7.10 | 1.90 | 2.20 | 11.3 | 5.62 ± 2.23 |  |  |
|  | NO2 | (ppb) | 13.7 | 5.43 | 8.46 | 11.0 | 9.66 ± 1.77 | Measurable above 1 |  |
|  |  |  | 16.7 | 6.76 | 11.8 | 9.75 | 11.3 ± 2.1 |  |  |
|  | NO + NO2 | (ppb) | 15.8 | 6.34 | 10.2 | 19.1 | 12.9 ± 2.9 | Measurable above 1 |  |
|  |  |  | 23.8 | 8.66 | 14.0 | 21.0 | 16.9 ± 3.4 |  |  |
| “IT1.0a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.78 | 3.07 | 4.08 | 5.84 | 4.19 ± 0.59 | 0.0310 | 0.103 |
|  |  |  | 3.94 | 3.97 | 4.97 | 8.88 | 5.44 ± 1.17 |  |  |
|  | Acetaldehyde | (μg/m3) | 4.01 | 3.61 | 4.11 | 3.99 | 3.93 ± 0.11 | 0.0245 | 0.082 |
|  |  |  | 4.26 | 4.18 | 4.57 | 5.08 | 4.52 ± 0.21 |  |  |
|  | Acetone | (μg/m3) | 32.8 | 24.1 | 12.4 | 32.9 | 25.5 ± 4.9 | 0.0431 | 0.144 |
|  |  |  | 37.8 | 36.3 | 36.2 | 35.4 | 36.4 ± 0.5 |  |  |
|  | Acrolein | (μg/m3) | 0.0563 | 0.0527 | 0.0729 | 0.102 | 0.0710 ± 0.0113 | 0.00780 | 0.0260 |
|  |  |  | 0.0591 | 0.0578 | 0.0734 | 0.148 | 0.0845 ± 0.0214 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.683 | 0.461 | 0.652 | 0.647 | 0.611 ± 0.051 | 0.0138 | 0.0458 |
|  |  |  | 0.713 | 0.597 | 0.738 | 0.887 | 0.734 ± 0.059 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0418 | 0.0316 | 0.0394 | 0.0622 | 0.0437 ± 0.0065 | 0.00664 | 0.0221 |
|  |  |  | 0.0372 | 0.0368 | 0.0390 | 0.0638 | 0.0442 ± 0.0066 |  |  |
|  | MEK | (μg/m3) | 2.60 | 1.95 | 3.56 | 3.25 | 2.84 ± 0.36 | 0.0171 | 0.0568 |
|  |  |  | 2.26 | 2.19 | 3.98 | 3.19 | 2.90 ± 0.43 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 1.26 | 0.907 | 0.757 | 0.713 | 0.910 ± 0.125 | 0.00934 | 0.0311 |
|  |  |  | 1.08 | 1.02 | 0.754 | 0.859 | 0.929 ± 0.075 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 0.714 | 2.38 |
|  |  |  | <LOD | <LOQ | <LOQ | 2.46 | <LOQ |  |  |
|  | Isoprene | (μg/m3) | 1.49 | 1.05 | 0.971 | <LOQ | 1.17 ± 0.16 | 0.235 | 0.782 |
|  |  |  | 4.96 | 3.02 | 3.09 | 3.31 | 3.60 ± 0.46 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | <LOQ | <LOD | <LOQ | <LOD | <LOQ |  |  |
|  | Benzene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.647 | 2.16 |
|  |  |  | <LOQ | <LOD | <LOQ | <LOD | <LOQ |  |  |
|  | Toluene | (μg/m3) | 2.08 | 1.78 | 4.20 | 2.78 | 2.71 ± 0.54 | 0.322 | 1.07 |
|  |  |  | 2.87 | 2.10 | 6.41 | 3.81 | 3.80 ± 0.94 |  |  |
|  | Pyridine | (μg/m3) | 1.23 | 1.23 | 0.917 | <LOQ | 1.12 ± 0.10 | 0.240 | 0.800 |
|  |  |  | 1.54 | 1.31 | 1.27 | <LOQ | 1.37 ± 0.09 |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 13.8 | 46.3 | 68.8 | 10.3 | 34.8 ± 13.9 | 0.167 | 0.833 |
|  |  |  | 105 | 91.7 | 69.7 | 66.4 | 83.2 ± 9.2 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.11 | 3.72 |
|  |  |  | <LOD | <LOD | <LOD | <LOQ | <LOD |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | 9.16 | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOQ | <LOD | <LOQ | <LOQ | 1.38 | 4.59 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOQ | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | 0.0964 | <LOD | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 0.441 | 0.453 | 0.710 | 1.48 | 0.77 ± 0.25 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOD | <LOD | <LOQ | <LOQ | 0.00932 | 0.0311 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOQ | 3.16 | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | 0.579 | <LOQ | <LOD | <LOD | <LOQ |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ | <LOD | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOQ | <LOQ | <LOD | <LOD | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0593 | 0.0733 | 0.0856 | 0.0624 | 0.0701 ± 0.0060 | 0.0135 | 0.0450 |
|  |  |  | 0.0453 | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 49.3 | 49.1 | 187 | 94.4 | 94.8 ± 32.4 |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOD | <LOQ | 13.0 | <LOQ | 2.49 | 8.31 |
|  |  |  | 28.7 | 59.0 | 49.9 | 79.1 | 54.2 ± 10.4 |  |  |
| CO/CO2 | CO | (ppm) | 0.278 | 0.247 | 0.339 | 0.313 | 0.295 ± 0.020 | Measurable above 0.05 |  |
|  |  |  | 0.310 | 0.271 | 0.386 | 0.355 | 0.330 ± 0.025 |  |  |
|  | CO2 | (ppm) | 550 | 469 | 525 | 545 | 522 ± 19 | Measurable above 10 |  |
|  |  |  | 851 | 679 | 809 | 877 | 800 ± 44 |  |  |
| SPM | Piezobalan | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.520 |  |
|  |  |  | 0.485 | 0.295 | 3.32 | 4.78 | 2.22 ± 1.10 |  |  |
| Ammonia | NH3 | (ppb) | 22.4 | 52.4 | 20.1 | 48.1 | 35.7 ± 8.5 | Measurable above 1 |  |
|  |  |  | 37.3 | 52.0 | 40.8 | 58.4 | 47.1 ± 4.9 |  |  |
| NOX | NO | (ppb) | 1.43 | 1.84 | 3.33 | 2.36 | 2.24 ± 0.41 | Measurable above 1 |  |
|  |  |  | 2.28 | 2.56 | 3.57 | 4.56 | 3.24 ± 0.52 |  |  |
|  | NO2 | (ppb) | 7.20 | 7.62 | 17.2 | 9.78 | 10.4 ± 2.3 | Measurable above 1 |  |
|  |  |  | 9.53 | 11.1 | 20.0 | 9.43 | 12.5 ± 2.5 |  |  |
|  | NO + NO2 | (ppb) | 8.64 | 9.46 | 20.5 | 12.1 | 12.7 ± 2.7 | Measurable above 1 |  |
|  |  |  | 11.8 | 13.6 | 23.5 | 14.0 | 15.7 ± 2.6 |  |  |
| “IT2.0a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.66 | 3.29 | 2.26 | 5.50 | 3.68 ± 0.68 | 0.0310 | 0.103 |
|  |  |  | 4.91 | 4.81 | 4.74 | 7.68 | 5.54 ± 0.72 |  |  |
|  | Acetaldehyde | (μg/m3) | 4.05 | 3.49 | 3.62 | 4.16 | 3.83 ± 0.16 | 0.0245 | 0.082 |
|  |  |  | 5.10 | 4.72 | 6.19 | 5.66 | 5.42 ± 0.32 |  |  |
|  | Acetone | (μg/m3) | 35.3 | 33.6 | 25.3 | 35.3 | 32.4 ± 2.4 | 0.0431 | 0.144 |
|  |  |  | 40.8 | 44.6 | 49.0 | 35.6 | 42.5 ± 2.9 |  |  |
|  | Acrolein | (μg/m3) | 0.0514 | 0.0385 | <LOQ | 0.0550 | 0.0483 ± 0.0050 | 0.00780 | 0.0260 |
|  |  |  | 0.0657 | 0.0488 | <LOQ | 0.0774 | 0.0640 ± 0.0083 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.614 | 0.542 | 0.417 | 0.649 | 0.556 ± 0.051 | 0.0138 | 0.0458 |
|  |  |  | 0.819 | 0.734 | 0.803 | 0.856 | 0.803 ± 0.026 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0367 | 0.0271 | <LOQ | 0.0448 | 0.0362 ± 0.0051 | 0.00664 | 0.0221 |
|  |  |  | 0.0465 | 0.0346 | 0.0382 | 0.0525 | 0.0429 ± 0.0040 |  |  |
|  | MEK | (μg/m3) | 2.45 | 2.45 | 1.60 | 2.93 | 2.36 ± 0.28 | 0.0171 | 0.0568 |
|  |  |  | 2.37 | 2.42 | 2.58 | 2.74 | 2.53 ± 0.08 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 1.14 | 1.03 | 0.813 | 0.894 | 0.969 ± 0.073 | 0.00934 | 0.0311 |
|  |  |  | 1.29 | 1.02 | 1.35 | 0.861 | 1.13 ± 0.12 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.714 | 2.38 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
|  | Isoprene | (μg/m3) | 1.52 | 0.837 | <LOQ | <LOQ | <LOQ | 0.235 | 0.782 |
|  |  |  | 5.08 | 3.57 | 3.38 | 3.53 | 3.89 ± 0.40 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | <LOQ | <LOQ | <LOD | <LOD | <LOQ |  |  |
|  | Benzene | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | <LOQ | <LOQ | <LOD | <LOD | <LOQ |  |  |
|  | Toluene | (μg/m3) | 1.76 | <LOD | 1.27 | 1.80 | 1.61 ± 0.17 | 0.322 | 1.07 |
|  |  |  | 2.28 | 2.54 | 1.59 | 2.43 | 2.21 ± 0.21 |  |  |
|  | Pyridine | (μg/m3) | 1.24 | 0.915 | <LOQ | <LOQ | <LOQ | 0.240 | 0.800 |
|  |  |  | 1.49 | 1.61 | 0.973 | <LOQ | 1.36 ± 0.19 |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 15.9 | 29.2 | 44.2 | 50.5 | 34.9 ± 7.8 | 0.167 | 0.833 |
|  |  |  | 83.7 | 63.3 | 95.1 | 94.8 | 84.2 ± 7.5 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.11 | 3.72 |
|  |  |  | <LOQ | <LOD | <LOD | <LOQ | <LOQ |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | 4.71 | <LOQ | <LOD | <LOQ | <LOQ | 1.38 | 4.59 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 0.707 | 0.621 | 1.96 | 1.46 | 1.19 ± 0.32 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOD | <LOD | <LOD | <LOQ | <LOD | 0.00932 | 0.0311 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | 0.565 | <LOD | 0.714 | <LOQ | (0.344) |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOD | <LOD | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOQ | <LOD | <LOD | <LOQ | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0540 | 0.0534 | <LOQ | <LOQ | <LOQ | 0.0135 | 0.0450 |
|  |  |  | 0.0643 | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 43.7 | 68.0 | 196 | 118 | 106 ± 34 |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOD | <LOD | 14.3 | <LOQ | 2.49 | 8.31 |
|  |  |  | 59.2 | 81.5 | 72.1 | 151 | 90.9 ± 20.5 |  |  |
| CO/CO2 | CO | (ppm) | 0.273 | 0.242 | 0.203 | 0.238 | 0.239 ± 0.014 | Measurable above 0.05 |  |
|  |  |  | 0.305 | 0.274 | 0.237 | 0.272 | 0.272 ± 0.014 |  |  |
|  | CO2 | (ppm) | 539 | 436 | 455 | 538 | 492 ± 27 | Measurable above 10 |  |
|  |  |  | 838 | 736 | 739 | 843 | 790 ± 30 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.520 |  |
|  |  |  | 1.30 | 7.50 | 5.30 | 16.6 | 7.67 ± 3.26 |  |  |
| Ammonia | NH3 | (ppb) | 23.3 | 44.4 | 31.3 | 65.1 | 41.0 ± 9.1 | Measurable above 1 |  |
|  |  |  | 41.1 | 53.3 | 36.0 | 48.5 | 44.7 ± 3.84 |  |  |
| NOX | NO | (ppb) | 1.43 | 1.91 | <LOD | 1.48 | 1.61 ± 0.15 | Measurable above 1 |  |
|  |  |  | 2.9 | 2.35 | 1.45 | 3.05 | 2.44 ± 0.36 |  |  |
|  | NO2 | (ppb) | 6.46 | 8.43 | 6.75 | 6.90 | 7.14 ± 0.44 | Measurable above 1 |  |
|  |  |  | 9.27 | 9.66 | 8.05 | 6.75 | 8.43 ± 0.66 |  |  |
|  | NO + NO2 | (ppb) | 7.89 | 10.3 | 7.74 | 8.38 | 8.59 ± 0.60 | Measurable above 1 |  |
|  |  |  | 12.2 | 12.0 | 9.50 | 9.80 | 10.9 ± 0.7 |  |  |
| “DT2.2a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | 5.32 | 5.40 | (2.85) |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOQ | <LOQ | <LOQ |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOQ | <LOQ | <LOQ |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.33 | 2.90 | 2.04 | 4.24 | 3.13 ± 0.46 | 0.0310 | 0.103 |
|  |  |  | 6.92 | 7.29 | 6.51 | 5.08 | 6.45 ± 0.48 |  |  |
|  | Acetaldehyde | (μg/m3) | 3.81 | 3.01 | 3.22 | 5.03 | 3.77 ± 0.45 | 0.0245 | 0.082 |
|  |  |  | 9.23 | 8.94 | 13.5 | 9.83 | 10.4 ± 1.1 |  |  |
|  | Acetone | (μg/m3) | 32.7 | 32.6 | 25.7 | 27.1 | 29.5 ± 1.8 | 0.0431 | 0.144 |
|  |  |  | 71.5 | 42.1 | 70.1 | 38.9 | 55.6 ± 8.8 |  |  |
|  | Acrolein | (μg/m3) | 0.0504 | 0.0270 | 0.0287 | 0.0730 | 0.0448 ± 0.0108 | 0.00780 | 0.0260 |
|  |  |  | 0.105 | 0.0837 | 0.106 | 0.106 | 0.100 ± 0.006 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.594 | 0.498 | 0.423 | 0.739 | 0.563 ± 0.068 | 0.0138 | 0.0458 |
|  |  |  | 1.28 | 1.19 | 1.23 | 0.978 | 1.17 ± 0.07 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0302 | 0.0278 | <LOQ | 0.0412 | 0.0331 ± 0.0041 | 0.00664 | 0.0221 |
|  |  |  | 0.0630 | 0.0774 | 0.0828 | 0.0587 | 0.0705 ± 0.0057 |  |  |
|  | MEK | (μg/m3) | 2.28 | 2.48 | 2.72 | 4.10 | 2.90 ± 0.41 | 0.0171 | 0.0568 |
|  |  |  | 4.07 | 3.51 | 4.98 | 3.18 | 3.94 ± 0.40 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 1.03 | 0.830 | 0.837 | 0.952 | 0.913 ± 0.049 | 0.00934 | 0.0311 |
|  |  |  | 2.27 | 1.95 | 2.77 | 1.34 | 2.08 ± 0.30 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.714 | 2.38 |
|  |  |  | <LOQ | 2.78 | <LOD | <LOQ | <LOQ |  |  |
|  | Isoprene | (μg/m3) | 1.46 | 1.38 | <LOD | 0.875 | 1.24 ± 0.18 | 0.235 | 0.782 |
|  |  |  | 5.20 | 4.49 | 3.85 | 3.07 | 4.15 ± 0.45 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOQ | <LOQ | <LOD | <LOD | <LOQ | 0.520 | 1.73 |
|  |  |  | <LOQ | <LOQ | <LOD | <LOD | <LOQ |  |  |
|  | Benzene | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | <LOQ | <LOQ | <LOD | <LOQ | <LOQ |  |  |
|  | Toluene | (μg/m3) | 1.59 | 2.63 | 1.07 | 2.97 | 2.07 ± 0.44 | 0.322 | 1.07 |
|  |  |  | 2.81 | 3.77 | 1.67 | 4.20 | 3.11 ± 0.56 |  |  |
|  | Pyridine | (μg/m3) | 1.23 | 1.06 | <LOQ | 0.760 | 1.02 ± 0.14 | 0.240 | 0.800 |
|  |  |  | 1.86 | 1.57 | 1.73 | 1.20 | 1.59 ± 0.14 |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOQ | <LOQ | 1.55 | <LOQ | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 11.6 | 4.17 | <LOD | 48.9 | 21.6 ± 13.8 | 0.167 | 0.833 |
|  |  |  | 63.8 | 65.7 | 145 | 142 | 104 ± 23 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 1.11 | 3.72 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | 5.16 | <LOQ | <LOD | <LOD | <LOQ | 1.38 | 4.59 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOD | <LOQ | <LOQ | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 1.96 | 1.61 | 10.4 | 8.42 | 5.60 ± 2.24 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.00932 | 0.0311 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | 5.18 | <LOD | <LOD | <LOQ | (0.221) |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOD | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0706 | 0.0527 | 0.0449 | 0.0590 | 0.0568 ± 0.0054 | 0.0135 | 0.0450 |
|  |  |  | <LOQ | 0.0458 | 0.0538 | 0.0602 | 0.0533 ± 0.0042 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 14.3 | 19.1 | 41.9 | 44.4 | 29.9 ± 7.7 |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 2.49 | 8.31 |
|  |  |  | 21.5 | 30.2 | 51.6 | 45.8 | 37.3 ± 6.9 |  |  |
| CO/CO2 | CO | (ppm) | 0.280 | 0.298 | 0.182 | 0.258 | 0.255 ± 0.026 | Measurable above 0.05 |  |
|  |  |  | 0.320 | 0.342 | 0.215 | 0.314 | 0.298 ± 0.028 |  |  |
|  | CO2 | (ppm) | 502 | 481 | 425 | 498 | 477 ± 18 | Measurable above 10 |  |
|  |  |  | 861 | 742 | 767 | 822 | 800 ± 27 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.520 |  |
|  |  |  | 2.50 | 4.50 | 10.1 | 11.2 | 7.08 ± 2.11 |  |  |
| Ammonia | NH3 | (ppb) | 21.3 | 40.1 | 34.9 | 31.5 | 32.0 ± 4.0 | Measurable above 1 |  |
|  |  |  | 49.0 | 31.2 | 56.9 | 47.5 | 46.2 ± 5.4 |  |  |
| NOX | NO | (ppb) | 1.46 | 3.07 | <LOD | 1.65 | 2.06 ± 0.51 | Measurable above 1 |  |
|  |  |  | 1.86 | 2.87 | 1.72 | 1.85 | 2.08 ± 0.27 |  |  |
|  | NO2 | (ppb) | 7.54 | 13.8 | 5.23 | 10.2 | 9.20 ± 1.85 | Measurable above 1 |  |
|  |  |  | 11.5 | 11.6 | 6.78 | 15.1 | 11.3 ± 1.7 |  |  |
|  | NO + NO2 | (ppb) | 9.00 | 16.9 | 6.17 | 11.9 | 11.0 ± 2.3 | Measurable above 1 |  |
|  |  |  | 13.4 | 14.5 | 8.50 | 16.9 | 13.3 ± 1.8 |  |  |
| “Cigarette with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOQ | 3.29 | 4.03 | 2.97 | 3.43 ± 0.32 |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | 1.74 | 3.54 | 2.85 | 2.68 | 2.70 ± 0.37 |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | 0.90 | 0.90 | 1.00 | 1.10 | 0.987 ± 0.057 |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | 12.7 | 28.8 | 31.0 | 20.8 | 23.3 ± 4.2 |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 4.26 | 3.14 | 7.25 | 7.39 | 5.51 ± 1.07 | 0.0310 | 0.103 |
|  |  |  | 76.8 | 72.9 | 106 | 120 | 93.9 ± 11.4 |  |  |
|  | Acetaldehyde | (μg/m3) | 6.54 | 5.54 | 7.89 | 7.49 | 6.86 ± 0.52 | 0.0245 | 0.082 |
|  |  |  | 56.6 | 50.0 | 80.4 | 121 | 76.9 ± 15.9 |  |  |
|  | Acetone | (μg/m3) | 27.7 | 26.1 | 25.4 | 33.7 | 28.2 ± 1.9 | 0.0431 | 0.144 |
|  |  |  | 356 | 414 | 678 | 468 | 479 ± 70 |  |  |
|  | Acrolein | (μg/m3) | 0.288 | 0.372 | 0.547 | 0.440 | 0.412 ± 0.055 | 0.00780 | 0.0260 |
|  |  |  | 0.774 | 0.733 | 1.280 | 2.650 | 1.360 ± 0.448 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.703 | 0.649 | 0.873 | 0.844 | 0.767 ± 0.054 | 0.0138 | 0.0458 |
|  |  |  | 8.57 | 8.16 | 10.4 | 16.9 | 11.0 ± 2.0 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0928 | 0.105 | 0.139 | 0.156 | 0.123 ± 0.015 | 0.00664 | 0.0221 |
|  |  |  | 0.525 | 0.386 | 0.709 | 0.773 | 0.598 ± 0.088 |  |  |
|  | MEK | (μg/m3) | 2.17 | 2.94 | 2.95 | 2.81 | 2.72 ± 0.19 | 0.0171 | 0.0568 |
|  |  |  | 27.4 | 22.0 | 63.3 | 53.9 | 41.6 ± 10.0 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 1.02 | 0.926 | 1.02 | 0.832 | 0.947 ± 0.044 | 0.00934 | 0.0311 |
|  |  |  | 8.61 | 10.1 | 11.8 | 12.7 | 10.8 ± 0.9 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOQ | 4.08 | <LOQ | 2.76 | <LOQ | 0.714 | 2.38 |
|  |  |  | 50.9 | 97.5 | 61.3 | 78.1 | 71.9 ± 10.2 |  |  |
|  | Isoprene | (μg/m3) | <LOQ | 4.79 | 4.31 | 4.62 | 3.62 ± 0.96 | 0.235 | 0.782 |
|  |  |  | 135 | 155 | 141 | 157 | 147 ± 5 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | 5.39 | 4.88 | 5.31 | 5.74 | 5.33 ± 0.18 |  |  |
|  | Benzene | (μg/m3) | <LOD | <LOD | <LOQ | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | 13.6 | 12.4 | 15.4 | 14.9 | 14.1 ± 0.7 |  |  |
|  | Toluene | (μg/m3) | <LOD | 1.65 | 2.61 | 2.34 | 2.20 ± 0.29 | 0.322 | 1.07 |
|  |  |  | 24.0 | 22.3 | 27.6 | 27.6 | 25.4 ± 1.3 |  |  |
|  | Pyridine | (μg/m3) | 0.947 | <LOQ | 0.868 | 0.805 | 0.874 ± 0.041 | 0.240 | 0.800 |
|  |  |  | 8.85 | 8.46 | 10.8 | 9.93 | 9.51 ± 0.53 |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.447 | 1.49 |
|  |  |  | 4.36 | 4.71 | 5.48 | 5.38 | 4.98 ± 0.27 |  |  |
| TVOC | TVOC | (μg/m3) | <LOD | 98.3 | 44.2 | 18.2 | 53.6 ± 23.6 | 0.167 | 0.833 |
|  |  |  | 413 | 801 | 555 | 384 | 538 ± 95 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOQ | <LOD | <LOQ |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 1.11 | 3.72 |
|  |  |  | 8.21 | 10.3 | 11.1 | 9.75 | 9.85 ± 0.62 |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | 14.3 | 17.5 | 20.3 | 18.6 | 17.7 ± 1.3 |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | 4.42 | 5.38 | 5.87 | 5.72 | 5.35 ± 0.33 |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | 3.55 | 4.31 | 4.42 | 4.22 | 4.13 ± 0.20 |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOD | <LOD | <LOQ | <LOQ | 1.38 | 4.59 |
|  |  |  | <LOQ | <LOD | <LOQ | <LOQ | <LOQ |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOQ | 12.5 | <LOQ | 13.5 | <LOQ |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | 47.1 | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | 0.0841 | 0.155 | 0.129 | 0.0978 | 0.117 ± 0.016 | 0.0211 | 0.0703 |
|  |  |  | 86.1 | 104 | 110 | 105 | 101 ± 5 |  |  |
|  | 3-ethenylprydine | (μg/m3) | 0.287 | 0.247 | 0.279 | 0.293 | 0.277 ± 0.010 | 0.00932 | 0.0311 |
|  |  |  | 18.7 | 16.0 | 20.4 | 15.2 | 17.6 ± 1.2 |  |  |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOD | <LOQ | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | 0.415 | 0.579 | 0.545 | 0.607 | 0.536 ± 0.042 |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | 50.8 | 86.0 | 53.5 | 61.1 | 62.9 ± 8.0 |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.329 | 0.521 | 0.459 | 0.501 | 0.452 ± 0.043 | 0.0135 | 0.0450 |
|  |  |  | 14.3 | 21.5 | 15.9 | 17.1 | 17.2 ± 1.5 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | 11.4 | 22.1 | 10.7 | 14.6 | 14.7 ± 2.6 |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 28.0 | 27.5 | 40.8 | 35.1 | 32.8 ± 3.2 |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOD | <LOQ | 20.0 | <LOQ | 2.49 | 8.31 |
|  |  |  | 26.2 | 12.3 | 27.6 | 33.3 | 24.8 ± 4.5 |  |  |
| CO/CO2 | CO | (ppm) | 0.314 | 0.268 | 0.266 | 0.293 | 0.285 ± 0.011 | Measurable above 0.05 |  |
|  |  |  | 2.18 | 2.55 | 2.19 | 2.50 | 2.36 ± 0.10 |  |  |
|  | CO2 | (ppm) | 483 | 407 | 534 | 540 | 491 ± 31 | Measurable above 10 |  |
|  |  |  | 773 | 724 | 796 | 853 | 790 ± 27 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | 0.271 | 0.421 | 0.336 | 0.390 | 0.354 ± 0.033 |  |  |
|  | Light scattering | (μg/m3) | 18.4 | 4.16 | 3.63 | 2.78 | 7.24 ± 3.72 | Measurable above 0.520 |  |
|  |  |  | 0.1702 | 0.4610 | 0.2370 | 0.2644 | 283 ± 63 |  |  |
| Ammonia | NH3 | (ppb) | 29.4 | 38.4 | 104 | 74.4 | 61.5 ± 17.1 | Measurable above 1 |  |
|  |  |  | 324 | 339 | 418 | 348 | 357 ± 21 |  |  |
| NOX | NO | (ppb) | 1.02 | 1.78 | 1.85 | 1.40 | 1.51 ± 0.19 | Measurable above 1 |  |
|  |  |  | 49.6 | 23.0 | 27.3 | 34.8 | 33.7 ± 5.8 |  |  |
|  | NO2 | (ppb) | 6.66 | 9.08 | 9.21 | 7.63 | 8.14 ± 0.61 | Measurable above 1 |  |
|  |  |  | 22.1 | 14.1 | 15.9 | 13.5 | 16.4 ± 2.0 |  |  |
|  | NO + NO2 | (ppb) | 7.68 | 10.86 | 11.1 | 9.03 | 9.66 ± 0.80 | Measurable above 1 |  |
|  |  |  | 70.7 | 37.1 | 42.6 | 48.3 | 49.7 ± 7.4 |  |  |

# Table S8. Measured chemical constituents in indoor air (four days) under simulated “residential” conditions

| Constituent |  | unit | Day1 | Day2 | Day3 | Day4 | Mean ± 95%CI (Median) | LOD | LOQ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Upper: Mean background concertation CBG Lower: Mean indoor air concertation Cexhaust |  |  |  |  |  |  |
| “with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.2 | 3.81 | 3.41 | 4.09 | 3.63 ± 0.20 | 0.0310 | 0.103 |
|  |  |  | 8.25 | 10.4 | 7.44 | 7.41 | 8.38 ± 0.71 |  |  |
|  | Acetaldehyde | (μg/m3) | 3.53 | 3.59 | 2.63 | 2.74 | 3.12 ± 0.25 | 0.0245 | 0.082 |
|  |  |  | 6.10 | 5.79 | 5.31 | 4.01 | 5.30 ± 0.46 |  |  |
|  | Acetone | (μg/m3) | 23.3 | 28.0 | 29.6 | 11.0 | 23.0 ± 4.2 | 0.0431 | 0.144 |
|  |  |  | 49.0 | 47.5 | 49.1 | 26.8 | 43.1 ± 5.4 |  |  |
|  | Acrolein | (μg/m3) | 0.0507 | 0.0489 | 0.0411 | 0.0346 | 0.0438 ± 0.0037 | 0.00780 | 0.0260 |
|  |  |  | 0.0910 | 0.0875 | 0.121 | 0.0697 | 0.0922 ± 0.0105 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.401 | 0.674 | 0.561 | 0.356 | 0.498 ± 0.073 | 0.0138 | 0.0458 |
|  |  |  | 0.792 | 0.942 | 1.01 | 0.533 | 0.820 ± 0.106 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0276 | 0.0305 | 0.0404 | <LOQ | 0.0328 ± 0.0039 | 0.00664 | 0.0221 |
|  |  |  | 0.0510 | 0.0497 | 0.0535 | 0.0487 | 0.0507 ± 0.0011 |  |  |
|  | MEK | (μg/m3) | 1.65 | 3.47 | 4.63 | 2.23 | 2.99 ± 0.66 | 0.0171 | 0.0568 |
|  |  |  | 2.56 | 3.17 | 4.37 | 2.28 | 3.09 ± 0.46 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.670 | 0.892 | 0.821 | 0.601 | 0.746 ± 0.067 | 0.00934 | 0.0311 |
|  |  |  | 1.46 | 1.03 | 1.20 | 0.769 | 1.11 ± 0.15 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOQ | <LOQ | 2.29 | <LOD | <LOQ | 0.714 | 2.38 |
|  |  |  | 2.59 | 2.67 | 3.09 | 7.50 | 3.96 ± 1.18 |  |  |
|  | Isoprene | (μg/m3) | <LOD | 1.02 | <LOQ | <LOQ | <LOQ | 0.235 | 0.782 |
|  |  |  | 8.28 | 5.69 | 5.25 | 6.44 | 6.41 ± 0.67 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | Benzene | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | Toluene | (μg/m3) | <LOQ | 3.01 | 2.78 | <LOQ | (1.74) | 0.322 | 1.07 |
|  |  |  | <LOQ | 3.90 | 4.20 | <LOQ | (2.30) |  |  |
|  | Pyridine | (μg/m3) | <LOQ | 1.20 | <LOQ | <LOQ | <LOQ | 0.240 | 0.800 |
|  |  |  | <LOQ | 1.51 | <LOQ | <LOQ | <LOQ |  |  |
|  | Styrene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 22.9 | 9.90 | 29.8 | 71.3 | 33.5 ± 13.3 | 0.167 | 0.833 |
|  |  |  | 46.2 | 20.5 | 72.8 | 147 | 71.7 ± 27.3 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 1.11 | 3.72 |
|  |  |  | <LOQ | <LOD | <LOQ | <LOQ | <LOQ |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.38 | 4.59 |
|  |  |  | <LOQ | 9.25 | <LOQ | <LOQ | <LOQ |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOQ | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 2.45 | 0.176 | 0.487 | 0.628 | 0.935 ± 0.514 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.00932 | 0.0311 |
|  |  |  | 0.0710 | 0.0377 | 0.057 | 0.0380 | 0.0509 ± 0.0081 |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOD | <LOD | <LOQ | <LOQ | 0.0480 | 0.160 |
|  |  |  | <LOD | <LOQ | <LOD | 0.517 | <LOQ |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0523 | 0.0647 | 0.0668 | <LOQ | 0.0613 ± 0.0045 | 0.0135 | 0.0450 |
|  |  |  | <LOQ | 0.0514 | 0.0510 | <LOQ | <LOQ |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 0.00932 | <LOQ | <LOQ | 6.31 | <LOQ |  |  |
|  | Glycerol | (μg/m3) | <LOQ | <LOQ | 9.42 | 8.68 | <LOQ | 2.49 | 8.31 |
|  |  |  | 15.1 | 9.94 | 11.9 | 17.7 | 13.6 ± 1.7 |  |  |
| CO/CO2 | CO | (ppm) | 0.220 | 0.331 | 0.312 | 0.180 | 0.261 ± 0.036 | Measurable above 0.05 |  |
|  |  |  | 0.350 | 0.459 | 0.401 | 0.230 | 0.360 ± 0.049 |  |  |
|  | CO2 | (ppm) | 494 | 494 | 455 | 453 | 474 ± 12 | Measurable above 10 |  |
|  |  |  | 1160 | 914 | 1103 | 969 | 1040 ± 57 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | 0.780 | 2.90 | 1.74 | <LOD | 1.44 ± 0.57 | Measurable above 0.520 |  |
|  |  |  | 0.442 | 4.15 | 1.67 | <LOD | 1.67 ± 0.88 |  |  |
| Ammonia | NH3 | (ppb) | 38.3 | 16.9 | 18.8 | 27.3 | 25.3 ± 4.9 | Measurable above 1 |  |
|  |  |  | 53.9 | 13.5 | 23 | 32.3 | 30.7 ± 8.6 |  |  |
| NOX | NO | (ppb) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 1 |  |
|  |  |  | 1.87 | 3.62 | 2.05 | <LOD | 2.51 ± 0.56 |  |  |
|  | NO2 | (ppb) | 4.96 | 12.5 | 9.89 | 4.90 | 8.07 ± 1.89 | Measurable above 1 |  |
|  |  |  | 4.71 | 11.03 | 9.04 | 4.45 | 7.31 ± 1.63 |  |  |
|  | NO + NO2 | (ppb) | 5.74 | 13.8 | 10.5 | 5.18 | 8.81 ± 2.05 | Measurable above 1 |  |
|  |  |  | 6.39 | 13.9 | 11.0 | 5.12 | 9.11 ± 2.04 |  |  |
| “IT1.0a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.60 | 4.15 | 4.19 | 3.82 | 3.94 ± 0.14 | 0.0310 | 0.103 |
|  |  |  | 7.24 | 9.40 | 9.19 | 7.98 | 8.45 ± 0.51 |  |  |
|  | Acetaldehyde | (μg/m3) | 3.78 | 3.56 | 3.71 | 3.05 | 3.52 ± 0.17 | 0.0245 | 0.082 |
|  |  |  | 5.67 | 5.55 | 5.89 | 4.90 | 5.50 ± 0.21 |  |  |
|  | Acetone | (μg/m3) | 26.7 | 25.6 | 24.4 | 22.6 | 24.8 ± 0.9 | 0.0431 | 0.144 |
|  |  |  | 38.6 | 45.6 | 47.2 | 41.7 | 43.3 ± 2.0 |  |  |
|  | Acrolein | (μg/m3) | 0.0568 | 0.0622 | 0.0503 | 0.0348 | 0.0510 ± 0.0059 | 0.00780 | 0.0260 |
|  |  |  | 0.110 | 0.0767 | 0.172 | 0.0503 | 0.102 ± 0.026 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.467 | 0.546 | 0.625 | 0.401 | 0.510 ± 0.049 | 0.0138 | 0.0458 |
|  |  |  | 0.845 | 0.827 | 0.960 | 0.726 | 0.839 ± 0.048 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0300 | 0.0416 | 0.0368 | 0.0247 | 0.0333 ± 0.0037 | 0.00664 | 0.0221 |
|  |  |  | 0.0424 | 0.0576 | 0.0526 | 0.0550 | 0.0519 ± 0.0033 |  |  |
|  | MEK | (μg/m3) | 1.80 | 5.69 | 5.16 | 2.30 | 3.74 ± 0.99 | 0.0171 | 0.0568 |
|  |  |  | 1.93 | 6.73 | 4.44 | 2.49 | 3.90 ± 1.09 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.684 | 0.674 | 0.768 | 0.687 | 0.703 ± 0.022 | 0.00934 | 0.0311 |
|  |  |  | 1.10 | 0.942 | 0.98 | 0.912 | 0.982 ± 0.040 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 0.714 | 2.38 |
|  |  |  | <LOQ | 3.67 | <LOQ | 6.74 | <LOQ |  |  |
|  | Isoprene | (μg/m3) | <LOD | 0.956 | <LOQ | <LOD | <LOQ | 0.235 | 0.782 |
|  |  |  | 8.66 | 5.85 | 6.52 | 6.08 | 6.78 ± 0.64 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.520 | 1.73 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | Benzene | (μg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.647 | 2.16 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | Toluene | (μg/m3) | <LOQ | 4.71 | 3.31 | <LOQ | (2.00) | 0.322 | 1.07 |
|  |  |  | <LOQ | 6.74 | 4.54 | <LOQ | (2.62) |  |  |
|  | Pyridine | (μg/m3) | <LOQ | 0.859 | <LOQ | 1.28 | <LOQ | 0.240 | 0.800 |
|  |  |  | <LOQ | 1.6 | <LOQ | <LOQ | <LOQ |  |  |
|  | Styrene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 18.1 | 78.8 | 28.8 | 80.2 | 51.5 ± 16.3 | 0.167 | 0.833 |
|  |  |  | 68.7 | 94.9 | 80.1 | 184 | 107 ± 26 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 1.11 | 3.72 |
|  |  |  | <LOQ | <LOD | <LOD | <LOQ | <LOQ |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.38 | 4.59 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | <LOD | <LOQ | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 3.16 | 1.20 | 0.660 | 0.950 | 1.49 ± 0.57 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOD | <LOD | <LOQ | <LOQ | <LOQ | 0.00932 | 0.0311 |
|  |  |  | 0.0685 | 0.0515 | 0.0619 | 0.0465 | 0.0571 ± 0.0050 |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOQ | <LOD | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | <LOQ | <LOQ | 0.55 | <LOQ | 0.383 ± 0.064 |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOD | <LOD | <LOD | <LOQ | <LOD |  |  |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 0.0537 | 0.0501 | 0.0497 | 0.0512 ± 0.0013 | 0.0135 | 0.0450 |
|  |  |  | 0.0451 | 0.0567 | 0.0507 | <LOQ | 0.0508 ± 0.0034 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 58.1 | 80.7 | 46.2 | 55.4 | 60.1 ± 7.3 |  |  |
|  | Glycerol | (μg/m3) | 8.62 | <LOQ | 10.0 | 12.6 | 10.4 ± 1.2 | 2.49 | 8.31 |
|  |  |  | 44.9 | 38.3 | 14.4 | 38.4 | 34.0 ± 6.7 |  |  |
| CO/CO2 | CO | (ppm) | 0.227 | 0.283 | 0.304 | 0.191 | 0.251 ± 0.026 | Measurable above 0.05 |  |
|  |  |  | 0.330 | 0.330 | 0.381 | 0.246 | 0.321 ± 0.028 |  |  |
|  | CO2 | (ppm) | 540 | 549 | 474 | 438 | 500 ± 27 | Measurable above 10 |  |
|  |  |  | 1222 | 1177 | 1160 | 898 | 1110 ± 73 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | 0.962 | 2.11 | 1.96 | 0.641 | 1.42 ± 0.36 | Measurable above 0.520 |  |
|  |  |  | 0.420 | 1.81 | 1.91 | 0.540 | 1.17 ± 0.40 |  |  |
| Ammonia | NH3 | (ppb) | 35.6 | 28.2 | 14.0 | 21.6 | 24.8 ± 4.6 | Measurable above 1 |  |
|  |  |  | 59.0 | 51.8 | 29.2 | 22.5 | 40.6 ± 8.7 |  |  |
| NOX | NO | (ppb) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 1 |  |
|  |  |  | 2.12 | 2.06 | 2.10 | 1.40 | 1.92 ± 0.17 |  |  |
|  | NO2 | (ppb) | 5.62 | 5.58 | 10.2 | 5.18 | 6.65 ± 1.19 | Measurable above 1 |  |
|  |  |  | 4.91 | 11.7 | 9.10 | 4.94 | 7.67 ± 1.68 |  |  |
|  | NO + NO2 | (ppb) | 6.05 | 6.74 | 10.7 | 6.03 | 7.37 ± 1.11 | Measurable above 1 |  |
|  |  |  | 6.87 | 13.8 | 11.0 | 6.13 | 9 .44 ± 1.79 |  |  |
| “IT2.0a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.31 | 5.90 | 5.78 | 3.92 | 4.73 ± 0.65 | 0.0310 | 0.103 |
|  |  |  | 7.30 | 10.6 | 12.0 | 8.08 | 9.49 ± 1.09 |  |  |
|  | Acetaldehyde | (μg/m3) | 2.88 | 4.23 | 6.71 | 3.32 | 4.29 ± 0.86 | 0.0245 | 0.082 |
|  |  |  | 5.01 | 8.04 | 12.0 | 5.35 | 7.61 ± 1.62 |  |  |
|  | Acetone | (μg/m3) | 28.1 | 26.0 | 32.0 | 24.8 | 27.7 ± 1.58 | 0.0431 | 0.144 |
|  |  |  | 41.4 | 67.8 | 46.8 | 27.6 | 45.9 ± 8.3 |  |  |
|  | Acrolein | (μg/m3) | 0.0381 | 0.111 | 0.185 | 0.0363 | 0.0925 ± 0.0035 | 0.00780 | 0.0260 |
|  |  |  | 0.0734 | 0.128 | 0.265 | 0.0421 | 0.127 ± 0.049 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.474 | 0.645 | 1.24 | 0.439 | 0.701 ± 0.187 | 0.0138 | 0.0458 |
|  |  |  | 0.817 | 1.04 | 1.68 | 0.679 | 1.05 ± 0.22 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0242 | 0.0550 | 0.0552 | 0.0233 | 0.0394 ± 0.0091 | 0.00664 | 0.0221 |
|  |  |  | 0.0386 | 0.0710 | 0.0772 | 0.0496 | 0.0591 ± 0.0090 |  |  |
|  | MEK | (μg/m3) | 2.04 | 5.37 | 5.74 | 2.49 | 3.91 ± 0.96 | 0.0171 | 0.0568 |
|  |  |  | 2.20 | 6.33 | 5.38 | 2.41 | 4.08 ± 1.04 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.760 | 0.789 | 1.12 | 0.702 | 0.843 ± 0.094 | 0.00934 | 0.0311 |
|  |  |  | 1.01 | 1.18 | 1.26 | 0.880 | 1.08 ± 0.09 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOQ | <LOQ | 2.15 | <LOD | <LOQ | 0.714 | 2.38 |
|  |  |  | 3.2 | <LOQ | 3.35 | <LOD | <LOQ |  |  |
|  | Isoprene | (μg/m3) | <LOD | 0.814 | 1.13 | <LOD | <LOQ | 0.235 | 0.782 |
|  |  |  | 11.3 | 5.78 | 5.14 | 8.36 | 7.65 ± 1.41 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.520 | 1.73 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
|  | Benzene | (μg/m3) | <LOD | <LOQ | 2.04 | <LOD | <LOQ | 0.647 | 2.16 |
|  |  |  | <LOD | <LOQ | 2.79 | <LOD | <LOQ |  |  |
|  | Toluene | (μg/m3) | <LOQ | 4.14 | 8.84 | <LOQ | (2.42) | 0.322 | 1.07 |
|  |  |  | 1.49 | 5.45 | 10.6 | 1.25 | 4.71 ± 2.20 |  |  |
|  | Pyridine | (μg/m3) | <LOQ | 0.716 | 1.07 | <LOQ | <LOQ | 0.240 | 0.800 |
|  |  |  | <LOQ | 0.870 | 1.31 | <LOQ | <LOQ |  |  |
|  | Styrene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 14.9 | 159 | 56.6 | 40.3 | 67.7 ± 31.6 | 0.167 | 0.833 |
|  |  |  | 53.4 | 157 | 93.0 | 192 | 124 ± 31 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 1.11 | 3.72 |
|  |  |  | <LOD | <LOD | <LOD | <LOQ | <LOD |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD | <LOQ | <LOD | <LOD | 1.38 | 4.59 |
|  |  |  | <LOD | <LOQ | 13.8 | <LOD | <LOQ |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOD | <LOQ | 0.0733 | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 3.10 | 1.58 | 0.369 | 0.834 | 1.47 ± 0.60 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOQ | <LOD | <LOD | <LOQ | 0.00932 | 0.0311 |
|  |  |  | 0.0935 | <LOQ | <LOQ | 0.0525 | (0.0363) |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOD | <LOQ | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | <LOQ | <LOD | 0.991 | <LOQ | 0.393 ± 0.302 |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOD | 3.59 | <LOQ | <LOQ | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0486 | 0.0647 | 0.120 | <LOQ | 0.0776 ± 0.0215 | 0.0135 | 0.0450 |
|  |  |  | 0.0452 | 0.0882 | 0.115 | <LOQ | 0.0829 ± 0.0205 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 1.49 | 4.97 |
|  |  |  | 45.3 | 158 | 88.3 | 47.7 | 84.8 ± 26.3 |  |  |
|  | Glycerol | (μg/m3) | 9.63 | 9.40 | 10.8 | 8.53 | 9.60 ± 0.47 | 2.49 | 8.31 |
|  |  |  | 58.3 | 67.6 | 39.6 | 36.9 | 50.6 ± 7.4 |  |  |
| CO/CO2 | CO | (ppm) | 0.232 | 0.283 | 0.510 | 0.205 | 0.307 ± 0.069 | Measurable above 0.05 |  |
|  |  |  | 0.367 | 0.309 | 0.617 | 0.277 | 0.393 ± 0.077 |  |  |
|  | CO2 | (ppm) | 483 | 550 | 524 | 457 | 503 ± 21 | Measurable above 10 |  |
|  |  |  | 1173 | 1140 | 1011 | 952 | 1070 ± 52 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | 2.11 | 2.64 | 5.43 | 4.45 | 3.66 ± 0.77 | Measurable above 0.520 |  |
|  |  |  | 2.09 | 1.85 | 6.20 | 1.07 | 2.79 ± 1.14 |  |  |
| Ammonia | NH3 | (ppb) | 28.2 | 32.5 | 18.3 | 17.8 | 24.2 ± 3.7 | Measurable above 1 |  |
|  |  |  | 31.6 | 55.0 | 14.0 | 14.6 | 28.8 ± 9.6 |  |  |
| NOX | NO | (ppb) | <LOD | 1.45 | 13.6 | <LOD | <LOD | Measurable above 1 |  |
|  |  |  | 2.07 | 1.72 | 14.7 | 1.58 | 5.03 ± 3.24 |  |  |
|  | NO2 | (ppb) | 5.58 | 12.36 | 35.4 | 5.62 | 14.7 ± 7.1 | Measurable above 1 |  |
|  |  |  | 5.36 | 11.7 | 35.7 | 5.48 | 14.6 ± 7.2 |  |  |
|  | NO + NO2 | (ppb) | 6.74 | 13.7 | 48.0 | 6.85 | 18.8 ± 9.9 | Measurable above 1 |  |
|  |  |  | 7.37 | 14.0 | 55.6 | 6.85 | 21.0 ± 11.7 |  |  |
| “DT2.2a with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 3.54 | 5.36 | 4.27 | 2.34 | 3.88 ± 0.64 | 0.0310 | 0.103 |
|  |  |  | 8.01 | 10.4 | 8.21 | 8.12 | 8.69 ± 0.58 |  |  |
|  | Acetaldehyde | (μg/m3) | 3.99 | 5.08 | 4.00 | 2.11 | 3.80 ± 0.62 | 0.0245 | 0.082 |
|  |  |  | 7.56 | 14.2 | 9.00 | 8.03 | 9.70 ± 1.53 |  |  |
|  | Acetone | (μg/m3) | 25.5 | 31.6 | 27.3 | 23.4 | 27.0 ± 1.7 | 0.0431 | 0.144 |
|  |  |  | 45.9 | 55.8 | 44.3 | 33.9 | 45.0 ± 4.5 |  |  |
|  | Acrolein | (μg/m3) | 0.0516 | 0.103 | 0.0786 | <LOQ | 0.0776 ± 0.0148 | 0.00780 | 0.0260 |
|  |  |  | 0.102 | 0.150 | 0.125 | 0.103 | 0.120 ± 0.011 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.452 | 0.778 | 0.689 | 0.408 | 0.582 ± 0.090 | 0.0138 | 0.0458 |
|  |  |  | 0.845 | 1.29 | 1.18 | 1.08 | 1.10 ± 0.10 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0261 | 0.0487 | 0.0368 | 0.0247 | 0.0341 ± 0.0056 | 0.00664 | 0.0221 |
|  |  |  | 0.0454 | 0.0890 | 0.0508 | 0.0567 | 0.0605 ± 0.0098 |  |  |
|  | MEK | (μg/m3) | 1.74 | 4.47 | 4.09 | 3.40 | 3.43 ± 0.61 | 0.0171 | 0.0568 |
|  |  |  | 2.04 | 4.61 | 3.63 | 4.33 | 3.65 ± 0.57 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.705 | 0.965 | 0.794 | 0.620 | 0.771 ± 0.074 | 0.00934 | 0.0311 |
|  |  |  | 1.14 | 1.68 | 1.19 | 1.39 | 1.35 ± 0.12 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | <LOQ | <LOQ | 2.14 | 2.54 | <LOQ | 0.714 | 2.38 |
|  |  |  | 2.6 | <LOQ | <LOQ | 3.80 | <LOQ |  |  |
|  | Isoprene | (μg/m3) | <LOD | 0.780 | 1.06 | <LOQ | <LOQ | 0.235 | 0.782 |
|  |  |  | 7.92 | 8.26 | 6.49 | 6.51 | 7.29 ± 0.47 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.520 | 1.73 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOD | <LOQ |  |  |
|  | Benzene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.647 | 2.16 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOD | <LOQ |  |  |
|  | Toluene | (μg/m3) | 1.06 | 4.43 | 4.88 | 2.58 | 3.24 ± 0.88 | 0.322 | 1.07 |
|  |  |  | 1.28 | 4.89 | 4.70 | 4.18 | 3.76 ± 0.84 |  |  |
|  | Pyridine | (μg/m3) | <LOQ | 0.738 | 1.16 | 0.749 | 0.881 ± 0.138 | 0.240 | 0.800 |
|  |  |  | <LOQ | 0.926 | 1.43 | 1.19 | 1.18 ± 0.15 |  |  |
|  | Styrene | (μg/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 0.447 | 1.49 |
|  |  |  | <LOD | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| TVOC | TVOC | (μg/m3) | 21.9 | 147 | 22.1 | 31.3 | 55.7 ± 30.6 | 0.167 | 0.833 |
|  |  |  | 47.1 | 144 | 38.3 | 145 | 93.5 ± 29.4 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOQ | <LOQ | <LOQ | <LOQ | 1.11 | 3.72 |
|  |  |  | <LOQ | <LOD | <LOQ | <LOQ | <LOQ |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOQ |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 1.38 | 4.59 |
|  |  |  | <LOQ | <LOQ | 10.6 | <LOQ | <LOQ |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOQ | <LOD | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 3.04 | 2.92 | 1.13 | 0.729 | 1.95 ± 0.60 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.00932 | 0.0311 |
|  |  |  | 0.0600 | 0.0300 | <LOQ | 0.0608 | 0.0515 ± 0.0101 |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOQ | 0.0480 | 0.160 |
|  |  |  | <LOD | <LOD | <LOQ | 0.412 | <LOQ |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOD | <LOQ | <LOQ | <LOD | <LOQ | 0.848 | 2.83 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.0446 | 0.0844 | 0.117 | 0.0512 | 0.0743 ± 0.0167 | 0.0135 | 0.0450 |
|  |  |  | 0.0515 | 0.107 | 0.0779 | <LOQ | 0.0789 ± 0.0161 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOD | <LOQ | <LOQ | <LOQ | 1.49 | 4.97 |
|  |  |  | 15.3 | 38.4 | 15.6 | 12.7 | 20.5 ± 6.0 |  |  |
|  | Glycerol | (μg/m3) | 9.09 | 9.85 | 11.1 | 11.5 | 10.4 ± 0.6 | 2.49 | 8.31 |
|  |  |  | 24.4 | 49.0 | 30.5 | 13.0 | 29.2 ± 7.5 |  |  |
| CO/CO2 | CO | (ppm) | 0.228 | 0.340 | 0.392 | 0.325 | 0.321 ± 0.034 | Measurable above 0.05 |  |
|  |  |  | 0.322 | 0.369 | 0.457 | 0.429 | 0.394 ± 0.030 |  |  |
|  | CO2 | (ppm) | 524 | 562 | 485 | 473 | 511 ± 20 | Measurable above 10 |  |
|  |  |  | 1195 | 1294 | 948 | 1058 | 1120 ± 76 |  |  |
| SPM | Piezobalance | (mg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | Measurable above 0.01 |  |
|  |  |  | <LOD | 0.0101 | <LOD | <LOD | <LOD |  |  |
|  | Light scattering | (μg/m3) | 2.37 | 4.03 | 5.72 | 2.45 | 3.64 ± 0.79 | Measurable above 0.520 |  |
|  |  |  | 1.77 | 5.10 | 7.02 | 2.61 | 4.12 ± 1.20 |  |  |
| Ammonia | NH3 | (ppb) | 25.9 | 40.1 | 15.8 | 20.6 | 25.6 ± 5.3 | Measurable above 1 |  |
|  |  |  | 48.6 | 65.6 | 14.7 | 17.9 | 36.7 ± 12.3 |  |  |
| NOX | NO | (ppb) | <LOD | 1.20 | 2.07 | <LOD | <LOD | Measurable above 1 |  |
|  |  |  | 1.77 | 2.59 | 2.41 | 2.43 | 2.30 ± 0.18 |  |  |
|  | NO2 | (ppb) | 4.91 | 16.0 | 25.8 | 10.4 | 14.3 ± 4.5 | Measurable above 1 |  |
|  |  |  | 4.62 | 15.5 | 18.1 | 9.32 | 11.9 ± 3.0 |  |  |
|  | NO + NO2 | (ppb) | 5.45 | 18.2 | 20.2 | 11.1 | 13.7 ± 3.4 | Measurable above 1 |  |
|  |  |  | 6.24 | 19.3 | 19.7 | 11.7 | 14.3 ± 3.3 |  |  |
| “Cigarette with person” |  |  |  |  |  |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.746 | 2.49 |
|  |  |  | 2.53 | 2.69 | <LOQ | <LOQ | <LOQ |  |  |
|  | NAT | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.471 | 1.57 |
|  |  |  | 2.53 | 3.00 | 2.15 | 2.14 | 2.46 ± 0.20 |  |  |
|  | NAB | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.227 | 0.757 |
|  |  |  | <LOQ | 1.20 | 0.850 | 0.860 | 0.970 ± 0.117 |  |  |
|  | NNK | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.364 | 1.21 |
|  |  |  | 12.8 | 10.1 | 17.8 | 32.6 | 18.3 ± 5.0 |  |  |
| Carbonyls | Formaldehyde | (μg/m3) | 5.90 | 7.97 | 4.20 | 3.97 | 5.51 ± 0.93 | 0.0310 | 0.103 |
|  |  |  | 80.7 | 69.2 | 72.8 | 65.1 | 72.0 ± 3.3 |  |  |
|  | Acetaldehyde | (μg/m3) | 6.2 | 11.2 | 4.33 | 2.64 | 6.09 ± 1.85 | 0.0245 | 0.082 |
|  |  |  | 53.4 | 92.3 | 89.3 | 135 | 92.5 ± 16.7 |  |  |
|  | Acetone | (μg/m3) | 28.2 | 30.7 | 44.7 | 9.80 | 28.3 ± 7.2 | 0.0431 | 0.144 |
|  |  |  | 276 | 715 | 420 | 701 | 527 ± 107 |  |  |
|  | Acrolein | (μg/m3) | 0.110 | 0.280 | 0.0771 | 0.0607 | 0.132 ± 0.050 | 0.00780 | 0.0260 |
|  |  |  | 0.420 | 1.050 | 0.836 | 1.060 | 0.842 ± 0.0150 |  |  |
|  | Propionaldehyde | (μg/m3) | 0.844 | 1.84 | 0.891 | 0.306 | 0.970 ± 0.318 | 0.0138 | 0.0458 |
|  |  |  | 6.78 | 12.8 | 11.9 | 12.3 | 10.9 ± 1.4 |  |  |
|  | Crotonaldehyde | (μg/m3) | 0.0578 | 0.0766 | 0.0564 | 0.0231 | 0.0535 ± 0.0111 | 0.00664 | 0.0221 |
|  |  |  | 0.495 | 0.630 | 0.773 | 0.828 | 0.681 ± 0.075 |  |  |
|  | MEK | (μg/m3) | 4.26 | 6.82 | 8.08 | 2.11 | 5.32 ± 1.33 | 0.0171 | 0.0568 |
|  |  |  | 24.1 | 40.7 | 35.1 | 49.8 | 37.4 ± 5.4 |  |  |
|  | n-Butyraldehyde | (μg/m3) | 0.898 | 1.20 | 1.17 | 0.579 | 0.961 ± 0.144 | 0.00934 | 0.0311 |
|  |  |  | 8.78 | 22.7 | 19.5 | 27.7 | 19.7 ± 4.0 |  |  |
| VOC | 1,3-Butadiene | (μg/m3) | 2.17 | 2.84 | 2.56 | <LOD | 2.52 ± 0.19 | 0.714 | 2.38 |
|  |  |  | 57 | 52.3 | 70.2 | 68.7 | 62.1 ± 4.4 |  |  |
|  | Isoprene | (μg/m3) | 1.23 | 1.16 | 0.889 | <LOQ | 1.09 ± 0.10 | 0.235 | 0.782 |
|  |  |  | 146 | 135 | 163 | 162 | 151.6 ± 6.7 |  |  |
|  | Acrylonitrile | (μg/m3) | <LOQ | <LOQ | <LOD | <LOQ | <LOQ | 0.520 | 1.73 |
|  |  |  | 4.10 | 4.44 | 6.56 | 5.97 | 5.27 ± 0.59 |  |  |
|  | Benzene | (μg/m3) | <LOQ | 2.03 | <LOD | <LOD | <LOQ | 0.647 | 2.16 |
|  |  |  | 14.3 | 14.2 | 15.6 | 16.9 | 15.3 ± 0.6 |  |  |
|  | Toluene | (μg/m3) | 4.61 | 9.74 | 5.28 | 1.11 | 5.19 ± 1.77 | 0.322 | 1.07 |
|  |  |  | 27.5 | 33.3 | 31.6 | 30.4 | 30.7 ± 1.2 |  |  |
|  | Pyridine | (μg/m3) | 0.890 | 1.06 | <LOQ | 2.30 | 1.42 ± 0.44 | 0.240 | 0.800 |
|  |  |  | 7.44 | 7.88 | 10.3 | 12.0 | 9.40 ± 1.07 |  |  |
|  | Styrene | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.447 | 1.49 |
|  |  |  | 4.56 | 4.91 | 5.35 | 5.62 | 5.11 ± 0.23 |  |  |
| TVOC | TVOC | (μg/m3) | 41.0 | 85.7 | 49.2 | 49.4 | 56.3 ± 10.0 | 0.167 | 0.833 |
|  |  |  | 302 | 372 | 501 | 507 | 420 ± 50 |  |  |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 4.80 | 16.0 |
|  |  |  | <LOD | <LOD | <LOD | <LOQ | <LOD |  |  |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ | <LOD | <LOQ | <LOQ | 1.11 | 3.72 |
|  |  |  | 8.33 | 8.75 | 10.2 | 11.2 | 9.62 ± 0.66 |  |  |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.755 | 2.52 |
|  |  |  | 14.8 | 13.1 | 14.5 | 17.2 | 14.9 ± 0.8 |  |  |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | <LOD | <LOD | <LOD | <LOD | 0.307 | 1.02 |
|  |  |  | 4.68 | 4.94 | 5.46 | 5.57 | 5.16 ± 0.21 |  |  |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.320 | 1.07 |
|  |  |  | 3.67 | 3.65 | 4.19 | 3.97 | 3.87 ± 0.13 |  |  |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 2.55 | 8.50 |
|  |  |  | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ |  |  |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOQ | <LOD | <LOD | <LOD | 1.38 | 4.59 |
|  |  |  | 6.65 | 15.6 | 10.5 | <LOQ | 10.9 ± 2.6 |  |  |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.47 | 11.6 |
|  |  |  | 13.5 | 15.4 | 18.2 | 17.5 | 16.1 ± 1.1 |  |  |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 22.3 | 74.4 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 8.30 | 27.7 |
|  |  |  | <LOD | <LOD | <LOQ | <LOD | <LOD |  |  |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 3.18 | 10.6 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 6.81 | 22.7 |
|  |  |  | <LOD | <LOD | <LOD | <LOD | <LOD |  |  |
| ETS-V | Nicotine | (μg/m3) | <LOD | 0.331 | <LOQ | 0.0916 | <LOQ | 0.0211 | 0.0703 |
|  |  |  | 38.8 | 37.6 | 44.7 | 66.8 | 47.0 ± 6.8 |  |  |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | 0.0667 | <LOD | <LOQ | <LOQ | 0.00932 | 0.0311 |
|  |  |  | 11.8 | 11.6 | 14.3 | 17.2 | 13.7 ± 1.3 |  |  |
| ETS-P | RSP | (mg/m3) | <LOD | <LOD | <LOD | 0.420 | <LOQ | 0.0480 | 0.160 |
|  |  |  | 0.721 | 0.547 | 1.17 | 0.842 | 0.821 ± 0.132 |  |  |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOQ | <LOQ | 0.848 | 2.83 |
|  |  |  | 107 | 38.2 | 65.4 | 69.4 | 69.9 ± 14.0 |  |  |
|  | FPM (Scopoletin) | (μg/m3) | 0.144 | 0.146 | 0.0797 | 0.0689 | 0.110 ± 0.021 | 0.0135 | 0.0450 |
|  |  |  | 20.4 | 9.67 | 17.2 | 20.2 | 16.9 ± 2.5 |  |  |
|  | Solanesol | (μg/m3) | <LOD | <LOD | <LOD | <LOD | <LOD | 0.315 | 1.05 |
|  |  |  | 20.4 | 9.55 | 14.1 | 15.2 | 14.8 ± 2.2 |  |  |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | <LOQ | <LOQ | <LOD | <LOQ | 1.49 | 4.97 |
|  |  |  | 30.1 | 29.5 | 24.1 | 26.5 | 27.5 ± 1.4 |  |  |
|  | Glycerol | (μg/m3) | 9.31 | 11.9 | 11.1 | 8.42 | 10.2 ± 0.81 | 2.49 | 8.31 |
|  |  |  | 17.9 | 23.8 | 17.8 | 21.7 | 20.3 ± 1.5 |  |  |
| CO/CO2 | CO | (ppm) | 0.407 | 0.505 | 0.314 | 0.176 | 0.350 ± 0.070 | Measurable above 0.05 |  |
|  |  |  | 2.77 | 2.57 | 2.69 | 2.56 | 2.65 ± 0.05 |  |  |
|  | CO2 | (ppm) | 567 | 550 | 485 | 445 | 512 ± 29 | Measurable above 10 |  |
|  |  |  | 1199 | 1069 | 1183 | 939 | 1100 ± 60 |  |  |
| SPM | Piezobalance | (mg/m3) | 0.338 | 0.273 | 0.329 | 0.225 | 0.291 ± 0.026 | Measurable above 0.01 |  |
|  |  |  | 0.427 | 0.349 | 0.281 | 0.359 | 0.354 ± 0.030 |  |  |
|  | Light scattering | (μg/m3) | 305 | 261 | 202 | 243 | 252 ± 21 | Measurable above 0.520 |  |
|  |  |  | 386 | 368 | 221 | 338 | 328 ± 37 |  |  |
| Ammonia | NH3 | (ppb) | 32.8 | 19.4 | 20.8 | 26.8 | 24.9 ± 3.1 | Measurable above 1 |  |
|  |  |  | 233 | 153 | 222 | 256 | 216 ± 22 |  |  |
| NOX | NO | (ppb) | <LOD | 11.3 | <LOD | <LOD | <LOD | Measurable above 1 |  |
|  |  |  | 28.7 | 43.5 | 28.5 | 31.3 | 33.0 ± 3.6 |  |  |
|  | NO2 | (ppb) | 17.2 | 35.2 | 11.4 | 4.59 | 17.1 ± 6.6 | Measurable above 1 |  |
|  |  |  | 23.5 | 31.4 | 19.4 | 15.3 | 22.4 ± 3.4 |  |  |
|  | NO + NO2 | (ppb) | 17.7 | 44.8 | 11.9 | 5.11 | 19.9 ± 8.7 | Measurable above 1 |  |
|  |  |  | 40.8 | 68.1 | 33.5 | 27.6 | 42.5 ± 8.9 |  |  |

# Table S9. Summary of statistical data to compare the indoor air concentrations of “IT1.0a with person” and “with person” under “restaurant” conditions

| Constituent |  | unit | with person | IT1.0a with person | t-test (p value) | Mainstream vapor analysis of IT1.0a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NAT | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NAB | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| Carbonyls | Formaldehyde | (μg/m3) | 5.26 ± 1.01 | 5.44 ± 1.17 | 0.910 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 4.62 ± 0.26 | 4.52 ± 0.21 | 0.781 | NQ | Not substantial increase |
|  | Acetone | (μg/m3) | 35.3 ± 2.1 | 36.4 ± 0.5 | 0.627 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0717 ± 0.0200 | 0.0845 ± 0.0214 | 0.677 | BDL | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.618 ± 0.040 | 0.734 ± 0.059 | 0.156 | BDL | Not substantial increase |
|  | Crotonaldehyde | (μg/m3) | 0.0432 ± 0.0068 | 0.0442 ± 0.0066 | 0.923 | BDL | Not substantial increase |
|  | MEK | (μg/m3) | 2.63 ± 0.31 | 2.90 ± 0.43 | 0.619 | NQ | Not substantial increase |
|  | n-Butyraldehyde | (μg/m3) | 0.900 ± 0.087 | 0.929 ± 0.075 | 0.813 | BDL | Not substantial increase |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Isoprene | (μg/m3) | 3.64 ± 0.73 | 3.60 ± 0.46 | 0.960 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Benzene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Toluene | (μg/m3) | 3.23 ± 0.69 | 3.80 ± 0.94 | 0.643 | BDL | Not substantial increase |
|  | Pyridine | (μg/m3) | <LOQ | 1.37 ± 0.09 |  | BDL | Not actual indoor air concentration increase |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 42.1 ± 13.2 | 83.2 ± 9.2 | 0.0456 | - | IT1.0a with person > with person |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.75 ± 0.24 | 0.77 ± 0.25 | 0.953 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | 11.2 ± 3.0 | 94.8 ± 32.4 | 0.0809 | - | Not substantial increase |
|  | Glycerol | (μg/m3) | 13.4 ± 2.3 | 54.2 ± 10.4 | 0.0224 | - | IT1.0a with person > with person |
| CO/CO2 | CO | (ppm) | 0.302 ± 0.041 | 0.330 ± 0.025 | 0.575 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 790 ± 26 | 800 ± 44 | 0.781 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 0.700 ± 0.183 | 2.22 ± 1.10 | 0.262 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 42.2 ± 6.1 | 47.1 ± 4.9 | 0.552 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 5.62 ± 2.23 | 3.24 ± 0.52 | 0.369 | BDL | Not substantial increase |
|  | NO2 | (ppb) | 11.3 ± 2.1 | 12.5 ± 2.5 | 0.714 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 16.9 ± 3.4 | 15.7 ± 2.6 | 0.803 | - | Not substantial increase |

# Table S10. Summary of statistical data to compare the indoor air concentrations of “IT2.0a with person” and “with person” under “restaurant” conditions

| Constituent |  | unit | with person | IT2.0a with person | t-test (p-value) | Mainstream vapor analysis of IT2.0a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NAT | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | NAB | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| Carbonyls | Formaldehyde | (μg/m3) | 5.26 ± 1.01 | 5.54 ± 0.72 | 0.829 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 4.62 ± 0.26 | 5.42 ± 0.32 | 0.0986 | NQ | Not substantial increase |
|  | Acetone | (μg/m3) | 35.3 ± 2.1 | 42.5 ± 2.9 | 0.0871 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0717 ± 0.0200 | 0.0640 ± 0.0083 | 0.765 | BDL | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.618 ± 0.040 | 0.803 ± 0.026 | 0.00776 | BDL | Not actual indoor air concentration increase |
|  | Crotonaldehyde | (μg/m3) | 0.0432 ± 0.0068 | 0.0429 ± 0.0040 | 0.971 | BDL | Not substantial increase |
|  | MEK | (μg/m3) | 2.63 ± 0.31 | 2.53 ± 0.08 | 0.767 | NQ | Not substantial increase |
|  | n-Butyraldehyde | (μg/m3) | 0.900 ± 0.087 | 1.13 ± 0.12 | 0.160 | BDL | Not substantial increase |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Isoprene | (μg/m3) | 3.64 ± 0.73 | 3.89 ± 0.40 | 0.774 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Benzene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Toluene | (μg/m3) | 3.23 ± 0.69 | 2.21 ± 0.21 | 0.207 | BDL | Not substantial increase |
|  | Pyridine | (μg/m3) | <LOQ | 1.36 ± 0.19 |  | BDL | Not actual indoor air concentration increase |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 42.1 ± 13.2 | 84.2 ± 7.5 | 0.0310 | - | IT2.0a with person > with person |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.75 ± 0.24 | 1.19 ± 0.32 | 0.314 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | (0.344) |  | - | Not actual indoor air concentration increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | 11.2 ± 3.0 | 106 ± 34 | 0.0652 | - | Not substantial increase |
|  | Glycerol | (μg/m3) | 13.4 ± 2.3 | 90.9 ± 20.5 | 0.0314 | - | IT2.0a with person > with person |
| CO/CO2 | CO | (ppm) | 0.302 ± 0.041 | 0.272 ± 0.014 | 0.509 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 790 ± 26 | 790 ± 30 | 0.994 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 0.700 ± 0.183 | 7.67 ± 3.26 | 0.122 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 42.2 ± 6.1 | 44.7 ± 3.84 | 0.739 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 5.62 ± 2.23 | 2.44 ± 0.36 | 0.250 | BDL | Not substantial increase |
|  | NO2 | (ppb) | 11.3 ± 2.1 | 8.43 ± 0.66 | 0.244 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 16.9 ± 3.4 | 10.9 ± 0.7 | 0.177 | - | Not substantial increase |

# Table S11. Summary of statistical data to compare the indoor air concentrations of “DT2.2a with person” and “with person” under “restaurant” conditions

| Constituent |  | unit | with person | DT2.2a with person | t-test (p-value) | Mainstream vapor analysis of DT2.2a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | (2.85) |  | Quantified | DT2.2a with person > with person |
|  | NAT | (ng/m3) | <LOD | <LOQ |  | Quantified | DT2.2a with person > with person |
|  | NAB | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOQ |  | Quantified | DT2.2a with person > with person |
| Carbonyls | Formaldehyde | (μg/m3) | 5.26 ± 1.01 | 6.45 ± 0.48 | 0.329 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 4.62 ± 0.26 | 10.4 ± 1.1 | 0.00988 | Quantified | DT2.2a with person > with person |
|  | Acetone | (μg/m3) | 35.3 ± 2.1 | 55.6 ± 8.8 | 0.101 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0717 ± 0.0200 | 0.100 ± 0.006 | 0.217 | NQ | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.618 ± 0.040 | 1.17 ± 0.07 | 0.000382 | NQ | DT2.2a with person > with person |
|  | Crotonaldehyde | (μg/m3) | 0.0432 ± 0.0068 | 0.0705 ± 0.0057 | 0.0219 | BDL | Not actual indoor air concentration increase |
|  | MEK | (μg/m3) | 2.63 ± 0.31 | 3.94 ± 0.40 | 0.0403 | BDL | Not actual indoor air concentration increase |
|  | n-Butyraldehyde | (μg/m3) | 0.900 ± 0.087 | 2.08 ± 0.30 | 0.00910 | Quantified | DT2.2a with person > with person |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Isoprene | (μg/m3) | 3.64 ± 0.73 | 4.15 ± 0.45 | 0.572 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Benzene | (μg/m3) | <LOD | <LOQ |  | NQ | DT2.2a with person > with person |
|  | Toluene | (μg/m3) | 3.23 ± 0.69 | 3.11 ± 0.56 | 0.900 | NQ | Not substantial increase |
|  | Pyridine | (μg/m3) | <LOQ | 1.59 ± 0.14 |  | Quantified | DT2.2a with person > with person |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 42.1 ± 13.2 | 104 ± 23 | 0.0865 | - | Not substantial increase |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | Quantified | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.75 ± 0.24 | 5.60 ± 2.24 | 0.119 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | (0.221) |  | - | Not actual indoor air concentration increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 0.0533 ± 0.0042 |  | - | Not actual indoor air concentration increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | 11.2 ± 3.0 | 29.9 ± 7.7 | 0.104 | - | Not substantial increase |
|  | Glycerol | (μg/m3) | 13.4 ± 2.3 | 37.3 ± 6.9 | 0.0362 | - | DT2.2a with person > with person |
| CO/CO2 | CO | (ppm) | 0.302 ± 0.041 | 0.298 ± 0.028 | 0.934 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 790 ± 26 | 800 ± 27 | 0.822 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 0.700 ± 0.183 | 7.08 ± 2.11 | 0.0560 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 42.2 ± 6.1 | 46.2 ± 5.4 | 0.645 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 5.62 ± 2.23 | 2.08 ± 0.27 | 0.210 | NQ | Not substantial increase |
|  | NO2 | (ppb) | 11.3 ± 2.1 | 11.3 ± 1.7 | 0.998 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 16.9 ± 3.4 | 13.3 ± 1.8 | 0.393 | - | Not substantial increase |

# Table S12. Summary of statistical data to compare the indoor air concentrations of “cigarette with person” and “with person” under “restaurant” conditions

| Constituent |  | unit | with person | Cigarette with person | t-test (p-value) | Mainstream vapor analysis of Cigarette | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | 3.43 ± 0.32 |  | Quantified | Cigarette with person > with person |
|  | NAT | (ng/m3) | <LOD | 2.70 ± 0.37 |  | Quantified | Cigarette with person > with person |
|  | NAB | (ng/m3) | <LOD | 0.987 ± 0.057 |  | Quantified | Cigarette with person > with person |
|  | NNK | (ng/m3) | <LOD | 23.3 ± 4.2 |  | Quantified | Cigarette with person > with person |
| Carbonyls | Formaldehyde | (μg/m3) | 5.26 ± 1.01 | 93.9 ± 11.4 | 0.00425 | Quantified | Cigarette with person > with person |
|  | Acetaldehyde | (μg/m3) | 4.62 ± 0.26 | 76.9 ± 15.9 | 0.0200 | Quantified | Cigarette with person > with person |
|  | Acetone | (μg/m3) | 35.3 ± 2.1 | 479 ± 70 | 0.00796 | Quantified | Cigarette with person > with person |
|  | Acrolein | (μg/m3) | 0.0717 ± 0.0200 | 1.360 ± 0.448 | 0.0635 | Quantified | High concentration in “Cigarette with person” |
|  | Propionaldehyde | (μg/m3) | 0.618 ± 0.040 | 11.0 ± 2.0 | 0.0142 | Quantified | Cigarette with person > with person |
|  | Crotonaldehyde | (μg/m3) | 0.0432 ± 0.0068 | 0.598 ± 0.088 | 0.00791 | Quantified | Cigarette with person > with person |
|  | MEK | (μg/m3) | 2.63 ± 0.31 | 41.6 ± 10.0 | 0.0300 | Quantified | Cigarette with person > with person |
|  | n-Butyraldehyde | (μg/m3) | 0.900 ± 0.087 | 10.8 ± 0.9 | 0.00151 | Quantified | Cigarette with person > with person |
| VOC | 1,3-Butadiene | (μg/m3) | <LOD | 71.9 ± 10.2 |  | Quantified | Cigarette with person > with person |
|  | Isoprene | (μg/m3) | 3.64 ± 0.73 | 147 ± 5 | 0.0000867 | Quantified | Cigarette with person > with person |
|  | Acrylonitrile | (μg/m3) | <LOD | 5.33 ± 0.18 |  | Quantified | Cigarette with person > with person |
|  | Benzene | (μg/m3) | <LOD | 14.1 ± 0.7 |  | Quantified | Cigarette with person > with person |
|  | Toluene | (μg/m3) | 3.23 ± 0.69 | 25.4 ± 1.3 | 0.00000587 | Quantified | Cigarette with person > with person |
|  | Pyridine | (μg/m3) | <LOQ | 9.51 ± 0.53 |  | Quantified | Cigarette with person > with person |
|  | Styrene | (μg/m3) | <LOQ | 4.98 ± 0.27 |  | Quantified | Cigarette with person > with person |
| TVOC | TVOC | (μg/m3) | 42.1 ± 13.2 | 538 ± 95 | 0.0128 | - | Cigarette with person > with person |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOQ |  | Quantified | Cigarette with person > with person |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOD | 9.85 ± 0.62 |  | Quantified | Cigarette with person > with person |
|  | 2-Aminonaphthalene | (ng/m3) | <LOD | 17.7 ± 1.3 |  | Quantified | Cigarette with person > with person |
|  | 3-Aminobiphenyl | (ng/m3) | <LOD | 5.35 ± 0.33 |  | Quantified | Cigarette with person > with person |
|  | 4-Aminobiphenyl | (ng/m3) | <LOD | 4.13 ± 0.20 |  | Quantified | Cigarette with person > with person |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | Quantified | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOD | <LOQ |  | NQ | Cigarette with person > with person |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOQ |  | Quantified | Cigarette with person > with person |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.75 ± 0.24 | 101 ± 5 | 0.000309 | Quantified | Cigarette with person > with person |
|  | 3-ethenylprydine | (μg/m3) | <LOQ | 17.6 ± 1.2 |  | - | Cigarette with person > with person |
| ETS-P | RSP | (mg/m3) | <LOQ | 0.536 ± 0.042 |  | - | Cigarette with person > with person |
|  | UVPM (THBP) | (μg/m3) | <LOQ | 62.9 ± 8.0 |  | - | Cigarette with person > with person |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 17.2 ± 1.5 |  | - | Cigarette with person > with person |
|  | Solanesol | (μg/m3) | <LOD | 14.7 ± 2.6 |  | - | Cigarette with person > with person |
| PG/G | Propylene glycol | (μg/m3) | 11.2 ± 3.0 | 32.8 ± 3.2 | 0.00495 | - | Cigarette with person > with person |
|  | Glycerol | (μg/m3) | 13.4 ± 2.3 | 24.8 ± 4.5 | 0.0973 | - | Not substantial increase |
| CO/CO2 | CO | (ppm) | 0.302 ± 0.041 | 2.36 ± 0.10 | 0.00000123 | Quantified | Cigarette with person > with person |
|  | CO2 | (ppm) | 790 ± 26 | 790 ± 27 | 0.940 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | 0.354 ± 0.033 |  | - | Cigarette with person > with person |
|  | Light scattering | (μg/m3) | 0.700 ± 0.183 | 283 ± 63 | 0.0203 | - | Cigarette with person > with person |
| Ammonia | NH3 | (ppb) | 42.2 ± 6.1 | 357 ± 21 | 0.00000692 | Quantified | Cigarette with person > with person |
| NOX | NO | (ppb) | 5.62 ± 2.23 | 33.7 ± 5.8 | 0.00414 | Quantified | Cigarette with person > with person |
|  | NO2 | (ppb) | 11.3 ± 2.1 | 16.4 ± 2.0 | 0.124 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 16.9 ± 3.4 | 49.7 ± 7.4 | 0.00686 | - | Cigarette with person > with person |

# Table S13. Summary of statistical data to compare the indoor air concentrations of “IT1.0a with person” and “with person” under “residential” conditions

| Constituent |  | unit | with person | IT1.0a with person | t-test (p-value) | Mainstream vapor analysis of IT1.0a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NAT | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NAB | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| Carbonyls | Formaldehyde | (μg/m3) | 8.38 ± 0.71 | 8.45 ± 0.51 | 0.936 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 5.30 ± 0.46 | 5.50 ± 0.21 | 0.709 | NQ | Not substantial increase |
|  | Acetone | (μg/m3) | 43.1 ± 5.4 | 43.3 ± 2.0 | 0.979 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0922 ± 0.0105 | 0.102 ± 0.026 | 0.732 | BDL | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.820 ± 0.106 | 0.839 ± 0.048 | 0.870 | BDL | Not substantial increase |
|  | Crotonaldehyde | (μg/m3) | 0.0507 ± 0.0011 | 0.0519 ± 0.0033 | 0.749 | BDL | Not substantial increase |
|  | MEK | (μg/m3) | 3.09 ± 0.46 | 3.90 ± 1.09 | 0.521 | NQ | Not substantial increase |
|  | n-Butyraldehyde | (μg/m3) | 1.11 ± 0.15 | 0.982 ± 0.040 | 0.415 | BDL | Not substantial increase |
| VOC | 1,3-Butadiene | (μg/m3) | 3.96 ± 1.18 | <LOQ | 0.570 | BDL | Not substantial increase |
|  | Isoprene | (μg/m3) | 6.41 ± 0.67 | 6.78 ± 0.64 | 0.707 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Benzene | (μg/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Toluene | (μg/m3) | (2.30) | (2.62) |  | BDL | Not substantial increase |
|  | Pyridine | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 71.7 ± 27.3 | 107 ± 26 | 0.389 | - | Not substantial increase |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.935 ± 0.514 | 1.49 ± 0.57 | 0.494 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | 0.0509 ± 0.0081 | 0.0571 ± 0.0050 | 0.539 | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | 0.383 ± 0.064 |  | - | Not actual indoor air concentration increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOD |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 0.0508 ± 0.0034 |  | - | Not actual indoor air concentration increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | 60.1 ± 7.3 |  | - | IT1.0a with person > with person |
|  | Glycerol | (μg/m3) | 13.6 ± 1.7 | 34.0 ± 6.7 | 0.0522 | - | Not substantial increase |
| CO/CO2 | CO | (ppm) | 0.360 ± 0.049 | 0.321 ± 0.028 | 0.519 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 1040 ± 57 | 1110 ± 73 | 0.437 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 1.67 ± 0.88 | 1.17 ± 0.40 | 0.624 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 30.7 ± 8.6 | 40.6 ± 8.7 | 0.450 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 2.51 ± 0.56 | 1.92 ± 0.17 | 0.296 | BDL | Not substantial increase |
|  | NO2 | (ppb) | 7.31 ± 1.63 | 7.67 ± 1.68 | 0.881 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 9.11 ± 2.04 | 9 .44 ± 1.79 | 0.906 | - | Not substantial increase |

# Table S14. Summary of statistical data to compare the indoor air concentrations of “IT2.0a with person” and “with person” under “residential” conditions

| Constituent |  | unit | with person | IT2.0a with person | t-test (p-value) | Mainstream vapor analysis of IT2.0a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NAT | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | NAB | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| Carbonyls | Formaldehyde | (μg/m3) | 8.38 ± 0.71 | 9.49 ± 1.09 | 0.424 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 5.30 ± 0.46 | 7.61 ± 1.62 | 0.221 | NQ | Not substantial increase |
|  | Acetone | (μg/m3) | 43.1 ± 5.4 | 45.9 ± 8.3 | 0.789 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0922 ± 0.0105 | 0.127 ± 0.049 | 0.533 | BDL | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.820 ± 0.106 | 1.05 ± 0.22 | 0.376 | BDL | Not substantial increase |
|  | Crotonaldehyde | (μg/m3) | 0.0507 ± 0.0011 | 0.0591 ± 0.0090 | 0.424 | BDL | Not substantial increase |
|  | MEK | (μg/m3) | 3.09 ± 0.46 | 4.08 ± 1.04 | 0.421 | NQ | Not substantial increase |
|  | n-Butyraldehyde | (μg/m3) | 1.11 ± 0.15 | 1.08 ± 0.09 | 0.861 | BDL | Not substantial increase |
| VOC | 1,3-Butadiene | (μg/m3) | 3.96 ± 1.18 | <LOQ |  | BDL | Not substantial increase |
|  | Isoprene | (μg/m3) | 6.41 ± 0.67 | 7.65 ± 1.41 | 0.458 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Benzene | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Toluene | (μg/m3) | (2.30) | 4.71 ± 2.20 |  | BDL | Not actual indoor air concentration increase |
|  | Pyridine | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 71.7 ± 27.3 | 124 ± 31 | 0.255 | - | Not substantial increase |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOD |  | BDL | Not substantial increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.935 ± 0.514 | 1.47 ± 0.60 | 0.522 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | 0.0509 ± 0.0081 | (0.0363) |  | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | 0.393 ± 0.302 |  | - | Not actual indoor air concentration increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 0.0829 ± 0.0205 |  | - | Not actual indoor air concentration increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | 84.8 ± 26.3 |  | - | IT2.0a with person > with person |
|  | Glycerol | (μg/m3) | 13.6 ± 1.7 | 50.6 ± 7.4 | 0.0131 | - | IT2.0a with person > with person |
| CO/CO2 | CO | (ppm) | 0.360 ± 0.049 | 0.393 ± 0.077 | 0.732 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 1040 ± 57 | 1070 ± 52 | 0.691 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 1.67 ± 0.88 | 2.79 ± 1.14 | 0.464 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 30.7 ± 8.6 | 28.8 ± 9.6 | 0.888 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 2.51 ± 0.56 | 5.03 ± 3.24 | 0.497 | BDL | Not substantial increase |
|  | NO2 | (ppb) | 7.31 ± 1.63 | 14.6 ± 7.2 | 0.392 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 9.11 ± 2.04 | 21.0 ± 11.7 | 0.386 | - | Not substantial increase |

# Table S15. Summary of statistical data to compare the indoor air concentrations of “DT2.2a with person” and “with person” under “residential” conditions

| Constituent |  | unit | with person | DT2.2a with person | t-test (p-value) | Mainstream vapor analysis of DT2.2a | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NAT | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NAB | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
|  | NNK | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
| Carbonyls | Formaldehyde | (μg/m3) | 8.38 ± 0.71 | 8.69 ± 0.58 | 0.747 | Quantified | Not substantial increase |
|  | Acetaldehyde | (μg/m3) | 5.30 ± 0.46 | 9.70 ± 1.53 | 0.0334 | Quantified | DT2.2a with person > with person |
|  | Acetone | (μg/m3) | 43.1 ± 5.4 | 45.0 ± 4.5 | 0.804 | Quantified | Not substantial increase |
|  | Acrolein | (μg/m3) | 0.0922 ± 0.0105 | 0.120 ± 0.011 | 0.124 | NQ | Not substantial increase |
|  | Propionaldehyde | (μg/m3) | 0.820 ± 0.106 | 1.10 ± 0.10 | 0.0967 | NQ | Not substantial increase |
|  | Crotonaldehyde | (μg/m3) | 0.0507 ± 0.0011 | 0.0605 ± 0.0098 | 0.394 | BDL | Not substantial increase |
|  | MEK | (μg/m3) | 3.09 ± 0.46 | 3.65 ± 0.57 | 0.477 | BDL | Not substantial increase |
|  | n-Butyraldehyde | (μg/m3) | 1.11 ± 0.15 | 1.35 ± 0.12 | 0.257 | Quantified | Not substantial increase |
| VOC | 1,3-Butadiene | (μg/m3) | 3.96 ± 1.18 | <LOQ |  | BDL | Not substantial increase |
|  | Isoprene | (μg/m3) | 6.41 ± 0.67 | 7.29 ± 0.47 | 0.321 | BDL | Not substantial increase |
|  | Acrylonitrile | (μg/m3) | <LOD | <LOQ |  | BDL | Not actual indoor air concentration increase |
|  | Benzene | (μg/m3) | <LOD | <LOQ |  | NQ | Not substantial increase |
|  | Toluene | (μg/m3) | (2.30) | 3.76 ± 0.84 |  | NQ | Not substantial increase |
|  | Pyridine | (μg/m3) | <LOQ | 1.18 ± 0.15 |  | Quantified | DT2.2a with person > with person |
|  | Styrene | (μg/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
| TVOC | TVOC | (μg/m3) | 71.7 ± 27.3 | 93.5 ± 29.4 | 0.606 | - | Not substantial increase |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | 2-Aminonaphthalene | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
|  | 4-Aminobiphenyl | (ng/m3) | <LOQ | <LOQ |  | NQ | Not substantial increase |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | Quantified | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | <LOQ |  | BDL | Not substantial increase |
|  | Cadmium (Cd) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.935 ± 0.514 | 1.95 ± 0.60 | 0.243 | Quantified | Not substantial increase |
|  | 3-ethenylprydine | (μg/m3) | 0.0509 ± 0.0081 | 0.0515 ± 0.0101 | 0.969 | - | Not substantial increase |
| ETS-P | RSP | (mg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | UVPM (THBP) | (μg/m3) | <LOQ | <LOQ |  | - | Not substantial increase |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 0.0789 ± 0.0161 |  | - | Not actual indoor air concentration increase |
|  | Solanesol | (μg/m3) | <LOD | <LOD |  | - | Not substantial increase |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | 20.5 ± 6.0 |  | - | DT2.2a with person > with person |
|  | Glycerol | (μg/m3) | 13.6 ± 1.7 | 29.2 ± 7.5 | 0.129 | - | Not substantial increase |
| CO/CO2 | CO | (ppm) | 0.360 ± 0.049 | 0.394 ± 0.030 | 0.573 | BDL | Not substantial increase |
|  | CO2 | (ppm) | 1040 ± 57 | 1120 ± 76 | 0.396 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Light scattering | (μg/m3) | 1.67 ± 0.88 | 4.12 ± 1.20 | 0.149 | - | Not substantial increase |
| Ammonia | NH3 | (ppb) | 30.7 ± 8.6 | 36.7 ± 12.3 | 0.703 | Quantified | Not substantial increase |
| NOX | NO | (ppb) | 2.51 ± 0.56 | 2.30 ± 0.18 | 0.697 | NQ | Not substantial increase |
|  | NO2 | (ppb) | 7.31 ± 1.63 | 11.9 ± 3.0 | 0.233 | - | Not substantial increase |
|  | NO + NO2 | (ppb) | 9.11 ± 2.04 | 14.3 ± 3.3 | 0.229 | - | Not substantial increase |

# Table S16. Summary of statistical data to compare the indoor air concentrations of “cigarette with person” and “with person” under “residential” conditions

| Constituent |  | unit | with person | Cigarette with person | t-test (p-value) | Mainstream vapor analysis of Cigarette | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean indoor air concertation Cexhaust ± 95%CI (Median) |  |  |  |  |
| TSNA | NNN | (ng/m3) | <LOD | <LOQ |  | Quantified | Cigarette with person > with person |
|  | NAT | (ng/m3) | <LOD | 2.46 ± 0.20 |  | Quantified | Cigarette with person > with person |
|  | NAB | (ng/m3) | <LOD | 0.970 ± 0.117 |  | Quantified | Cigarette with person > with person |
|  | NNK | (ng/m3) | <LOD | 18.3 ± 5.0 |  | Quantified | Cigarette with person > with person |
| Carbonyls | Formaldehyde | (μg/m3) | 8.38 ± 0.71 | 72.0 ± 3.3 | 0.000193 | Quantified | Cigarette with person > with person |
|  | Acetaldehyde | (μg/m3) | 5.30 ± 0.46 | 92.5 ± 16.7 | 0.0136 | Quantified | Cigarette with person > with person |
|  | Acetone | (μg/m3) | 43.1 ± 5.4 | 527 ± 107 | 0.0205 | Quantified | Cigarette with person > with person |
|  | Acrolein | (μg/m3) | 0.0922 ± 0.0105 | 0.842 ± 0.150 | 0.0151 | Quantified | Cigarette with person > with person |
|  | Propionaldehyde | (μg/m3) | 0.820 ± 0.106 | 10.9 ± 1.4 | 0.00525 | Quantified | Cigarette with person > with person |
|  | Crotonaldehyde | (μg/m3) | 0.0507 ± 0.0011 | 0.681 ± 0.075 | 0.00348 | Quantified | Cigarette with person > with person |
|  | MEK | (μg/m3) | 3.09 ± 0.46 | 37.4 ± 5.4 | 0.00758 | Quantified | Cigarette with person > with person |
|  | n-Butyraldehyde | (μg/m3) | 1.11 ± 0.15 | 19.7 ± 4.0 | 0.0189 | Quantified | Cigarette with person > with person |
| VOC | 1,3-Butadiene | (μg/m3) | 3.96 ± 1.18 | 62.1 ± 4.4 | 0.0000143 | Quantified | Cigarette with person > with person |
|  | Isoprene | (μg/m3) | 6.41 ± 0.67 | 151.6 ± 6.7 | 0.000189 | Quantified | Cigarette with person > with person |
|  | Acrylonitrile | (μg/m3) | <LOD | 5.27 ± 0.59 |  | Quantified | Cigarette with person > with person |
|  | Benzene | (μg/m3) | <LOD | 15.3 ± 0.6 |  | Quantified | Cigarette with person > with person |
|  | Toluene | (μg/m3) | (2.30) | 30.7 ± 1.2 |  | Quantified | Cigarette with person > with person |
|  | Pyridine | (μg/m3) | <LOQ | 9.40 ± 1.07 |  | Quantified | Cigarette with person > with person |
|  | Styrene | (μg/m3) | <LOQ | 5.11 ± 0.23 |  | Quantified | Cigarette with person > with person |
| TVOC | TVOC | (μg/m3) | 71.7 ± 27.3 | 420 ± 50 | 0.000888 | - | Cigarette with person > with person |
| PAH | Benz [a] pyrene | (ng/m3) | <LOD | <LOD |  | Quantified | Not substantial increase |
| PAA | 1-Aminonaphthalene | (ng/m3) | <LOQ | 9.62 ± 0.66 |  | Quantified | Cigarette with person > with person |
|  | 2-Aminonaphthalene | (ng/m3) | <LOQ | 14.9 ± 0.8 |  | Quantified | Cigarette with person > with person |
|  | 3-Aminobiphenyl | (ng/m3) | <LOQ | 5.16 ± 0.21 |  | Quantified | Cigarette with person > with person |
|  | 4-Aminobiphenyl | (ng/m3) | <LOQ | 3.87 ± 0.13 |  | Quantified | Cigarette with person > with person |
| Mercury | Hg | (ng/m3) | <LOQ | <LOQ |  | Quantified | Not substantial increase |
| Metal | Lead (Pb) | (ng/m3) | <LOQ | 10.9 ± 2.6 |  | NQ | Cigarette with person > with person |
|  | Cadmium (Cd) | (ng/m3) | <LOD | 16.1 ± 1.1 |  | Quantified | Cigarette with person > with person |
|  | Chromium (Cr) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Nickel (Ni) | (ng/m3) | <LOD | <LOD |  | BDL | Not substantial increase |
|  | Beryllium (Be) | (ng/m3) | <LOD | <LOD |  | - | Not substantial increase |
|  | Arsenic (As) | (ng/m3) | <LOD | <LOD |  | NQ | Not substantial increase |
| ETS-V | Nicotine | (μg/m3) | 0.935 ± 0.514 | 47.0 ± 6.8 | 0.00633 | Quantified | Cigarette with person > with person |
|  | 3-ethenylprydine | (μg/m3) | 0.0509 ± 0.0081 | 13.7 ± 1.3 | 0.00186 | - | Cigarette with person > with person |
| ETS-P | RSP | (mg/m3) | <LOQ | 0.821 ± 0.132 |  | - | Cigarette with person > with person |
|  | UVPM (THBP) | (μg/m3) | <LOQ | 69.9 ± 14.0 |  | - | Cigarette with person > with person |
|  | FPM (Scopoletin) | (μg/m3) | <LOQ | 16.9 ± 2.5 |  | - | Cigarette with person > with person |
|  | Solanesol | (μg/m3) | <LOD | 14.8 ± 2.2 |  | - | Cigarette with person > with person |
| PG/G | Propylene glycol | (μg/m3) | <LOQ | 27.5 ± 1.4 |  | - | Cigarette with person > with person |
|  | Glycerol | (μg/m3) | 13.6 ± 1.7 | 20.3 ± 1.5 | 0.0256 | - | Cigarette with person > with person |
| CO/CO2 | CO | (ppm) | 0.360 ± 0.049 | 2.65 ± 0.05 | 0.0000000560 | Quantified | Cigarette with person > with person |
|  | CO2 | (ppm) | 1040 ± 57 | 1100 ± 60 | 0.492 | - | Not substantial increase |
| SPM | Piezobalancece | (mg/m3) | <LOD | 0.354 ± 0.030 |  | - | Cigarette with person > with person |
|  | Light scattering | (μg/m3) | 1.67 ± 0.88 | 328 ± 37 | 0.00309 | - | Cigarette with person > with person |
| Ammonia | NH3 | (ppb) | 30.7 ± 8.6 | 216 ± 22 | 0.000242 | Quantified | Cigarette with person > with person |
| NOX | NO | (ppb) | 2.51 ± 0.56 | 33.0 ± 3.6 | 0.00289 | Quantified | Cigarette with person > with person |
|  | NO2 | (ppb) | 7.31 ± 1.63 | 22.4 ± 3.4 | 0.00731 | - | Cigarette with person > with person |
|  | NO + NO2 | (ppb) | 9.11 ± 2.04 | 42.5 ± 8.9 | 0.0303 | - | Cigarette with person > with person |

# Table S17. Comparison with other studies conducted in simulated environmentally controlled chambers

| Compound name | unit | “residential” 9.00 m3/cigarette 6 mg tar/cigarette (In this study)a | “residential category III” 6.17 m3/cigarette 6 mg tar/cigarette (Mitova et al.)b | “Office” 10.2 m3/cigarette 7 mg tar/cigarette (Forster et al.)c |
| --- | --- | --- | --- | --- |
| NNN | ng/m3 | <LOQ (2.49 ng/m3) | 1.52 | - |
| NNK | ng/m3 | 18.3 ± 5.0 | 8.90 | - |
| Formaldehyde | µg/m3 | 72.0 ± 3.3 | 74.9 | 48 |
| Acetaldehyde | µg/m3 | 92.4 ± 16.7 | 126 | 140 |
| Acrolein | µg/m3 | 0.84 ± 0.15 | 12.4 | <2 |
| Crotonaldehyde | µg/m3 | 0.68 ± 0.07 | 3.57 | <2 |
| 1,3-Butadiene | µg/m3 | 62.1 ± 4.4 | 17.6 | <5 |
| Isoprene | µg/m3 | 151 ± 7 | 173 | 226 |
| Acrylonitrile | µg/m3 | 5.27 ± 0.59 | 5.28 | <5 |
| Benzene | µg/m3 | 15.3 ± 0.6 | 14.9 | 23 |
| Toluene | µg/m3 | 30.7 ± 1.2 | 26.7 | - |
| TVOC | µg/m3 | 420 ± 50 | 479 | 372 |
| Nicotine | µg/m3 | 47.0 ± 6.78 | 51.3 | 54 |
| 3-ethenylpyridine | µg/m3 | 13.7 ± 1.31 | 10.3 | 11 |
| UVPM | µg/m3 | 69.9 ± 14.0 | 92.9 | - |
| FPM | µg/m3 | 16.9 ± 2.51 | 20.4 | - |
| Solanesol | µg/m3 | 14.8 ± 2.22 | 23.9 | - |
| Propylene glycol | µg/m3 | 27.5 ± 1.4 | 64.2 | <5 |
| Glycerol | µg/m3 | 20.3 ± 1.5 | 10.0 | <44 |
| CO | ppm | 2.65 ± 0.05 | 2.88 | 1.5 |
| NO | ppb | 33 ± 4 | 67.2 | 26 |
| NOX | ppb | 43 ± 9 | 75.1 | 38 |

a Supplementary Table S14

b Reference [1]

c Reference [2]

# Table S18. Recovery values for TSNA in background (BG) and environmental tobacco smoke (ETS) of cigarette

Confirmation data are shown for IAQ evaluation using the TSNA analysis method. BG is the background, where air was allowed to pass through the sorbent tube for 1 h after spiking. ETS is environmental tobacco smoke, which was passed through the sorbent tube for 1 h after spiking.

| Compound name | Sample matrix | Spiking concentration [ng/tube] | Average recovery [%] (repeated number is three data) |
| --- | --- | --- | --- |
| NNN | BG | 4.0 | 94.0 ± 0.8 |
|  | ETS | 4.0 | 103.6 ± 2.2 |
| NAT | BG | 4.0 | 86.6 ± 1.2 |
|  | ETS | 4.0 | 89.0 ± 0.5 |
| NAB | BG | 1.0 | 92.1 ± 0.5 |
|  | ETS | 1.0 | 89.5 ± 0.6 |
| NNK | BG | 4.0 | 87.2 ± 0.6 |
|  | ETS | 4.0 | 95.8 ± 4.5 |

# Table S19. Breakthrough test for TSNA

Air sampling in the smoking room was performed by connecting two sorbent tubes. The collection amount in each sorbent tube (front and back) was calculated and compared with the blank tube (for six replicates). Confirmation data are shown for IAQ evaluation using the TSNA analysis method.

| Compound name | Collection amount of front tube [ng/tube] | Collection amount of back tube [ng/tube] | Blank tube amount [ng/tube] | LOQ [ng/tube] |
| --- | --- | --- | --- | --- |
| NNN | 0.790 ± 0.066 | <LOQ | <LOQ | 0.149 |
| NAT | 0.498 ± 0.051 | <LOQ | <LOQ | 0.0942 |
| NAB | 0.162 ± 0.011 | <LOQ | <LOQ | 0.0454 |
| NNK | 4.61 ± 0.42 | <LOQ | <LOQ | 0.0727 |

# Table S20. Recovery values for metals in environmental tobacco smoke (ETS) of cigarette

Confirmation data are shown for IAQ evaluation using the metal analysis method. ETS is environmental tobacco smoke, which was passed through the sorbent tube for 1 h after spiking.

| Compound name | Sample matrix | Spiking concentration [ng/filter] | Average recovery [%] (repeated number is three data) |
| --- | --- | --- | --- |
| Be | ETS | 2.0 | 99.0 ± 5.6 |
| Cr | ETS | 2.0 | 91.1 ± 5.6 |
| Ni | ETS | 2.0 | 108.6 ± 7.1 |
| As | ETS | 2.0 | 100.1 ± 3.5 |
| Cd | ETS | 2.0 | 101.0 ± 3.2 |
| Pb | ETS | 2.0 | 106.1 ± 6.9 |

# Table S21. Breakthrough test for metal

Air sampling in smoking room was performed by connecting two filter pads sequentially. The amount collected in each filter pad (front and back) was calculated and compared with the blank pad (for six replicates). Confirmation data are shown for IAQ evaluation using the metal analysis method.

| Compound name | Collection amount of front filter [ng/filter] | Collection amount of back filter [ng/filter] | Blank filter amount [ng/filter] | LOQ [ng/filter] |
| --- | --- | --- | --- | --- |
| Be | 2.01 ± 0.11 | <LOQ | <LOQ | 0.637 |
| Cr | <LOQ | <LOQ | <LOQ | 4.461 |
| Ni | 2.38 ± 0.14 | <LOQ | <LOQ | 1.659 |
| As | 2.59 ± 0.069 | <LOQ | <LOQ | 1.363 |
| Cd | 4.86 ± 0.064 | <LOQ | <LOQ | 0.693 |
| Pb | 2.41 ± 0.13 | <LOQ | <LOQ | 0.275 |

# Supplementary Figure legends

Fig. S1	Sampling points of environmentally controlled chamber in the aerosol uniformity test: (a) Layout and sampling points of “Restaurant” conditions (view from ceiling); (b) side view of “Restaurant” conditions (view from [view 1] in Fig. S1(a)); (c) side view of “Restaurant” conditions (view from [view 2] in Fig. S1(a)); (d) layout and sampling points of “Residential” conditions (view from ceiling)

Fig. S2	Online measurements for CO and SPM under “Restaurant” condition in the aerosol uniformity test: (a) 1st test; (b) 2nd test; (c) 3rd test

Fig. S3	Online measurements for CO and SPM under “Residential” condition in the aerosol uniformity test: (a) 1st test; (b) 2nd test; (c) 3rd test

References

1. 	Mitova, M.I.; Bielik, N.; Campelos, P.B.; Cluse, C.; Goujon-Ginglinger, C.G.; Jaquier, A.; Gomez Lueso, M.; Maeder, S.; Pitton, C.; Poget, L.; et al. Air quality assessment of the Tobacco Heating System 2.2 under simulated residential conditions. Air Qual. Atmos. Heal. 2019, 12, 807–823, doi:10.1007/s11869-019-00697-6.

2. 	Forster, M.; Fiebelkorn, S.; Yurteri, C.; Mariner, D.; Liu, C.; Wright, C.; McAdam, K.; Murphy, J.; Proctor, C. Assessment of novel tobacco heating product THP1.0. Part 3: Comprehensive chemical characterisation of harmful and potentially harmful aerosol emissions. Regul. Toxicol. Pharmacol. 2018, 93, 14–33, doi:10.1016/j.yrtph.2017.10.006.