## Overview
Preliminary assessment of site solar irradiance
Project | Uttarakhand
Geographical coordinates | 29.360556°, 79.941389° (29°21'38", 079°56'29")
Report generated | 30 Aug 2024
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=29.360556,79.941389,10

## Site_info
Project | Uttarakhand
Location | unnamed road, Champawat, - 262528, Uttarakhand, India
Geographical coordinates | 29.360556°, 79.941389° (29°21'38", 079°56'29")
Time zone | UTC+05:30, Asia/Kolkata [IST]
Elevation | 1548 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1690.4 | kWh/kWp
Direct normal irradiation | DNI | 1771.7 | kWh/m²
Global horizontal irradiation | GHI | 1861.6 | kWh/m²
Diffuse horizontal irradiation | DIF | 731.6 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2097.9 | kWh/m²
Air temperature | TEMP | 15.9 | °C
Optimum tilt of PV modules | OPTA | 31 | °
Terrain elevation | ELE | 1548 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 150.4
Feb | 148.5
Mar | 191.9
Apr | 182.6
May | 161.2
Jun | 114.2
Jul | 74.3
Aug | 83.5
Sep | 120
Oct | 186
Nov | 178
Dec | 180.4
Yearly | 1770.9

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 45 | 31 | 17 | 0 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 0 | 194 | 274 | 187 | 95 | 90 | 126 | 0 | 0 | 0
7 - 8 | 0 | 118 | 494 | 501 | 403 | 281 | 146 | 183 | 335 | 534 | 295 | 145
8 - 9 | 550 | 550 | 626 | 624 | 521 | 357 | 188 | 248 | 415 | 660 | 691 | 671
9 - 10 | 635 | 642 | 705 | 690 | 583 | 409 | 223 | 280 | 457 | 730 | 770 | 762
10 - 11 | 675 | 683 | 743 | 696 | 581 | 423 | 250 | 295 | 459 | 757 | 809 | 801
11 - 12 | 680 | 687 | 728 | 656 | 530 | 392 | 252 | 304 | 458 | 752 | 811 | 814
12 - 13 | 662 | 665 | 691 | 604 | 492 | 365 | 249 | 304 | 447 | 725 | 783 | 796
13 - 14 | 626 | 635 | 682 | 578 | 471 | 345 | 243 | 275 | 418 | 664 | 731 | 750
14 - 15 | 565 | 573 | 588 | 551 | 441 | 323 | 222 | 250 | 373 | 581 | 651 | 673
15 - 16 | 458 | 494 | 516 | 497 | 397 | 295 | 201 | 214 | 309 | 480 | 394 | 408
16 - 17 | 0 | 256 | 372 | 395 | 320 | 250 | 178 | 181 | 195 | 117 | 0 | 0
17 - 18 | 0 | 0 | 43 | 100 | 144 | 146 | 122 | 70 | 7 | 0 | 0 | 0
18 - 19 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 4851 | 5303 | 6188 | 6086 | 5202 | 3804 | 2396 | 2694 | 3999 | 6000 | 5935 | 5820

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2024 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2024 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2024, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2024 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2024 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2024 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2024 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2024 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2024 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2024 ECMWF, post-processed by Solargis)