Supplementary material

Use of Defatted Cottonseed-Derived Biochar for Biodiesel Production:

A Closed-Loop Approach

Table S1. GC analysis method

| Column | DB-WAX (30 m × 0.25 mm × 0.25 µm) |  |  |
| --- | --- | --- | --- |
| Injection volume | 1 µL |  |  |
| Carrier gas | N2 |  |  |
| Flow rate | 1 mL min-1 |  |  |
| Detector temperature | 240 ˚C |  |  |
| Oven | Heating rate (˚C/min) | Temperature (˚C) | Hold time (min) |
|  |  | 50 | 3 |
|  | 10 | 180 | 5 |
|  | 5 | 190 | 5 |
|  | 2 | 220 | 5 |
|  | 2 | 230 | 10 |