Supplement materials

Prepare cyanide standards using 1:4 phosphate dilution:

Label five 2-ml tubes as 1/10, 1/102, 1/103100ppm, /10410ppm, 1/1051ppm,

Add 900 µl 1:4 phosphate dilution into each tube. Add 100 µl of 10% potassium cyanide (Ricca Chemical, VWR Cat. No. RC6040160) in the tube 1/10 and mix, take 100 µl from tube 1/10 and add into tube 1/102and mix, take 100 µl from 1/102 tube and add into tube 1/103100ppm and mix.

Cyanide standards used:

100 ppm (using the 103 time dilution of the 10% stock),

50 ppm = 120 µl 100 ppm solution + 120 µl 1:4 phosphate dilution,

40 ppm = 200 µl 100 ppm solution + 300 µl 1:4 phosphate dilution,

30 ppm = 78 µl 100 ppm solution + 182 µl 1:4 phosphate dilution,

20 ppm = 120 µl 40 ppm solution + 120 µl 1:4 phosphate dilution,

10 ppm (use 104 times dilution of the 10% stock),

5 ppm = 150 µl 10 ppm solution, 150 µl 1:4 phosphate dilution

1 ppm (use 105 time dilution of the 10% stock).

Reagent preparation:

For 100 samples:

40 mg of beta-glucosidase dissolved in 10 ml distilled water (need 10 ml).

0.5% reagent A: add 13 mg of chloramine-T in in a 5 ml black tube, add 2.6 ml water and mix. (2.5 ml needed).

Reagent B: add 1.65 ml distilled water in a 5 ml black tube, suspend 165 mg of 1.3-dimethyl barbituric acid in the water in the black tube, add 0.825 ml pyridine and mix after close the lid.

40 mg of beta-glucosidase dissolved in 10 ml distilled water (need 10 ml).

0.5% reagent A: add 13 mg of chloramine-T in in a 5 ml black tube, add 2.6 ml water and mix. (2.5 ml needed).

Reagent B: add 1.65 ml distilled water in a 5 ml black tube, suspend 165 mg of 1.3-dimethyl barbituric acid in the water in the black tube, add 0.825 ml pyridine and mix after close the lid.