Table S1 Internal standard response stability of QC samples in positive and negative ion mode

	Ion Mode
	Sample
	RT(s)
	m/z
	RSD

	positive
	IS1
	352.60
	85.1327
	0.0206

	
	IS2
	223.78
	155.1742
	0.1278

	
	IS3
	60.15
	127.0805
	0.0575

	negative
	IS1
	206.58
	183.0817
	0.1465

	
	IS2
	56.43
	158.2012
	0.0643

	
	IS3
	88.30
	142.0596
	0.2245


We could see that the data quality of this experiment was very high from this table.

