## 3 stations monthly results
Results
Station | Month | Temp OC | pH | Conductivity (μS/cm) | DO (mg/L) | BOD (mg/L) | TC (MPN/100 ml) | B (mg/L) | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L) | SAR | %Na |  | Seasonal Average Data
S1 | Jan | 25 | 8.3 | 408 | 7.3 | 0.7 | 2 | 0.5 | 28 | 24 | 26 | 0.73 | 31.2758 |  |  | Average of | Temp OC | pH | Conductivity (μS/cm) | DO (mg/L) | BOD (mg/L) | TC (MPN/100 ml) | B (mg/L) | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L)
Kadana Dam | Feb | 27 | 8.1 | 425 | 8 | 0.7 | 13 | 0.4 | 29 | 24 | 28 | 0.77 | 32.1437 | S1 | Winter | Dec to feb | 26 | 8.1633 | 411.6667 | 7.4333 | 0.66667 | 10.6667 | 0.43333 | 25 | 22.6667 | 27.6667
| Mar | 28 | 7.92 | 404 | 6.2 | 0.8 | 14 | 0.5 | 29 | 22 | 25 | 0.7 | 32.6375 | Kadana Dam | Summer | Mar to june | 28.5 | 7.8925 | 455.75 | 6.6 | 0.925 | 24.25 | 0.5 | 30.75 | 21.5 | 32.5
| Apr | 29 | 8.15 | 432 | 6.7 | 0.9 | 13 | 0.5 | 30 | 21 | 27 | 0.76 | 30.368 |  | Monsoon | July to Sep | 26.6667 | 7.7767 | 502.3333 | 7.6 | 0.76667 | 29.6667 | 0.36667 | 38.6667 | 15.3333 | 36.6667
| May | 29 | 8 | 489 | 6.2 | 1 | 21 | 0.5 | 32 | 24 | 34 | 0.91 | 35.1187 |  | Post Monsoon | Oct to Nov | 26.5 | 8.16 | 507.5 | 7.25 | 0.7 | 17 | 0.5 | 18 | 24 | 28.5
| Jun | 28 | 7.5 | 498 | 7.3 | 1 | 49 | 0.5 | 32 | 19 | 44 | 1.23 | 31.6365
| Jul | 27 | 7.87 | 501 | 7.5 | 0.9 | 46 | 0.5 | 38 | 17 | 42 | 1.13 | 23.3567
| Aug | 26 | 7.81 | 479 | 7.3 | 0.6 | 22 | 0.1 | 40 | 15 | 30 | 0.81 | 25.8108
| Sep | 27 | 7.65 | 527 | 8 | 0.8 | 21 | 0.5 | 38 | 14 | 38 | 1.05 | 26.1006
| Oct | 27 | 8.48 | 415 | 8 | 0.8 | 17 | 0.5 | 15 | 24 | 22 | 0.7 | 25.4464
| Nov | 26 | 7.84 | 600 | 6.5 | 0.6 | 17 | 0.5 | 21 | 24 | 35 | 0.7 | 22.1599
| Dec | 26 | 8.09 | 402 | 7 | 0.6 | 17 | 0.4 | 18 | 20 | 29 | 0.94 | 26.8306
| Avg | 27.0833 | 7.9758 | 465 | 7.1667 | 0.78333 | 21 | 0.45 | 29.1667 | 20.6667 | 31.6667 | 0.86917 | 28.5738
| SD | 1.2401 | 0.27161 | 61.3144 | 0.66104 | 0.14668 | 13.4705 | 0.11677 | 7.8836 | 3.7009 | 6.9457 | 0.18293 | 4.1222
|  | Temp OC | pH | Conductivity (μS/cm) | DO (mg/L) | BOD (MPN/100 ml) | TC (MPN/100 ml) | B (mg/L) | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L) | SAR | %Na | S2 |  | Average of | Temp OC | pH | Conductivity (μS/cm) | DO (mg/L) | BOD (mg/L) | TC (MPN/100 ml) | B (mg/L) | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L)
S2 | Jan | 21 | 8.4 | 434 | 8.1 | 0.6 | 47 | 0.5 | 19 | 28 | 35 | 1.02 | 32.0312 | Virpur | Summer | Mar to june | 28.25 | 7.8775 | 472.5 | 7.925 | 0.925 | 46.25 | 0.5 | 26.25 | 25.25 | 32.25
Virpur | Feb | 27 | 8.2 | 418 | 8.4 | 0.7 | 63 | 0.5 | 22 | 26 | 32 | 0.92 | 30.3284 |  | Monsoon | July to Sep | 26.6667 | 7.83 | 516.6667 | 7.0667 | 0.9 | 51 | 0.4 | 39 | 20.3333 | 23.3333
| Mar | 28 | 8 | 405 | 8.3 | 0.8 | 46 | 0.5 | 26 | 21 | 30 | 0.88 | 30.5061 |  | Post Monsoon | Oct to Nov | 26.5 | 7.86 | 584.5 | 7.4 | 0.75 | 39 | 0.45 | 17.5 | 28.5 | 28
| Apr | 29 | 8.01 | 485 | 7.5 | 0.9 | 47 | 0.5 | 29 | 20 | 32 | 0.91 | 31.5044
| May | 28 | 8.03 | 510 | 8.3 | 1 | 46 | 0.5 | 24 | 32 | 32 | 0.86 | 26.9724
| Jun | 28 | 7.47 | 490 | 7.6 | 1 | 46 | 0.5 | 26 | 28 | 35 | 0.95 | 30.8806
| Jul | 27 | 7.9 | 533 | 7.2 | 1 | 58 | 0.5 | 42 | 22 | 22 | 0.55 | 20.804
| Aug | 27 | 7.84 | 480 | 7.1 | 0.9 | 49 | 0.4 | 40 | 19 | 26 | 0.68 | 24.6844
| Sep | 26 | 7.75 | 537 | 6.9 | 0.8 | 46 | 0.3 | 35 | 20 | 22 | 0.59 | 22.6191
| Oct | 27 | 8.45 | 442 | 7.5 | 0.5 | 39 | 0.5 | 15 | 25 | 21 | 0.66 | 25.0062
| Nov | 26 | 7.27 | 727 | 7.3 | 1 | 39 | 0.4 | 20 | 32 | 35 | 0.97 | 29.7142
| Dec | 27 | 8.12 | 408 | 8 | 0.5 | 40 | 0.3 | 20 | 22 | 31 | 0.96 | 32.7785
| Avg | 26.75 | 7.9533 | 489.0833 | 7.6833 | 0.80833 | 47.1667 | 0.45 | 26.5 | 24.5833 | 29.4167 | 0.82917 | 28.1525
| SD | 2.0057 | 0.34426 | 88.0676 | 0.51845 | 0.19287 | 7.1457 | 0.079772 | 8.5334 | 4.6213 | 5.2994 | 0.16301 | 3.9974
|  | Temperature | pH | Conductivity (&micro;mho/cm) | Dissolved O2 (mg/L) | BOD | Total Coliform (MPN/100ml) | Boron | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L) | SAR | %Na
S3 | Jan | 27 | 7.5 | 393 | 8.6 | 2.5 | 49 | 0.4 | 30 | 27 | 35 | 1.11 | 29.5665 |  |  |  | Temp OC | pH | Conductivity (μS/cm) | DO (mg/L) | BOD (mg/L) | TC (MPN/100 ml) | B (mg/L) | Ca as CaCo3 (mg/L) | Mg as CaCo3 (mg/L) | Sodium (mg/L)
Sevaliya | Feb | 23 | 8.04 | 431 | 8.6 | 2.4 | 63 | 0.4 | 30 | 27 | 37 | 1.18 | 30.6656 | S3 | Winter | Dec to feb | 25 | 7.83 | 414.6667 | 8.5667 | 2.4667 | 58.3333 | 0.36667 | 23.3333 | 24.6667 | 31
| Mar | 28 | 8.09 | 450 | 8.5 | 2.8 | 47 | 0.5 | 29 | 26 | 36 | 1.17 | 30.8878 | Sevaliya | Summer | Mar to june | 29 | 7.8625 | 514 | 8.225 | 2.95 | 56.5 | 0.5 | 33.25 | 33.25 | 36
| Apr | 28 | 7.75 | 400 | 8.2 | 3 | 46 | 0.5 | 24 | 27 | 32 | 1.06 | 29.4759 |  | Monsoon | July to Sep | 27.3333 | 7.89 | 475.3333 | 8.2667 | 1.8667 | 45 | 0.46667 | 22 | 20 | 23.6667
| May | 30 | 8.16 | 728 | 8 | 3 | 63 | 0.5 | 48 | 51 | 44 | 1.06 | 22.9094 |  | Post Monsoon | Oct to Nov | 25.5 | 8.39 | 455 | 8.1 | 2.65 | 40 | 0.5 | 11 | 21 | 20
| Jun | 30 | 7.45 | 478 | 8.2 | 3 | 70 | 0.5 | 32 | 29 | 32 | 0.98 | 26.2674
| Jul | 29 | 7.67 | 340 | 8.5 | 2.8 | 48 | 0.5 | 26 | 14 | 22 | 0.87 | 29.2688
| Aug | 27 | 8.06 | 536 | 8.4 | 1 | 39 | 0.4 | 24 | 17 | 25 | 0.96 | 30.1015
| Sep | 26 | 7.94 | 550 | 7.9 | 1.8 | 48 | 0.5 | 16 | 29 | 24 | 0.83 | 25.6324
| Oct | 27 | 8.48 | 480 | 7.7 | 2.8 | 40 | 0.5 | 12 | 21 | 21 | 0.73 | 28.7409
| Nov | 24 | 8.3 | 430 | 8.5 | 2.5 | 40 | 0.5 | 10 | 21 | 19 | 0.79 | 27.518
| Dec | 25 | 7.95 | 420 | 8.5 | 2.5 | 63 | 0.3 | 10 | 20 | 21 | 0.88 | 30.347
| Avg | 27 | 7.9492 | 469.6667 | 8.3 | 2.5083 | 51.3333 | 0.45833 | 24.25 | 25.75 | 29 | 0.96833 | 28.4484
| SD | 2.2156 | 0.31017 | 100.5587 | 0.29848 | 0.58536 | 10.6202 | 0.066856 | 11.0382 | 9.3237 | 8.034 | 0.15008 | 2.4215