| Table S1. Comparison of Different Ablation Techniques Principles |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ablative technique | RFA | WMA | CA | IRE |  |
| Principles | Heat diffusion | Heat diffusion | Cold diffusion | Non- Thermal |  |
| Advantages | Well evaluated treatment | Temperature elevations that are quicker and higher have been attained compared to RFA. | Simple monitoring through imaging of ice ball progression. | Reduced risk of harm to surrounding structures due to non-thermal nature |  |
| Disadvantages | Efficiency is hindered near major vessels due to the heat sink effect. | Thermal injury to adjacent structures | Cryoshock Risk of bleeding | Limited experience |  |
| Ablative technique | LA | HIFU | PEI |  |  |
| Principles | Heat diffusion | Heat diffusion | Chemical necrosis |  |  |
| Advantages | Precision and safe | Non-invasive | Safe, inexpensive, and well-tolerated. |  |  |
| Disadvantages | High cost, limited availability | sensitive to patient movement, and near-field heating | Incomplete ablation |  |  |
| RFA: Radiofrequency ablation; WMA: Microwave ablation; CA: Cryoablation; IRE: Irreversible electroporation; LA: Laser ablation; HIFU: High-intensity Focused Ultrasound; PEI: Percutaneous ethanol injection |  |  |  |  |  |  |