Measurement of Benzene and other Volatile Organic Compounds: Implications for its inhalation health risk associated to the workers at a fuel station in Delhi

Poonam Kumari1,2, Gazal Garg1,2, Daya Soni1,2* and Shankar G Aggarwal1,2

1CSIR- National Physical Laboratory, Dr. K. S.  Krishnan Marg, New Delhi-110012, India

2Academy of Scientific & Innovative Research (AcSIR), Ghaziabad-201002, India

(*Corresponding author: dsoni@nplindia.org)

Table S 1. Monthly Average data of BTEX in µg m-3 for Tenax & Charcoal sorbent tubes from September 2021 to March 2022 at a fuel station in Delhi

| Month | Benzene |  | Toluene |  | Ethylbenzene |  | m-, p-Xylene |  | o-Xylene |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Tenax | Charcoal | Tenax | Charcoal | Tenax | Charcoal | Tenax | Charcoal | Tenax | Charcoal |
| Sept. 21 | 63±7 | 41±4 | 61±7 | 53±7 | 73±7 | 46±7 | 31±5 | 25±4 | 55±6 | 54±8 |
| Oct. 21 | 71±8 | 56±6 | 69±6 | 49±6 | 71±7 | 56±4 | 39±7 | 18±4 | 42±4 | 57±7 |
| Nov. 21 | 217±9 | 158±9 | 507±11 | 418±9 | 101±5 | 92±7 | 252±9 | 209±8 | 223±8 | 184±7 |
| Dec. 21 | 108±6 | 96±4 | 349±9 | 282±7 | 121±7 | 109±6 | 126±12 | 92±10 | 111±10 | 98±9 |
| Jan. 22 | 139±7 | 103±5 | 182±9 | 101±7 | 70±6 | 61±4 | 93±5 | 80±8 | 46±6 | 37±6 |
| Feb. 22 | 114±7 | 83±5 | 171±9 | 123±10 | 86±6 | 73±7 | 128±8 | 108±9 | 131±8 | 67±5 |
| March 22 | 75±6 | 51±4 | 193±8 | 154±5 | 74±7 | 59±4 | 62±6 | 54±5 | 59±6 | 45±6 |

Table S 2. Online monitoring data of benzene (µg m-3) in ambient air from DPCC-PUSA.

| September 2021 | October 2021 | November 2021 | December 2021 | January 2022 | February 2022 | March 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| 4.25 | 1.13 | 6.06 | 12.66 | 8.73 | 8.71 | 7.26 |
| 3.03 | 2.28 | 5.12 | 12.34 | 9.67 | 5.10 | 8.84 |
| 1.61 | 3.05 | 5.35 | 9.88 | 10.21 | 4.38 | 5.64 |
| 2.27 | 2.73 | 9.70 | 9.95 | 10.24 | 5.50 | 5.82 |
| 1.32 | 3.66 | 8.98 | 8.78 | 10.57 | 9.58 | 4.58 |
| 0.77 | 6.40 | 8.47 | 10.09 | 4.45 | 7.15 | 5.70 |
| 0.43 | 6.28 | 7.42 | 8.61 | 3.21 | 4.50 | 7.04 |
| 0.53 | 8.11 | 8.34 | 7.46 | 2.18 | 7.60 | 11.33 |
| 0.47 | 8.11 | 9.73 | 9.96 | 3.56 | 5.34 | 9.31 |
| 0.34 | 5.75 | 8.67 | 9.74 | 5.76 | 5.27 | 6.41 |
| 2.47 | 6.58 | 11.43 | 7.76 | 6.12 | 4.99 | 6.91 |
| 1.26 | 9.44 | 11.21 | 8.40 | 5.35 | 5.66 | 6.17 |
| 1.37 | 7.65 | 11.19 | 7.90 | 8.70 | 7.05 | 7.31 |
| 2.77 | 6.75 | 8.33 | 9.63 | 7.88 | 4.92 | 8.71 |
| 1.99 | 5.16 | 9.12 | 11.26 | 5.04 | 5.51 | 10.22 |
| 3.79 | 10.02 | 9.64 | 12.55 | 4.30 | 9.09 | 6.13 |
| 3.56 | 5.02 | 8.77 | 7.93 | 5.58 | 7.31 | 7.14 |
| 2.59 | 3.62 | 10.38 | 8.05 | 6.90 | 12.55 | 4.92 |
| 1.44 | 4.97 | 12.62 | 8.00 | 7.83 | 5.74 | 4.98 |
| 1.80 | 7.58 | 10.21 | 8.80 | 7.65 | 4.30 | 6.41 |
| 3.38 | 6.66 | 10.60 | 13.62 | 6.82 | 4.94 | 10.07 |
| 1.55 | 4.98 | 6.97 | 14.94 | 4.28 | 4.11 | 5.95 |
| 1.50 | 3.98 | 7.20 | 12.12 | 6.01 | 3.37 | 7.38 |
| 2.38 | 3.46 | 9.59 | 9.95 | 8.21 | 10.02 | 6.34 |
| 2.32 | 7.39 | 8.96 | 14.02 | 7.32 | 4.96 | 6.06 |
| 0.55 | 7.95 | 12.81 | 12.72 | 7.38 | 2.24 | 5.13 |
| 0.66 | 10.73 | 10.99 | 6.45 | 8.58 | 4.51 | 5.21 |
| 0.79 | 4.10 | 9.84 | 9.29 | 6.31 | 4.61 | 6.52 |
| 0.81 | 10.04 | 11.15 | 11.07 | 7.33 | - | 7.42 |
| 1.13 | 9.30 | 8.17 | 10.94 | 5.89 | - | 8.12 |
| - | 7.89 | - | 12.02 | 6.89 | - | 9.11 |

Note: Each data in table represents 24 hourly averages. Bold values represent minimum and maximum values over the period of sampling.

Table S 3. Cancer Risk (CR) value of benzene for both the sorbent tube

| Month | Tenax | Charcoal |
| --- | --- | --- |
| September 2021 | 4.8E-04 | 3.2E-04 |
| October 2021 | 5.6E-04 | 4.3E-04 |
| November 2021 | 1.7E-03 | 1.2E-03 |
| December 2021 | 8.4E-04 | 7.5E-04 |
| January 2022 | 1.1E-03 | 8.0E-04 |
| February 2022 | 8.9E-04 | 6.4E-04 |
| March 2022 | 5.8E-04 | 3.9E-04 |
| Average | 8.7E-04 | 6.5E-04 |

Note: CR values calculated using Eq. (1) and (2).

Table S 4. Correlation of benzene concentration ((µg m-3) with meteorological parameter

|  | WS | T | Benzene |
| --- | --- | --- | --- |
| WS | 1 |  |  |
| T | 0.054 | 1 |  |
| Benzene | -0.298 | -0.525 | 1 |

Fig. S 1. Schematic diagram of Fuel pump and Sampling point orientation at the fuel station