Supplementary Data

Table 1S. Nuclear properties of some naturally occurring radioisotopes and corresponding progeny radioisotope present in the decay series used for determination of activity

| Nuclide | Half-life (Yr) | Gamma Energy (keV) & emission probability | Progenyt isotope for determination of activity |
| --- | --- | --- | --- |
| 238U | 4.468 × 109 | 63.29 (4%) 92.59 (2.2%) | 234Th |
| 232Th | 1.405 × 1010 | 911.2 (26%) 583.2 (30%) 2614.53 (36%) | 228Ac 208Tl |
| 40K | 1.277 × 109 | 1460.82 (10 %) | -- |
| 226Ra | 1602 | 351.9 (36%) 609.3 (47%) 1764.5 (17 %) | 214Pb 214Bi |
| 228Ra | 5.76 | 583.2 (86 %) 911.2 (25 %) 2614.5 (100 %) | 208Tl 228Ac |

Table 2S. Weight fraction of different sizes of sediment samples collected from Jampore beach

|  | Fraction of sand |  |  |
| --- | --- | --- | --- |
| Sample No. | Size : 53-100 µm (wt%) | Size : 101-250 µm (wt%) | Size : 251-1000 µm (wt%) |
| 1 | 4.62 | 50.4 | 44.98 |
| 2 | 3.41 | 84.18 | 12.41 |
| 3 | 4.81 | 70.42 | 24.77 |
| 4 | 2.38 | 82.17 | 15.45 |
| 5 | 2.8 | 90.55 | 6.65 |
| 6 | 2.98 | 44.73 | 52.29 |
| 7 | 4.88 | 22.68 | 72.44 |
| 8 | 5.97 | 73.34 | 20.69 |
| 9 | 6.85 | 75.35 | 17.8 |
| 10 | 6.79 | 53.56 | 39.65 |
| 11 | 4.35 | 82.6 | 13.05 |
| 12 | 4.35 | 84.82 | 10.83 |
| 13 | 5.17 | 83.41 | 11.42 |
| 14 | 7.18 | 82.49 | 10.33 |
| 15 | 3.01 | 46.08 | 50.91 |
| 16 | 5.47 | 69.18 | 25.35 |
| 17 | 1.76 | 69.54 | 28.7 |
| 18 | 0.97 | 67.12 | 31.91 |
| 19 | 1.92 | 83.2 | 14.88 |
| 20 | 2.44 | 83.36 | 14.2 |
| 21 | 3.85 | 85.11 | 11.04 |
| 22 | 3.23 | 81.96 | 14.81 |
| 23 | 1.93 | 87.91 | 10.16 |
| 24 | 7.1 | 73.66 | 19.24 |
| 25 | 6.94 | 75.31 | 17.75 |
| 26 | 0.95 | 84.93 | 14.12 |
| 27 | 1.11 | 84.66 | 14.23 |
| 28 | 2.31 | 67.85 | 29.84 |
| 29 | 1.02 | 71.11 | 71.11 |
| 30 | 1.02 | 70.25 | 70.25 |

Table 3S. EDXRF parameters and secondary targets used to analyse different elements in sediment samples

| Target Elements | Secondary Target/ Filter | Tube current (µA) | Tube Voltage (kV) | Pre-set Time (seconds) with energy range | Atmosphere |
| --- | --- | --- | --- | --- | --- |
| V, Cr, Mn, Fe, Cu, Zn | Ge | 1000 | 40 | 300 (0-10 keV) | Air |
| Ba, Cs, Rb, Zr, La, U, Ce | W- filter | 1500 | 50 | 900 (0-40 keV) | Air |
| K, Sc | Ti | 1000 | 27 | 500 (0-10 keV) | Air |
| Mg, Al | Si | 1200 | 27 | 600 (0-10 keV) | Vacuum |
| As, Br, Sr, Pb | Zr | 1200 | 45 | 500 (0-40 keV) | Air |