Table S1. The full ward-by-ward measured values (pH, DO, BOD, TDS, nitrate‑N, phosphate‑P, fecal coliform)

| Ward no | pH | TDS (ppm) | D0 (mg/l) | BOD (mg/L) | Nitrate (mg/l) | Phosphate (mg/l) | Fecal coliform (CFU/100mL) | WQI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5.87 | 72 | 4.63 | 4.35 | 13.7 | 1.51 | 2 | 220.6 |
| 2 | 5.81 | 206 | 4.92 | 4.59 | 21.6 | 5.4 | 0 | 90.23 |
| 3 | 6 | 163 | 4.39 | 4.08 | 6.3 | 2.5 | 2 | 162.56 |
| 4 | 5.9 | 101 | 3.75 | 3.49 | 1 | 0.7 | 5 | 299 |
| 5 | 6.69 | 300 | 3.46 | 3.24 | 4.4 | 0.8 | 6 | 208 |
| 6 | 6.3 | 175 | 4.67 | 4.35 | 4.7 | 0.38 | 1 | 128 |
| 7 | 5.81 | 202 | 4.43 | 4.12 | 2.8 | 2.4 | 2 | 343 |
| 8 | 6.36 | 261 | 4.66 | 4.35 | 16.9 | 0 | 5 | 299.5 |
| 9 | 5.77 | 169 | 4.86 | 4.56 | 8.3 | 3.1 | 1 | 406 |
| 10 | 6.49 | 338 | 4.01 | 3.8 | 3.1 | 2.5 | 4 | 500 |
| 11 | 6.24 | 322 | 4.41 | 4.09 | 6.9 | 2.5 | 2 | 262 |
| 12 | 6.12 | 245 | 4.42 | 4.12 | 4.4 | 1.4 | 2 | 92.27 |
| 13 | 7.08 | 172 | 3.96 | 3.69 | 14.4 | 1.9 | 3 | 608.9 |
| 14 | 5.83 | 51 | 4.95 | 4.65 | 18.6 | 0.5 | 0 | 753 |
| 15 | 6.08 | 155 | 4.35 | 4.11 | 0 | 0.81 | 3 | 378 |
| 16 | 6.42 | 270 | 5.24 | 4.23 | 3.6 | 0 | 0 | 706.8 |
| 17 | 6.5 | 268 | 1.73 | 1.64 | 2.7 | 2.1 | 10 | 58.2 |
| 18 | 6.55 | 329 | 4.79 | 4.44 | 1.4 | 0.9 | 1 | 821.7 |
| 19 | 6.33 | 322 | 3.55 | 3.33 | 4.3 | 0 | 5 | 340.1 |
| 20 | 6.12 | 194 | 4.54 | 4.27 | 3.3 | 0.7 | 2 | 176 |
| 21 | 6.27 | 234 | 2.07 | 1.9 | 7.9 | 2.7 | 9 | 174.8 |
| 22 | 4.63 | 331 | 3.53 | 3.28 | 0.5 | 2.4 | 5 | 358.7 |
| 23 | 6.3 | 125 | 4.31 | 4.12 | 7.7 | 0 | 3 | 249.2 |
| 24 | 6.44 | 161 | 4.58 | 4.29 | 27.4 | 3.1 | 2 | 268 |
| 25 | 6.35 | 148 | 4.53 | 4.22 | 15.8 | 0.15 | 2 | 606.6 |
| 26 | 5.36 | 129 | 4.99 | 4.64 | 2.7 | 1.48 | 0 | 288.9 |
| 27 | 5.92 | 94 | 4.2 | 3.92 | 12.8 | 3.4 | 3 | 100 |
| 28 | 5.65 | 247 | 2.22 | 2.08 | 7.4 | 0 | 9 | 494.5 |
| 29 | 5.55 | 36 | 5 | 4.66 | 1.5 | 0.41 | 0 | 296.7 |
| 30 | 5.93 | 39 | 5.02 | 4.69 | 6.4 | 0 | 0 | 155.3 |
| 31 | 6.15 | 277 | 5.09 | 4.74 | 4.8 | 0.6 | 0 | 53.3 |
| 32 | 6.39 | 266 | 4.76 | 4.43 | 30 | 5.5 | 1 | 237.5 |
| 33 | 6.2 | 279 | 4.85 | 4.5 | 5.7 | 0.2 | 1 | 144 |
| 34 | 6.54 | 196 | 3.88 | 3.61 | 8.2 | 0 | 4 | 172.7 |
| 35 | 5.17 | 659 | 4.87 | 4.64 | 9.8 | 0 | 2 | 416.1 |
| 36 | 6.29 | 252 | 4.86 | 4.54 | 22.4 | 0.6 | 1 | 170.3 |
| 37 | 6.14 | 176 | 4.71 | 4.38 | 0 | 4.3 | 2 | 66.6 |
| 38 | 6.31 | 462 | 4.77 | 4.38 | 1.6 | 1.49 | 2 | 91.9 |
| 39 | 6.34 | 469 | 4.94 | 4.59 | 6.5 | 2.5 | 0 | 417.4 |
| 40 | 6.2 | 520 | 4.85 | 4.53 | 32.7 | 0 | 1 | 333.2 |
| 41 | 6.43 | 353 | 4.97 | 4.65 | 0 | 5.8 | 0 | 180.5 |

Table S2. Exact p-values corresponding to the Pearson correlation coefficients presented in Table 3 (surface water quality parameters across 41 wards, Chattogram City). Degrees of freedom = n − 2 = 39 for all pairwise correlations.

| Parameter 1 | Parameter 2 | Pearson r | t-value (df = 39) | Exact p-value | Significance |
| --- | --- | --- | --- | --- | --- |
| pH | TDS (ppm) | 0.0052 | 0.0325 | 0.9743 | ns |
| pH | DO (mg/l) | -0.0731 | -0.4577 | 0.6497 | ns |
| pH | BOD (mg/l) | -0.0949 | -0.5953 | 0.5551 | ns |
| pH | Nitrate-Nitrogen (mg/l as N) | 0.1534 | 0.9695 | 0.3383 | ns |
| pH | Phosphate-Phosphorus (mg/l as P) | 0.0193 | 0.1206 | 0.9047 | ns |
| pH | Fecal coliform (CFU/100ml) | 0.0793 | 0.4968 | 0.6221 | ns |
| TDS (ppm) | DO (mg/l) | 0.1953 | 1.2436 | 0.2211 | ns |
| TDS (ppm) | BOD (mg/l) | 0.2026 | 1.2920 | 0.2040 | ns |
| TDS (ppm) | Nitrate-Nitrogen (mg/l as N) | 0.1365 | 0.8605 | 0.3948 | ns |
| TDS (ppm) | Phosphate-Phosphorus (mg/l as P) | 0.0170 | 0.1062 | 0.9160 | ns |
| TDS (ppm) | Fecal coliform (CFU/100ml) | -0.1501 | -0.9481 | 0.3489 | ns |
| DO (mg/l) | BOD (mg/l) | 0.9896 | 42.9628 | 1.85 × 10⁻³⁴ | *** |
| DO (mg/l) | Nitrate-Nitrogen (mg/l as N) | 0.1875 | 1.1921 | 0.2404 | ns |
| DO (mg/l) | Phosphate-Phosphorus (mg/l as P) | 0.0274 | 0.1712 | 0.8650 | ns |
| DO (mg/l) | Fecal coliform (CFU/100ml) | -0.9599 | -21.3830 | 3.81 × 10⁻²³ | *** |
| BOD (mg/l) | Nitrate-Nitrogen (mg/l as N) | 0.2069 | 1.3207 | 0.1943 | ns |
| BOD (mg/l) | Phosphate-Phosphorus (mg/l as P) | 0.0416 | 0.2600 | 0.7962 | ns |
| BOD (mg/l) | Fecal coliform (CFU/100ml) | -0.9489 | -18.7779 | 3.89 × 10⁻²¹ | *** |
| Nitrate-Nitrogen (mg/l as N) | Phosphate-Phosphorus (mg/l as P) | 0.1252 | 0.7881 | 0.4354 | ns |
| Nitrate-Nitrogen (mg/l as N) | Fecal coliform (CFU/100ml) | -0.1704 | -1.0799 | 0.2868 | ns |
| Phosphate-Phosphorus (mg/l as P) | Fecal coliform (CFU/100ml) | -0.1087 | -0.6829 | 0.4987 | ns |

Notes:

• Significance codes: *** p < 0.0001; ** p < 0.01; * p < 0.05; ns = not significant (p ≥ 0.05).

• p-values were computed from the t-distribution using t = r√(n−2) / √(1−r²), with df = 39.

• The DO–BOD, DO–Fecal coliform, and BOD–Fecal coliform correlations remain statistically significant at p < 0.0001 even though their exact p-values are extremely small (on the order of 10⁻²¹ to 10⁻³⁴); these are reported here for completeness but should be interpreted alongside the methodological caveat noted in the main text (DO and BOD share a common measurement procedure).

• A Shapiro–Wilk test confirmed approximate normality for all seven parameters (p > 0.05), supporting the use of Pearson's correlation over Spearman's rank correlation for this dataset.

# Table S3. Raw parameter values and Qi / Wi sub-index calculations used in the Water Quality Index (WQI), per ward, for the 41 wards of Chattogram City. Sub-indices (Qi) were computed as Qi = (Mi − Ii) / (Si − Ii) × 100 for each parameter, using the Ii (ideal value) and Si (WHO permissible value).

| Parameter | Ii (ideal value) | Si (WHO permissible value) | Wi (unit weight) |
| --- | --- | --- | --- |
| pH | 7.0 | 8.5 | 0.0111 |
| DO (mg/L) | 14.6 | 5.0 | 0.0188 |
| BOD (mg/L) | 0 | 5.0 | 0.0188 |
| TDS (mg/L) | 0 | 500 | 0.0002 |
| Nitrate-N (mg/L) | 0 | 10 | 0.0094 |
| Phosphate-P (mg/L) | 0 | 0.1 | 0.9417 |

# Table S4. Per-ward raw values and sub-indices (WQI = Σ(Qi × Wi) / ΣWi)

| Ward | pH | Qi(pH) | TDS (ppm) | Qi(TDS) | DO (mg/l) | Qi(DO) | BOD (mg/l) | Qi(BOD) | NO3-N (mg/l) | Qi(NO3) | PO4-P (mg/l) | Qi(PO4) | WQI (calc.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5.87 | -75.33 | 72.00 | 14.40 | 4.63 | 103.85 | 4.35 | 87.00 | 13.70 | 137.00 | 1.51 | 1510.00 | 220.6 |
| 2 | 5.81 | -79.33 | 206.00 | 41.20 | 4.92 | 100.83 | 4.59 | 91.80 | 21.60 | 216.00 | 5.40 | 5400.00 | 90.23 |
| 3 | 6.00 | -66.67 | 163.00 | 32.60 | 4.39 | 106.35 | 4.08 | 81.60 | 6.30 | 63.00 | 2.50 | 2500.00 | 162.56 |
| 4 | 5.90 | -73.33 | 101.00 | 20.20 | 3.75 | 113.02 | 3.49 | 69.80 | 1.00 | 10.00 | 0.70 | 700.00 | 299 |
| 5 | 6.69 | -20.67 | 300.00 | 60.00 | 3.46 | 116.04 | 3.24 | 64.80 | 4.40 | 44.00 | 0.80 | 800.00 | 208 |
| 6 | 6.30 | -46.67 | 175.00 | 35.00 | 4.67 | 103.44 | 4.35 | 87.00 | 4.70 | 47.00 | 0.38 | 380.00 | 128 |
| 7 | 5.81 | -79.33 | 202.00 | 40.40 | 4.43 | 105.94 | 4.12 | 82.40 | 2.80 | 28.00 | 2.40 | 2400.00 | 343 |
| 8 | 6.36 | -42.67 | 261.00 | 52.20 | 4.66 | 103.54 | 4.35 | 87.00 | 16.90 | 169.00 | 0.00 | 0.00 | 299.5 |
| 9 | 5.77 | -82.00 | 169.00 | 33.80 | 4.86 | 101.46 | 4.56 | 91.20 | 8.30 | 83.00 | 3.10 | 3100.00 | 406 |
| 10 | 6.49 | -34.00 | 338.00 | 67.60 | 4.01 | 110.31 | 3.80 | 76.00 | 3.10 | 31.00 | 2.50 | 2500.00 | 500 |
| 11 | 6.24 | -50.67 | 322.00 | 64.40 | 4.41 | 106.15 | 4.09 | 81.80 | 6.90 | 69.00 | 2.50 | 2500.00 | 262 |
| 12 | 6.12 | -58.67 | 245.00 | 49.00 | 4.42 | 106.04 | 4.12 | 82.40 | 4.40 | 44.00 | 1.40 | 1400.00 | 92.27 |
| 13 | 7.08 | 5.33 | 172.00 | 34.40 | 3.96 | 110.83 | 3.69 | 73.80 | 14.40 | 144.00 | 1.90 | 1900.00 | 608.9 |
| 14 | 5.83 | -78.00 | 51.00 | 10.20 | 4.95 | 100.52 | 4.65 | 93.00 | 18.60 | 186.00 | 0.50 | 500.00 | 753 |
| 15 | 6.08 | -61.33 | 155.00 | 31.00 | 4.35 | 106.77 | 4.11 | 82.20 | 0.00 | 0.00 | 0.81 | 810.00 | 378 |
| 16 | 6.42 | -38.67 | 270.00 | 54.00 | 5.24 | 97.50 | 4.23 | 84.60 | 3.60 | 36.00 | 0.00 | 0.00 | 706.8 |
| 17 | 6.50 | -33.33 | 268.00 | 53.60 | 1.73 | 134.06 | 1.64 | 32.80 | 2.70 | 27.00 | 2.10 | 2100.00 | 58.2 |
| 18 | 6.55 | -30.00 | 329.00 | 65.80 | 4.79 | 102.19 | 4.44 | 88.80 | 1.40 | 14.00 | 0.90 | 900.00 | 821.7 |
| 19 | 6.33 | -44.67 | 322.00 | 64.40 | 3.55 | 115.10 | 3.33 | 66.60 | 4.30 | 43.00 | 0.00 | 0.00 | 340.1 |
| 20 | 6.12 | -58.67 | 194.00 | 38.80 | 4.54 | 104.79 | 4.27 | 85.40 | 3.30 | 33.00 | 0.70 | 700.00 | 176 |
| 21 | 6.27 | -48.67 | 234.00 | 46.80 | 2.07 | 130.52 | 1.90 | 38.00 | 7.90 | 79.00 | 2.70 | 2700.00 | 174.8 |
| 22 | 4.63 | -158.00 | 331.00 | 66.20 | 3.53 | 115.31 | 3.28 | 65.60 | 0.50 | 5.00 | 2.40 | 2400.00 | 358.7 |
| 23 | 6.30 | -46.67 | 125.00 | 25.00 | 4.31 | 107.19 | 4.12 | 82.40 | 7.70 | 77.00 | 0.00 | 0.00 | 249.2 |
| 24 | 6.44 | -37.33 | 161.00 | 32.20 | 4.58 | 104.38 | 4.29 | 85.80 | 27.40 | 274.00 | 3.10 | 3100.00 | 268 |
| 25 | 6.35 | -43.33 | 148.00 | 29.60 | 4.53 | 104.90 | 4.22 | 84.40 | 15.80 | 158.00 | 0.15 | 150.00 | 606.6 |
| 26 | 5.36 | -109.33 | 129.00 | 25.80 | 4.99 | 100.10 | 4.64 | 92.80 | 2.70 | 27.00 | 1.48 | 1480.00 | 288.9 |
| 27 | 5.92 | -72.00 | 94.00 | 18.80 | 4.20 | 108.33 | 3.92 | 78.40 | 12.80 | 128.00 | 3.40 | 3400.00 | 100 |
| 28 | 5.65 | -90.00 | 247.00 | 49.40 | 2.22 | 128.96 | 2.08 | 41.60 | 7.40 | 74.00 | 0.00 | 0.00 | 494.5 |
| 29 | 5.55 | -96.67 | 36.00 | 7.20 | 5.00 | 100.00 | 4.66 | 93.20 | 1.50 | 15.00 | 0.41 | 410.00 | 296.7 |
| 30 | 5.93 | -71.33 | 39.00 | 7.80 | 5.02 | 99.79 | 4.69 | 93.80 | 6.40 | 64.00 | 0.00 | 0.00 | 155.3 |
| 31 | 6.15 | -56.67 | 277.00 | 55.40 | 5.09 | 99.06 | 4.74 | 94.80 | 4.80 | 48.00 | 0.60 | 600.00 | 53.3 |
| 32 | 6.39 | -40.67 | 266.00 | 53.20 | 4.76 | 102.50 | 4.43 | 88.60 | 30.00 | 300.00 | 5.50 | 5500.00 | 237.5 |
| 33 | 6.20 | -53.33 | 279.00 | 55.80 | 4.85 | 101.56 | 4.50 | 90.00 | 5.70 | 57.00 | 0.20 | 200.00 | 144 |
| 34 | 6.54 | -30.67 | 196.00 | 39.20 | 3.88 | 111.67 | 3.61 | 72.20 | 8.20 | 82.00 | 0.00 | 0.00 | 172.7 |
| 35 | 5.17 | -122.00 | 659.00 | 131.80 | 4.87 | 101.35 | 4.64 | 92.80 | 9.80 | 98.00 | 0.00 | 0.00 | 416.1 |
| 36 | 6.29 | -47.33 | 252.00 | 50.40 | 4.86 | 101.46 | 4.54 | 90.80 | 22.40 | 224.00 | 0.60 | 600.00 | 170.3 |
| 37 | 6.14 | -57.33 | 176.00 | 35.20 | 4.71 | 103.02 | 4.38 | 87.60 | 0.00 | 0.00 | 4.30 | 4300.00 | 66.6 |
| 38 | 6.31 | -46.00 | 462.00 | 92.40 | 4.77 | 102.40 | 4.38 | 87.60 | 1.60 | 16.00 | 1.49 | 1490.00 | 91.9 |
| 39 | 6.34 | -44.00 | 469.00 | 93.80 | 4.94 | 100.63 | 4.59 | 91.80 | 6.50 | 65.00 | 2.50 | 2500.00 | 417.4 |
| 40 | 6.20 | -53.33 | 520.00 | 104.00 | 4.85 | 101.56 | 4.53 | 90.60 | 32.70 | 327.00 | 0.00 | 0.00 | 333.2 |
| 41 | 6.43 | -38.00 | 353.00 | 70.60 | 4.97 | 100.31 | 4.65 | 93.00 | 0.00 | 0.00 | 5.80 | 5800.00 | 180.5 |