Supplementary material


Table S1. MRI acquisition parameters for prospective testing at Philips 1.5T and Philips 3T 

	Parameter
	Philips 1.5T
	Philips 3T

	Basic sequence
	3D FFE with Dixon option
	3D FFE with Dixon option

	FOV (mm2)
	560x560
	530x530

	TR (ms)
	6.7
	4.6

	TE1/TE2 (ms)
	1.98/4.5
	1.34/3.0

	Averages
	1
	2

	Water-Fat shift (pixels)
	0.5
	0.6

	Acquired Matrix
	280x280
	264x266

	Acquired slice thickness (mm)
	6
	6



Abbreviations: FFE, Fast Field Echo; FOV, Field of View; TR, Repetition Time; TE, Echo Time




Table S2. Demographics of all recruited individuals within the prospective repeatability, reproducibility, and inter/intra-analyst testing


	Age (years)
	Sex (M/F)
	Weight (kg)
	Height (m)
	BMI (kg/m2)

	20
	M
	81
	1.85
	23.7

	21
	M
	66
	1.76
	21.3

	21
	F
	70
	1.58
	28.0

	22
	F
	62
	1.67
	22.2

	24
	F
	44
	1.56
	18.1

	29
	M
	115
	1.93
	30.9

	31
	M
	78
	1.74
	25.8

	34
	F
	61
	1.67
	21.9

	42
	M
	71
	1.82
	21.4

	43
	F
	60
	1.63
	22.6

	44
	M
	58
	1.82
	17.5

	46
	M
	111
	1.93
	29.8

































Table S3. Demographics of individuals included in the retrospective inter-device and inter-reader (analyst vs. radiologist) assessments


	Age (years)
	Sex (M/F)
	Weight (kg)
	Height (m)
	BMI (kg/m2)
	Scanner
	Field Strength (T)

	28
	F
	55
	1.60
	21.5
	Siemens
	3

	22
	F
	40
	1.52
	17.3
	GE
	1.5

	42
	M
	71
	1.82
	21.4
	Philips
	3

	41
	M
	78
	1.82
	23.5
	Siemens
	3

	31
	F
	69
	1.59
	27.3
	GE
	1.5

	32
	F
	55
	1.50
	24.4
	GE
	3

	24
	M
	77
	1.73
	25.7
	Siemens
	1.5

	34
	F
	61
	1.65
	22.4
	Siemens
	3

	24
	F
	45
	1.66
	16.3
	Siemens
	1.5

	54
	M
	83
	1.81
	25.3
	GE
	1.5

	47
	M
	136
	1.75
	44.4
	Philips
	3

	21
	F
	70
	1.58
	28.0
	Siemens
	3

	27
	F
	70
	1.73
	23.4
	GE
	3

	21
	M
	58
	1.67
	20.8
	GE
	1.5

	21
	M
	66
	1.76
	21.3
	Philips
	1.5

	31
	M
	78
	1.74
	25.8
	Philips
	1.5

	29
	M
	115
	1.93
	30.9
	Philips
	1.5

	24
	M
	68
	1.76
	22.0
	Siemens
	1.5

	55
	M
	81
	1.73
	27.1
	GE
	3

	24
	F
	61
	1.77
	19.5
	Siemens
	1.5

	24
	M
	69
	1.66
	25.0
	Siemens
	1.5

	24
	F
	44
	1.56
	18.1
	Philips
	1.5

	42
	M
	81
	1.80
	25.0
	GE
	3

	24
	F
	99
	1.52
	42.8
	Siemens
	1.5

	27
	F
	80
	1.64
	29.7
	GE
	3

	46
	M
	111
	1.92
	30.1
	Siemens
	3

	44
	M
	59
	1.80
	18.2
	Siemens
	3

	44
	M
	60
	1.81
	18.3
	GE
	3

	22
	F
	62
	1.67
	22.2
	Philips
	3

	64
	F
	79
	1.62
	30.1
	Philips
	3

	43
	F
	60
	1.63
	22.6
	Philips
	1.5

	31
	F
	62
	1.58
	24.8
	GE
	1.5

	65
	M
	78
	1.75
	25.5
	Philips
	3

	39
	M
	89
	1.72
	30.1
	GE
	1.5

	21
	F
	70
	1.58
	28.0
	Philips
	1.5

	63
	F
	78
	1.62
	29.7
	Philips
	3










Table S4. Summary of scan-rescan repeatability results for single-slice body composition measurements for Philips 3T
	Measurement
	Scanner
	Bias
	Lower LoA
	Upper LoA
	SD
	ICC
	RC
	CoV (%)

	Psoas muscle CSA (cm2)
	Philips 3T
	-0.092
	-2.0
	1.9
	0.99
	1.00
	1.9
	2.7

	Psoas muscle Index (cm2/m2)
	
	-0.007
	-0.59
	0.57
	0.30
	0.99
	0.56
	2.7

	Skeletal muscle CSA (cm2)
	
	1.2
	-9.4
	12
	5.4
	0.99
	10
	2.3

	Skeletal muscle Index (cm2/m2)
	
	0.32
	-2.8
	3.5
	1.6
	0.99
	3.1
	2.3

	SAT CSA (cm2)
	
	-1.0
	-12
	9.9
	5.6
	1.00
	11
	2.0

	SAT Index (cm2/m2)
	
	-0.31
	-3.7
	3.1
	1.7
	1.00
	3.3
	2.1

	VAT CSA (cm2)
	
	-4.1
	-27
	18
	11
	0.98
	23
	7.8

	VAT Index (cm2/m2)
	
	-1.2
	-7.6
	5.3
	3.3
	0.97
	6.6
	7.8

	VAT/SAT Ratio
	
	-0.024
	-0.15
	0.098
	0.062
	0.98
	0.13
	7.9


Abbreviations: CoV, coefficient of variation (%); CSA, cross-sectional area, ICC, intraclass coefficient; LoA, limits of agreement; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue
















Table S5. Summary of inter-analyst variability for single-slice body composition measurements (Analyst 1 vs. Analyst 2). 

	Measurement
	Scanner
	Bias
	Lower LoA
	Upper LoA 
	SD
	ICC
	RC 
	CoV (%)

	Psoas muscle CSA (cm2)
	

Philips 1.5T
	0.17
	-2.3
	2.6
	1.3
	0.99
	2.4
	3.3

	Psoas muscle Index (cm2/m2)
	
	0.062
	-0.79
	0.92
	0.44
	0.99
	0.83
	3.4

	Skeletal muscle CSA (cm2)
	
	-1.4
	-6.7
	3.9
	2.7
	1.00
	5.7
	1.3

	Skeletal muscle Index (cm2/m2)
	
	-0.42
	-2.1
	1.2
	0.83
	1.00
	1.8
	1.3

	SAT CSA (cm2)
	
	-3.2
	-6.1
	-0.33
	1.5
	1.00
	6.9
	1.7

	SAT Index (cm2/m2)
	
	-1.1
	-2.1
	-0.052
	0.52
	1.00
	2.3
	1.7

	VAT CSA (cm2)
	
	-0.84
	-3.1
	1.4
	1.1
	1.00
	2.7
	1.2

	VAT Index (cm2/m2)
	
	-0.27
	-0.87
	0.34
	0.31
	1.00
	0.78
	1.2

	VAT/SAT Ratio
	
	0.0083
	-0.018
	0.035
	0.013
	1.00
	0.030
	1.7

	Psoas muscle CSA (cm2)
	

Philips 3T
	1.1
	-0.61
	2.8
	0.87
	0.99
	2.7
	5.0

	Psoas muscle Index (cm2/m2)
	
	0.39
	-0.24
	1.0
	0.32
	0.98
	0.97
	5.0

	Skeletal muscle CSA (cm2)
	
	0.82
	-3.8
	5.5
	2.4
	1.00
	4.7
	1.2

	Skeletal muscle Index (cm2/m2)
	
	0.21
	-1.3
	1.8
	0.79
	1.00
	1.5
	1.2

	SAT CSA (cm2)
	
	-3.0
	-8.3
	2.3
	2.7
	1.00
	7.8
	1.7

	SAT Index (cm2/m2)
	
	-1.1
	-2.5
	0.36
	0.74
	1.00
	2.5
	1.8

	VAT CSA (cm2)
	
	-1.4
	-4.7
	2.0
	1.7
	1.00
	4.1
	1.5

	VAT Index (cm2/m2)
	
	-0.46
	-1.5
	0.54
	0.51
	1.00
	1.3
	1.6

	VAT/SAT Ratio
	
	0.0042
	-0.019
	0.027
	0.012
	1.00
	0.023
	1.5



Abbreviations: CoV, coefficient of variation (%); CSA, cross-sectional area, ICC, intraclass coefficient; LoA, limits of agreement; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue







Table S6. Summary of intra-analyst variability for single-slice body composition measurements for Philips 1.5T for all three analysts.

	Measurement
	Bias
	Lower LoA
	Upper LoA
	SD
	ICC
	RC
	CoV (%)

	
	                                                        Analyst 1

	Psoas muscle CSA (cm2)
	0.050
	-1.8
	1.9
	0.94
	1.00
	1.8
	2.5

	Psoas muscle Index (cm2/m2)
	0.023
	-0.58
	0.63
	0.31
	0.99
	0.58
	2.6

	Skeletal muscle CSA (cm2)
	-0.15
	-2.2
	1.9
	1.1
	1.00
	2.0
	0.6

	Skeletal muscle Index (cm2/m2)
	-0.017
	-0.71
	0.68
	0.35
	1.00
	0.66
	0.6

	SAT CSA (cm2)
	0.37
	-2.9
	3.6
	1.7
	1.00
	3.2
	0.8

	SAT Index (cm2/m2)
	0.083
	-0.90
	1.1
	0.50
	1.00
	0.95
	0.7

	VAT CSA (cm2)
	-0.70
	-4.1
	2.7
	1.8
	1.00
	3.6
	2.0

	VAT Index (cm2/m2)
	-0.21
	-1.5
	1.1
	0.66
	1.00
	1.3
	1.9

	VAT/SAT Ratio
	-0.0017
	-0.027
	0.023
	0.013
	1.00
	0.024
	2.6

	
	                                                         Analyst 2

	Psoas muscle CSA (cm2)
	0.27
	-2.1
	2.6
	1.2
	0.99
	2.3
	3.0

	Psoas muscle Index (cm2/m2)
	0.057
	-0.74
	0.85
	0.40
	0.99
	0.77
	3.0

	Skeletal muscle CSA (cm2)
	1.2
	-3.6
	5.9
	2.4
	1.00
	5.1
	1.1

	Skeletal muscle Index (cm2/m2)
	0.36
	-1.1
	1.8
	0.75
	1.00
	1.6
	1.1

	SAT CSA (cm2)
	-0.35
	-2.3
	1.6
	0.98
	1.00
	2.0
	0.5

	SAT Index (cm2/m2)
	-0.067
	-0.91
	0.77
	0.43
	1.00
	0.82
	0.5

	VAT CSA (cm2)
	-0.033
	-1.7
	1.6
	0.85
	1.00
	1.6
	0.7

	VAT Index (cm2/m2)
	0.025
	-0.50
	0.55
	0.27
	1.00
	0.50
	0.7

	VAT/SAT Ratio
	0.0017
	-0.012
	0.016
	0.0072
	1.00
	0.014
	1.1

	
	                                                         Analyst 3

	Psoas muscle CSA (cm2)
	0.23
	-1.6
	2.1
	0.94
	1.00
	1.8
	2.3

	Psoas muscle Index (cm2/m2)
	0.089
	-0.53
	0.71
	0.32
	0.99
	0.62
	2.4

	Skeletal muscle CSA (cm2)
	-0.77
	-5.9
	4.4
	2.6
	1.00
	5.1
	1.2

	Skeletal muscle Index (cm2/m2)
	-0.22
	-2.0
	1.5
	0.89
	1.00
	1.7
	1.2

	SAT CSA (cm2)
	-0.21
	-3.4
	3.0
	1.6
	1.00
	3.1
	0.8

	SAT Index (cm2/m2)
	0.058
	-1.1
	1.2
	0.59
	1.00
	1.1
	0.7

	VAT CSA (cm2)
	-0.50
	-2.9
	1.9
	1.2
	1.00
	2.5
	1.6

	VAT Index (cm2/m2)
	-0.13
	-0.88
	0.62
	0.38
	1.00
	0.76
	1.6

	VAT/SAT Ratio
	-0.0017
	-0.024
	0.020
	0.011
	1.00
	0.021
	1.9



	Measurements
	  Scanner
	Bias
	Lower LoA
	Upper LoA
	Pearson
	ICC
	RC
	CoV (%)

	Psoas muscle CSA (cm2)
	

Philips 1.5T
	-0.83
	-3.5
	1.8
	0.99*
	0.99
	3.1
	5.8

	Psoas muscle Index (cm2/m2)
	
	-0.31
	-1.3
	0.68
	0.99*
	0.98
	1.1
	5.8

	Skeletal muscle CSA (cm2)
	
	0.53
	-3.2
	4.3
	1.00*
	1.00
	3.8
	1.0

	Skeletal muscle Index (cm2/m2)
	
	0.16
	-1.1
	1.4
	1.00*
	1.00
	1.2
	0.9

	SAT CSA (cm2)
	
	3.0
	-3.1
	9.2
	1.00*
	1.00
	8.4
	1.2

	SAT Index (cm2/m2)
	
	0.91
	-0.77
	2.6
	1.00*
	1.00
	2.4
	1.1

	VAT CSA (cm2)
	
	-10
	-26
	5.9
	0.97*
	1.00
	25
	26

	VAT Index (cm2/m2)
	
	-3.4
	-8.8
	2.0
	0.94*
	1.00
	8.5
	26

	VAT/SAT Ratio
	
	-0.092
	-0.30
	0.11
	0.61*
	0.97
	0.27
	27

	Psoas muscle CSA (cm2)
	

GE 1.5T
	-0.11
	-1.8
	1.5
	0.99*
	0.99
	1.6
	4.6

	Psoas muscle Index (cm2/m2)
	
	-0.024
	-0.69
	0.64
	0.99*
	0.98
	0.65
	4.7

	Skeletal muscle CSA (cm2)
	
	-2.0
	-9.6
	5.7
	0.99*
	0.99
	8.4
	3.6

	Skeletal muscle Index (cm2/m2)
	
	-1.1
	-3.8
	1.7
	0.99*
	0.98
	3.4
	3.6

	SAT CSA (cm2)
	
	0.94
	-6.1
	8.0
	0.99*
	1.00
	7.1
	1.5

	SAT Index (cm2/m2)
	
	0.21
	-2.5
	2.9
	1.00*
	1.00
	2.7
	1.5

	VAT CSA (cm2)
	
	-8.2
	-27
	11
	1.00*
	0.99
	25
	6.1

	VAT Index (cm2/m2)
	
	-2.3
	-6.9
	2.3
	1.00*
	0.99
	6.4
	5.4

	VAT/SAT Ratio
	
	-0.047
	-0.13
	0.036
	0.99*
	0.98
	0.12
	6.7

	Psoas muscle CSA (cm2)
	

Siemens 1.5T
	-0.11
	-1.8
	1.6
	0.97*
	0.97
	1.7
	3.8

	Psoas muscle Index (cm2/m2)
	
	-0.046
	-0.63
	0.54
	0.97*
	0.97
	0.58
	3.8

	Skeletal muscle CSA (cm2)
	
	-5.3
	-15
	4.5
	0.97*
	0.94
	14
	5.0

	Skeletal muscle Index (cm2/m2)
	
	-1.8
	-5.0
	1.3
	0.98*
	0.95
	4.8
	5.0

	SAT CSA (cm2)
	
	-2.4
	-11
	6.4
	1.00*
	1.00
	9.8
	1.7

	SAT Index (cm2/m2)
	
	-0.76
	-3.8
	2.3
	1.00*
	1.00
	3.3
	1.7

	VAT CSA (cm2)
	
	-10
	-30
	9.6
	1.00*
	0.99
	28
	6.2

	VAT Index (cm2/m2)
	
	-4.0
	-12
	4.5
	1.00*
	0.99
	11
	6.2

	VAT/SAT Ratio
	
	-0.042
	-0.100
	0.016
	1.00*
	0.99
	0.099
	7.2



Abbreviations: CoV, coefficient of variation (%); CSA, cross-sectional area, ICC, intraclass coefficient; LoA, limits of agreement; Pearson, Pearson correlation coefficient; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue

	Measurement
	Scanner
	Bias
	Lower LoA
	Upper LoA
	Pearson
	ICC
	RC
	CoV (%)

	Psoas muscle CSA (cm2)
	

Philips 3T
	-0.38
	-2.4
	1.7
	0.99*
	0.99
	2.1
	4.0

	Psoas muscle Index (cm2/m2)
	
	-0.12
	-0.83
	0.58
	0.98*
	0.98
	0.73
	3.9

	Skeletal muscle CSA (cm2)
	
	-0.14
	-4.3
	4.0
	1.00*
	1.00
	4.0
	1.4

	Skeletal muscle Index (cm2/m2)
	
	-0.11
	-1.6
	1.3
	1.00*
	1.00
	1.4
	1.5

	SAT CSA (cm2)
	
	0.28
	-12
	12
	1.00*
	1.00
	12
	1.5

	SAT Index (cm2/m2)
	
	0.061
	-4.3
	4.4
	1.00*
	1.00
	4.2
	1.5

	VAT CSA (cm2)
	
	-13
	-27
	0.68
	1.00*
	1.00
	29
	8.2

	VAT Index (cm2/m2)
	
	-4.5
	-10
	1.1
	1.00*
	1.00
	10
	8.3

	VAT/SAT Ratio
	
	-0.081
	-0.17
	0.0073
	1.00*
	0.97
	0.18
	8.5

	Psoas muscle CSA (cm2)
	

GE 3T
	-0.36
	-1.9
	1.2
	0.99*
	0.98
	1.6
	3.0

	Psoas muscle Index (cm2/m2)
	
	-0.11
	-0.63
	0.40
	0.98*
	0.98
	0.55
	3.0

	Skeletal muscle CSA (cm2)
	
	-4.3
	-12
	3.2
	0.99*
	0.97
	11
	3.3

	Skeletal muscle Index (cm2/m2)
	
	-1.5
	-4.2
	1.1
	0.98*
	0.96
	4.0
	3.5

	SAT CSA (cm2)
	
	1.6
	-3.8
	7.0
	1.00*
	1.00
	6.1
	1.5

	SAT Index (cm2/m2)
	
	0.58
	-1.3
	2.4
	1.00*
	1.00
	2.1
	1.4

	VAT CSA (cm2)
	
	-4.1
	-15
	7.0
	1.00*
	0.99
	13
	4.1

	VAT Index (cm2/m2)
	
	-1.3
	-5.0
	2.3
	1.00*
	0.99
	4.4
	4.1

	VAT/SAT Ratio
	
	-0.044
	-0.13
	0.039
	1.00*
	0.99
	0.12
	4.7

	Psoas muscle CSA (cm2)
	

Siemens 3T
	0.34
	-2.0
	2.7
	0.99*
	0.99
	2.4
	5.0

	Psoas muscle Index (cm2/m2)
	
	0.14
	-0.71
	0.99
	0.97*
	0.97
	0.87
	4.9

	Skeletal muscle CSA (cm2)
	
	-1.5
	-7.4
	4.5
	0.99*
	0.99
	6.4
	2.0

	Skeletal muscle Index (cm2/m2)
	
	-0.41
	-2.5
	1.7
	0.97*
	0.96
	2.2
	1.9

	SAT CSA (cm2)
	
	1.8
	-2.1
	5.7
	1.00*
	1.00
	5.2
	1.3

	SAT Index (cm2/m2)
	
	0.64
	-0.68
	2.0
	1.00*
	1.00
	1.8
	1.3

	VAT CSA (cm2)
	
	-7.8
	-16
	0.72
	1.00*
	0.99
	17
	16

	VAT Index (cm2/m2)
	
	-2.6
	-5.6
	0.36
	1.00*
	0.98
	5.9
	16

	VAT/SAT Ratio
	
	-0.063
	-0.15
	0.018
	0.99*
	0.97
	0.15
	17


Table S7. Summary of retrospective inter-reader (analysts vs. radiologists) variability assessment for single-slice body composition measurements obtained from a range of scanner manufacturers (Philips, GE, Siemens) and field strengths (1.5T, 3T). * p<0.001

Abbreviations: CoV, coefficient of variation (%); CSA, cross-sectional area, ICC, intraclass coefficient; LoA, limits of agreement; Pearson, Pearson correlation coefficient; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue

Table S8. Summary of retrospective inter-device (study software vs. reference software) variability assessment for body composition measurements obtained from a range of scanner manufacturers (Philips, GE, Siemens) and field strengths (1.5T, 3T).

	Measurement
	Scanner
	Bias
	Lower LoA 
	Upper LoA 
	SD
	ICC
	RC
	CoV (%)

	Psoas muscle CSA (cm2)
	Philips 1.5T
	2.4
	0.88
	4.0
	0.80
	0.98
	5
	1.0

	Skeletal muscle CSA (cm2)
	
	-5.9
	-18
	6.1
	6.1
	0.99
	16
	5.3

	SAT CSA (cm2)
	
	-1.1
	-9.7
	7.5
	4.4
	1.00
	8.1
	3.8

	VAT CSA (cm2)
	
	0.96
	-20
	22
	11
	0.96
	19
	2.6

	Psoas muscle CSA (cm2)
	GE 1.5T
	2.2
	-0.95
	5.3
	1.6
	0.90
	5.1
	1.7

	Skeletal muscle CSA (cm2)
	
	-3.2
	-32
	26
	15
	0.95
	27
	1.2

	SAT CSA (cm2)
	
	4.5
	-6.7
	16
	5.7
	1.00
	14
	3.3

	VAT CSA (cm2)
	
	0.97
	-14
	16
	7.7
	1.00
	14
	9.1

	Psoas muscle CSA (cm2)
	Siemens 1.5T
	2.5
	-0.19
	5.2
	1.4
	0.84
	5.5
	1.7

	Skeletal muscle CSA (cm2)
	
	-12
	-73
	49
	31
	0.60
	60
	1.4

	SAT CSA (cm2)
	
	4.2
	-35
	44
	20
	0.99
	37
	8.1

	VAT CSA (cm2)
	
	6.8
	-31
	44
	19
	0.99
	37
	2.1

	Psoas muscle CSA (cm2)
	Philips 3T
	1.2
	-4.3
	6.7
	2.8
	0.92
	5.6
	1.3

	Skeletal muscle CSA (cm2)
	
	-17
	-59
	25
	21
	0.67
	50
	1.7

	SAT CSA (cm2)
	
	3.9
	-18
	25
	11
	1.00
	21
	3.3

	VAT CSA (cm2)
	
	21
	-13
	54
	17
	0.99
	51
	1.6

	Psoas muscle CSA (cm2)
	GE 3T
	3.5
	-0.77
	7.8
	2.2
	0.65
	7.9
	1.7

	Skeletal muscle CSA (cm2)
	
	-6.6
	-31
	18
	12
	0.90
	26
	6.7

	SAT CSA (cm2)
	
	7.1
	-14
	28
	11
	0.99
	24
	5.4

	VAT CSA (cm2) 
	
	8.6
	-19
	36
	14
	0.97
	30
	2.9

	Psoas muscle CSA (cm2)
	Siemens 3T
	3.5
	-1.0
	8.0
	2.3
	0.88
	8
	1.6

	Skeletal muscle CSA (cm2)
	
	0.63
	-13
	15
	7.2
	0.98
	13
	4.3

	SAT CSA (cm2)
	
	-2.1
	-11
	6.4
	4.3
	1.00
	8.7
	2.0

	VAT CSA (cm2)
	
	1.7
	-2.4
	27
	13
	0.99
	24
	2.0


Abbreviations: CoV, coefficient of variation (%); CSA, cross-sectional area, ICC, intraclass coefficient; LoA, limits of agreement; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue



Table S9. Measurement discrepancies for inter-device (VitruvianScan vs. OsirixMD) variability assessment for skeletal muscle cross-sectional area (CSA) and skeletal muscle index (SMI)

	Case no.
	Summary of radiologist interviews

	1
	All radiologists agreed that the segmentation performed with OsirixMD was incorrect, and that the segmentation by VitruvianScan segmentation was more accurate

	2
	There was consensus agreement among the radiologists that OsirixMD had overestimated the quantity of skeletal muscle, while VitruvianScan provided a more accurate estimation

	3
	The radiologists observed very high levels of fatty infiltration, which they identified as the primary factor influencing the discrepancies between the two segmentation approaches. OsirixMD was noted to overestimate the amount of muscle, whereas VitruvianScan underestimated it. In both cases, all radiologists rated VitruvianScan’s performance as equal to or better than that of OsirixMD

	4
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