Table S1: Spiked recovery studies for toxic metals

| Brand ID | Metals | Spike Conc. (ppm) | Conc. in Spiked Sample (mg/kg) | Conc. in Unspiked Sample (mg/kg) | Recovery (%) |
| --- | --- | --- | --- | --- | --- |
| A | Ag | 2 | 10.1 | 8.2 | 95 |
|  | Cd | 2 | 35.5 | 33.7 | 90 |
|  | Ni | 2 | 182 | 180 | 85 |
|  | Pb | 6 | 68.5 | 62.7 | 96.7 |
| B | Ag | 2 | 8.7 | 6.7 | 100 |
|  | Cd | 2 | 72.9 | 71.1 | 90 |
|  | Ni | 2 | 103 | 101 | 90 |
|  | Pb | 6 | 119.9 | 114 | 98.3 |
| C | Ag | 2 | 11.9 | 10.2 | 85 |
|  | Cd | 2 | 38.6 | 36.7 | 95 |
|  | Ni | 2 | 3,085 | 3,083 | 90 |
|  | Pb | 6 | 47.8 | 42.2 | 93.3 |
| D | Ag | 2 | 8.5 | 6.9 | 80 |
|  | Cd | 2 | 32.3 | 30.4 | 95 |
|  | Ni | 2 | 25.3 | 23.5 | 90 |
|  | Pb | 6 | 43.2 | 37.2 | 100 |
| E | Ag | 2 | 14.6 | 12.8 | 90 |
|  | Cd | 2 | 50.8 | 49.1 | 85 |
|  | Ni | 2 | 642 | 640 | 95 |
|  | Pb | 6 | 50.9 | 45.6 | 88.3 |

However, it should be noted that the Ni spike concentration used for recovery assessment (2 ppm) was relatively small compared with the native Ni concentrations measured in some samples. Consequently, the spike represented only a minor fraction of the background concentration and may have limited the sensitivity of the recovery test for assessing analytical performance at elevated Ni levels. Nevertheless, the recovery values obtained were within acceptable quality-control limits, indicating satisfactory overall method performance.

Table S2: One-way ANOVA results for differences in metal concentrations across sample groups

|  |  | Sum of Squares | df | Mean Square | F-value | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| Cadmium (Cd) | Between Groups | 3185.740 | 4 | 796.435 | 29.657 | <.000 |
|  | Within Groups | 537.100 | 20 | 26.855 |  |  |
|  | Total | 3722.840 | 24 |  |  |  |
| Lead (Pb) | Between Groups | 24194.360 | 4 | 6048.590 | 327.784 | <.000 |
|  | Within Groups | 369.060 | 20 | 18.453 |  |  |
|  | Total | 24563.420 | 24 |  |  |  |
| Nickel (Ni) | Between Groups | 27102478.640 | 4 | 6775619.660 | 294.414 | <.000 |
|  | Within Groups | 460278.600 | 20 | 23013.930 |  |  |
|  | Total | 27562757.240 | 24 |  |  |  |
| Silver (Ag) | Between Groups | 40.940 | 4 | 10.235 | 4.442 | .010 |
|  | Within Groups | 46.080 | 20 | 2.304 |  |  |
|  | Total | 87.020 | 24 |  |  |  |