Table S1: The sunflower (Helianthus annuus L.) varieties deposited in the EMBRAPA SOJA herbarium.

| Cultivar | Characteristics | Deposit number MAPA (Ministry of Agriculture and Livestock) |
| --- | --- | --- |
| BRS 323 | A simple hybrid that presents wide adaptability to the edaphoclimatic conditions of Brazil | 26743 |
| BRS 415 | a non-hybrid open-pollinated variety also with good adaptability to the edaphoclimatic conditions of Brazil | 35024 |

Table S2: Instrument operation and data acquisition parameters

| ICP-MS parameters |  |
| --- | --- |
| Power (W) | 1550 |
| Cool gas (L min-1) | 14 |
| Auxiliary gas (L min-1) | 0.8 |
| Nebulizer gas (L min-1) | 1.08 |
| Sampler and skimmer cones | Ni |
| Data acquisition parameters |  |
| Acquisition mode | STD |
| Dwell time (ms) | 10 |