Integration of Analytical Quality by Design and Green Chemistry Principles in the Development of an HPTLC Method for Desidustat Estimation

Parmar Bharvia, Bhavin Thummara, Bhumika Dudhatrab, Hardi Joshia, Bhumika Maheriyaa, Jigna Vadaliaa, Kashyap Thummara, *

a School of Pharmacy, Gujarat Technological University, Gandhinagar, Gujarat, India.

b School of Applied Sciences and Technologies, Chandkheda, Ahmedabad, Gujarat, India.

Tables indicating detailed raw HPTLC method validation data for desidustat

Table S1: Precision data HPTLC method for Desidustat

| Component | Drug Concentration | Intra-Day |  |  | Inter-Day |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | RSD |  |  | RSD |
| Desidustat | 1000 ng/band | Area ± SD | 0.01210 ± 0.000175 | 1.45 | Area ± SD | 0.01226 ± 0.000231 | 1.88 |
|  |  | Rf ± SD | 0.439 ± 0.00282 | 0.64 | Rf ± SD | 0.433 ± 0.00282 | 0.65 |

Table S2: Accuracy data for Desidustat

| % Recovery Level | Concentration (ng/band) | Amount Recovered (ng/band) ± SD | Recovery (%) | RSD (%) |
| --- | --- | --- | --- | --- |
| 50 | 900 | 926.4 ± 0.0242 | 102.93 | 2.62 |
| 100 | 1200 | 1302 ± 0.0633 | 107 | 4.86 |
| 150 | 1500 | 1485 ± 0.0188 | 99 | 1.27 |