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Tables indicating detailed raw HPTLC method validation data for desidustat

Table S1: Precision data HPTLC method for Desidustat
	Component

	Drug Concentration

	Intra-Day
	Inter-Day

	
	
	
	
	RSD
	
	
	RSD

	Desidustat
	1000 ng/band
	Area ± SD
	0.01210 ± 0.000175
	1.45
	Area ± SD
	0.01226 ± 0.000231
	1.88

	
	
	Rf ± SD
	0.439 ± 0.00282
	0.64
	Rf ± SD
	0.433 ± 0.00282
	0.65






Table S2: Accuracy data for Desidustat
	% Recovery Level
	Concentration (ng/band)
	Amount Recovered (ng/band) ± SD
	Recovery (%)
	RSD (%)

	50
	900
	926.4 ± 0.0242
	102.93
	2.62

	100
	1200
	1302 ± 0.0633
	107
	4.86

	150
	1500
	1485 ± 0.0188
	99
	1.27

















