Table S2. Operating conditions of the ICP-MS instruments

	Instrument
	Agilent 7700 series

	ICP
	RF power
	1.55 kW

	
	Plasma gas
	Argon

	
	Plasma gas flow rate
	15.0 l min−1

	
	Carrier gas flow rate
	1.09 l min−1

	
	S/C Temperature
	2°C

	
	Reaction gas
	H2, He

	
	Reaction gas flow rate
	6 ml min−1 for H2

	
	
	4.3 ml min−1 for He

	MS
	Scan mass range
	55Mn, 77Se, 78Se, 89Y, 95Mo, 111Cd, 114Cd, 115In, 206Pb, 207Pb, 208Pb, 200Hg, 201Hg, 202Hg, 205Tl

	
	Ion count acquisition (points)
	3

	
	Number of replicates
	3


[bookmark: _GoBack]Abbreviations: ICP-MS, inductively coupled plasma-mass spectrometry.
