Table S1 – Launch times of metropolitan 4th of July Fireworks displays sampled by air monitors and respective show lengths with locations of the shows with an estimated centralized point.

| Metropolitan Area | Launch Time | Display Length (min) | Launch Location |
| --- | --- | --- | --- |
| New York City, NY | 21:25 EST | 25 | 40° 44' 26.2" N 73° 58' 00.4" W |
| Philadelphia, PA | 21:45 EST | 13 | 39° 57' 55.7" N 75° 10' 50.9" W |
| Boston, MA | 22:30 EST | 30 | 42° 21' 31.8" N 71° 04' 40.9" W |
| Washington D.C. | 21:09 EST | 17 | 38° 53' 21.7" N 77° 02' 41.3" W |
| San Francisco, CA | 21:30 PST | 30 | 37° 48' 41.2" N 122° 25' 03.9" W |
| Seattle, WA | 22:20 PST | 18 | 47° 38' 35.9" N 122° 20' 05.7" W |

Table S2 – Operating conditions for the ICP-MS

| Condition | Value (Unit) |
| --- | --- |
| Nebulizer gas flow Meinhard | 1.02 ml/min |
| Spray Chamber | Glass Cyclonic |
| RF power | 1600 Watts |
| Analog Stage Voltage | -1693 Volts |
| Pulse Stage Voltage | 1100 Volts |
| Discriminator Threshold | 12 |
| Deflector Voltage | -11.5 Volts |

Table S3 – Metropolitan cities with the number of air monitors data was extracted.

| Metropolitan Area | EPA Monitors | Purple Air Monitors |
| --- | --- | --- |
| New York City, NY | 8 | 5 |
| Philadelphia, PA | 5 | 5 |
| Boston, MA | 4 | 5 |
| Washington D.C. | 4 | 0 |
| San Francisco, CA | 4 | 5 |
| Seattle, WA | 4 | 5 |

Figure S1. Animated time course of PM2.5 concentrations obtained from sampling alongside of New York City’s East River relative to the Macy’s Fourth of July Fireworks show.

Figure S2. Animated time course of PM2.5 concentrations obtained from EPA’s AirNow API relative to the Macy’s Fourth of July Fireworks show.

Figure S3. 36-hour synchronized time course of the average concentrations measured on EPA equivalent monitors across 6 major metropolitan areas with fireworks displays beginning on 7/4/2023 at approximately 20:00:00 (hh:mm:ss).

Figure S4 (a-e). Hourly concentration data from Purple Air monitors across cities a) New York City, b) Philadelphia, c) Boston, d) Seattle, e) San Francisco, within a 1.5-kilometer radius and the fireworks show highlighted in grey.