Logo of the Hospital/Laboratory

ERIC logo can be included if the laboratory has passed the ERIC TP53 Certification

Mutational analysis of the TP53 gene

| Performed by | Requested by |
| --- | --- |
| Laboratory | Hospital, Department... |
| Address | Address |

| Patient name: |  | Date of sample collection: |  |
| --- | --- | --- | --- |
| Diagnosis: | CLL | Date of sample delivery: |  |
| Type of material: | Peripheral blood/Genomic DNA | Result issued: |  |

Analytical method: The entire coding region of the TP53 gene including splice sites was analyzed using amplicon targeted next-generation sequencing. Genomic DNA was amplified using high-fidelity Q5 Polymerase (New England Biolabs) with primers specific for TP53 exons 2-11. The library was prepared using the Nextera XT DNA Sample Preparation Kit (Illumina) and sequenced using MiSeq Reagent Kit v2 (300 cycles) on the Illumina MiSeq instrument. For variant detection, CLC Genomic Workbench version 7.5 (Qiagen) was used. The reads were aligned to the human reference genome (GRCh38.p7) and variants were annotated using ANNOVAR.

Coverage:  minimum: 6468, mean: 12173 per base

Detection limit: >0.2% variant allele frequency

Reference sequences: LRG_321t1, LRG_321p1. Mutation nomenclature follows the Human Genome Variation Society (HGVS) guidelines.

Result: Low variant allele frequency mutation detected

Number of mutations: 1

Mutation description: c.586C>T p.(R196*)

Mutation type: Nonsense variant in exon 6 within the DNA coding domain leading to premature stop codon formation. According to the locus specific databases (IARC, TP53 website) this is a pathogenic variant frequently found as somatic in human cancer.

Allelic proportion: 6% variant allele frequency

Neutral polymorphism and benign variants are not included in this report and can be provided upon request.

Interpretation: A pathogenic variant present at a low variant allelic frequency was detected within the coding region of the TP53 gene. The clinical significance of TP53 mutations with variant allele frequency <10% is currently inconclusive. This information should be taken with caution and decisions made based on the therapeutic options available.

Authorized signatures:

| Analysis performed by: |  | Result issued by: |  |
| --- | --- | --- | --- |