Supplementary Figures and Tables to:

Standardized next-generation sequencing of immunoglobulin and T-cell receptor gene recombinations for MRD marker identification in acute lymphoblastic leukemia; a EuroClonality-NGS validation study

Monika Brüggemann1*, Michaela Kotrová1,2*, Henrik Knecht1, Jack Bartram3, Myriam Boudjogrha4, Vojtech Bystry5, Grazia Fazio6, Eva Froňková2, Mathieu Giraud7, Andrea Grioni6, Jeremy Hancock8, Dietrich Herrmann1, Cristina Jiménez9, Adam Krejci5, John Moppett10, Tomas Reigl5, Mikael Salson7, Blanca Scheijen11, Martin Schwarz1, Simona Songia6, Michael Svaton2, Jacques JM van Dongen12, Patrick Villarese13, Stephanie Wakeman8, Gary Wright3, Giovanni Cazzaniga6, Frédéric Davi4, Ramón García-Sanz9, David Gonzalez14, Patricia JTA Groenen11, Michael Hummel15, Elizabeth A. Macintyre13, Kostas Stamatopoulos16, Christiane Pott1, Jan Trka2, Nikos Darzentas1,5, Anton W. Langerak17, on behalf of the EuroClonality-NGS working group

# Supplementary Figure 1: Schematic diagram of the working group structure.

Supplementary figure 2: Junction nucleotide length histograms

2A) Histograms showing junction nucleotide lengths of complete IGH rearrangements (IGH-VJ tube) in a BCP-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the V-J genes combination.

2B) Histograms showing junction nucleotide lengths of incomplete IGH rearrangements (IGH-DJ tube) in a BCP-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the D-J genes combination.

2C) Histograms showing junction nucleotide lengths of IGK-VJ and IGK-V-Kde rearrangements (IGK-VJ-Kde tube) in a B-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the V-J-Kde genes combination.

2D) Histograms showing junction nucleotide lengths of intron-Kde rearrangements (intron-Kde tube) in a BCP-ALL patient, cPT-QC, BC, thymus, and tonsil.

2E) Histograms showing junction nucleotide lengths of complete TRB rearrangements (TRB-VJ tube) in a T-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the V-J genes combination.

2F) Histograms showing junction nucleotide lengths of incomplete TRB rearrangements (TRB-DJ tube) in a T-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the D-J genes combination.

2G) Histograms showing junction nucleotide lengths of TRG rearrangements (TRG tube) in a T-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the V-J genes combination.

2H) Histograms showing junction nucleotide lengths of TRD rearrangements (TRD tube) in a T-ALL patient, cPT-QC, BC, thymus, and tonsil. Bars are coloured according to the V-D-J genes combination.

Supplementary figure 2A

Supplementary figure 2B

Supplementary figure 2C

Supplementary figure 2D

Supplementary figure 2E

Supplementary figure 2F

Supplementary figure 2G

Supplementary figure 2H

# Supplementary Table 1: Meetings of the EuroClonality-NGS working group

| No. | Year | Date | Location | Aim/topics |
| --- | --- | --- | --- | --- |
| 1 | 2012 | May 10-11 | Hoofddorp, the Netherlands | Kick-off meeting |
| 2 | 2012 | September 17-18 | Berlin, Germany | General meeting |
| 3 | 2012 | November 26-27 | Rotterdam, the Netherlands | Primer design and bioinformatics meeting |
| 4 | 2013 | January 28-29 | Rotterdam, the Netherlands | Primer design and bioinformatics meeting |
| 5 | 2013 | June 6-7 | Paris, France | Primer design and bioinformatics meeting |
| 6 | 2013 | November 6-8 | Rotterdam, the Netherlands | General meeting |
| 7 | 2014 | March 3-4 | Chania / Crete, Greece | General meeting |
| 8 | 2014 | Sep 29-Oct 1 | Rotterdam, the Netherlands | General meeting |
| 9 | 2015 | February 18-20 | Prague, Czech Republic | General meeting |
| 10 | 2015 | October 5-6 | Rotterdam, the Netherlands | General meeting |
| 11 | 2016 | April 13-15 | Kiel, Germany | General meeting |
| 12 | 2016 | October 3-5 | Thessaloniki, Greece | General meeting |
| 13 | 2017 | April 3-5 | Uppsala, Sweden | General meeting |
| 14 | 2017 | October 11-13 | Belfast, Northern Ireland | General meeting |
| 15 | 2018 | April 9-11 | Lille, France | General meeting |

Supplementary Table 2: Overview over EuroClonality-NGS primer sets testing and validation rounds

Supplementary Table 2A: Design of the IGH-VJ-FR1 panel in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | Sept 2012-Oct 2013 | 26 | 4 | Primer concentrations: 0.025/0.05/0.1/0.2 µM each MgCl2: 1.5/3/4/5 mM Annealing temperature: 54/57/60/63°C Cycle numbers: 1st PCR: 20/25/30/35 cycles 2nd PCR: 20/25/30/35 | Ramos cell line | PBMNCs | Aqua HeLa cell line | Kiel | Exclusion of 16 V-primers covering pseudo genes and the redundant ones |
| 2 | Multicentre validation (Pilot1) | January – February 2014 | 10 | 4 | Primer concentrations:0.1 µM each, MgCl2: 1.5mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | Spike-in (CA-46 + GRANTA + TOM-1) 37 patient samples pool with 39 rearranged IGH | Mixed MNCs 20 healthy donors | HeLa cell line Aqua | Kiel Torino Monza London Prague |  |
| 3 | Single-centre validation | 03-10/2014 | 10 | 4 | Primer concentrations: individualized within multiple testing rounds MgCl2: 1.5mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 26 B-cell lines pool (29 rearrangements) 35 patient samples pool (37 rearrangements) |  | Aqua | Kiel | Addition of 5 V-primers and exclusion of 2 J-primers |
| 4 | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 15 | 2 | Primer concentrations: adapted to 0.1/0.2 µM each, MgCl2: 2.5mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 50 diagnostic ALL samples Spike-in pool (9 cell lines) | Central polyclonal control pool (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |

Supplementary Table 2B: Design of the IGH-DJ panel in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | Sept 2012-Oct 2014 | 9 | 1 | Primer concentrations: 0.5/0.1/0.2 µM each MgCl2: 1.5/2/3/4 mM Annealing temperature: 57/60/63°C Polymerase : Taq Gold vs Hifi Roche Cycle numbers: 1Step PCR : 25 or 30 or 35 cycles | 6 patients with clonal rearranged IGH-DJ | PBMNCs Tonsils | Aqua HeLa cell line | Paris Pitié | Removal of IGHD7 primer Approval of reaction conditions: Primer concentrations: 0.1 µM each MgCl2: 2mM Annealing temperature: 60°C Polymerase : Hifi Roche Cycle numbers: 1Step PCR : 35 cycles |
| 2 | Single-centre validation | Oct 2014- October 2015 | 8 | 1 | Primer concentrations: 0.1 µM each MgCl2: 2mM Annealing temperature: 60°C Cycle numbers: 1Step PCR: 35 cycles | 38 patients with clonal rearranged IGH-DJ | MNCs 4 healthy donors | Aqua HeLa cell line | Paris Pitié |  |
| 3 | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 8 | 1 | Primer concentrations: 0.2 µM each (FPs), 0.4 µM each (Reverse primer) MgCl2: 3mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 50 ALL diagnostic samples cITC (9 cell lines pool) | Central polyclonal control (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |

Supplementary Table 2C: Design of the IGK-VJ-Kde and intron-Kde panels in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | September 2012 - February 2013 | 16 V and 1 intron | 3 J and 1 Kde | (1) IGKV-IGKJ (2) IGKV/intron-Kde Multiplex testing PCR volume 25 µl 0.2U Taq primers: 0.2 µM each MgCl2: 1.5 mM Annealing temperature 60°C Cycles PCR: 35 GeneScanning | 5 defined monoclonal IGK-VJ-Kde samples | 3 tonsils 5 defined IGK-VJ polyclonal samples; 8 IG-Kde polyclonal samples | Aqua | Nijmegen | Redesign IGKV 1/4/5/6/7 and intron primers, addition of 4 IGKV gene- specific primers |
| 2 | Multicentre validation | March 2013- March 2014 | 20 V and 1 intron | 3 J and 1 Kde | (1) IGKV-IGKJ (2) IGKV/intron-Kde (3) IGKV/intron-IGKJ/Kde -Polyclonal samples multiplex (1, 2 and 3) testing; PCR volume 25 µl 0.2U Taq primers: 0.2 µM each MgCl2: 1.0/1.5/2.0/2.5 mM Annealing temperature 60°C Cycles PCR: 35 GeneScanning -Polyclonal samples monoplex testing - B-lineage cell line controls monoplex testing - B-lineage cell line controls multiplex (1 and 2) testing; PCR volume 25 µl 0.2U Taq primers: 0.2 µM each MgCl2: 1.5 mM Annealing temperature 60°C Cycles: 35 GeneScanning | 60 defined B-lineage cell line controls | 4 tonsils, 1 spleen, mononuclear cells |  | Rotterdam Nijmegen | Exclusion of 7 IGKV (pseudogene specific) primers, redesign intron primer |
| 3 | Single-centre validation | March 2014 - March 2015 | 13V and 1 intron | 3 J and 1 Kde | (3) IGKV/intron-IGKJ/Kde PCR volume 25 / 50 µl 0.2U Taq primers: 0.2 µM each DNA input 25/50 ng, MgCl2: 1.5/2.0/2.5/3.0 mM Annealing temperature 60°C Cycles PCR: 30 or 35 Blunt-ended adaptor ligation NGS | Kappa artificial polyclonal control (APC) ; 9 defined B-lineage cell line controls and 3 defined monoclonal samples; composed of 23 R (based on Biomed-2/EuroClonality PCRs) 3 defined B-lineage cell line controls | 2 tonsils |  | Nijmegen | Preferred condition PCR volume 25 ul 3.0mM MgCl2 DNA input 50ng of artificial polyclonal control input cycles 30x (in context of additional cycles during library preparation) Detection of intron-Kde rearrangement is suboptimal |
| 4. | Multicentre testing 1 | March 2015 - March 2016 | 13V and 1 intron | 3 J and 1 Kde | (1) IGKV-IGKJ (2) IGKV/intron-Kde PCR volume 25 µl 0.2U Taq primers: 0.2 µM each MgCl2: 3.0 mM DNA input 50 ng Annealing temperature 60°C Cycles PCR: 30 Blunt-ended adaptor ligation NGS | Serial dilution 2 defined B-lineage cell line controls (with each both IGKV-IGKJ and IGKV-Kde rearrangements) 28 diagnostic B-cell monoclonal samples | 2 tonsils |  | Nijmegen Berlin Rotterdam | Detection of intron-Kde rearrangement needs optimization for the clonality protocol |
| 5.* | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 11V and 1 intron | 3J and 1 Kde | (1) IGKV-IGKJ/Kde (2) intron-Kde primers: 0.1 µM each MgCl2: 1.5mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 50 ALL diagnostic samples cITC (9 cell lines pool) | Central polyclonal control (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |
| 6.** | Multicentre testing 2 | March 2016 - May 2017 | 13V and 1 intron | 3 J and 1 Kde | (1) IGKV-IGKJ (2) IGKV/intron-Kde (3) IGKV/intron-J/Kde (4) IGKV-IGKJ/Kde (5) intron-Kde (6) IGKV-Kde Testing variables: PCR volume 25 µl 0.2U Taq primers: 0.2 µM each, except for intron primer 0.2/ 1 /2 µM MgCL2 : 1.5/3.0 mM DNA input 2.5/5/10/20/40 ng Annealing temperature 60°C Cycles PCR: 30 Blunt-ended adaptor ligation NGS | Serial dilution a defined B-lineage cell line control 7 diagnostic monoclonal B-cell samples | 3 tonsils, 2 lymph nodes, 3 PBMC, 1 bone marrow |  | Nijmegen Rotterdam | Approval of final conditions for FFPE: a IGKV-IGKJ/Kde multiplex PCR and a second intron-Kde PCR alternatively; a single multiplex PCR: IGKV/intron-IGKJ/Kde followed by separate analysis of IGKV-IGKJ and IGKV/intron-Kde rearrangements in the bioinformatic pipeline; PCR volume 25 µl 0.2U Taq primers: 0.2 µM each MgCl2: 1.5 mM DNA input 20-40ng Annealing temperature 60°C Cycles: 30x |

*Adaption of the assay for IG/TR marker identification in ALL  ALL

** Optimization of the Kappa assay for short fragment sequencing for clonality detection using Ion Torrent sequencing technology (see accompanying manuscript by Scheijen et al., submitted)

Supplementary Table 2D: Design of the TRB VJ and DJ panels in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | Sept 2012 -Oct 2013 | 49 VB 2 DB | 13 | Primer concentrations: 0.025/0.05/0.1/0.2 µM each MgCl2: 1.5/3/4/5 mM Annealing temperature: 54/57/60/63°C Cycle numbers: 1st PCR: 20/25/30/35 cycles 2nd PCR: 20/25/30/35 | Jurkat cell line | PBMNCs | Aqua HeLa cell line | Kiel Berlin | Removal of 10 redundant VB primers Approval of reaction conditions: Primer concentrations: 0.025 µM each MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles |
| 2 | Multicentre validation (Pilot 1) | Oct 2013- October 2014 | 38 VB | 13 | Primer concentrations: 0.025 µM each MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles Gel extraction of second round PCR products | 30 patient samples pool with 42 clonally rearranged TRB 29 cell lines pool with 43 rearranged TRB | Mixed MNCs 20 healthy donors | Aqua HeLa cell line | Kiel Torino Monza London Prague | Removal of 2 VB primers Addition of 1VB primer Redesign of 7 VB primers Redesign of 1 JB primer Adapt primer concentrations |
| 3 | Single-centre validation |  | 38 VB | 13 | Primer concentrations: individualized within multiple testing rounds MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles | 28 T-cell lines pool (39 rearrangements) 34 patient samples pool (47 rearrangements) |  |  | Kiel | No further modifications |
| 4 | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 38 VB 2 DB | 13 | Primer concentrations: individualized MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 50 ALL diagnostic samples Spike-in (9 cell lines pool) | Central polyclonal control (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |

Supplementary Table 2E: Design of the TRG panel in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | Sept 2012-Spring 2014 | 8 | 4 | Primer concentrations: 0.1/0.2 µM each (FPs) 0.2/0.4 µM each (Reverse primers) MgCl2: 1.5mM Annealing temperature: 60/63°C Cycle numbers: 1st PCR: 20/25 cycles 2nd PCR: 30/35 cycles | 6 cell lines pool with 12 rearranged TRG 1 patient samples with 2 clonally rearranged TRG | Mixed PBMNCs 5 healthy donors | Aqua HeLa cell line | Monza | Redesign of 2 VG primers |
| 2 | Single-centre validation | Spring 2014-Feb 2015 | 8 | 4 | Primer concentrations: 0.1 µM each (FPs) 0.2 µM each (Reverse primers) MgCl2: 1.5mM Annealing temperature: 60/63°C Cycle numbers: 1st PCR: 25/30cycles 2st PCR: 15/20 cycles Enzyme: HiFi Fast Start (Roche) / TaqGold (Applied Biosystem) | 27 cell lines pool with 46 rearranged TRG 34 patient samples with 37 clonally rearranged TRG | Mixed PBMNCs 5 healthy donors | Aqua | Monza | Redesign of 1 VG primer |
| 3 | Single-centre validation | Feb 2015-April 2016 | 8 | 4 | Primer concentrations: 0.005/0.2/0.3 µM (FPs) 0.2 µM (Reverse primers) MgCl2: 1.5mM/4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 30 cycles 2st PCR: 15 cycles | 27 cell lines pool with 46 rearranged TRG 34 patient samples with 37 clonally rearranged TRG | Mixed PBMNCs 5 healthy donors | Aqua | Monza | Adapt primer concentrations |
| 4 | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 8 | 4 | Primer concentrations: individualized MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles | 50 ALL diagnostic samples cITC (9 cell lines pool) | Central polyclonal control (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |

Supplementary Table 2F: Design of the TRD panel in consecutive testing rounds

| Version |  | Time frame | Number of FPs | Number of RPs | Tested reaction conditions | Tested clonal controls | Tested polyclonal controls | Tested neg controls | Involved labs | Consequence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Initial design | Sept 2012-Oct 2014 | 6 VD 1 DD | 5 JD 1 Ja29 1 DD | Primer concentrations: 0.01/0.1µM each MgCl2: 1.5/3/4 mM Annealing temperature: 57/60/63°C Polymerase : Taq Gold vs Hifi Roche Cycle numbers: 1Step PCR : 25 or or 30 or 35 cycles | Jurkat, PEER, LOUCY cell line | PBMNCs | Aqua HeLa cell line | Paris Necker | Removal all VD and addition VD7 and VD8 Approval of reaction conditions: Primer concentrations: 0.1 µM each MgCl2: 4mM Annealing temperature: 63°C Polymerase : Hifi Roche Cycle numbers: 1Step PCR : 35 cycles |
| 2 | Single-centre validation | Oct 2014- October 2015 | 8 VD 1 DD | 5 JD 1 Ja29 1 DD | Primer concentrations: 0.1 µM each MgCl2: 4mM Annealing temperature: 63°C Cycle numbers: 1Step PCR: 35 cycles | 18 patient samples pool with 21 clonally rearranged TRD 3 cell lines pool with 6 rearranged TRD | PBMNC of 6 healthy donors | Aqua HeLa cell line | Paris Necker | Annealing temperature: 62°C |
| 3 | Multicentre validation (ALL marker identification) | Spring 2016-October 2017 | 8 VD 1 DD | 5 JD 1 Ja29 1 DD | Primer concentrations: individualized MgCl2: 4mM Annealing temperature: 62°C Cycle numbers: 1st PCR: 35 cycles 2nd PCR: 20 cycles AND 1Step PCR comparison | 50 ALL diagnostic samples cITC (9 cell lines pool) | Central polyclonal control (1/3 thymus, 1/3 tonsil, 1/3 PBMNC) | Aqua | Kiel Prague London/Bristol Paris Necker Monza | Approval of final assay for IG/TR marker identification |

Supplementary Table 3: Primer sequences and primer concentrations. Upper part: 1st step PCR primers. Lower part: 2nd step PCR primers

Supplementary Table 3 (continued)

Supplementary Table 4: Patients characteristics including Sanger sequencing IG/TR profiles

| Lab | Patient ID | Immuno-phenotype | % blasts at dx | IG/TR rearrangements identified by Sanger sequencing |
| --- | --- | --- | --- | --- |
| Bristol | 10 | T-ALL | 80.0% | - |
| Bristol | 1 | BCP-ALL | 93.6% | IGHV1-2 - IGHD3-16 - IGHJ2 / IGKV1-5 - KDE / TRBD1 - TRBJ2-7 / TRBD1 - TRBJ2-5 / TRBV6-2 - TRBD2 / TRDV2 - TRDD3 / TRDV2 - TRDD3 - TRAJ29 / TRGV9 - TRGJ1 |
| Bristol | 4 | BCP-ALL | 86.0% | IGHD6-13 - IGHJ4 / IGHV3-52 - IGHD3-3 - IGHJ5 / TRDV2 - TRDD3 |
| Bristol | 2 | BCP-ALL | 95.0% | IGHV3-7 - IGHD2-8 - IGHJ6 / TRBV6-1 - TRBD2 - TRBJ2-3 / TRDD2 - TRDD3 / TRDV2 - TRDD3 / TRGV2 - TRGJP2 / TRGV3 - TRGJ1 |
| Bristol | 8 | BCP-ALL | 83.0% | IGHV6-01 - IGHD3-10 - IGHJ6 / IGHV3-43 - IGHD3-10 - IGHJ6 / IGHV2-5 - IGHD2-8 - IGHJ6 / TRBV21-1 - TRBD1 - TRBJ2-5 / TRDV2 - TRDD3 / TRGV4 - J2 / TRGV3 - TRGJP1 |
| Bristol | 7 | T-ALL | 63.0% | TRBD2 - TRBJ2-5 / TRBV21-1 - TRBD2 - TRBJ1-6 / TRBV4-1 - TRBJ2-3 / TRGV2 - TRGJ2 / TRGV8 - TRGJ2 |
| Bristol | 3 | T-ALL | 95.0% | TRBV28 - TRBD1 - TRBJ1-1 / TRBV5-8 - TRBD1 - TRBJ2-5 / TRDD2 - TRDD3 |
| Bristol | 5 | T-ALL | 81.8% | TRBD2 - TRBJ2-1 / TRBD1 - TRBJ1-3 / TRBD2 - TRBJ2-1 / TRBV6-2 - TRBD1 - TRBJ1-3 / TRGV8 - TRGJ1 / TRGV4 - TRGJ1 |
| Bristol | 6 | BCP-ALL | 90.0% | IGHD2-2 - IGHJ6 / IGHD3-3 - IGHJ6 / IGHV4-34 - IGHD2-15 - IGHJ6 / TRBD1 - TRBJ2-7 / TRDD2 - TRDD3 |
| Bristol | 9 | BCP-ALL | 90.0% | IntRSS - KDE / TRDV2 - TRDD3 |
| Kiel | 10 | MPAL | 100.0% | IGHV1-3 - IGHJ4 / IGHV4-31 - J6 / IGKV1-39 - IGKJ5 / TRDV2 - TRDJ1 |
| Kiel | 1 | BCP-ALL | 48.0% | IGHD2-2 - IGHJ6 / TRBD2 - TRBJ2-4 / TRBV13 - TRBJ2-7 / TRDV2 - TRDD3 / TRGV9 - TRGJ1 |
| Kiel | 5 | c-ALL | 67.0% | IGHV3-71 - IGHJ5 / IGKV1-12 - KDE / TRBV10-3 - TRBJ2-3 / TRBV6-5 - TRBJ1-5 / TRDV2 - TRJA29 / TRGV2 - TRGJP2 / TRGV3 - TRGJ1 |
| Kiel | 9 | B-ALL | 90.0% | IGHD2-2 - IGHJ6 / IGHD6-19 - IGHJ6 / IGHV3-30-5 - IGHJ6 / IGHV6-1 - IGHJ6 |
| Kiel | 7 | B-ALL | 90.0% | IGHV3-7 - IGHJ6 / IGKV3-15 - IGKJ1 / TRBV21-1 - TRBJ2-7 |
| Kiel | 4 | c-ALL | 100.0% | IGHV1-2 - IGHJ5 / IGKV2-40 - IGKJ4 / IGKV3-20 - IGKJ4 / IntRSS - KDE (2×) |
| Kiel | 2 | B-ALL | 60.0% | IGHV3-43D - IGHJ6 / IGKV1-8 - KDE / TRBD1 - TRBJ2-5 / TRDD2 - TRDD3 / TRDV2 - TRDD3 - TRDJ2 |
| Kiel | 6 | T-ALL | 80.0% | TRDD2 - TRDJ1 / TRDV2 - TRDD3 |
| Kiel | 8 | T-ALL | 83.0% | IGHD6-19 - IGHJ4 / TRBV7-21 - TRBJ2-1 / TRDV5-TRDJ1 / TRGV4 - J1 / TRGV8 - TRGJ1 |
| Kiel | 3 | c-ALL | 88.0% | IGHV1-2 - IGHJ6 / IGKV2-29 - IGKJ4 / IGKV2-30 - KDE / TRDV2 - TRAJ29 / TRDV2 - D3 / TRGV11 - TRGJ1 / TRGV3 - TRGJ1 |
| Monza | 1 | BCP-ALL | 68.0% | IGHD2-2 - IGHD6-13 - IGHJ6 / IGHV3-13 - IGHJ6 / IGHV4-55 - IGHJ6 / IGKV3-15 - KDE / IGKV1-37 - IGKJ4 / IntRSS - KDE / TRBD2 - TRBJ2-1 / TRBV27 - TRBJ2-5 / TRBV7-2 - TRBJ1-1 / TRDD2 - TRDD3 / TRDV2 - TRDD3 / TRGV2 - TRGJP1 / TRGV11 - TRGJP2 |
| Monza | 10 | BCP-ALL | 90.0% | IGHV3-30 - IGHJ2 / TRBD1 - TRBJ2-7 / TRBV21-1 - TRBJ2-7 / TRDV2 - TRDD3 / TRDV2 - TRDJ1 / TRDD2 - TRDD3 / TRGV8 - TRGJ2 / TRGV9 - TRGJ1 |
| Monza | 2 | BCP-ALL | 90.0% | IGHD4-23 - IGHJ5 / IGHV3-3 - IGHJ4 / TRDD2 - TRDD3 / TRDV2 - TRDD3 |
| Monza | 3 | BCP-ALL | 80.0% | IGHV2-5 - IGHJ6 / IGHV4-55 - IGHJ4 / IGHV3-3 - IGHJ4 / IGKV3-15 - IGKJ4 / TRAV2 - TRAJ29 / TRDV2 - TRDD3 (2×) / TRGV9 - TRGJ2 / TRGV5 - TRGJ2 |

# Supplementary Table 4 (continued)

| Lab | Patient ID | Immuno-phenotype | % blasts at dx | IG/TR rearrangements identified by Sanger sequencing |
| --- | --- | --- | --- | --- |
| Monza | 4 | BCP-ALL | 94.0% | IGHV3-30 - IGHJ4 / IGKV3-20 - KDE / TRBD2 - TRBJ2-3 / TRDV2 - TRDD3 (2×) / TRGV9 - TRGJ2 |
| Monza | 5 | BCP-ALL | 85.0% | IGHD6-25 - IGHJ4 / IGHV3-30 - IGHJ5 / IGHV2-70 - IGHJ6 / IGKV2-30 - KDE / TRBD1 - TRBJ2-5 / TRDV2 - TRDD3 (2×) / TRGV7 - TRGJ1 |
| Monza | 6 | BCP-ALL | 75.0% | IGHD3-22 - IGHJ5 / IGHV1-3 - IGHJ4 / IGHV3-30 - IGHJ5 / IGKV2-28 - IGKJ5 / TRBD2 - TRBJ2-7 / TRDV2 - TRDD3 / TRDD2 - TRDD3 / TRDV2 - TRAJ29 / TRGV2 - TRGJ1 |
| Monza | 7 | BCP-ALL | 90.0% | IGHD3-22 - IGHJ1 / IGHD7-27 - IGHJ1 / TRRDV1 - TRDJ1 / TRDV3 - TRDJ1 / TRGV9 - TRGJ2 / TRGV3 - TRGJ2 |
| Monza | 8 | T-ALL | 76.0% | TRBD1 - TRBJ1-5 / TRDV1 - TRDJ1 (2×) / TRGV4 - TRGJ2 / TRGV11 - TRGJ2 |
| Monza | 9 | T-ALL | 60.0% | IGHD5-12 - IGHJ4 / IGHD7-27 - IGHJ4 / TRDD2 - TRDJ1 (2×) / TRGV5P - TRGJ1 |
| Paris | 1 | BCP-ALL | 80.0% | IGHD2-15 - IGHJ5 / IGHV1-6 - IGHJ6 / TRBD2 - TRBJ2-7 / TRDV2 - TRAJ29 / TRDV2 - TRDD3 / TRDD2 - TRDD3 |
| Paris | 2 | BCP-ALL | 60.0% | IGHV4-34 - IGHJ5 / TRBD2 - TRBJ2-7 / TRDV2 - TRDD3 / TRDV2 - TRAJ29 |
| Paris | 3 | T-ALL | 90.0% | TRBD2 - TRBJ2-1 / TRBV2-1 - TRBJ2-6 / TRGV5 - TRGJ1-1 / TRGV2 - TRGJP1 |
| Paris | 4 | T-ALL | 40.0% | TRBV4-1 - TRBJ1-1 / TRDV3 - TRDJ1 / TRGV9 - TRGJ1-2 / TRGV2 - TRGJP2 / |
| Paris | 5 | T-ALL | 15.0% | IGHD3-9 - IGHJ4 / IGHD5-5 - IGHJ4 / TRDD2 - TRDJ1 / TRGV3 - TRGJ1 |
| Paris | 6 | T-ALL | 85.0% | IGHD1 - IGHJ4 / IGHD5 - IGHJ3 / TRBD1 - TRBJ1 / TRDV1 - TRDJ1 / TRGV4 - TRGJ1 / TRGV2 - TRGJ1 |
| Paris | 7 | BCP-ALL | 50.0% | IGHV3-64 - IGHJ4 / TRGV2 - TRGJP1 / TRGV8 - TRGJ1-1 |
| Paris | 8 | T-ALL | 95.0% | TRBD1 - TRBJ1-2 / TRBV5-4 - TRBJ2-7 / TRDV1 - TRDJ1 / TRGV10 - TRGJ1 / TRGV9 - TRGJ1 |
| Paris | 9 | T-ALL | 95.0% | IGHD6-19 - IGHJ4 / TRBD2 - TRBJ2-3 / TRBV23-1 - TRBJ2-2 / TRDV1 - TRDJ1 (2×) / TRGV8 - TRGJ1 / TRGV3 - TRGJ1 |
| Paris | 10 | T-ALL | 80.0% | TRBD1 - TRBJ2-3 / TRBV20 - TRBJ2-1 / TRGV9 - TRGJ1 |
| Prague | 1 | BCP-ALL | 80.0% | TRBV10-3 - TRBJ2-7 / TRDV2 - TRAJ29 |
| Prague | 2 | T-ALL | 71.0% | TRBD2 - TRBJ2-3 / TRGV4 - TRGJ2 / TRGV5 - TRGJ2 |
| Prague | 3 | T-ALL | 89.0% | TRBD1 - TRBJ1-3 / TRDV2 - TRDD3 / TRDD2 - TRDJ1 / TRGV4 - TRGJP2 / TRGV4 - TRGJ2 / TRGV10 - TRGJ1 |
| Prague | 4 | BCP-ALL | 79.0% | IGKV3-20 - KDE / intRSS - KDE / TRGV2 - TRGJ1 / TRGV11 - TRGJ1 |
| Prague | 5 | T-ALL | 95.0% | TRDV1 - TRDJ1 / TRGV9 - TRGJ2 / TRGV10 - TRGJ2 |
| Prague | 6 | T-ALL | 88.0% | TRBD1 - TRBJ1-5 / TRGV2 - TRGJ1 / TRGV11 - TRGJ1 |
| Prague | 8 | BCP-ALL | 60.0% | IGHV3-53 - IGHD3-9 - IGHJ4 / TRGV3 - TRGJ2 / TRGV5 - TRGJ1 / TRGV8 - TRGJ2 / TRGV4 - TRGJ2 |
| Prague | 7 | T-ALL | 95.0% | TRDV1 - TRDJ1 / TRDV3 - TRDJ1 / TRGV4 - TRGJ2 / TRGV10 - TRGJ2 |
| Prague | 9 | BCP-ALL | 88.0% | IGHV3-66 - IGHD1-26 - IGHJ4 / IGHV4-38 - IGHD3-9 - IGHJ6 / IGKV1D-12 - KDE / IGKV2-30 - KDE / TRDV2 - TRDD3 |
| Prague | 10 | BCP-ALL | 78.0% | IGHV6-1 - IGHD6-6 - IGHJ3 / IGHV7-4-1 - IGHJ6 / TRVD2 - TRDD3 |

# Supplementary Table 5: % of reads with junction using two purification methods

| Sample | PCR tube | Purification method | Total reads | Reads with junction | Reads with junction % |
| --- | --- | --- | --- | --- | --- |
| 18-00789 | IGH-DJ | AMPure | 69542.00 | 66678 | 95.88% |
| 18-00789 | IGH-VJ | AMPure | 55009.00 | 52343 | 95.15% |
| 18-00789 | IGK-VJ-Kde | AMPure | 72516.00 | 63223 | 87.18% |
| 18-00789 | intron-Kde | AMPure | 24642.00 | 21812 | 88.52% |
| 18-00789 | TRB-DJ | AMPure | 67312.00 | 66304 | 98.50% |
| 18-00789 | TRB-VJ | AMPure | 49631.00 | 48506 | 97.73% |
| 18-00789 | TRD | AMPure | 71901.00 | 58360 | 81.17% |
| 18-00789 | TRG | AMPure | 74489.00 | 74234 | 99.66% |
| 18-00789 | IGH-DJ | GelExtraction | 62912.00 | 60441 | 96.07% |
| 18-00789 | IGH-VJ | GelExtraction | 47274.00 | 46367 | 98.08% |
| 18-00789 | IGK-VJ-Kde | GelExtraction | 92098.00 | 88107 | 95.67% |
| 18-00789 | intron-Kde | GelExtraction | 44371.00 | 44125 | 99.45% |
| 18-00789 | TRB-DJ | GelExtraction | 60580.00 | 60176 | 99.33% |
| 18-00789 | TRB-VJ | GelExtraction | 80718.00 | 80216 | 99.38% |
| 18-00789 | TRD | GelExtraction | 118371.00 | 107508 | 90.82% |
| 18-00789 | TRG | GelExtraction | 88446.00 | 88134 | 99.65% |