Supplementary Information for

Towards automatic freeform optics design: coarse and fine search of the three-mirror solution space

Benqi Zhang, Guofan Jin, and Jun Zhu*

State Key Laboratory of Precision Measurement Technology and Instruments, Department of Precision Instrument, Tsinghua University, Beijing 100084, China

*j_zhu@tsinghua.edu.cn

Figure S1. All output results of design example 1, which have the AVG WFE RMS smaller than 0.075 λ.

Table S1. Minimum, maximum, average, and standard deviation RMS values of the wavefront error across the field-of-view and the distortion percentage (maximum) of all output results of design example 1.

| System number: L#M-#N |  | Minimum | Maximum | Average | Standard Deviation | Distortion Percentage |
| --- | --- | --- | --- | --- | --- | --- |
| M | N |  |  |  |  |  |
| 3 | 1 | 0.0166 | 0.0590 | 0.0414 | 0.0129 | 4.92 |
| 14 | 1 | 0.0135 | 0.0699 | 0.0442 | 0.0134 | 3.09 |
| 17 | 5 | 0.0200 | 0.0966 | 0.0556 | 0.0194 | 2.62 |
| 18 | 1 | 0.0243 | 0.0958 | 0.0549 | 0.0190 | 2.18 |
| 21 | 1 | 0.0149 | 0.1084 | 0.0569 | 0.0245 | 2.94 |
| 21 | 2 | 0.0164 | 0.0673 | 0.0444 | 0.0124 | 2.48 |
| 25 | 1 | 0.0090 | 0.0365 | 0.0252 | 0.0087 | 5.45 |
| 25 | 2 | 0.0113 | 0.0267 | 0.0198 | 0.0045 | 3.05 |
| 29 | 1 | 0.0188 | 0.0506 | 0.0381 | 0.0095 | 3.86 |
| 35 | 1 | 0.0140 | 0.0699 | 0.0412 | 0.0122 | 2.58 |
| 38 | 4 | 0.0156 | 0.0673 | 0.0429 | 0.0127 | 2.54 |
| 40 | 1 | 0.0341 | 0.1244 | 0.0706 | 0.0257 | 2.62 |
| 41 | 2 | 0.0169 | 0.1102 | 0.0585 | 0.0246 | 2.28 |
| 44 | 1 | 0.0050 | 0.0212 | 0.0143 | 0.0048 | 2.68 |
| 48 | 1 | 0.0075 | 0.0283 | 0.0166 | 0.0052 | 2.32 |
| 48 | 2 | 0.0112 | 0.0378 | 0.0275 | 0.0073 | 2.70 |
| 51 | 1 | 0.0145 | 0.0718 | 0.0473 | 0.0169 | 4.87 |
| 56 | 1 | 0.0098 | 0.0664 | 0.0416 | 0.0138 | 3.25 |
| 56 | 2 | 0.0096 | 0.0751 | 0.0413 | 0.0155 | 2.02 |
| 56 | 3 | 0.0058 | 0.0552 | 0.0334 | 0.0119 | 2.39 |
| 59 | 1 | 0.0139 | 0.1022 | 0.0541 | 0.0229 | 2.22 |
| 59 | 2 | 0.0180 | 0.1004 | 0.0538 | 0.0225 | 2.10 |
| 61 | 1 | 0.0025 | 0.0120 | 0.0078 | 0.0024 | 1.58 |
| 64 | 1 | 0.0067 | 0.0232 | 0.0161 | 0.0048 | 2.38 |
| 66 | 1 | 0.0082 | 0.0448 | 0.0292 | 0.0109 | 4.29 |
| 69 | 1 | 0.0171 | 0.0928 | 0.0600 | 0.0215 | 4.13 |
| 71 | 1 | 0.0395 | 0.0956 | 0.0648 | 0.0126 | 2.01 |
| 73 | 2 | 0.0063 | 0.0620 | 0.0350 | 0.0137 | 2.11 |
| 75 | 1 | 0.0038 | 0.0138 | 0.0093 | 0.0027 | 1.37 |
| 77 | 1 | 0.0048 | 0.0215 | 0.0131 | 0.0047 | 2.76 |
| 79 | 1 | 0.0032 | 0.0154 | 0.0092 | 0.0032 | 1.89 |
| 87 | 2 | 0.0040 | 0.0155 | 0.0099 | 0.0031 | 1.35 |
| 89 | 4 | 0.0045 | 0.0166 | 0.0103 | 0.0030 | 1.67 |
| 91 | 2 | 0.0066 | 0.0362 | 0.0239 | 0.0087 | 3.38 |
| 96 | 3 | 0.0037 | 0.0194 | 0.0127 | 0.0044 | 1.16 |
| 97 | 4 | 0.0112 | 0.0283 | 0.0181 | 0.0045 | 2.78 |
| 137 | 3 | 0.0262 | 0.0904 | 0.0492 | 0.0134 | 2.61 |
| 141 | 3 | 0.0358 | 0.0986 | 0.0550 | 0.0138 | 2.06 |
| 142 | 2 | 0.0356 | 0.1157 | 0.0611 | 0.0162 | 2.09 |
| 162 | 4 | 0.0152 | 0.0551 | 0.0333 | 0.0117 | 3.25 |
| 172 | 8 | 0.0308 | 0.0577 | 0.0443 | 0.0068 | 3.92 |
| 173 | 6 | 0.0147 | 0.0787 | 0.0559 | 0.0160 | 2.90 |
| 174 | 6 | 0.0245 | 0.0639 | 0.0438 | 0.0079 | 3.20 |
| 175 | 5 | 0.0429 | 0.1120 | 0.0692 | 0.0135 | 3.92 |
| 184 | 7 | 0.0139 | 0.0575 | 0.0329 | 0.0103 | 3.92 |
| 185 | 7 | 0.0181 | 0.0434 | 0.0291 | 0.0064 | 2.94 |
| 186 | 7 | 0.0168 | 0.0437 | 0.0301 | 0.0075 | 3.31 |
| 187 | 8 | 0.0125 | 0.0460 | 0.0312 | 0.0088 | 3.10 |
| 188 | 5 | 0.0341 | 0.0583 | 0.0429 | 0.0066 | 4.23 |
| 189 | 4 | 0.0092 | 0.0693 | 0.0451 | 0.0151 | 3.28 |
| 193 | 6 | 0.0107 | 0.0471 | 0.0309 | 0.0106 | 2.78 |
| 194 | 8 | 0.0126 | 0.0414 | 0.0235 | 0.0069 | 3.06 |
| 195 | 8 | 0.0134 | 0.0404 | 0.0239 | 0.0073 | 3.50 |
| 196 | 6 | 0.0092 | 0.0459 | 0.0208 | 0.0087 | 3.25 |
| 197 | 8 | 0.0196 | 0.0314 | 0.0239 | 0.0026 | 3.09 |
| 198 | 7 | 0.0072 | 0.0411 | 0.0272 | 0.0087 | 2.73 |
| 199 | 6 | 0.0106 | 0.0564 | 0.0349 | 0.0096 | 4.05 |
| 201 | 8 | 0.0101 | 0.0477 | 0.0298 | 0.0108 | 3.66 |
| 202 | 6 | 0.0082 | 0.0349 | 0.0223 | 0.0078 | 3.13 |
| 203 | 5 | 0.0144 | 0.0412 | 0.0263 | 0.0083 | 2.64 |
| 204 | 6 | 0.0196 | 0.0330 | 0.0248 | 0.0029 | 3.48 |
| 219 | 7 | 0.0089 | 0.0288 | 0.0205 | 0.0057 | 2.98 |
| 222 | 8 | 0.0128 | 0.0383 | 0.0251 | 0.0078 | 3.23 |
| 225 | 7 | 0.0142 | 0.0472 | 0.0320 | 0.0087 | 3.34 |
| 226 | 8 | 0.0167 | 0.0738 | 0.0469 | 0.0148 | 3.93 |
| 227 | 8 | 0.0105 | 0.0592 | 0.0370 | 0.0129 | 4.05 |
| 228 | 7 | 0.0110 | 0.0352 | 0.0222 | 0.0066 | 3.26 |
| 229 | 7 | 0.0082 | 0.0327 | 0.0225 | 0.0070 | 3.13 |
| 230 | 7 | 0.0074 | 0.0363 | 0.0226 | 0.0083 | 3.70 |
| 231 | 8 | 0.0088 | 0.0356 | 0.0229 | 0.0073 | 3.05 |
| 232 | 3 | 0.0161 | 0.0340 | 0.0247 | 0.0048 | 3.80 |
| 234 | 6 | 0.0045 | 0.0251 | 0.0151 | 0.0066 | 1.84 |
| 235 | 7 | 0.0055 | 0.0266 | 0.0145 | 0.0050 | 3.26 |
| 254 | 1 | 0.0222 | 0.0542 | 0.0403 | 0.0099 | 1.95 |
| 254 | 2 | 0.0208 | 0.0583 | 0.0422 | 0.0092 | 2.44 |
| 254 | 7 | 0.0040 | 0.0223 | 0.0125 | 0.0051 | 2.49 |
| 255 | 2 | 0.0114 | 0.0628 | 0.0439 | 0.0115 | 2.38 |
| 255 | 5 | 0.0062 | 0.0222 | 0.0157 | 0.0050 | 3.62 |
| 257 | 9 | 0.0082 | 0.0310 | 0.0205 | 0.0063 | 2.87 |
| 258 | 6 | 0.0087 | 0.0390 | 0.0253 | 0.0083 | 3.35 |
| 259 | 3 | 0.0324 | 0.0782 | 0.0560 | 0.0131 | 2.37 |
| 259 | 7 | 0.0150 | 0.0460 | 0.0305 | 0.0088 | 3.59 |
| 260 | 1 | 0.0204 | 0.0710 | 0.0537 | 0.0127 | 2.23 |
| 260 | 8 | 0.0047 | 0.0219 | 0.0151 | 0.0050 | 3.03 |
| 262 | 1 | 0.0180 | 0.0398 | 0.0298 | 0.0064 | 1.95 |
| 262 | 5 | 0.0037 | 0.0168 | 0.0111 | 0.0031 | 2.48 |
| 280 | 7 | 0.0091 | 0.0244 | 0.0161 | 0.0039 | 2.29 |
| 281 | 4 | 0.0078 | 0.0309 | 0.0179 | 0.0065 | 3.37 |
| 282 | 1 | 0.0052 | 0.0135 | 0.0078 | 0.0017 | 2.09 |
| 282 | 2 | 0.0058 | 0.0251 | 0.0126 | 0.0042 | 1.91 |
| 282 | 6 | 0.0064 | 0.0187 | 0.0122 | 0.0039 | 1.89 |
| 284 | 7 | 0.0058 | 0.0562 | 0.0224 | 0.0128 | 4.06 |
| 285 | 5 | 0.0078 | 0.0301 | 0.0165 | 0.0060 | 3.55 |
| 286 | 2 | 0.0261 | 0.0510 | 0.0408 | 0.0077 | 1.04 |
| 286 | 3 | 0.0063 | 0.0162 | 0.0109 | 0.0028 | 0.97 |
| 286 | 7 | 0.0045 | 0.0106 | 0.0075 | 0.0017 | 2.06 |
| 303 | 6 | 0.0101 | 0.0513 | 0.0286 | 0.0103 | 4.42 |
| 304 | 6 | 0.0119 | 0.0345 | 0.0210 | 0.0060 | 3.67 |
| 305 | 4 | 0.0067 | 0.0256 | 0.0151 | 0.0049 | 3.10 |
| 305 | 5 | 0.0333 | 0.0672 | 0.0513 | 0.0077 | 3.85 |
| 306 | 2 | 0.0143 | 0.0381 | 0.0204 | 0.0051 | 3.05 |
| 306 | 7 | 0.0023 | 0.0101 | 0.0062 | 0.0019 | 2.32 |
| 307 | 2 | 0.0309 | 0.1337 | 0.0704 | 0.0261 | 2.56 |
| 308 | 4 | 0.0050 | 0.0172 | 0.0106 | 0.0030 | 2.63 |
| 309 | 3 | 0.0221 | 0.1010 | 0.0615 | 0.0136 | 2.00 |
| 309 | 4 | 0.0105 | 0.0230 | 0.0135 | 0.0024 | 1.48 |
| 309 | 6 | 0.0030 | 0.0095 | 0.0063 | 0.0015 | 2.46 |
| 310 | 2 | 0.0152 | 0.0538 | 0.0341 | 0.0099 | 2.29 |
| 328 | 6 | 0.0109 | 0.0411 | 0.0268 | 0.0089 | 4.31 |
| 329 | 4 | 0.0068 | 0.0425 | 0.0233 | 0.0096 | 4.27 |
| 329 | 5 | 0.0403 | 0.0701 | 0.0495 | 0.0053 | 1.76 |
| 330 | 1 | 0.0066 | 0.0139 | 0.0099 | 0.0016 | 1.75 |
| 330 | 4 | 0.0301 | 0.0591 | 0.0470 | 0.0077 | 1.60 |
| 330 | 5 | 0.0179 | 0.0419 | 0.0294 | 0.0057 | 2.40 |
| 331 | 3 | 0.0072 | 0.0263 | 0.0169 | 0.0042 | 2.69 |
| 332 | 5 | 0.0081 | 0.0273 | 0.0158 | 0.0051 | 3.19 |
| 333 | 4 | 0.0055 | 0.0148 | 0.0099 | 0.0023 | 1.75 |
| 334 | 3 | 0.0137 | 0.0565 | 0.0348 | 0.0095 | 2.48 |
| 334 | 4 | 0.0077 | 0.0228 | 0.0139 | 0.0038 | 3.30 |
| 352 | 6 | 0.0130 | 0.0463 | 0.0310 | 0.0091 | 3.64 |
| 353 | 4 | 0.0077 | 0.0348 | 0.0223 | 0.0080 | 4.12 |
| 354 | 3 | 0.0061 | 0.0257 | 0.0144 | 0.0052 | 3.99 |
| 355 | 3 | 0.0043 | 0.0204 | 0.0107 | 0.0041 | 2.78 |
| 356 | 5 | 0.0036 | 0.0195 | 0.0117 | 0.0046 | 2.91 |
| 356 | 6 | 0.0278 | 0.0633 | 0.0448 | 0.0071 | 1.95 |
| 357 | 3 | 0.0205 | 0.0654 | 0.0438 | 0.0122 | 2.04 |
| 357 | 4 | 0.0028 | 0.0197 | 0.0112 | 0.0036 | 2.13 |

Figure S2. All output results of the additional design on the localized solution space of design example 1, which have the AVG WFE RMS smaller than 0.075 λ.

Table S2. Minimum, maximum, average, and standard deviation RMS values of the wavefront error across the field-of-view and the distortion percentage (maximum) of all output results of the additional design on the localized solution space of design example 1.

| System number: L73-2-#M-#N |  | Minimum | Maximum | Average | Standard Deviation | Distortion Percentage |
| --- | --- | --- | --- | --- | --- | --- |
| M | N |  |  |  |  |  |
| 2 | 4 | 0.0124 | 0.0661 | 0.0428 | 0.0132 | 2.84 |
| 4 | 1 | 0.0192 | 0.1088 | 0.0639 | 0.0227 | 3.18 |
| 4 | 2 | 0.0343 | 0.1002 | 0.0587 | 0.0191 | 1.86 |
| 6 | 3 | 0.0237 | 0.0626 | 0.0425 | 0.0098 | 2.57 |
| 8 | 1 | 0.0125 | 0.0747 | 0.0447 | 0.0148 | 2.75 |
| 9 | 1 | 0.0223 | 0.0998 | 0.0548 | 0.0216 | 2.43 |
| 9 | 2 | 0.0123 | 0.0699 | 0.0447 | 0.0141 | 2.76 |
| 10 | 1 | 0.0246 | 0.1000 | 0.0554 | 0.0209 | 2.29 |
| 10 | 2 | 0.0093 | 0.0933 | 0.0492 | 0.0211 | 2.51 |
| 11 | 2 | 0.0239 | 0.0973 | 0.0531 | 0.0207 | 2.52 |
| 14 | 1 | 0.0355 | 0.1117 | 0.0659 | 0.0218 | 2.37 |
| 14 | 2 | 0.0156 | 0.0867 | 0.0479 | 0.0185 | 2.41 |
| 15 | 2 | 0.0178 | 0.0966 | 0.0511 | 0.0217 | 2.24 |
| 15 | 3 | 0.0171 | 0.0802 | 0.0461 | 0.0158 | 2.49 |
| 16 | 2 | 0.0122 | 0.0737 | 0.0428 | 0.0157 | 2.56 |
| 18 | 1 | 0.0125 | 0.0855 | 0.0473 | 0.0181 | 2.37 |
| 19 | 1 | 0.0120 | 0.0889 | 0.0540 | 0.0181 | 2.15 |
| 19 | 2 | 0.0097 | 0.0879 | 0.0473 | 0.0197 | 2.27 |
| 20 | 1 | 0.0258 | 0.1115 | 0.0627 | 0.0227 | 2.04 |
| 20 | 2 | 0.0075 | 0.0803 | 0.0442 | 0.0178 | 2.38 |
| 21 | 2 | 0.0090 | 0.0823 | 0.0427 | 0.0193 | 2.15 |
| 23 | 1 | 0.0104 | 0.0966 | 0.0538 | 0.0209 | 2.42 |
| 23 | 2 | 0.0157 | 0.0724 | 0.0465 | 0.0137 | 2.43 |
| 24 | 1 | 0.0112 | 0.0841 | 0.0448 | 0.0189 | 2.07 |
| 25 | 1 | 0.0166 | 0.1018 | 0.0514 | 0.0243 | 2.22 |
| 25 | 2 | 0.0177 | 0.1024 | 0.0505 | 0.0250 | 1.99 |
| 31 | 1 | 0.0072 | 0.0596 | 0.0364 | 0.0121 | 2.21 |
| 31 | 2 | 0.0052 | 0.0683 | 0.0397 | 0.0152 | 2.18 |
| 32 | 1 | 0.0237 | 0.0836 | 0.0478 | 0.0167 | 1.85 |
| 32 | 2 | 0.0366 | 0.0956 | 0.0609 | 0.0161 | 2.20 |
| 35 | 4 | 0.0338 | 0.1057 | 0.0666 | 0.0183 | 2.49 |
| 36 | 1 | 0.0085 | 0.0760 | 0.0431 | 0.0168 | 2.10 |
| 36 | 2 | 0.0105 | 0.0574 | 0.0359 | 0.0103 | 2.59 |
| 37 | 1 | 0.0265 | 0.0903 | 0.0522 | 0.0182 | 1.98 |
| 37 | 2 | 0.0102 | 0.0514 | 0.0338 | 0.0098 | 2.68 |
| 39 | 3 | 0.0107 | 0.0653 | 0.0408 | 0.0123 | 2.65 |
| 40 | 1 | 0.0081 | 0.0647 | 0.0393 | 0.0137 | 2.51 |
| 40 | 2 | 0.0096 | 0.0919 | 0.0507 | 0.0199 | 2.30 |
| 41 | 1 | 0.0194 | 0.0970 | 0.0523 | 0.0215 | 2.36 |
| 41 | 2 | 0.0151 | 0.0632 | 0.0434 | 0.0117 | 3.21 |
| 44 | 2 | 0.0131 | 0.0757 | 0.0431 | 0.0156 | 2.72 |
| 45 | 1 | 0.0083 | 0.0800 | 0.0451 | 0.0180 | 2.38 |
| 45 | 2 | 0.0120 | 0.0744 | 0.0455 | 0.0150 | 2.82 |
| 46 | 1 | 0.0241 | 0.0958 | 0.0519 | 0.0206 | 2.17 |
| 47 | 2 | 0.0064 | 0.0703 | 0.0385 | 0.0163 | 2.38 |
| 49 | 1 | 0.0237 | 0.1021 | 0.0550 | 0.0227 | 2.49 |
| 50 | 2 | 0.0081 | 0.0837 | 0.0445 | 0.0196 | 2.29 |
| 50 | 3 | 0.0118 | 0.0695 | 0.0398 | 0.0148 | 2.42 |
| 51 | 2 | 0.0080 | 0.0762 | 0.0422 | 0.0167 | 2.53 |
| 52 | 2 | 0.0243 | 0.1101 | 0.0577 | 0.0248 | 2.75 |
| 57 | 3 | 0.0089 | 0.0619 | 0.0345 | 0.0117 | 3.85 |
| 62 | 1 | 0.0222 | 0.0856 | 0.0527 | 0.0158 | 2.05 |
| 62 | 2 | 0.0313 | 0.0925 | 0.0583 | 0.0152 | 2.09 |
| 65 | 3 | 0.0084 | 0.0527 | 0.0348 | 0.0110 | 2.96 |
| 66 | 2 | 0.0107 | 0.0484 | 0.0309 | 0.0084 | 2.89 |
| 69 | 1 | 0.0090 | 0.0883 | 0.0480 | 0.0199 | 3.25 |
| 70 | 2 | 0.0188 | 0.0804 | 0.0440 | 0.0175 | 1.99 |
| 73 | 1 | 0.0171 | 0.0963 | 0.0519 | 0.0213 | 2.23 |
| 73 | 2 | 0.0072 | 0.0538 | 0.0314 | 0.0118 | 2.18 |

Figure S3. All output results for design example 2, which have the AVG WFE RMS smaller than 0.075 λ.

Table S3. Minimum, maximum, average, and standard deviation RMS values of the wavefront error across the field-of-view and the distortion percentage (maximum) of all output results of design example 2.

| System number: V#M-#N |  | Minimum | Maximum | Average | Standard Deviation | Distortion Percentage |
| --- | --- | --- | --- | --- | --- | --- |
| M | N |  |  |  |  |  |
| 9 | 4 | 0.0274 | 0.0681 | 0.0418 | 0.0106 | 0.09 |
| 10 | 1 | 0.0100 | 0.0486 | 0.0290 | 0.0099 | 0.13 |
| 11 | 3 | 0.0155 | 0.0689 | 0.0390 | 0.0129 | 0.09 |
| 12 | 5 | 0.0238 | 0.1041 | 0.0625 | 0.0174 | 0.09 |
| 26 | 6 | 0.0242 | 0.1122 | 0.0715 | 0.0235 | 0.50 |
| 27 | 4 | 0.0135 | 0.0719 | 0.0402 | 0.0125 | 0.12 |
| 27 | 5 | 0.0209 | 0.0565 | 0.0383 | 0.0100 | 0.56 |
| 28 | 1 | 0.0066 | 0.0441 | 0.0244 | 0.0099 | 0.18 |
| 29 | 3 | 0.0193 | 0.0927 | 0.0496 | 0.0171 | 0.14 |
| 39 | 3 | 0.0079 | 0.0789 | 0.0437 | 0.0146 | 0.12 |
| 40 | 1 | 0.0048 | 0.0816 | 0.0472 | 0.0191 | 0.29 |
| 49 | 5 | 0.0311 | 0.1059 | 0.0707 | 0.0165 | 0.72 |
| 124 | 3 | 0.0107 | 0.0483 | 0.0268 | 0.0098 | 0.02 |
| 125 | 4 | 0.0209 | 0.0791 | 0.0486 | 0.0138 | 0.25 |
| 141 | 5 | 0.0244 | 0.1184 | 0.0647 | 0.0258 | 0.31 |
| 142 | 2 | 0.0290 | 0.0749 | 0.0479 | 0.0124 | 0.15 |
| 143 | 5 | 0.0152 | 0.0459 | 0.0253 | 0.0068 | 0.06 |
| 144 | 5 | 0.0170 | 0.0896 | 0.0540 | 0.0155 | 0.09 |
| 161 | 3 | 0.0137 | 0.1003 | 0.0575 | 0.0195 | 0.07 |
| 161 | 5 | 0.0252 | 0.0718 | 0.0448 | 0.0122 | 0.57 |
| 162 | 1 | 0.0115 | 0.0953 | 0.0456 | 0.0219 | 0.13 |
| 174 | 3 | 0.0199 | 0.0959 | 0.0552 | 0.0162 | 0.13 |
| 240 | 1 | 0.0193 | 0.0551 | 0.0341 | 0.0090 | 0.06 |
| 258 | 1 | 0.0094 | 0.0657 | 0.0368 | 0.0125 | 0.09 |
| 259 | 3 | 0.0110 | 0.0723 | 0.0453 | 0.0148 | 0.03 |
| 282 | 3 | 0.0191 | 0.1174 | 0.0691 | 0.0235 | 0.05 |
| 283 | 1 | 0.0154 | 0.0998 | 0.0493 | 0.0191 | 0.23 |
| 347 | 1 | 0.0223 | 0.0892 | 0.0554 | 0.0158 | 0.16 |
| 452 | 3 | 0.0374 | 0.1272 | 0.0746 | 0.0245 | 0.77 |
| 741 | 4 | 0.0338 | 0.1284 | 0.0724 | 0.0235 | 0.65 |
| 773 | 4 | 0.0108 | 0.1401 | 0.0664 | 0.0365 | 0.31 |
| 774 | 3 | 0.0206 | 0.1595 | 0.0694 | 0.0357 | 0.10 |
| 788 | 3 | 0.0220 | 0.1121 | 0.0620 | 0.0230 | 0.25 |
| 789 | 3 | 0.0163 | 0.1193 | 0.0606 | 0.0270 | 0.39 |
| 804 | 5 | 0.0303 | 0.1200 | 0.0663 | 0.0210 | 0.82 |
| 840 | 3 | 0.0076 | 0.1405 | 0.0620 | 0.0329 | 0.14 |
| 845 | 3 | 0.0174 | 0.0882 | 0.0499 | 0.0155 | 0.31 |
| 854 | 4 | 0.0150 | 0.0773 | 0.0464 | 0.0139 | 0.25 |
| 855 | 3 | 0.0151 | 0.1003 | 0.0516 | 0.0239 | 0.37 |
| 856 | 3 | 0.0155 | 0.1062 | 0.0598 | 0.0244 | 0.54 |
| 857 | 4 | 0.0257 | 0.1212 | 0.0653 | 0.0227 | 0.63 |
| 910 | 1 | 0.0158 | 0.1431 | 0.0652 | 0.0333 | 0.43 |
| 911 | 3 | 0.0163 | 0.1262 | 0.0610 | 0.0286 | 0.25 |
| 912 | 3 | 0.0234 | 0.1271 | 0.0740 | 0.0249 | 0.49 |
| 915 | 3 | 0.0269 | 0.0984 | 0.0610 | 0.0188 | 0.23 |
| 916 | 3 | 0.0148 | 0.1069 | 0.0584 | 0.0217 | 0.19 |
| 917 | 3 | 0.0212 | 0.1123 | 0.0623 | 0.0219 | 0.16 |
| 985 | 3 | 0.0115 | 0.0992 | 0.0425 | 0.0232 | 0.31 |
| 986 | 3 | 0.0127 | 0.1250 | 0.0684 | 0.0249 | 0.54 |
| 989 | 4 | 0.0124 | 0.0631 | 0.0376 | 0.0117 | 0.27 |
| 990 | 3 | 0.0152 | 0.0827 | 0.0516 | 0.0165 | 0.18 |
| 991 | 3 | 0.0128 | 0.0968 | 0.0585 | 0.0207 | 0.17 |
| 1001 | 3 | 0.0115 | 0.1296 | 0.0601 | 0.0280 | 0.50 |
| 1002 | 3 | 0.0295 | 0.1233 | 0.0661 | 0.0235 | 0.55 |
| 1006 | 3 | 0.0290 | 0.1212 | 0.0744 | 0.0262 | 0.22 |
| 1014 | 4 | 0.0123 | 0.0897 | 0.0523 | 0.0195 | 0.49 |
| 1015 | 3 | 0.0226 | 0.0765 | 0.0478 | 0.0134 | 0.66 |
| 1016 | 3 | 0.0168 | 0.1020 | 0.0625 | 0.0192 | 0.79 |
| 1018 | 4 | 0.0307 | 0.0944 | 0.0597 | 0.0157 | 0.67 |

Figure S4. The proposed method is used to design a system that have the same specifications and similar volume as the design reported in [21]. The system has a square field-of-view of 4°×4°, a focal length of 600 mm and an entrance pupil of 200 mm. A coarse search is conducted. After 22.2 hours of calculation on a working station having 96 cores 192 threads (2.29 GHz), 48 systems are obtained, which have the AVG WFE RMS varying from 0.11λ to 0.30λ. These systems can be used as the starting point for further fine search.

Table S4. Minimum, maximum, average, and standard deviation RMS values of the wavefront error across the field-of-view and the distortion percentage (maximum) of the systems in Figure S4.

| System number: V2-#M-#N |  | Minimum | Maximum | Average | Standard Deviation | Distortion Percentage |
| --- | --- | --- | --- | --- | --- | --- |
| M | N |  |  |  |  |  |
| 102 | 1 | 0.0742 | 0.3378 | 0.2179 | 0.0702 | 0.62 |
| 122 | 1 | 0.1049 | 0.4002 | 0.2467 | 0.0812 | 0.22 |
| 141 | 1 | 0.0574 | 0.2665 | 0.1565 | 0.0542 | 0.77 |
| 164 | 1 | 0.1742 | 0.5362 | 0.2861 | 0.0939 | 0.29 |
| 186 | 1 | 0.0992 | 0.3484 | 0.2128 | 0.0597 | 0.15 |
| 208 | 1 | 0.0226 | 0.3114 | 0.1519 | 0.0731 | 0.74 |
| 209 | 1 | 0.0955 | 0.2926 | 0.1958 | 0.0424 | 0.92 |
| 211 | 1 | 0.0607 | 0.5275 | 0.2724 | 0.1040 | 0.09 |
| 235 | 1 | 0.1144 | 0.3569 | 0.2628 | 0.0670 | 0.51 |
| 236 | 1 | 0.0636 | 0.4982 | 0.2936 | 0.1029 | 0.51 |
| 260 | 1 | 0.0818 | 0.4316 | 0.2946 | 0.0897 | 0.12 |
| 263 | 1 | 0.1062 | 0.3072 | 0.2038 | 0.0569 | 0.57 |
| 305 | 1 | 0.0746 | 0.4986 | 0.2496 | 0.0797 | 0.34 |
| 309 | 1 | 0.0743 | 0.3958 | 0.2262 | 0.0805 | 0.14 |
| 312 | 2 | 0.1167 | 0.3878 | 0.2653 | 0.0718 | 0.23 |
| 327 | 1 | 0.1781 | 0.5634 | 0.2722 | 0.0869 | 0.10 |
| 353 | 2 | 0.0508 | 0.4637 | 0.2949 | 0.1068 | 0.30 |
| 369 | 2 | 0.0995 | 0.3901 | 0.2086 | 0.0558 | 0.20 |
| 387 | 1 | 0.1744 | 0.3871 | 0.2427 | 0.0469 | 0.80 |
| 502 | 1 | 0.0801 | 0.3225 | 0.2064 | 0.0652 | 0.61 |
| 502 | 2 | 0.0447 | 0.4397 | 0.2914 | 0.0843 | 0.51 |
| 521 | 1 | 0.0501 | 0.3475 | 0.1670 | 0.0660 | 0.19 |
| 558 | 1 | 0.0841 | 0.4099 | 0.2299 | 0.0703 | 0.20 |
| 559 | 1 | 0.0681 | 0.3939 | 0.2178 | 0.0736 | 0.56 |
| 597 | 1 | 0.0956 | 0.2970 | 0.1900 | 0.0499 | 0.21 |
| 598 | 1 | 0.0563 | 0.2277 | 0.1394 | 0.0451 | 0.05 |
| 637 | 1 | 0.1379 | 0.3444 | 0.2126 | 0.0541 | 0.10 |
| 638 | 1 | 0.0369 | 0.3150 | 0.1931 | 0.0731 | 0.21 |
| 640 | 1 | 0.0506 | 0.2277 | 0.1435 | 0.0439 | 0.41 |
| 658 | 2 | 0.0923 | 0.3484 | 0.2175 | 0.0625 | 0.36 |
| 673 | 1 | 0.1283 | 0.4338 | 0.1975 | 0.0637 | 0.10 |
| 674 | 1 | 0.0656 | 0.4303 | 0.2463 | 0.0848 | 0.16 |
| 693 | 1 | 0.1192 | 0.5750 | 0.2842 | 0.0665 | 1.00 |
| 706 | 1 | 0.0752 | 0.4447 | 0.2463 | 0.1032 | 0.41 |
| 829 | 1 | 0.0696 | 0.2667 | 0.1305 | 0.0394 | 0.16 |
| 829 | 2 | 0.0308 | 0.2262 | 0.1337 | 0.0518 | 0.12 |
| 846 | 1 | 0.0313 | 0.2410 | 0.1658 | 0.0456 | 0.38 |
| 848 | 2 | 0.0590 | 0.3707 | 0.1863 | 0.0642 | 0.23 |
| 885 | 1 | 0.0240 | 0.2264 | 0.1102 | 0.0356 | 0.12 |
| 900 | 1 | 0.0709 | 0.4473 | 0.2553 | 0.0706 | 0.24 |
| 902 | 2 | 0.0386 | 0.1851 | 0.1176 | 0.0448 | 0.27 |
| 1021 | 1 | 0.0879 | 0.4668 | 0.1981 | 0.0770 | 0.19 |
| 1021 | 2 | 0.0921 | 0.2760 | 0.1689 | 0.0475 | 0.38 |
| 1050 | 1 | 0.0774 | 0.3373 | 0.1840 | 0.0623 | 0.29 |
| 1051 | 1 | 0.1861 | 0.3925 | 0.2753 | 0.0576 | 0.45 |
| 1082 | 1 | 0.1343 | 0.5300 | 0.2590 | 0.0937 | 0.08 |
| 1155 | 1 | 0.0487 | 0.4330 | 0.2673 | 0.0947 | 0.29 |
| 1205 | 1 | 0.0858 | 0.5517 | 0.2616 | 0.0866 | 0.13 |

Figure S5. The proposed method is used to design a system that have the same specifications and similar volume as the design reported in [21]. The system has a square field-of-view of 4°×4°, a focal length of 600 mm and an entrance pupil of 200 mm. Taking the system V2-885-1 in Figure S4 as the centre, a fine search is conducted to solve for designs that have higher imaging quality, e.g. with the AVG WFE RMS smaller than 0.075λ. After 12.7 hours of calculation, 5 systems that have the AVG WFE RMS smaller than 0.11λ are obtained and are presented in this figure, among which the AVG WFE RMS of system V2-885-1-34-1 reaches 0.064λ. In addition, 31 systems with the AVG WFE RMS varying from 0.11λ and 0.2λ are obtained.

Table S5. Minimum, maximum, average, and standard deviation RMS values of the wavefront error across the field-of-view and the distortion percentage (maximum) of the systems in Figure S5.

| System number: V2-885-1-#M-#N |  | Minimum | Maximum | Average | Standard Deviation | Distortion Percentage |
| --- | --- | --- | --- | --- | --- | --- |
| M | N |  |  |  |  |  |
| 34 | 1 | 0.0448 | 0.1022 | 0.0638 | 0.0122 | 0.11 |
| 205 | 1 | 0.0334 | 0.1533 | 0.0818 | 0.0257 | 0.07 |
| 230 | 1 | 0.0439 | 0.1184 | 0.0837 | 0.0189 | 0.12 |
| 389 | 1 | 0.0346 | 0.1856 | 0.1034 | 0.0371 | 0.35 |
| 408 | 1 | 0.0299 | 0.1339 | 0.0792 | 0.0270 | 0.20 |

Table S6. Inputs and parameters for the design of a system with a focal length of 600 mm and an entrance pupil of 200 mm.

|  |  | Coarse search | Fine search |
| --- | --- | --- | --- |
| Input | Full field angles (°) | ±2 in X, ±2 in Y |  |
|  | Entrance pupil diameter (EPD) (mm) | 600 |  |
|  | Focal length (mm) | 200 |  |
|  | F number | 3 |  |
|  | Working band | VIS (420-680 nm) |  |
|  | Primary wavelength | 587.6 nm |  |
| Phase 1 | Range and interval of the curvature radius for spherical surfaces (mm) | r1∈[−2000, 0], Δr1=200, r2∈[−1000, 0], Δr2=100, r3∈[−1000, 0], Δr3=100 | r1∈[−1800, −1400], Δr1=100, r2∈[−600, −400], Δr2=50, r3∈[−800, −600], Δr3=50 |
|  | Structure constraints | EPD<¦d1¦<5×EPD Δd1=EPD/8 | 375 mm<¦d1¦<425 mm Δd1=12.5 mm |
|  |  | d1<0, d2>0, d3<0, −2≤d2/d1≤−1/2, 1/2≤d3/d1≤2 |  |
|  | Total number of OP distributions in coaxial systems | 1378 | 521 |
| Phase 2 | Range and interval of the angles in the structure vector | θ1∈(−180°, −120°], θ2∈[120°, 180°], θ3∈[−180°, −120°] |  |
|  |  | Δθ1=2°, Δθ2,3=5° |  |
|  | Total number of computing jobs | 1995 | 851 |
| Phase 3 | Method to correct the OP of the entire system and construct freeform systems | Point-by-point construction method |  |
|  | Field angles sampled over the half field angle | (0, 0) (0, 2) (0, −2) (2, 0) (2, 2) (2, −2) |  |
|  | Number of feature light rays sampled over the full aperture for one field angle | 101 |  |
| Phase 4 | Method to improve the imaging quality | Point-by-point iteration method |  |
|  | Field angles sampled over the half field angle | (0, 0) (0, 2) (0, −2) (2, 0) (2, 2) (2, −2) |  |
|  | Number of feature light rays sampled over the full aperture for one field angle | 101 |  |
|  | Iteration termination condition: imaging quality threshold | σitr=0 |  |
|  | Iteration termination condition: imaging quality improvement rate threshold | τitr=3% |  |
|  | Method to solve for the optimal image plane tilt angle | One-dimensional searching |  |
|  | Range and interval for the one-dimensional search of image plane tilt angle (°) | β∈[β0−2, β0+2], Δβ=1 |  |
|  | One-dimensional searching termination condition: imaging quality threshold | σsrh=0.001 |  |
|  | One-dimensional searching termination condition: imaging quality improvement rate threshold | τsrh=0.3% |  |
| Phase 5 | Imaging quality requirement | AVG RMS WFE < 0.3λ | AVG RMS WFE < 0.075λ |

Table S7. Inputs and parameters for the proposed automatic design paradigm used for design example 1 and 2.

|  |  | Design example 1 | The localized design | Design example 2 |
| --- | --- | --- | --- | --- |
| Input | Full field angles (°) | ±4 in X, ±3 in Y |  | ±2 in X, ±2 in Y |
|  | Entrance pupil diameter (EPD) (mm) | 27.78 |  | 50 |
|  | Focal length (mm) | 50 |  | 450 |
|  | F number | 1.8 |  | 9 |
|  | Working band | LWIR (8-14 μm) |  | VIS (420-680 nm) |
|  | Primary wavelength | 10 μm |  | 587.6 nm |
| Phase 1 | Range and interval of the curvature radius for spherical surfaces (mm) | r1,2,3∈[−1000, 1000], Δr1,2,3=100 | r1∈[−1000, −700], Δr1=150, r2∈[−300, −200], Δr2=25, r3∈[−120, −80], Δr3=20 | r1,2,3∈[−1000, 1000], Δr1,2,3=100 |
|  | Structure constraints | EPD<¦d1¦<4×EPD Δd1=EPD/2 | 40 mm<¦d1¦<56 mm Δd1=14 mm | EPD/2<¦d1¦<5×EPD Δd1=EPD/2 |
|  |  | d1<0, d2>0, d3<0, −2≤d2/d1≤−1/2, 1/2≤d3/d1≤2, d3≤−2×EPD |  |  |
|  | Total number of OP distributions in coaxial systems | 377 | 73 | 1053 |
| Phase 2 | Range and interval of the angles in the structure vector | θ1∈(−180°, −120°], θ2∈[120°, 240°], θ3∈[−240°, −120°] |  |  |
|  |  | Δθ1,2,3=5° |  | Δθ1,2,3=20° |
|  | Total number of computing jobs | 1178 | 217 | 3196 |
| Phase 3 | Method to correct the OP of the entire system and construct freeform systems | Point-by-point construction method |  |  |
|  | Field angles sampled over the half field angle | (0, 0) (0, 3) (0, −3) (4, 0) (4, 3) (4, −3) |  | (0, 0) (0, 2) (0, −2) (2, 0) (2, 2) (2, −2) |
|  | Number of feature light rays sampled over the full aperture for one field angle | 97 |  |  |
| Phase 4 | Method to improve the imaging quality | Point-by-point iteration method |  |  |
|  | Field angles sampled over the half field angle | (0, 0) (0, 3) (0, −3) (4, 0) (4, 3) (4, −3) |  | (0, 0) (0, 2) (0, −2) (2, 0) (2, 2) (2, −2) |
|  | Number of feature light rays sampled over the full aperture for one field angle | 97 |  |  |
|  | Iteration termination condition: imaging quality threshold | σitr=0.003 |  |  |
|  | Iteration termination condition: imaging quality improvement rate threshold | τitr=3% |  |  |
|  | Method to solve for the optimal image plane tilt angle | One-dimensional searching |  |  |
|  | Range and interval for the one-dimensional search of image plane tilt angle (°) | β∈[β0−5, β0+5], Δβ=1 |  |  |
|  | One-dimensional searching termination condition: imaging quality threshold | σsrh=0.0059 |  | σsrh=0.005 |
|  | One-dimensional searching termination condition: imaging quality improvement rate threshold | τsrh=0.5% |  |  |
| Phase 5 | Imaging quality requirement | AVG RMS WFE < 0.075λ |  |  |

Figure S6. Framework for the automatic design method for three-mirror freeform systems.