Inductively Coupled, mm-Sized, Single Channel Optical Neuro-Stimulator with Intensity Enhancer

Wasif Khan1, Yaoyao Jia2, Fatma Madi3, Arthur Weber3, Maysam Ghovanloo2 and Wen Li1

1Department of Electrical and Computer Engineering, Michigan State University, East Lansing, USA

2School of Electrical and Computer Engineering, Georgia Institute of Technology, Atlanta, USA

3Department of Physiology, Michigan State University, East Lansing, USA

S1. Simplified fabrication and integration process flow

Supplementary Table S1. Comparison of our work and neurostimulators reported by other groups

| Work | Architecture | Substrate | Weight (mg) | Dimensions (mm) | Frequency | channels | Available intensity (mW/mm2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Kim et al 1 | Discrete device | Flexible/rigid PCB | 700 | 14x12.5x3 | 910MHz | 4 | 17.7 |
| Montgomery et al 22 | Discrete device | Rigid PCB | 20-50 | 2x2x2 | 1.6 GHz | 1 | 25.8 |
| Shin et. al. 37 | Discrete device | Flexible PCB | 30 | 10mm diameter, thickness<1.3mm | 13.6 MHz | 1,2 | 100 |
| Aldaoud et al 45 | Discrete Device | Rigid PCB | 1000 | 5x2.5x2.5 | 20, 13.4/15.6 MHz | 1,2,16 | _ |
| Park et al.46 | Discrete device | Rigid PCB | 70 | 2.4x3.5x8.5 | 1.6-2.5 GHz | 4 | _ |
| Park et al 38 | Discrete device | Stretchable Polymer | 16 | 3.8x6x0.7 | 2.0-2.5 GHz | 1 | 10 |
| Lee et al 47 | LSI | Stacked rigid PCB | 1600 | 12x7x11 | 2.4GHz | 1 | 27 |
| This work | Discrete Device | Flexible PCB | 20 | 2.8x4.2x2.1 | <100 MHz | 1 | 5.8 |