	Table S1. Several antibody tests with Emergency Use Authorization (EUA) 

	Company
	Kit
	Antibody
	Test Type
	Antigen
	Sensitivity
	Specificity
	Relevent document

	Abbott Laboratories Inc.
	Architect AdviseDx SARS-CoV-2 IgG II
	IgG
	[bookmark: OLE_LINK41][bookmark: OLE_LINK42]CMIA
	N
	97.56%
	99.55%
	https://www.fda.gov/media/146371/download

	Abbott Laboratories Inc.
	Alinity AdviseDx SARS-CoV-2 IgG II
	IgG
	CMIA
	N
	97.50%
	99.60%
	https://www.fda.gov/media/146372/download

	Abbott Laboratories Inc.
	Alinity i SARS-CoV-2 IgG 
	IgG
	CMIA
	N
	100%
	99%
	https://www.fda.gov/media/137910/download

	Abbott Laboratories Inc.
	Architect SARS-CoV-2 IgG
	IgG
	CMIA
	N
	100%
	99.60%
	https://www.fda.gov/media/137383/download

	Abbott Laboratories Inc.
	Architect AdviseDx SARS-CoV-2 IgM 
	IgM
	CMIA
	N
	95.00%
	99.56%
	https://www.fda.gov/media/142940/download

	Abbott Laboratories Inc.
	Alinity AdviseDx SARS-CoV-2 IgM 
	IgM
	CMIA
	N
	95.00%
	99.56%
	https://www.fda.gov/media/142941/download

	Access Bio, Inc.
	CareStart COVID-19 IgM/IgG
	IgM and IgG
	LFA
	N and S1 RBD
	98.44%
	98.90%
	https://www.fda.gov/media/140447/download

	ACON Laboratories, Inc.
	ACON SARS-CoV-2 IgG/IgM Rapid Test
	IgM and IgG
	LFA
	—
	IgG 100%
IgM:96.7%                 
	IgG 97.5%
IgM 98.8%                 
	https://www.fda.gov/media/144562/download

	ADVAITE, Inc.
	RapCov Rapid COVID-19 Test
	IgG
	[bookmark: OLE_LINK43][bookmark: OLE_LINK44]LFA
	N
	93.30%
	100%
	https://www.fda.gov/media/145080/download

	Assure Tech. (Hangzhou Co., Ltd)
	Assure COVID-19 IgG/IgM Rapid Test Device
	IgM and IgG
	LFA
	N and S1
	IgG 90%
IgM 100%
	IgG 100%
IgM 98.8%
	https://www.fda.gov/media/139792/download

	Babson Diagnostics, Inc.
	Babson Diagnostics aC19G1
	IgG
	CLIA
	—
	100% 
	100% 
	https://www.fda.gov/media/139446/download

	Beckman Coulter, Inc.
	Access SARS-CoV-2 IgG II
	IgG
	CLIA
	S1 RBD
	98.90%
	100.00%
	https://www.fda.gov/media/146901/download

	Beckman Coulter, Inc.
	Access SARS-CoV-2 IgM
	IgM
	CLIA
	S1 RBD
	98.30%
	99.90%
	https://www.fda.gov/media/142911/download

	Beckman Coulter, Inc.
	Access SARS-CoV-2 IgG
	IgG
	CLIA
	S1 RBD
	96.80%
	99.60%
	https://www.fda.gov/media/139627/download

	Beijing Wantai Biological Pharmacy Enterprise Co., Ltd.
	WANTAI SARS-CoV-2 Ab Rapid Test
	Total Antibody
	LFA
	RBD 
	100% 
	98.8% 
	https://www.fda.gov/media/140030/download

	Beijing Wantai Biological Pharmacy Enterprise Co., Ltd.
	WANTAI SARS-CoV-2 Ab ELISA
	Total Antibody
	ELISA
	RBD 
	96.7% 
	97.5% 
	https://www.fda.gov/media/140929/download

	Biocan Diagnostics Inc.
	Tell Me Fast Novel Coronavirus (COVID-19) IgG/IgM Antibody Test - Letter of Authorization
	IgM and IgG
	LFA
	N and S
	IgG 93.3%                 IgM 90.0%
	IgG 96.2%                 IgM 98.7%
	https://www.fda.gov/media/141550/download

	BioCheck, Inc.
	BioCheck SARS-CoV-2 IgM Antibody Test Kit
	IgM
	CLIA
	S1
	95.45%
	97.20%
	https://www.fda.gov/media/142002/download

	BioCheck, Inc.
	BioCheck SARS-CoV-2 IgG Antibody Test Kit
	IgG
	CLIA
	S1
	99.09%
	100%
	https://www.fda.gov/media/142006/download

	BioCheck, Inc.
	BioCheck SARS-CoV-2 IgG and IgM Combo Test
	IgM and IgG
	CLIA
	S1
	IgG 100%
IgM 89%
	IgG 100%
IgM 97.2%
	https://www.fda.gov/media/141251/download

	Biohit Healthcare (Hefei) Co. Ltd.
	Biohit SARS-CoV-2 IgM/IgG Antibody Test Kit
	IgM and IgG
	LFA
	N
	96.70%
	95%
	https://www.fda.gov/media/139283/download

	bioMérieux SA
	VIDAS SARS-CoV-2 IgM
	IgM
	ELFA
	—
	100%
	99.9% 
	https://www.fda.gov/media/140933/download

	bioMérieux SA
	VIDAS SARS-CoV-2 IgG
	IgG
	ELFA
	—
	100%
	99.40%
	https://www.fda.gov/media/140937/download

	Bio-Rad Laboratories, Inc.
	Platelia SARS-CoV-2 Total Ab assay
	Total Antibody
	ELISA
	N
	92.20%
	99.60%
	https://www.fda.gov/media/137493/download

	Cellex Inc.
	qSARS-CoV-2 IgG/IgM Rapid Test
	IgM and IgG
	LFA
	N and S
	93.80%
	95.60%
	https://www.fda.gov/media/136625/download

	DiaSorin Inc.
	LIAISON SARS-CoV-2 S1/S2 IgG
	IgG
	CLIA
	S
	97.60%
	99.30%
	https://www.fda.gov/media/137359/download

	DiaSorin, Inc.
	DiaSorin LIAISON SARS-CoV-2 IgM Assay
	IgM
	CLIA
	RBD
	92.60%
	99.30%
	https://www.fda.gov/media/142552/download

	Diazyme Laboratories, Inc.
	Diazyme DZ-Lite SARS-CoV-2 IgG CLIA Kit
	IgG
	CLIA
	—
	100%
	97.40%
	https://www.fda.gov/media/139865/download

	Diazyme Laboratories, Inc.
	Diazyme DZ-Lite SARS-CoV-2 IgM CLIA Kit
	IgM
	CLIA
	—
	94.40%
	98.30%
	https://www.fda.gov/media/141255/download

	Emory Medical Laboratories
	SARS-CoV-2 RBD IgG test
	IgG
	ELISA
	RBD 
	100%
	96.40%
	https://www.fda.gov/media/139053/download

	EUROIMMUN US Inc.
	Anti-SARS-CoV-2 ELISA (IgG)
	IgG
	ELISA
	S1
	90%
	100%
	https://www.fda.gov/media/137609/download

	Genalyte, Inc.
	Maverick SARS-CoV-2 Multi-Antigen Serology Panel v2
	Total Antibody
	Photonic ring immunoassay
	Multi-Antigenic sites
	96.13%
	97.68%
	https://www.fda.gov/media/142915/download

	GenScript USA Inc.
	cPass SARS-CoV-2 Neutralization Antibody Detection Kit 11/06/2020
	Total Neutralizing Antibodies
	ELISA
	S1 RBD
	96.70%
	94%
	https://www.fda.gov/media/143583/download

	Hangzhou Biotest Biotech Co., Ltd.
	RightSign COVID-19 IgG/IgM Rapid Test Cassette
	IgM and IgG
	LFA
	S
	IgG 100%.                  IgM 85%
	IgG 98%                    IgM 96%
	https://www.fda.gov/media/139410/download

	Hangzhou Laihe Biotech Co., Ltd.
	LYHER Novel Coronavirus (2019-nCoV) IgM/IgG Antibody Combo Test Kit (Colloidal Gold)
	IgM and IgG
	LFA
	S1
	IgG 98.5%                 IgM 99.25%
	IgG 99.43%                IgM 99.43%
	https://www.fda.gov/media/139410/download

	Healgen Scientific LLC
	COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma)
	IgM and IgG 
	LFA
	S
	100%
	97.50%
	https://www.fda.gov/media/138438/download

	Immunodiagnostic Systems Ltd.
	IDS SARS-CoV-2 IgG
	IgG
	CLIA
	N and S
	97.60%
	99.60%
	https://www.fda.gov/media/145944/download

	InBios International, Inc.
	SCoV-2 Detect IgM ELISA
	IgM
	ELISA
	—
	91.89%
	98.95%
	https://www.fda.gov/media/139730/download

	InBios International, Inc.
	SCoV-2 Detect IgG ELISA
	IgG
	ELISA
	—
	97.78%
	98.95%
	https://www.fda.gov/media/138810/download

	Innovita (Tangshan) Biological Technology Co., Ltd.
	Innovita 2019-nCoV Ab Test (Colloidal Gold)
	IgM and IgG
	LFA
	N and S1
	IgG 93.3%                 IgM 93.3%
	IgG 98.8%                 IgM 98.8%
	https://www.fda.gov/media/144071/download

	Inova Diagnostics, Inc.
	QUANTA Flash SARS-CoV-2 IgG
	IgG
	CLIA
	N and S
	100.00%
	99.90%
	https://www.fda.gov/media/147808/download

	Jiangsu Well Biotech Co., Ltd.
	Orawell IgM/IgG Rapid Test
	IgM and IgG
	LFA
	RBD
	97.14%
	100%
	https://www.fda.gov/media/142422/download

	Kantaro Biosciences, LLC
	COVID-SeroKlir, Kantaro Semi-Quantitative SARS-CoV-2 IgG Antibody Kit
	IgG
	ELISA
	RBD
	98.78%
	99.60%
	https://www.fda.gov/media/144010/download

	Luminex Corporation
	xMAP SARS-CoV-2 Multi-Antigen IgG Assay
	IgG
	FMIA
	N, RBD and S1
	＞96%
	＞99%
	https://www.fda.gov/media/140256/download

	Megna Health, Inc.
	Rapid COVID-19 IgM/IgG Combo Test Kit
	IgM and IgG
	LFA
	N
	IgG 100%
IgM 83.3%
	IgG 97.5%
IgM 97.5%
	https://www.fda.gov/media/140297/download

	Mount Sinai Laboratory
	COVID-19 ELISA IgG Antibody Test
	IgG
	ELISA
	S
	92.50%
	100%
	https://www.fda.gov/media/137029/download

	NanoEntek America, Inc.
	FREND COVID-19 total Ab
	Total Antibody
	FIA
	N
	100%
	99.20%
	https://www.fda.gov/media/142557/download

	Nirmidas Biotech, Inc.
	MidaSpot COVID-19 Antibody Combo Detection Kit
	IgM and IgG
	LFA
	RBD
	IgG 100%
IgM 100%
	IgG 100%
IgM 97.7%
	https://www.fda.gov/media/144877/download

	Nirmidas Biotech, Inc.
	Nirmidas COVID-19 (SARS-CoV-2) IgM/IgG Antibody Detection Kit
	IgM and IgG
	LFA
	S1 and RBD
	IgG 87.9%
IgM 93.1%
	IgG 100%
IgM 97.9%
	https://www.fda.gov/media/142561/download

	Ortho Clinical Diagnostics, Inc.
	VITROS Immunodiagnostic Products Anti-SARS-CoV-2 Total Reagent Pack
	Total Antibody
	CLIA
	S
	100% 
	100% 
	https://www.fda.gov/media/136967/download

	Ortho-Clinical Diagnostics, Inc.
	VITROS Immunodiagnostic Products Anti-SARS-CoV-2 IgG Reagent Pack
	IgG
	CLIA
	S
	90%
	100%
	https://www.fda.gov/media/137363/download

	Phadia AB
	EliA SARS-CoV-2-Sp1 IgG Test
	IgG
	ELFA
	S1
	97.6 %
	99.4%
	https://www.fda.gov/media/145089/download

	Quansys Biosciences, Inc.
	Q-Plex SARS-CoV-2 Human IgG (4 Plex)10/28/2020
	IgG
	CLIA
	S
	95.20%
	99.70%
	https://www.fda.gov/media/143452/download

	Quanterix Corporation
	Simoa Semi-Quantitative SARS-CoV-2 IgG Antibody Test
	IgG
	ELISA
	S
	100.00%
	99.19%
	https://www.fda.gov/media/144764/download

	Quotient Suisse SA
	MosaiQ COVID-19 Antibody Magazine
	Total Antibody
	Photometric immunoassay
	S
	93%
	99.80%
	https://www.fda.gov/media/142486/download

	Roche Diagnostics
	Elecsys Anti-SARS-CoV-2 S
	Total Antibody
	[bookmark: OLE_LINK39][bookmark: OLE_LINK40][bookmark: OLE_LINK45]ECLIA
	RBD
	96.60%
	99.98%
	https://www.fda.gov/media/144037/download

	Roche Diagnostics
	Elecsys Anti-SARS-CoV-2
	Total Antibody
	ECLIA
	Np
	100%
	99.80%
	https://www.fda.gov/media/137605/download

	Salofa Oy
	Sienna-Clarity COVIBLOCK COVID-19 IgG/IgM Rapid Test Cassette
	IgM and IgG
	LFA
	RBD
	IgG 93.3%
IgM 90%
	IgG 98.8%
IgM 100%
	https://www.fda.gov/media/140082/download

	Shenzhen New Industries Biomedical Engineering Co., Ltd.
	MAGLUMI 2019-nCoV IgM/IgG
	IgM and IgG
	CLIA
	N and S
	93.94%
	98.67%
	https://www.fda.gov/media/142233/download

	Siemens Healthcare Diagnostics Inc.
	Dimension EXL SARS‑CoV‑2 IgG (CV2G)
	IgG
	CLIA
	S1 RBD
	100%
	100%
	https://www.fda.gov/media/145015/download

	Siemens Healthcare Diagnostics Inc.
	Dimension Vista SARS‑CoV‑2 IgG (COV2G)
	IgG
	CLIA
	S1 RBD
	100%
	100%
	https://www.fda.gov/media/145020/download

	Siemens Healthcare Diagnostics Inc.
	Atellica IM SARS-CoV-2 IgG (sCOVG)
	IgG
	CLIA
	S1 RBD
	95.58%
	99.90%
	https://www.fda.gov/media/146931/download

	Siemens Healthcare Diagnostics Inc.
	Dimension Vista SARS-CoV-2 Total antibody assay (COV2T)
	Total Antibody
	CLIA
	S1 RBD
	100%
	99.80%
	https://www.fda.gov/media/138753/download

	Siemens Healthcare Diagnostics Inc.
	Dimension EXL SARS-CoV-2 Total antibody assay (CV2T)
	Total Antibody
	CLIA
	S1 RBD
	100%
	99.87%
	https://www.fda.gov/media/138757/download

	Siemens Healthcare Diagnostics Inc.
	Atellica IM SARS-CoV-2 IgG (COV2G)
	IgG
	CLIA
	S1 RBD
	100%
	99.95%
	https://www.fda.gov/media/140699/download

	Siemens Healthcare Diagnostics Inc.
	ADVIA Centaur SARS-CoV-2 IgG (COV2G)
	IgG
	CLIA
	S1 RBD
	100%
	99.89%
	https://www.fda.gov/media/140704/download

	Siemens Healthcare Diagnostics Inc.
	Atellica IM SARS-CoV-2 Total (COV2T)
	Total Antibody
	CLIA
	S1 RBD
	100%
	99.82%
	https://www.fda.gov/media/138442/download

	Siemens Healthcare Diagnostics Inc.
	ADVIA Centaur SARS-CoV-2 Total (COV2T)
	Total Antibody
	CLIA
	S1 RBD
	100%
	99.81%
	https://www.fda.gov/media/138446/download

	Sugentech, Inc.
	SGTi-flex COVID-19 IgG
	IgG
	LFA
	N and S RBD 
	96.70%
	100%
	https://www.fda.gov/media/141891/download

	Symbiotica, Inc.
	COVID-19 Self-Collected Antibody Test System
	IgG
	ELISA
	—
	100%
	98.0%
	https://www.fda.gov/media/147369/download

	TBG Biotechnology Corp.
	TBG SARS-CoV-2 IgG / IgM Rapid Test Kit
	IgM and IgG
	LFA
	N and S
	IgG 93.3%
IgM 93.3%
	IgG 96.2%
IgM 95.0%
	https://www.fda.gov/media/141773/download

	Thermo Fisher Scientific
	OmniPATH COVID-19 Total Antibody ELISA Test
	Total Antibody
	ELISA
	—
	96.70%
	97.50%
	https://www.fda.gov/media/142700/download

	United Biomedical, Inc.
	UBI SARS-CoV-2 ELISA
	IgG
	ELISA
	M, N and S 
	89.70%
	100%
	https://www.fda.gov/media/145277/download

	University of Arizona Genetics Core for Clinical Services
	COVID-19 ELISA pan-Ig Antibody Test
	Total Antibody
	ELISA
	RBD or S2
	97.50%
	93.30%
	https://www.fda.gov/media/141777/download

	Vibrant America Clinical Labs
	Vibrant COVID-19 Ab Assay
	IgM and IgG
	[bookmark: OLE_LINK37][bookmark: OLE_LINK38]CLIA
	S1, RBD, S2, and N
	98.10%
	98.60%
	https://www.fda.gov/media/138629/download

	Wadsworth Center, New York State Department of Health
	New York SARS-CoV Microsphere Immunoassay for Antibody Detection
	Total Antibody
	FMIA
	N
	88%
	98.80%
	https://www.fda.gov/media/137541/download

	Xiamen Biotime Biotechnology Co., Ltd.
	BIOTIME SARS-CoV-2 IgG/IgM Rapid Qualitative Test
	IgM and IgG
	LFA
	—
	100%
	96.20%
	https://www.fda.gov/media/140443/download

	ZEUS Scientific, Inc.
	ZEUS ELISA SARS-CoV-2 IgG Test System
	IgG
	ELISA
	S1 RBD
	93.30%
	100.00%
	https://www.fda.gov/media/142809/download

	
	
	
	
	
	
	
	



Abbreviations:  CLIA = Chemiluminescence Immunoassay, CMIA = Chemiluminescent microparticle immunoassay, ECLIA= Electrochemiluminescence Immunoassay, ELFA=Enzyme Linked Fluorescent Assay, ELISA=Enzyme Linked Immunosorbent Assay, FIA= Fluorescence immunoassay, FMIA= Fluorescent-microbead immunoassay, LFA= Lateral Flow Assay.

