| Tissue Class | Samples | Burns | >75% probability | Correct report | Diagnostic accuracy (%) |
| --- | --- | --- | --- | --- | --- |
| Ovarian cancer | 7 | 65 | 61 | 61 | 100.0 |
| Normal ovary | 9 | 69 | 64 | 64 | 100.0 |
| Fallopian tube | 11 | 61 | 58 | 58 | 100.0 |
| Peritoneum | 5 | 37 | 34 | 32 | 94.1 |
| TOTALS | 32 | 232 | 217 | 215 |  |

#### Supplementary Table 4:

#### Fresh tissue samples classified using frozen cut model as reference dataset (cut mode)