Supplementary Table 1. Optimal retrieval methods and sequential staining steps for Opal multiplex panel 1 and panel 2.

| Opal Multiplex Immunofluorescence – Leica Bond Rx |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Multiplex Panel | Step | Biomarker | Clone | Source | Antigen Retrieval | Dilution | Incubation | Detection chemistry | Incubation |
| 1 | 1 | PD-L1 | EIL3N | Cell Signaling | ER2 20 minutes @ 95°C | 1:200 | 30 minutes | Opal 480 @ 1:150 | 30 minutes |
| 1 | 2 | FOXP3 | 236A/E7 | Abcam | ER1 20 minutes @ 95°C | 1:100 | 30 minutes | Opal 620 @ 1:150 | 30 minutes |
| 1 | 3 | CD8 | C8-144B | Dako | ER1 20 minutes @ 95°C | 1:800 | 30 minutes | Opal 690 @1:150 | 30 minutes |
| 1 | 4 | B-Catenin | B-Catenin-1 | Dako | ER1 20 minutes @ 95°C | 1:400 | 30 minutes | Opal 570 @1:150 | 30 minutes |
| 1 | 5 | CD4 | 4B12 | Novocastra | ER1 20 minutes @ 95°C | 1:100 | 30 minutes | Opal 520 @ 1:150 | 30 minutes |
| 1 | 6 | CK | AE1/AE3 | Dako | ER1 20 minutes @ 95°C | 1:100 | 30 minutes | TSA-DIG @ 1:100 + Opal 780 @ 1:25 | 10 minutes + 60 minutes |
| 1 | 7 | DAPI | n/a | Perkin Elmer | ER2 20minutes @ 95°C | 1:500 | 10 minutes | n/a | n/a |
| 2 | 1 | PD-L1 | SP263 | Ventana | ER2 20 minutes @ 95°C | 1:2 | 30 minutes | Opal 520 @ 1:150 | 30 minutes |
| 2 | 2 | CD68 | 514H12 | Leica | ER2 20 minutes @ 95°C | 1:200 | 30 minutes | Opal 570 @ 1:150 | 30 minutes |
| 2 | 3 | PD-L1 | SP142 | Abcam | ER2 20 minutes @ 95°C | 1:100 | 30 minutes | Opal 620 @ 1:150 | 30 minutes |
| 2 | 4 | CK | AE1/AE3 | Dako | ER2 20 minutes @ 95°C | 1:100 | 30 minutes | Opal 620 @ 1:150 | 30 minutes |
| 2 | 5 | DAPI | n/a | Perkin Elmer | ER2 20minutes @ 95°C | 1:500 | 10 minutes | n/a | n/a |